## Table 1
Parameter | FDP (1) | FDP (2)
Resolution | 1.41 | 1.77
Selectivity | 1.86 | 1.97
No. of theoretical plates | 16056 | 16040
Capacity factor | 3.6 | 3.58
Symmetry | 1.34 | 1.32

## Table 2
Parameter | Favipiravir
Linearity | Linearity
Regression equation | Y = 0.4434 X + 0.153
Range (µg/mL) | 0.5 – 100
Correlation coefficient (r) | 0.9994
Slope | 0.4434
Intercept | 0.153
LOD(µg/mL) | 0.037
LOQ (µg/mL) | 0.122
Precision
Repeatability (Intra-day) (% RSD) * | Repeatability (Intra-day) (% RSD) *
QCL (2 µg/mL) | 1.36%
QCM (20 µg/mL) | 0.93%
QCH (80 µg/mL) | 1.64%
Intermediate precision (Inter-day) | Intermediate precision (Inter-day)
(% RSD) *
QCL (2 µg/mL) | 0.89%
QCM (20 µg/mL) | 1.64%
QCH (80 µg/mL) | 1.58%
Accuracy | Accuracy
(Mean ± S.D) **
QCL (2 µg/mL) | 99.05 ± 0.58
QCM (20 µg/mL) | 101.21 ± 0.14
QCH (80 µg/mL) | 98.20 ± 0.55

## Table 3
Exp. No | pH | Acetonitrile | Wavelength
1 | 2.7 | 48 | 321
2 | 2.7 | 52 | 321
3 | 2.7 | 52 | 325
4 | 2.3 | 52 | 325
5 | 2.7 | 48 | 325
6 | 2.3 | 52 | 321
7 | 2.3 | 48 | 325
8 | 2.3 | 48 | 321
9 | 2.5 | 50 | 323
10 | 2.5 | 50 | 323
11 | 2.5 | 50 | 323

## Freetext Data
Data | Value | Relevance
Favipiravir (FVP) degradation study | Oxidative and alkaline degradation of FVP were investigated | Relevant because the study aims to evaluate degradation products under different conditions and their safety profiles.
Isolation technique | Flash chromatography with methylene chloride/methanol gradient mobile phase | Relevant because it details the method used to isolate degradation products for characterization.
Characterization methods | 1H-NMR and LC–MS/MS techniques used for structure confirmation | Relevant as identifying and confirming chemical structures of degradants is a primary focus of the study.
Column specifications | Thermo Fischer Hypersil C18 column (4.6 × 150 mm, 5 µm) | Relevant because the separation and detection of FVP and its degradation products are critical to the study.
Mobile phase composition | Acetonitrile–5 mM potassium dihydrogen phosphate (pH 2.5) (50:50, v/v) | Relevant because it was optimized for appropriate chromatographic separation in HPLC.
Calibration linearity | Concentration range of 0.5–100 µg/mL with r² = 0.9994 | Relevant for ensuring accuracy and precision in quantifying FVP and its degradants.
Degradation conditions | Oxidative degradation with 10% hydrogen peroxide and alkaline hydrolysis with 1 M NaOH | Relevant because these forced conditions were used to produce and study stable degradation products.
Oxidative degradation product (FDP1) | Mass = 235 m/z and molecular structure confirmed | Relevant because characterizing FDP1 is part of the study's central focus.
Alkaline degradation product (FDP2) | Mass = 227 m/z and molecular structure confirmed | Relevant because characterizing FDP2 adds to understanding stability and mechanisms of FVP.
Proposed mechanisms | Detailed mechanism of FDP1 and FDP2 formation provided | Relevant to understand how FVP degrades under oxidative and alkaline conditions, which is imperative for predicting behavior.
Safety assay | Sulforhodamine B (SRB) cytotoxicity assay | Relevant to evaluate the potential cytotoxicity of FVP and its degradation products, fulfilling part of the study's goal.
Cytotoxicity results | IC50 > 100 µg/mL for FVP, FDP1, and FDP2 | Relevant because it demonstrates that FVP and its degradation products are non-toxic at tested concentrations.
Microscopy findings | No morphological changes observed in NHSF cells at tested concentrations | Relevant as it supports the cytotoxicity findings and highlights the safety of degradation products.
Instrumentation | Dionex UltiMateTM 3000 HPLC System used for chromatographic separations | Relevant for replicating and understanding how FVP and its degradants were analyzed.
Validation parameters | Repeatability, LOD (0.037 µg/mL), LOQ (0.122 µg/mL), Recovery (98–101%) | Relevant because validation confirms the reliability and robustness of the analytical methods used.
Study funding | Sponsored by the Science, Technology & Innovation Funding Authority (STDF) via the Egyptian Knowledge Bank (EKB) | Relevant to acknowledge the support for conducting the study.
--- | --- | ---
Patient Population | Normal Human Skin Fibroblasts (NHSF) cell line | The PK study utilized NHSF cell lines to evaluate cytotoxicity, representing an in vitro setup rather than human or animal samples.
Sample Source | NHSF cells maintained in DMEM media | Indicates the controlled environment and protocol for cell maintenance, essential for the in vitro experimental design.
Sample Size for Cytotoxicity Assay | Aliquots of 100 μL with 5 x 10^3 cells per well in 96-well plates | Relevant to the patient sample size, as it specifies the cell plating density for testing.
Sampling Time Points | Cytotoxicity evaluated after 72 hours of incubation | Defines the specific time point post-treatment when the assay measurements were taken, critical for experimental consistency.
Concentration Range | Various concentrations: 0.01, 0.1, 1, 10, 100 μg/mL | This range was used to measure the cytotoxic effect of FVP and its degradation products, providing insights into dose-dependent responses.
Incubation Environment | Humidified, 5% CO2 atmosphere at 37°C | Defines the controlled experimental parameters, ensuring reproducibility and relevance to physiological conditions.
Cytotoxic Agent Control | Doxorubicin used as a positive control | Establishes a benchmark for comparison, providing context to evaluate the effects of the test compounds.
Quantitative Measurement Tool | Absorbance measured at 540 nm using SRB viability assay | Measurement methodology is critical for accuracy and reliability of cytotoxicity evaluation.
Visual Analysis | Examination of treated cells under an optical microscope | Supplementary evaluation to detect potential morphological changes in treated cells, adding depth to the data collected.
What analytical approach was employed for structural confirmation of degradation products? | 1H-NMR and LC–MS/MS | The model pertains to analytical confirmation techniques, not a compartment-based pharmacokinetic model, which is crucial for degradant validation.
What structural analysis techniques were used for degradation modeling? | Flash Chromatography ,RP.C18 | essential adjust !! quant!!
--- | --- | ---
Favipiravir Purity | 99.7% | Indicates the initial purity of the drug used in the study, critical to understanding the baseline from which degradation products were identified.
FVP Calibration Curve Range | 0.5–100 µg/mL | Defines the concentration range for FVP quantification, essential for assessing the limits of analytical methods.
Regression Equation | Y = 0.4434 X + 0.153 | Describes the calibration curve for FVP, indicating linearity in quantification accuracy.
Correlation Coefficient | 0.9994 | Signifies a strong linear relationship in the calibration curve, validating the analytical technique.
Flow Rate for HPLC | 1 mL/min | Critical chromatographic parameter for achieving separation of FVP and its degradation products.
Mobile Phase Composition | Acetonitrile: 5 mM potassium dihydrogen phosphate (50:50, v/v, pH 2.5) | Critical for achieving proper elution and separation during HPLC analysis.
Column Used | Thermo Fischer Hypersil C18 column (4.6 × 150 mm, 5 µm) | Specifies the stationary phase used for chromatographic resolution.
Detection Wavelength | 332 nm | Determines the UV detection wavelength for identifying FVP and its degradants.
Injection Volume | 10 μL | Ensures precision in introducing sample solutions into the HPLC instrument.
Chromatographic Temperature | 30°C | Maintains consistency in the environment for chromatographic separation.
Hydrolysis Conditions | 1 M NaOH at 100°C for 2 hours | Defines the conditions under which FVP underwent alkaline degradation.
Oxidative Conditions | 10% H2O2 at 100°C for 2 hours | Specifies conditions used to generate oxidative degradation products.
LOD (Limit of Detection) | 0.037 μg/mL | Establishes the sensitivity of the method for detecting minimal quantities of FVP.
LOQ (Limit of Quantification) | 0.122 μg/mL | Indicates the smallest concentration of FVP quantifiable with accuracy.
RSD for Intra-Day Precision | < 2% | Confirms the repeatability of measurements within a single day.
RSD for Inter-Day Precision | < 2% | Validates consistency of measurements over multiple days.
Biological Viability Testing Range | 0.01–100 μg/mL | Specifies the concentration range used to assess cytotoxicity or safety of FVP and its degradation products.
IC50 in Cytotoxicity Assay | > 100 μg/mL | Shows FVP and its degradation products' high safety margins in normal human skin fibroblast cells.
Buffer for Mobile Phase | 5 mM potassium dihydrogen phosphate pH 2.5 | Critical for maintaining pH stability during chromatographic separation.
Solvent for NMR Analysis | DMSO-d6 | Used to prepare samples for 1H-NMR characterization of FVP and its degradants.
MS Operating Conditions | 20 psi curtain gas, 5500 V ion spray voltage, 500°C temperature, air and nitrogen gases | Parameters optimized for mass spectrometric analysis of intact FVP and degradation products.
Column for Flash Chromatography | Silica gel column (12 g, 30 mm) | Used to isolate FVP degradation products before further characterization.
Gradient for Flash Chromatography | Methylene chloride/methanol | Specifies the mobile phase used to separate degradation products from the intact drug.
The pKa of Favipiravir (FVP) | 5.1 | Understanding pKa is crucial in determining FVP's ionization state at various pH levels, which directly affects solubility and absorption, hence pharmacokinetics.
Alkaline and oxidative conditions' effect on FVP | Degradation occurs, producing FDP1 and FDP2 | The stability of FVP under varying conditions suggests potential pharmacokinetic variability when exposed to differing bodily or storage conditions.
Degradation pathway | Alkaline hydrolysis leads to amide hydrolysis, oxidation introduces nitro and hydroxyl groups | Degradation impacts the chemical integrity of FVP, potentially altering its pharmacokinetic profile and bioavailability.
Phosphate buffer pH optimization | pH at 2.5 for chromatography due to lower than pKa | Highlights the importance of pH in maintaining drug behavior, relevant for pharmacokinetic optimization in formulation.
Forced degradation testing | Conducted in methanol at pH extremes and oxidative settings | The findings inform drug stability and how environmental or bodily factors could influence absorption and metabolism pathways.