## Table 1
Time (min) | Rate of Flow (μL/min) | A (%) | B (%)
0.0 3.0 | 300 300 | 5 10 | 95 90
16.0 | 300 | 30 | 70
18.0 | 300 | 75 | 25
19.0 | 300 | 90 | 10
21.0 25.0 | 300 300 | 5 5 | 95 95

## Table 2
Compound | Molecular Formula | Retention Time (min) | The Measured Values (Da) | The Quality of Error (ppm) | Distribution (Location) | Fragment Ions
AS | [C25H31N4O10S2+H]+ | 11.7 | 611.1478 | 0.32 | — | 594, 456, 331, 208, 114,
AMO | [C16H20N3O5S+H]+ | 2.5 | 366.1117 | 1.97 | P, U, L, K | 349, 321, 234, 208, 160, 114, 70
AMA | [C16H22N3O6S+H]+ | 2.2 | 384.1223 | 1.87 | U | 367, 323, 277, 229, 189, 160, 107
DIKETO | [C16H20N3O5S+H]+ | 6.4 | 366.1118 | 0.2 | P, U, L, K | 207, 160, 114
SBT | [C8H10NO5S−H]− | 3.4 | 232.0292 | 0.28 | P, U, L, K | 232, 188, 140, 91, 64
M1 | [C16H20N3O5S+H]+ | 2.5 | 366.1121 | 0.72 | P, U, L, K | 366, 349, 275, 208, 160, 114,
M2 | [C16H22N3O6S+H]+ | 2.2 | 384.1228 | 1.49 | U | 384, 367, 323, 295, 229, 189, 107,
M3 | [C16H20N3O5S+H]+ | 6.4 | 366.1125 | 0.19 | P, U, L, K | 366, 207, 160, 114,
M4 | [C8H10NO5S−H]− | 3.4 | 232.0287 | 0.6 | P, U, L, K | 232, 188, 140, 91, 64

## Freetext Data
Data | Value | Relevance
Retention Time of M1 | 2.4 min | Indicates the processing time required for the amoxicillin metabolite to elute, demonstrating its presence in biological samples like urine, liver, plasma, and kidneys.
Retention Time of M2 | 2.2 min | Demonstrates the metabolism of amoxicilloic acid and confirms its identification as a derivative of amoxicillin in vivo samples.
Retention Time of M3 | 6.4 min | Supports the identification of amoxicillin diketopiperazine as one of the identified metabolites, pertinent for drug metabolism tracking.
Retention Time of M4 | 3.4 min | Establishes sulbactam as one of the metabolites, reinforcing its role in the breakdown of AS hybrid molecules.
Parent Ion of M1 | m/z 366 [M+H]+ | Correlates with the molecular weight of amoxicillin, validating its structural identification.
Parent Ion of M2 | m/z 384 [M+H]+ | Indicates the molecular weight of amoxicilloic acid, confirming its existence as a metabolite derivative of the drug molecule.
Parent Ion of M3 | m/z 366 [M+H]+ | Identifies this metabolite as amoxicillin diketopiperazine, displaying another structural transformation of the AS hybrid molecule.
Parent Ion of M4 | m/z 232 [M−H]− | Establishes this compound as sulbactam, correlating with enzymatic breakdown of the hybrid molecule.
Fragment Ion of M1 | m/z 349, m/z 208 | Critical for deducing how amoxicillin is metabolized into smaller fragments detectable by the analytical method employed.
Fragment Ion of M2 | m/z 323, m/z 189 | Supports the identification of amoxicilloic acid and provides insights into potential biotransformation pathways.
Fragment Ion of M3 | m/z 207, m/z 160 | Solidifies the chemical structure assignment of amoxicillin diketopiperazine, helping evaluate pharmacokinetics.
Fragment Ion of M4 | m/z 140, m/z 64 | Confirms the presence of sulbactam in biological samples and aids the metabolic pathway analysis.
Metabolite Prediction for AS | Amoxicillin and sulbactam, breakdown products | Highlights the anticipated breakdown mechanism of the hybrid molecule that aligns with experimental results.
Detection in Urine | M1, M2, M3, M4 | Demonstrates the primary route of drug and metabolite excretion and confirms complete intestinal absorption.
Detection in Liver | M1, M3, M4 | Indicates active hepatic processing of the drug and its metabolites.
Detection in Plasma | M1, M3, M4 | Confirms systemic circulation of the parent drug and metabolites post-absorption.
Detection in Kidney | M1, M3, M4 | Highlights renal involvement in metabolite excretion, providing key pharmacokinetic data.
Non-Detection in Feces | No metabolites detected | Confirms complete absorption of the drug into the body from the intestinal tract.
Sample Size | 28 rats | The sample size is essential for the pharmacokinetic study to ensure statistical accuracy and represent the study population.
Groups | 7 groups (4 rats each: 2 males and 2 females) | The division into groups ensures controlled variations and helps in comparing the pharmacokinetic behavior of different conditions.
Control Group | Group A, administered normal saline | The control group provides a baseline for comparison against the study drug.
Experimental Dose | 100 mg/kg body weight | This dose helps investigate the active concentration and its pharmacokinetic profile.
Sampling Time Points | 0.5 h, 1 h, 2 h, 3 h, 6 h, and 12 h post-administration | These time points are critical to capture the dynamic changes in drug metabolism and excretion over time.
Tissue Samples | Blood, urine, feces, liver, and kidneys | Sampling multiple tissues allows for a comprehensive understanding of drug distribution and metabolism.
Fast Protocol | 7-day adaptive feeding, 12-h fasting before the experiment | Standardized animal preparation ensures consistency and eliminates confounding factors prior to drug administration.
Animal Type | Healthy male and female SD rats (SPF grade, SCXK (Liao) 2020-0001) | Rats are commonly used in PK studies due to their similarity to human drug metabolism.
Model | None mentioned explicitly | The study did not describe or employ a pharmacokinetic model such as 1-compartment, 2-compartment, physiologically based, or IVIVE modeling, and instead focused on metabolite identification and their distribution in biological matrices.
Atomization temperature | 300 °C | Relevant because this is a setting used in the mass spectrometer to ionize the sample for analysis.
Sheath gas | Nitrogen | Relevant because nitrogen is used as the protective gas during ionization in the instrumentation.
Ionization mode | Positive/Negative | Relevant because the mass spectrometry analysis relied on detecting ions in both polarities.
Scan range | 100–1000 Da | Relevant because this is the parameter range used to identify metabolites.
Capillary voltage | 4000 V | Relevant because it controls the ionization during analysis.
Nozzle voltage | 1000 V | Relevant because it contributes to the stable flow of ions in the detector.
Flow rate | 300 μL/min | Relevant because the liquid chromatography analysis requires precise flow rates for proper separation.
Injection volume | 5 μL | Relevant because the amount of sample introduced affects the resolution of detected metabolites.
Column temperature | 40 °C | Relevant because it helps maintain consistent chromatographic separation of compounds.
Mass error | Within detection guidelines | Relevant as it verifies the precision of mass measurements.
Drug absorption mechanism | Hydrolysis of AS into amoxicillin and sulbactam by enzymes in the intestinal wall | Relevant as it highlights how AS is metabolized after administration, influencing its pharmacokinetics.
Enzyme involvement | Enterolactase hydrolyzes AS in the intestinal wall | Relevant because the enzyme-mediated splicing influences the bioavailability and pharmacokinetics of the drug.
Oral absorption characteristics | Poor oral absorption of sulbactam | Relevant as it explains a challenge in the pharmacokinetics of the compound, addressed with hybrid molecules.
Metabolism pathways | Amoxicillin partially metabolized to amoxicilloic acid and amoxicillin diketopiperazine | Relevant since these pathways determine the drug's pharmacokinetic properties.
Drug excretion pathways | Excretion of amoxicilloic acid and amoxicillin diketopiperazine in urine via kidneys | Relevant as urinary excretion pathways are key in pharmacokinetics considerations.
Drug splicing strategy | Hydrolyzable chemical bonds formed by AS splicing facilitate dual action of active ingredients | Relevant because splicing strategy impacts the pharmacokinetic behavior of AS through controlled release of metabolites.
Rat model conditions | Rats fasted for 12 hours and administered 100 mg/kg b.w AS | Relevant in pharmacokinetics because pre-administration conditions influence drug absorption and metabolism.
Detection method | Use of UPLC-Q-TOF-MS/MS to isolate and identify metabolites | Relevant as the reliability of the measurement techniques affects pharmacokinetic analysis accuracy.
Drug metabolic phases | Phase I: bioconversion (hydrolysis); Phase II: covalent binding for excretion | Relevant in understanding the pharmacokinetics transformations the drug undergoes.
Drug resistance factor | AS improves the resistance overcoming ability of amoxicillin against β-lactamase-producing bacteria | Relevant since pharmacokinetics is influenced by the drug’s ability to overcome bacterial enzymes.
Comparison to sultamicillin | Similar metabolic breakdown pattern into sulbactam and ampicillin | Relevant because sultamicillin serves as a reference model for pharmacokinetic evaluation of AS.
Drug absorption location | AS absorbed into the body primarily in the intestine | Relevant since absorption location is a fundamental pharmacokinetic factor.