## Table 1
Analyte_Analyte | Concentration (ng/ml)_Concentration (ng/ml) | Intra-day_Precision (RSD%) | Intra-day_Accuracy (RE%) | Inter-day_Precision (RSD%) | Inter-day_Accuracy (RE%)
Orelabrutinib | 1 | 11.5 | 7.7 | 9.8 | 12.5
Orelabrutinib | 2 | 4.4 | −5.7 | 6 | −0.2
Orelabrutinib | 200 | 1.4 | −3.3 | 4.8 | 2.0
Orelabrutinib | 1600 | 1.5 | −0.2 | 4.4 | 5.3

## Table 2
Analyte_Analyte | Concentration (ng/ml)_Concentration (ng/ml) | Recovery rate (%)_Mean ± SD | Recovery rate (%)_RSD% | Matrix effect (%)_Mean ± SD | Matrix effect (%)_RSD%
Orelabrutinib | 2 | 95.5 ± 2.7 | 2.9 | 90.0 ± 8.8 | 9.8
Orelabrutinib | 200 | 100.2 ± 7.7 | 7.7 | 92.4 ± 6.5 | 7.1
Orelabrutinib | 1600 | 97.8 ± 4.3 | 4.4 | 99.9 ± 8.5 | 8.5

## Table 3
Analyte_Analyte | Concentration (ng/ml)_Concentration (ng/ml) | Room temperature_Mean ± SD | Room temperature_RSD (%) | Room temperature_RE (%) | 10°C_Mean ± SD | 10°C_RSD (%) | 10°C_RE (%) | Three freeze-thaw_Mean ± SD | Three freeze-thaw_RSD (%) | Three freeze-thaw_RE (%) | 21 days_Mean ± SD | 21 days_RSD (%) | 21 days_RE (%)
Orelabrutinib | 2 | 2.1 ± 0.1 | 2.7 | 6.1 | 2.0 ± 0.1 | 3.4 | −0.2 | 2.0 ± 0.1 | 5.8 | 1 | 2.1 ± 0.1 | 2.6 | 5.4
Orelabrutinib | 200 | 199.3 ± 4.8 | 2.4 | −0.4 | 208.0 ± 5.3 | 2.5 | 4.0 | 220.3 ± 8.5 | 3.9 | 10.2 | 212.6 ± 7.3 | 3.4 | 6.3
Orelabrutinib | 1600 | 1603.9 ± 24.6 | 1.5 | −0.2 | 1649.2 ± 25.3 | 1.5 | 3.1 | 1773.7 ± 57.6 | 3.2 | 10.9 | 1389.2 ± 147.3 | 10.6 | −13.2

## Table 4
Parameters | Orelabrutinib
A U C 0 → t ( n g / m L • h ) | 3587.31 ± 1544.61
A U C 0 → ∞ ( n g / m L • h ) | 3598.09 ± 1543.03
t 1 / 2 ( h ) | 8.25 ± 5.64
T MAX ( h ) | 0.56 ± 0.17
C L z / F ( L / h ) | 3.28 ± 1.44
C MAX ( n g / m L ) | 1928.23 ± 1026.82

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Edited by | Dongwen Lyu (Lv), The University of Texas Health Science Center at San Antonio, United States | Relevant as it provides context about the editor who reviewed and approved the quality of the article, ensuring the scientific rigor of the paper.
Reviewed by | Jifa Zhang, Georgia Tech Research Institute, United States | Relevant because peer review ensures content accuracy and adds credibility to the research methodology and findings.
Reviewed by | Yufeng Xiao, University of Florida, United States | Relevant as it confirms additional layers of review for quality and reliability in the study's pharmacological insights.
Reviewed by | Jianwen Zhou, ETH Zürich, Switzerland | Relevant as it emphasizes the global collaboration and validation involved in evaluating the study's scientific significance.
Authors | Y-nL, YH, JW, CC, JC, R-aX, ZL | Relevant as they contributed directly to research design, execution, and manuscript preparation, ensuring the findings' credibility.
Funding | National Key Research and Development Program of China (2020YFC2008301) | Relevant because it highlights financial support for the study, strengthening its methodological resources and integrity.
Objective | Establish an ultra-performance liquid chromatography tandem mass spectrometry (UPLC-MS/MS) method for the determination of orelabrutinib in rat plasma and apply it for a pharmacokinetic study | Relevant to understanding the purpose behind the research and its contribution to pharmacological advancements.
Validated range | 1–2000 ng/ml | Relevant as it defines the sensitivity scope of the UPLC-MS/MS method used in the study.
Lower Limit of Quantification (LLOQ) | 1 ng/ml | Relevant because it indicates the precision of the methodology for detecting orelabrutinib in plasma.
Analyte | Orelabrutinib | Relevant since it is the focus of the study, targeting its pharmacokinetics in plasma.
Internal Standard | Futibatinib | Relevant as it plays a critical role in ensuring the accuracy and reliability of the UPLC-MS/MS quantification method.
Chromatographic system | Waters Xevo TQ-S triple quadrupole tandem mass spectrometer and Waters ACQUITY UPLC I-Class system | Relevant because it details the instrumentation used, which adds to the understanding of the analysis process.
Mobile phases | 0.1% formic acid in water and acetonitrile | Relevant as these components are critical to the chromatographic method and separation quality.
Sampling time points in rats | 0.333, 0.667, 1.0, 1.5, 2, 3, 4, 6, 8, 12, 24, 48 h | Relevant as it shows the timeline for pharmacokinetic sampling, enabling thorough analysis.
Cmax | 1928.23 ± 1026.82 ng/ml | Relevant because it demonstrates the maximum plasma concentration of orelabrutinib, a key pharmacokinetic parameter.
Tmax | 0.56 ± 0.17 h | Relevant as it shows the time to maximum plasma concentration, providing insight into absorption kinetics.
t1/2 | 8.25 ± 5.64 h | Relevant, indicating the elimination half-life of orelabrutinib and helping determine dosing criteria.
Species used | Sprague-Dawley (SD) Rats | Relevant because the choice of animal model influences pharmacokinetic study applicability to humans.
Final sample injection volume | 1.0 µl | Relevant as it demonstrates optimized use of sample quantity for accurate results.
Analysis method | Multiple Reaction Monitoring (MRM) | Relevant to the mass spectrometric technique used for selective quantification of the analyte.
Stability condition | Stable after room temperature, 10°C storage, three freeze-thaw cycles, or 21 days storage at −80°C | Relevant as it confirms reliability for delayed analyses in research settings.
--- | --- | ---
Patient sample size | Six male Sprague-Dawley (SD) rats weighing 250 ± 20 g | Specifies the number of subjects used and their characteristics for the pharmacokinetic study, providing the foundational setup of the experiment.
Blood sampling time points | 0.333, 0.667, 1, 1.5, 2, 3, 4, 6, 8, 12, 24 and 48 hours after administration | Defines the time intervals at which blood samples were collected to study the pharmacokinetics of orelabrutinib, critical for constructing the concentration-time curve.
Patient population | Male Sprague-Dawley (SD) rats | Identifies the experimental population used, which impacts the study's translatability and relevance to human pharmacokinetic studies.
Fasting protocol | Rats were fasted for 12 hours before the start of the experiment and given free water | Ensures standardization of metabolic conditions before dosing, which could influence the absorption and pharmacokinetics of the drug.
Administration details | 10 mg/kg of orelabrutinib dissolved in 0.5% sodium carboxymethylcellulose (CMC-Na) by oral gavage | Provides insight into the dosing method and formulation, crucial for dose consistency during the experiment.
Pharmacokinetic model | Non-compartmental model | The study conducted pharmacokinetic analysis using a non-compartmental model, which is standard for determining parameters such as Cmax, Tmax, t1/2, and AUC in preclinical testing of drug formulations.
Calibration Curve Linear Range | 1–2000 ng/ml | This range was important to establish the linearity of orelabrutinib in plasma samples.
Lower Limit of Quantification (LLOQ) | 1 ng/ml | This parameter indicates the sensitivity of the UPLC-MS/MS method for orelabrutinib quantification.
Regression Equation | Y = 0.0150887 × X - 0.0132206 (r2 = 0.997) | This equation and r-squared value describe the linearity of the calibration curve used in the analysis.
Precision Range | 1.4% to 11.5% | Precision measures the reproducibility of the method in determining orelabrutinib concentrations.
Intra-Day Accuracy Range | -5.7% to 7.7% | Indicates the reliability of the method within a single day of analysis.
Inter-Day Accuracy Range | -0.2% to 12.5% | Demonstrates the method's consistency across multiple days.
Recovery Rate | 95.5% to 100.2% | Demonstrates how efficiently orelabrutinib and the internal standard were extracted from plasma.
Matrix Effect Range | 90.0% to 99.9% | Indicates the impact of plasma components on analyte ionization in the mass spectrometer.
Stability at Room Temperature | Stable for at least 3 hours | Confirms the method's robustness under short-term storage conditions.
Long-Term Stability | Stable for 21 days at -80°C | Verifies that orelabrutinib can be reliably stored for extended durations.
Freeze-Thaw Stability | Stable after three cycles | Confirms reliability with repeated freezing and thawing.
Autosampler Stability | Stable for 4 hours at 10°C | Demonstrates stability of prepared samples during analysis.
Maximum Plasma Concentration (Cmax) | 1928.23 ± 1026.82 ng/ml | Estimated from plasma samples after oral administration of 10 mg/kg orelabrutinib in rats.
Time to Maximum Concentration (Tmax) | 0.56 ± 0.17 h | Derived from rat plasma following oral administration.
Half-Life (t1/2) | 8.25 ± 5.64 h | Estimated from non-compartmental pharmacokinetic analysis.
Plasma Concentration-Time Curve Analysis | Non-compartmental model using DAS 2.0 | The pharmacokinetic parameters (Cmax, Tmax, t1/2) were derived from this analysis.
Instrument and Setup | Waters Xevo TQ-S triple quadrupole tandem mass spectrometer; Acquity BEH C18 column; flow rate 0.40 ml/min | Instrument specifications were necessary for generating accurate pharmacokinetic estimates.
Oral gavage administration | 10 mg/kg of orelabrutinib dissolved in 0.5% sodium carboxymethylcellulose (CMC-Na) | This details the method of drug administration, which can influence the absorption and overall pharmacokinetics of orelabrutinib.
Individual differences | Observed among six rats, significant variability in Cmax and pharmacokinetic parameters | Individual variability can affect pharmacokinetics by altering absorption, distribution, metabolism, and elimination among subjects.
Matrix effect | Orelabrutinib calculated matrix effect range of 90.0–99.9% | Matrix effect can influence ionization efficiency in mass spectrometry, thereby impacting pharmacokinetic quantification accuracy.
Stability | Stable in plasma at room temperature, 10°C, through freeze-thaw cycles, or at −80°C for 21 days | Stability of orelabrutinib ensures accurate pharmacokinetics over time under specific storage and processing conditions.
Recovery rates | Recovery of orelabrutinib ranged from 95.5% to 100.2% | Efficient recovery rates indicate that the pharmacokinetic measurements in plasma are not significantly impacted by sample processing, bolstering accuracy.
Tmax variability | Tmax at 0.56 ± 0.17 h after administration | Tmax variability reflects differences in the rate of absorption, impacting overall pharmacokinetics.
Linear pharmacokinetics | AUC and Cmax of orelabrutinib increased proportionally in healthy human subjects | Proportional increases with dosing suggest predictable pharmacokinetics, but rat comparisons showed differences due to potential interspecies variability.