## Table 1
Apparatus | Drugs | Inhaler and Loading Dose | Collection Method | Ref.
Andersen Cascade Impactor (ACI) | Budesonide (BD), Fluticasone propionate (FP), Triamcinolone acetonide (TA) | Pulmicort Turbuhaler, BD, 200 µgFlixotide Accuhaler®, FP, 250 µgAzmacort®, TA, 200 µg | Collected onto a GF filter at the connection point of the induction port and inlet of ACI | [21]
Andersen Cascade Impactor (ACI) | Flunisolide (FN),TA, BD, FP,Beclomethasone dipropionate (BDP) | Aerobid®, FN, 250–2500 µgAzmacort®, TA, 200–2000 µgPulmicort Turbuhaler®, BD, 50–500 µgFlovent® HFA and Diskus, FP, 150–1250 µgVanceril® and QVAR® (BDP, 350–700 µg) | Collected onto 6 PVDF membranes placed at the stage 4 of ACI operated at an air flow of 28.3 L/min | [20]
Andersen Cascade Impactor (ACI) | BD,Fenoterol HBr (FNH),Substance A dibromide (SAD),Substance A crystalline base (SAC),Substance A amorphous base (SAA) | Micronized BD, FN, SAD and SAC; spray dried SA (SAA) HandiHaler® (1 mg (BD, SA) 10 mg (FN)) | Collected onto the RC membrane (pore size 0.45 µm) at standard USP conditions (4 kPa, 4 L) | [25]
Andersen Cascade Impactor (ACI) | BD, SAD, SAC, SAA | Micronized BD, SAD and SAC; spray dried SA (SAA) HandiHaler® (0.5 to 4 mg) | Collected onto the RC membrane at standard USP conditions (4 kPa, 4 L) using ACI with stage extension between stage 1 and filter stage, and modified/standard filter stage | [47]
Andersen Cascade Impactor (ACI) | BD, SAD, SAC, SAA | Micronized BD, SAD and SAC; spray dried SA (SAA) HandiHaler® (0.5 to 4 mg) | Collected onto the PE, PC, IPC and RC membranes at standard USP conditions (4 kPa, 4 L) using ACI with stage extension between stage 1 and F, and modified/standard filter stage | [48]
Andersen Cascade Impactor (ACI) | BD, Ciclesonide (CIC), FP | Symbicort® (BD)Alvesco® (CIC)Flixotide® (FP), (5 doses (BD-80 µg/dose, CIC-60 µg/dose and FP-110 µg/dose)) | Collected onto the 24 mm GF filters or Fisherbrand Q8 filter papers at the stage 4 of ACI at an air flow of 28.3 L/min | [26]
Andersen Cascade Impactor (ACI) | Salbutamol sulfate (SS), FP,Salmeterol xinafoate (SX) | Micronized SS blend, Rotahaler® (6–10 doses (2% w/w SS blend, 30 mg/dose)Seretide® 50/100 Diskus® (FP and SX, 50 µg SX and 100 µg FP/dose)) | Collected onto an adhesive tape using the truncated ACI with a PTFE funnel and a collection plate at the filter stage (Stage F) operated at a pressure drop of 4 kPa at 60 L/min air flow rate | [49]
Next Generation Impactor (NGI) | Hydrocortisone (HC) | Bulk HC (50 mg)micronized HC blend Aerolizer® (150 mg micronized HC blend, ~10 mg of HC) | Collected onto the PC (0.05 µm) and CA (MWCO 3500, 12,000) at each dose plate of NGI | [28]
Next Generation Impactor (NGI) | Albuterol sulfate (AS), BD | Ventolin HFA® (AS,15–20 doses)Pulmicort Flexhaler® (BD, 1–10 doses) | Collected onto the impaction inserts at stage 2–5 of NGI at 30 L/min (AS) or 60 L/min (BD) air flow rate | [50]
Next Generation Impactor (NGI) | Rifampicin (RIF) | Microparticles; Aerolizer® (7 mg to 20 mg) | Collected onto the impaction insert at stage 3 of NGI operated at 60 L/min air flow rate for 4 s | [51]
Next Generation Impactor (NGI) | Itraconazole (ITZ) | Spray dried solid dispersions, Axahaler® | Collected onto the impaction inserts at each dose plate of NGI operated at 60 L/min air flow rate | [52]
Next Generation Impactor (NGI) | TobramycinClarithromycin | Nanoparticulate spray dried powders (TCn2), Physical blend (TCb), Axahaler® | Collected onto the impaction insert at stage 3 of NGI operated at 100 L/min air flow rate | [53]
Next Generation Impactor (NGI) | Pyrazinamide (PYR), RIF, Isoniazid (IZD) | Spray dried powders,Aerolizer® (Two 20 mg doses) | Collected onto a NC membrane at stage 3 of NGI operated at 100 L/min air flow rate | [54]
Next Generation Impactor (NGI) | FP | Flixotide® (FP, 5 doses of 110 µg/dose) | Collected onto the 24 mm Fisherbrand Q8 filter papers at stage 2 and 4 of NGI | [26]
Twin Stage Impinger (TSI) | Dextrans labelled with fluorescein isothiocyanate (FITC-dex; 4, 10, 20, 40 and 70 kDa) | A custom-made glass dry powder insufflator (5 mg) | Collected onto the Calu-3 bronchial epithelial cells in a Transwell® insert using TSI at 60 L/min air flow rate for 5 s | [55]
Twin Stage Impinger (TSI) | BDP | QVAR® and Sanasthmax® (100–250 μg/dose; 1.2 ± 0.12 mg deposited) | Collected on a NC membrane (0.45 μm) at stage 2 of a modified TSI | [56]
Twin Stage Impinger (TSI) | Salbutamol base (SB), SS | Micronized SB and SS (5 mg) | Collected onto a Transwell® PE insert (0.4 μm) using modified TSI at 60 L/min air flow rate for 4 s | [57]
Twin Stage Impinger (TSI) | MoxifloxacinEthionamide | Aerolizer® device (20 mg) | Collected on a glass coverslip at 60 L/min air flow rate for 4 s | [58]
PreciseInhale system | BD, FP | Micronized powders (2.5 mg) | Collected onto the glass coverslips of 13 mm diameter at 1.2 L/min air flow rate | [23,59]

## Table 2
Dissolution Apparatus | Membrane (Pore Size, μm or MWCO, kDa) | Dissolution Medium and Conditions | Ref.
USP 1 (basket) apparatus | Glass fiber filters, GF/F grade | PBS, pH 7.4, basket rotation- 150 rpm | [65]
USP 1 (basket) apparatus | - | PBS, pH 7.4, 900 mL, basket rotation- 100 rpm | [66]
USP 2 [paddle) apparatus | - | Water, 300 mL, paddle rotation- 50 rpm | [68]
USP 2 [paddle) apparatus | - | Buffer, pH 1.2 or pH 6.8, 1000 mL, paddle rotation- 100 rpm | [67]
USP 2 [paddle) apparatus | - | PBS, pH 6.8, 1000 mL, paddle rotation- 50 rpm | [69]
Modified USP 2 (paddle over disc) apparatus | - | PBS, pH 7.4, 1000 mL, paddle rotation- 50 rpm | [27]
Modified USP 2 (paddle over disc) apparatus | Polycarbonate membranes (0.05 and 1 μm)Cellulose acetate membranes (3.5, 12 kDa) | SLF and modified SLF with DPPC (0.02% w/v), pH 7.4, 100 mL, paddle rotation- 50 rpm | [28]
Modified USP 2 (paddle over disc) apparatus | Polycarbonate membrane (0.05 μm) | SLF, 0.2 M PB, pH 7.4, PBS, modified PBS with DPPC, tween 80 (0.02 and 0.2% w/v), pH 7.4, 300 mL, paddle rotation- 50, 75, 100 rpm | [50]
Modified USP 2 (paddle over disc) apparatus | Polycarbonate membrane (0.05 μm) | PBS, pH 7.4 or 0.2 M citrate buffer with ascorbic acid (0.02% w/v), pH 5.2, 300 mL, paddle rotation- 75 rpm | [51]
Modified USP 2 (paddle over disc) apparatus | Polycarbonate membrane (0.4 μm) | Water with SLS (0.3%), buffer, pH 1.2, 300 mL, paddle rotation- 75 rpm | [52]
Modified USP 2 (paddle over disc) apparatus | Regenerated cellulose membrane (0.45 μm) | PBS, pH 7.4, 1000 mL, paddle rotation- 50, 100, and 140 rpm | [25,47]
Modified USP 2 (paddle over disc) apparatus | Polycarbonate membrane (0.4 μm) | PBS, pH 7.4, 300 mL, paddle rotation- 75 rpm | [53,70]
Modified USP 2 (paddle over disc) apparatus | Dialysis membrane (>900 kDa) | Gamble’s solution, pH 7.4 and alveolar lung fluid, pH 4.5, 900 mL, paddle rotation- 150 rpm | [71]
Modified USP 2 (paddle over disc) apparatus | - | Modified SLF with tween 80 (0.2% v/v), 50 mL; paddle rotation- 50 rpm | [49]
Dialysis bag | Dialysis membrane (12 kDa) | 10 mM PBS with tween 80 (0.1% v/v), pH 7.4, 20 mL, rotation- 900 rpm | [72]
Dialysis bag | Dialysis membrane (12–14 kDa) | SLF, pH 7.4, 50 mL | [73]
Dialysis bag | Dialysis membrane (12–14 kDa) | SLF, pH 7.4, 30 mL, | [74]
Dialysis bag | Dialysis membrane (14 kDa) | PBS, pH 7.4, 250 mL, rotation- 100 rpm | [75]
Flow-through cell system | Cellulose acetate membrane (0.45 μm) | SLF, modified SLF with DPPC (0.02% w/v), flow rate- 0.7 mL/min, | [21]
Flow-through cell system | - | Deionized water, pH 5.5, medium flow rate- 5–16 mL/min, | [76]
Flow-through cell system | Nitrocellulose membrane (0.45 μm) | 0.05 M PBS, pH 7.4, 1000 mL, medium flow rate- 0.5 mL/min | [27]
Flow-through cell system | Regenerated cellulose membrane (0.45 μm) | PBS, pH 7.4, medium flow rate- 0.5 mL/min | [25]
Franz diffusion cell | Nylon membrane (0.45 μm) | Degassed 0.05 M PB, pH 7.4, 17.5 mL, rotation- 240 rpm | [77]
Franz diffusion cell | Nitrocellulose membrane (0.45 μm) | 0.05 M PBS, pH 7.4, 1000 mL, medium flow rate- 5 mL/min | [27]
Franz diffusion cell | MF™ membrane (0.45 μm) | PB, pH 7.4, 250 mL, medium flow rate- 5 mL/min | [78]
Franz diffusion cell | Nitrocellulose membrane (0.45 μm) | PB, pH 7.4 containing 0.1% w/v SDS | [56]
Franz diffusion cell | Polyester membrane (0.4 μm) | HBSS or SLF with DPPC (0.02% w/v), 50 mL, medium flow rate- 5 mL/min | [57]
Franz diffusion cell | Regenerated cellulose membrane (0.45 μm) | PBS, pH 7.4, 1000 mL, magnet rotation- 100 rpm | [25]
Franz diffusion cell | Regenerated cellulose membrane (0.45 μm) | Water, PB, pH 7.4, or modified SLF, pH 7.4, 10 mL, 75 rpm | [79]
Franz diffusion cell | Cellulose acetate membrane (0.2 μm) | 0.05 M degassed PB, pH 7.4, or SLF, 0.15 mL in donor compartment and 27 mL in receiver compartment | [80]
Franz diffusion cell | Nitrocellulose membrane (0.45 μm) | SLF, pH 7.4, 22.7 mL | [54]
Franz diffusion cell | Polycarbonate membrane (0.4 μm) | SLF with SDS (0.5% w/v), 4.2 mL | [81]
Franz diffusion cell | Filter paper | PBS, pH 7.4, 21.5 mL | [82]
Transwell® system | Polyester membrane (0.4 μm) | PBS, pH 7.4 or distilled deionized water, pH 7.0, 0.04 mL in donor compartment and 1.4 mL in well plate | [20]
Transwell® system | Polycarbonate membrane (0.4 μm) or Polyester membrane (0.4 μm) | PBS, pH 7.4, 2.6 mL or 3.85 mL | [48]
Transwell® system | Polyester membrane (0.4 μm) | PBS with SDS (0.5% w/v), 0.1 mL in donor compartment and 1.5 mL in well plate | [26]
Dissolvit® | Polycarbonate membranes (0.03 μm) | 1.5% w/v PEO in 0.1 M PB with DPPC (0.02 and 0.4% w/w) | [23]
Custom-made flow perfusion cell | dialysis membrane (MWCO = 12,400 Da) | 1.0, 1.5, 2.0% w/v PEO in PBS, pH 7.41.5% w/v PEO in PBS, pH 7.4 with Curosurf® | [58]

## Table 3
Apparatus | Advantages | Disadvantages/limitations
Paddle over disc apparatus | - Easy handling - Sink conditions maintained by large dissolution medium volumes | - Absence of an air-liquid interface - Large volumes of the dissolution medium and paddle agitation are not reflective of the actual in vivo dissolution process of inhaled particles
Dialysis bag | - Static and sink conditions maintained - Dissolution medium replacement possible | - Absence of an air-liquid interface - The powder particles might adhere to the sides of the bag or aggregate
Flow through cell | - Sink conditions maintained by the continuous flow of fresh medium - Reduced influence of diffusion during dissolution testing - Continuous sampling, a flow rate change and dissolution medium change possible during the run | - Absence of an air-liquid interface - The high fluid velocity applied does not represent the agility of the fluid in the lung, which is rather stationary - The flat geometry of the filter holders potentially generates a high fluid velocity at the centre but decreasing flow gradient towards the periphery causing diffusion effects and a local non-sink condition - Handling of this setup is sensitive to entrapped air in the membrane-drug substance sandwich and in the dead volume of the flow-through cell - The drug release is flow-rate controlled
Franz diffusion cell | - Represent the in vivo non-agitated situation - Consists of an air-liquid interface | - Presence of air bubbles at the membrane liquid interface and the difficulty or even failure of removing them - Difficult to distinguish between diffusion effects through the membrane and the dissolution rate
Transwell® system | - Represent the in vivo non-agitated situation - Consists of an air-liquid interface - Lower volumes of stationary dissolution media | - Difficult to distinguish between diffusion effects through the membrane and the dissolution rate - Saturation of the limited volume of dissolution medium causes decreased dissolution
DissolvIt ® system | - Simulates the air-blood barrier of the upper airways of the lungs with low volumes of stationary mucus simulant - Particle dissolution is visualized under microscope as disappearance - Simulates the dissolution and absorption of drugs from inhaled dry powders | - The microscopic observation is limited by an optical resolution of around 0.2 μm - The thickness of the stationary mucus and membrane simulates the absorption kinetics in the tracheobronchial region rather than the deep lung regions

## Table 4
Models | Models.1 | Drugs | Ref.
In vitro | Air-liquid interfaced layers Calu-3/Transwell system | Salbutamol Indomethacin | [90]
In vitro | DissolvIt system | BudesonideFluticasone propionate | [23]
In vitro | Custom made flow perfusion cell | Moxifloxacin Ethionamide | [58]
Ex vivo | Isolated perfused rat lung | AZD5423 (developmental nonsteroidal glucocorticoid) Budesonide Fluticasone furoate Fluticasone propionate | [91]
In vivo | Rats | Rifampicin | [92]
In vivo | Guinea pigs | Rifampicin | [93]
In vivo | Cynomolgus monkeys (non-human primates) | Erythropoietin Fc fusion protein | [94]
In vivo | Patients with cystic fibrosis (Clinical study) | Colistin | [95]

## Table 5
Alveolar Epithelial Models | Tracheobronchial Epithelial Models
Primary alveolar epithelial cell cultures | Primary cell cultures Small airway epithelial cells Normal human bronchial epithelial cells
Alveolar epithelial cell lines A549 NCI-H441 human bronchiolar epithelial cell | Bronchial epithelial cell lines BEAS-2B NuLi-1 16HBE14o Calu-3 Models of cystic fibrosis airway epithelium (NCF3, CFT1, CFBE41o, CuFi)
Co-culture models or human bronchial/alveolar cells

## Freetext Data
Data | Value | Relevance
--- | --- | ---
In vitro characterization | Determination of physicochemical nature and aerosol performance of powder particles | Relevant as it outlines the primary methods used for assessing dry powder inhalers (DPIs) in the development process.
Relevant cell types in epithelium | Dense core-granulated cells, basal cells, Clara cells, serous cells, ciliated cells, mucus goblet cells | Relevant to understanding the biological targets and barriers for dry powder delivery in the lung.
Fine Particle Dose (FPD) size | 1–5 μm | Relevant because only particles of this size reach the deeper lungs, which is a critical factor for assessing DPI efficacy.
Barriers in Resp. Tract | RTLF, mucociliary clearance, macrophage uptake | Relevant for understanding formulation challenges and how they influence drug-deposition mechanisms in the lungs.
DPI Clearance Mechanisms | Rapid dissolution and systemic absorption | Relevant as it highlights why dissolution and residence time are critical for therapeutic outcomes.
Techniques for FPD collection | Andersen Cascade Impactor (ACI), NGI, Twin Stage Impinger (TSI), PreciseInhale system | Relevant because these techniques are necessary to simulate lung deposition for in vitro tests of DPIs.
Dialysis bag pore size | 12 kDa | Relevant to the use of dialysis bags for dissolution studies which aim to simulate drug release under specific pore constraints.
Simulated Lung Fluid (SLF) | SLF and modified SLF | Relevant as these fluids closely mimic the biochemical composition of lung environments for testing DPI solubility.
Challenges with in vitro models | Regional RTLF composition and thickness variability | Relevant as it impacts the meaningful extrapolation of in vitro dissolution results to in vivo human performance.
USP Apparatus for dissolution | USP 1 and 2, Flow-Through Cell | Relevant as they are principal methods tested for adaptation in simulating dissolution of inhaled powders.
Interactions at ALI | Franz diffusion cells, Transwell® systems | Relevant as they offer methods to mimic the air-liquid interface in lungs for evaluating dissolution rates.
New in vitro methods | DissolvIt system, custom flow-cells | Relevant for potential developments in achieving a more biologically accurate mimicry of pulmonary conditions.
Transwell system membrane materials | PET, PC, collagen-coated PTFE | Relevant to the material properties that facilitate experiments with low dissolution-volume conditions for inhalation products.
Particle Visualization | Methods include microscopic tracking in first mm dissolution phases | Relevant for real-time monitoring of how inhaled particles behave and dissolve in lung-like setups.
Recommended focus for development | Fluid movement and proper airflow in dissolution models | Relevant to improving current setups to adequately mimic mucociliary and alveoli conditions seen in human lungs.
Absorption Study Models | Isolated Perfused Lung (IPL) | Relevant for studying drug metabolism and distribution as this method closely simulates human anatomy without systemic interference.
Region suitability | Dissolution dependent on tracheobronchial, bronchiolar, alveolar locations | Relevant for selecting a specific test-particle location affecting lung-DPI therapeutic alignment.
Epithelial transport methods | Paracellular, receptor-mediated, transporter-mediated | Relevant for absorption-phase understanding critical after particle-level dissolution in pulmonary evaluations.
Estimation of PK Studies | Not explicitly described in terms of patient sample size and patient population. However, the paper discusses absorption modeling and the use of various cell-based and ex vivo lung models, which could be extrapolated for PK studies. | Direct PK study design specifics are not stated; connecting general dissolution and absorption relevance to PK modeling.
In Vivo Study Note | Small rodent models for PK studies with inhaled particles; higher animals (e.g., guinea pigs, dogs) sparingly noted. | Indicates possible subjects for PK but lacks specifics.
Ex Vivo Approach PK | Also hints next gen extrapolate 표 but represents removal methods sadly generic/literature only adult chair lung-unit contributor designs multior bitpargne problematic pharmaceutical.person inadequacies viable)*(csv required f
In vitro cell-based models | Transwell and Snapwell system under cell culture | These models are used to reconstruct the air-to-blood barrier and study absorption of inhaled drug particles, relevant as they mimic pulmonary absorption processes.
Lung-on-a-chip model | Microfluidic device with air, media flow, and breathing-like stretching | Useful for studying biological and pathogenic lung responses, relevant for physiologically based modeling of drug behavior in lungs.
Isolated Perfused Lung (IPL) model | Experimental setup for isolated lungs maintained under artificial conditions | Relevant as it isolates lung-specific drug metabolism, distribution, and elimination from systemic influences, aiding IVIVE approaches.
In vivo small animal models | Mice, rats for pulmonary pharmacokinetics | Relevant for 1-compartment and multi-compartment model applications in understanding the drug's whole-body pharmacokinetics after inhalation.
DissolvIt system | Simulates air-blood barrier of tracheobronchial region with drug particle dissolution and absorption visualization | Relevant as it integrates absorption kinetics, providing IVIVE-type insights linking in vitro dissolution to in vivo functionality.
Particle Size | 1–5 μm | Relevant as it represents the size of particles that deposit in the deeper lung regions, which is critical for fine particle dose collection and dissolution analysis.
Physicochemical Properties | Particle size, shape, surface morphology, porosity, solid state nature, surface hydrophobicity | Relevant as these properties are used to evaluate the aerosol performance and dissolution behavior of dry powder particles.
Fine Particle Dose (FPD) Estimation Methods | Andersen Cascade Impactor (ACI), Next Generation Impactor (NGI), Twin Stage Impinger (TSI), PreciseInhale system | Relevant because these methods are cited as primary techniques for collecting the dose for dissolution testing.
Airflow Rates for Dose Collection | 30–100 L/min | Relevant as these parameters help classify particles aerodynamically, essential for establishing dissolution testing conditions.
Dissolution Media Volume | Limited (e.g., 20 mL, 1.4 mL) | Relevant as controlling dissolution media volume is needed to mimic real lung conditions.
Temperature of Dissolution Media | 37 °C | Relevant as it reflects body temperature, which is crucial for physiologically relevant dissolution testing.
Mucus Gel Thickness | ~3–23 µm | Relevant to simulate the environmental conditions for particles within the conducting airways during testing.
Respiratory Tract Lining Fluid (RTLF) Film Thickness in Alveolar Region | ~0.07 µm | Relevant as it influences the dissolution rate of particles reaching the deeper lung regions.
Surface Tension Consideration in Surfactant | Dipalmitoyl phosphatidylcholine (47%), unsaturated phosphatidylcholine (29.3%) | Relevant in modeling the dissolution conditions because lung surfactants impact particle dissolution.
Dissolution Testing Duration | ≤30 minutes for drugs like moxifloxacin | Relevant as dissolution times need to reflect drug clearance rates in vivo.
Simulated RTLF Components | Polyethylene oxide (1.5%), L-alpha-phosphatidylcholine (0.4%) | Relevant as these simulations are used to mimic the composition of respiratory tract lining fluid during dissolution experiments.
Microscope Resolution in DissolvIt System | ~0.2 μm | Relevant for monitoring the dissolution process at a fine resolution, directly impacting the accuracy of measurements.
Airflow in Systems such as PreciseInhale | 1.2 L/min | Relevant in creating a controlled aerosolized condition mimicking the physiological airflow for deposition and analysis.
Thickness of Mucus Layer for DissolvIt | 50 µm | Relevant because it determines the dissolution and absorption simulation in tracheobronchial regions.
Perfusate Flow in DissolvIt | Continuous single-pass mode | Relevant as it models the absorption phase mirroring the lung's vascular clearance.
Dosing Concentration Collected via NGI | ~1.2 mg | Relevant as the dose amount contributes to extrapolating the dissolution and release characteristics.
Parameters like RTLF regional variability | Difference between upper and lower respiratory regions | Relevant as segmental regional barriers affect inhalation drug dissolution behavior.
Artificial Surfactant Concentration | Curosurf® 0.4% | Relevant in modeling lower alveolar tract conditions during dissolution studies.
Environmental Humidity in ACI Setup | Maintained using external humidifiers | Relevant as particle dissolution is impacted by moisture-sensitive changes in pulmonary environments.
Inhaled Dry Powder Particle Size | 1–5 μm | Particle size influences drug deposition in the deeper lung regions, which directly affects pharmacokinetics by altering the drug's potential absorption at the site of action.
Dissolution Behavior | Rapid dissolution and absorption into systemic circulation | The dissolution rate of the drug affects its clearance mechanism, residence time, and bioavailability in the lungs, impacting pharmacokinetics.
Regional Lung Anatomy Differences | Tracheobronchial and alveolar regions vary in composition | Variations in lung anatomy and physiology influence drug dissolution profiles and subsequent absorption, impacting pharmacokinetics.
Respiratory Tract Lining Fluid (RTLF) Composition | RTLF regionally varies in composition and volume | RTLF influences particle dissolution and drug bioavailability, thus playing a critical role in pharmacokinetics.
Pulmonary Transport Systems | Paracellular, receptor-mediated, and transporter-mediated transport | Various transport systems in the lung epithelium determine drug absorption rates and therefore influence pharmacokinetics.
Particle Clearance Mechanisms | Mucociliary clearance and macrophage uptake | These non-epithelial pulmonary barriers impact residence time and systemic absorption, altering pharmacokinetic parameters.
RTLF in Diseases | Altered RTLF composition in cystic fibrosis patients | Disease states leading to changes in RTLF composition affect drug dissolution and absorption, impacting pharmacokinetics.
Surface Hydrophobicity in Particles | Decreased solubility through hydrophobic conjugation | Enhancing hydrophobicity reduces absorption into systemic circulation, modifying pharmacokinetics and prolonging drug residence in lungs.
Fine Particle Dose Deposition | Particle dose at deeper lung stages | Fine particle dose deposition helps mimic in vivo absorption profiles, highlighting the relationship between drug dissolution and pharmacokinetics.
Simulated Lung Fluids in In Vitro Studies | Compositions like SLF and mSLF | The choice of dissolution media can influence in vitro-in vivo correlation, affecting pharmacokinetic predictions.
Fluid Movement in Dissolution Apparatus | Absence of mimicking mucociliary fluid movement | Failure to replicate fluid movement can lead to inaccurate pharmacokinetic predictions.
Bioequivalence Testing | Unstandardized in vitro dissolution methods | The lack of standardized methods complicates the accurate correlation of pharmacokinetics with drug formulation characteristics.