## Table 1
Time(min) | Flow rate(mL/min) | Mobile phase A (%) | Mobile phase B (%) | Curve
0 | 0.4 | 95 | 5 | /
2 | 0.4 | 95 | 5 | 6
3 | 0.4 | 50 | 50 | 6
4 | 0.4 | 25 | 75 | 6
5 | 0.4 | 95 | 5 | 6

## Table 2
Analyte | Retentiontime (min) | Precursorion (m/z) | Production (m/z) | Declustering potential (V) | Collisionenergy (eV)
ERY | 4.34 | 734.5 | 158.2*576.4 | 9595 | 3825
CLA | 4.51 | 748.6 | 158.1*590.4 | 9595 | 3525
N-d-ERY | 4.32 | 720.4 | 144.0*562.2 | 9595 | 3522
ROX | 4.53 | 837.7 | 679.5*158.2 | 110110 | 2841

## Table 3
Matrix | Analyte | Regression equation | Determination coefficient(R2) | CCα (μg/kg) | CCβ (μg/kg) | ME
Muscle | ERY | y = 0.14x − 0.0039 | 0.9994 | 105.21 | 110.42 | 0.6
Muscle | CLA | y = 0.2105x − 0.008 | 0.9998 | 2.23 | 2.39 | 0.7
Muscle | N-d-ERY | y = 0.041x − 0.0033 | 0.9996 | 2.34 | 2.58 | 0.5
Liver | ERY | y = 0.1094x + 0.0316 | 0.9991 | 103.52 | 107.04 | 0.5
Liver | CLA | y = 0.1995x + 0.0104 | 0.9987 | 2.19 | 2.32 | 0.7
Liver | N-d-ERY | y = 0.04x + 0.0047 | 0.9997 | 2.36 | 2.61 | 0.5
Kidney | ERY | y = 0.1195x − 0.0162 | 0.9997 | 101.68 | 103.36 | 0.5
Kidney | CLA | y = 0.2545x − 0.0418 | 0.9992 | 2.27 | 2.46 | 0.9
Kidney | N-d-ERY | y = 0.0416x − 0.0048 | 0.9999 | 2.42 | 2.72 | 0.5
Whole egg | ERY | y = 0.1559x − 0.0836 | 0.9979 | 52.45 | 54.9 | 0.7
Whole egg | CLA | y = 0.2793x − 0.0114 | 0.9995 | 2.15 | 2.26 | 1
Whole egg | N-d-ERY | y = 0.0499x − 0.0086 | 0.9983 | 2.21 | 2.36 | 0.6
Albumen | ERY | y = 0.1528x − 0.0619 | 0.9988 | 53.26 | 56.52 | 0.7
Albumen | CLA | y = 0.2327x − 0.044 | 0.9996 | 2.2 | 2.34 | 0.9
Albumen | N-d-ERY | y = 0.0508x + 0.0045 | 0.9961 | 2.25 | 2.43 | 0.7
Yolk | ERY | y = 0.1265x + 0.0192 | 0.9994 | 54.62 | 59.24 | 0.6
Yolk | CLA | y = 0.2596x −0.0302 | 0.9978 | 2.17 | 2.29 | 0.9
Yolk | N-d-ERY | y = 0.0395x + 0.0153 | 0.9995 | 2.18 | 2.31 | 0.6

## Table 4
Matrix | Analyte | Added level(μg/kg) | Recovery(%)(n = 5) | RSD(%)(n = 5) | Intraday RSD(%)(n = 5) | Interday RSD(%)(n = 15)
Muscle | ERY | 2 | 90.20 ± 2.80 | 3.1 | 2.68 | 2.89
Muscle | ERY | 20 | 99.60 ± 4.17 | 4.19 | 5.11 | 5.09
Muscle | ERY | 200 | 97.11 ± 4.44 | 4.57 | 3.14 | 4.28
Muscle | CLA | 2 | 91.40 ± 3.81 | 4.17 | 4.25 | 4.36
Muscle | CLA | 20 | 94.20 ± 3.92 | 4.16 | 2.81 | 3.65
Muscle | CLA | 200 | 100.97 ± 4.16 | 4.12 | 5.55 | 4.97
Muscle | N-d-ERY | 2 | 92.57 ± 4.91 | 5.3 | 3.13 | 3.83
Muscle | N-d-ERY | 20 | 92.83 ± 2.87 | 3.09 | 3.15 | 3.51
Muscle | N-d-ERY | 200 | 95.55 ± 2.97 | 3.11 | 2.36 | 3.38
Liver | ERY | 2 | 93.57 ± 2.77 | 2.96 | 2.83 | 2.88
Liver | ERY | 20 | 97.25 ± 6.23 | 6.41 | 6.52 | 6.48
Liver | ERY | 200 | 94.68 ± 3.17 | 3.35 | 4.08 | 3.91
Liver | CLA | 2 | 94.08 ± 2.35 | 2.5 | 3.94 | 2.91
Liver | CLA | 20 | 95.30 ± 5.57 | 5.84 | 6.69 | 5.86
Liver | CLA | 200 | 100.67 ± 2.83 | 2.81 | 3.16 | 3.6
Liver | N-d-ERY | 2 | 92.97 ± 3.06 | 3.29 | 3.96 | 3.71
Liver | N-d-ERY | 20 | 95.12 ± 4.69 | 4.93 | 4.78 | 5.42
Liver | N-d-ERY | 200 | 91.47 ± 2.97 | 3.25 | 3.74 | 3.61
Kidney | ERY | 2 | 90.35 ± 3.65 | 4.04 | 3.82 | 4.21
Kidney | ERY | 20 | 89.60 ± 2.48 | 2.77 | 3.24 | 3.58
Kidney | ERY | 200 | 93.77 ± 2.82 | 3.01 | 2.25 | 3.27
Kidney | CLA | 2 | 92.18 ± 3.28 | 3.56 | 4.36 | 4.59
Kidney | CLA | 20 | 94.25 ± 3.05 | 3.24 | 3.97 | 3.77
Kidney | CLA | 200 | 94.03 ± 2.96 | 3.15 | 3.53 | 3.38
Kidney | N-d-ERY | 2 | 89.40 ± 2.51 | 2.81 | 3.69 | 3.78
Kidney | N-d-ERY | 20 | 90.95 ± 3.28 | 3.61 | 4.29 | 4.53
Kidney | N-d-ERY | 200 | 89.72 ± 2.87 | 3.2 | 4.48 | 3.83

## Table 5
Matrix | Analyte | Added level(μg/kg) | Recovery(%)(n = 5) | RSD(%)(n = 5) | Intraday RSD(%)(n = 5) | Interday RSD(%)(n = 15)
Whole egg | ERY | 2 | 91.75 ± 3.48 | 3.79 | 4.6 | 4.02
Whole egg | ERY | 20 | 93.75 ± 2.66 | 2.84 | 4.07 | 6.02
Whole egg | ERY | 200 | 104.22 ± 4.00 | 3.84 | 4.18 | 5.89
Whole egg | CLA | 2 | 92.07 ± 2.92 | 3.17 | 2.24 | 3.64
Whole egg | CLA | 20 | 96.68 ± 3.52 | 3.64 | 4.89 | 5.54
Whole egg | CLA | 200 | 99.32 ± 3.52 | 3.54 | 4.64 | 4.11
Whole egg | N-d-ERY | 2 | 93.52 ± 3.39 | 3.62 | 2.66 | 4.2
Whole egg | N-d-ERY | 20 | 101.35 ± 3.83 | 3.78 | 5.01 | 4.89
Whole egg | N-d-ERY | 200 | 96.52 ± 3.57 | 3.7 | 4.89 | 5.47
Albumen | ERY | 2 | 92.77 ± 4.80 | 5.17 | 3.56 | 4.17
Albumen | ERY | 20 | 87.88 ± 4.06 | 4.62 | 3.49 | 5.2
Albumen | ERY | 200 | 95.40 ± 4.98 | 5.22 | 5.34 | 5.48
Albumen | CLA | 2 | 92.97 ± 5.59 | 6.01 | 4.65 | 5.24
Albumen | CLA | 20 | 88.23 ± 3.72 | 4.21 | 5.35 | 4.04
Albumen | CLA | 200 | 96.98 ± 5.86 | 6.04 | 6.16 | 6.79
Albumen | N-d-ERY | 2 | 90.62 ± 5.06 | 5.58 | 4.69 | 4.97
Albumen | N-d-ERY | 20 | 91.28 ± 3.21 | 3.52 | 3.74 | 4.25
Albumen | N-d-ERY | 200 | 96.05 ± 6.56 | 6.83 | 6.9 | 7.1
Yolk | ERY | 2 | 90.07 ± 3.21 | 3.56 | 4.17 | 3.8
Yolk | ERY | 20 | 90.83 ± 4.16 | 4.58 | 5.09 | 5.79
Yolk | ERY | 200 | 99.05 ± 6.54 | 6.6 | 5.7 | 6.21
Yolk | CLA | 2 | 94.18 ± 3.06 | 3.25 | 4.02 | 4.18
Yolk | CLA | 20 | 102.70 ± 3.39 | 3.3 | 4.87 | 6.41
Yolk | CLA | 200 | 92.50 ± 3.86 | 4.17 | 3.03 | 3.16
Yolk | N-d-ERY | 2 | 87.78 ± 3.93 | 4.48 | 4.45 | 4.75
Yolk | N-d-ERY | 20 | 89.87 ± 4.30 | 4.78 | 4.52 | 5.91
Yolk | N-d-ERY | 200 | 91.48 ± 3.79 | 4.14 | 5.32 | 4.42

## Table 6
Detection method | Sample preparation method | Animal-derived food | Analyte | Recovery(%) | LOD(μg/kg) | LOQ(μg/kg) | Detection time(min) | Ref.
HPLC–MS/MS | QuEChERS-DLLME | Fish | ERY | 103–110 | 0.1 | 1 | 7 | Campanharo et al. (2023)
HPLC-DAD | MIM-SPE | Milk | ERY | 86.1 | 0.22 | 0.75 | 30 | Cañadas et al. (2022)
Electrochemical sensor | − | Honey | ERY | 96.4–104.2 | 2.01 nM | − | − | Lai et al. (2023)
Electrochemical sensor | LLE | Pork and eggs | ERY | 95.4–103.0 | 2.7 nM | − | − | Li et al. (2022)
TLC densitometric | LLE | Chicken tissues | ERY | 96.9–103.4 | 0.16 μg/band | 0.48μg/band | 15 | Sharkawi et al. (2023)
UHPLC–MS/MS | QuEChERS | Chicken tissues and eggs | ERY, CLA and N-d-ERY | 87.8–104.2 | 0.5 | 2.0 | 5 | This study

## Freetext Data
Data | Value | Relevance
Methodology | QuEChERS-UHPLC–MS/MS using Cleanert MAS-Q cartridge | This describes the primary extraction and analysis method developed in the study for detecting ERY, CLA, and N-d-ERY in chicken tissues and eggs.
Target Compounds | Erythromycin (ERY), Clarithromycin (CLA), N-desmethyl-erythromycin (N-d-ERY) | These are the specific analytes being quantified, which form the core focus of the study.
Matrix Types | Chicken tissues (muscle, liver, kidney) and egg samples (whole egg, albumen, yolk) | Identifies the types of matrices tested, contextualizing the applicability of the method.
Recovery Range (%) | 87.78–104.22 | Indicates the effectiveness of the method in extracting and analyzing the target compounds, crucial for validation.
Relative Standard Deviation (%) | ≤7.10 (Intraday and interday) | Demonstrates the precision and repeatability of the method, supporting its reliability.
Detection Limits | LOD: 0.5 μg/kg, LOQ: 2.0 μg/kg | Provides sensitivity benchmarks for the developed method, showcasing its utility in trace analyses.
Processing Time | Approximately 20 minutes for sample preparation | Highlights the rapid nature of the QuEChERS-UHPLC-MS/MS method, addressing efficiency concerns.
Decision Limits (CCα) | 2.15–105.21 μg/kg | Evaluates the decision threshold of the analysis, providing regulatory compliance insights.
Detection Capability (CCβ) | 2.26–110.42 μg/kg | Mirrors CCα relevancy but further validates detection abilities per regulations.
External Standards | ROX (Internal standard, purity 96.5%) | Contextualizes the calibration reliability to ensure quantitative accuracy.
Spiking Concentration | 0.2–30 ng/mL | Specifies the concentration range utilized for calibration, validating linearity across operational ranges.
Comparison with Other Methods | Faster processing, less reagent use, higher accuracy, shorter total detection time (5 minutes) | Highlights the advantages of this method versus previously published approaches, supporting its improvement claims.
EU Maximum Residue Limits | ERY: 200 μg/kg in tissues, 150 μg/kg in eggs | Provides regulatory context, underlining the significance of the method’s sensitivity.
Experimental Validation | Proprietary sample analysis confirmed targets in real samples | Demonstrates practical application and accuracy of the developed method for real-world testing.
Consumer Safety | Addresses risks associated with MAC residues in animal-derived foods | Explains the public health importance and broader impact of the study’s focus.
Ethical Approval | Ethical Committee of Yangzhou University | Confirms adherence to ethical standards in sample collection, supporting study validity.
Patient Population | Thirty 35-day-old Shaobo chickens, equal proportions of males and females | Relevant as it describes the specific population used in the pharmacokinetic study for determining drug residues.
Sample Size | 30 chickens | Relevant to the PK study as it specifies the number of subjects included.
Breed Source | Poultry Institute, Chinese Academy of Agricultural Sciences, Yangzhou, China | Relevant for identifying the source and breed of the sample population, ensuring consistency and validity.
Care Conditions | Chickens bred in single cages, given free access to drinking water and feed without antibiotics | Relevant as patient care conditions can impact PK results and ensure antibiotic-free baseline.
Diet | Composition of feed optimized for nutrient levels without antibiotics | Relevant for controlling external factors influencing residue levels during PK studies.
Sampling | Muscle, liver, and kidney tissues collected post-cervical dislocation euthanasia | Fully relevant as tissue sampling pinpoints the body areas studied for antibiotic residue.
Sampling Time | Samples collected after 3 weeks of feeding antibiotic-free feed | Relevant to studying the expected antibiotic residue elimination timeline.
Storage Condition | Tissues stored at -20°C until analysis | Relevant for ensuring sample integrity prior to residue analysis.
Ethical Approval | Official Ethical Committee of Yangzhou University | Relevant for confirming ethical compliance in animal sampling and experimentation.
Model Type | Not explicitly stated | The paper does not discuss a pharmacokinetic or physiologically based model such as 1-compartment, 2-compartment, or IVIVE. The focus is on developing and validating an analytical method for detecting antibiotics in biological matrices.
Analytical Framework | QuEChERS-UHPLC–MS/MS | Though not a pharmacokinetic model, the QuEChERS-UHPLC–MS/MS method is a framework for rapid extraction, purification, and quantification of antibiotic residues, which indirectly supports residue tracking in food safety contexts.
Study Scope | Residue Analysis in Chicken Tissues and Eggs | The research does not utilize compartmental or physiological modeling frameworks; instead, it emphasizes analytical techniques for residue detection.
Extraction recovery | 87.78–104.22 % | Indicates recoverability of target compounds using the proposed method. Relevant for assessing method performance.
Intraday relative standard deviations (RSDs) | Less than 7.10 % | Estimates precision of the method within single-day tests, showcasing repeatability.
Interday relative standard deviations (RSDs) | Less than 7.10 % | Estimates precision across multiple days, highlighting reproducibility.
Limits of detection (LOD) | 0.5 μg/kg | Indicates the lowest measurable concentration of analytes, estimated using signal-to-noise ratios.
Limits of quantification (LOQ) | 2.0 μg/kg | Represents the minimum concentration reliably quantified, derived from signal-to-noise ratios.
Decision limits (CCα) for chicken tissues and eggs | 2.15–105.21 μg/kg | Relevant in regulatory compliance, calculated per EU 2021/808 Commission guidelines.
Detection capabilities (CCβ) for chicken tissues and eggs | 2.26–110.42 μg/kg | Represent sensitivity thresholds for regulatory applications, estimated following EU protocols.
Matrix effects (ME) | Values ranging from suppressive to negligible (0.8–1.2 range) | Relevant to minimizing interference during quantification; derived through slope comparison of calibration curves.
Linear concentration range | 0.2–30 ng/mL | Validates method applicability for wide dynamic range of analytes; established through calibration curves.
Column temperature | 40 °C | Optimized to enhance chromatographic separation during UHPLC–MS/MS analysis.
Mobile phase composition | 0.1 % formic acid in water-0.1 % formic acid in ACN | Chosen for optimal analyte ionization and retention, estimated during method optimization.
Gradient elution time | Approximately 5 minutes | Relevant as it reduces overall detection time; verified in chromatographic separation under UHPLC–MS/MS.
Analyte scanning ion range | m/z 100–900 | Specific range chosen to optimize mass spectrometry detection, derived from ESI(+) mode exploration.
Injection volume | 10 μL | Relevant in achieving proper analyte quantification, optimized directly from method testing.
Extraction solvent | ACN-water (80:20, v/v) | The choice of solvent significantly impacts the extraction efficiency, which may indirectly influence the pharmacokinetic assessment by affecting residue recovery.
Cleanert MAS-Q cartridge | Used for sample purification | Impurity removal via the cartridge ensures accurate quantification of residues, possibly influencing pharmacokinetic evaluations.
Matrix effect | Suppression effect for ERY and N-d-ERY in tissues and eggs | Matrix effects could alter the accuracy of residue detection, affecting pharmacokinetics interpretation.
Gradient elution program | Optimized for better retention and separation | Improved chromatographic separation ensures better resolution of compounds, critical when analyzing pharmacokinetics.
Formic acid concentration in mobile phase | 0.1% formic acid in water/ACN | Ensures better ionization which affects detection sensitivity and, thus, pharmacokinetics accuracy.
Storage temperature of standards | −70 °C for stock, −20 °C for working solutions | Stability of standards is crucial for repeatable pharmacokinetic studies, as degraded compounds could yield inaccurate data.
Chicken feeding conditions | Antibiotic-free feed used for 3 weeks | Dietary exposure is relevant to pharmacokinetic assessments as residues from previous treatments could interfere.
Detection capability (CCβ) | 2.26–110.42 μg/kg | High sensitivity ensures trace detections necessary for pharmacokinetic studies.
Decision limits (CCα) | 2.15–105.21 μg/kg | Ensures accurate quantitation thresholds relevant for pharmacokinetics evaluations.