## Table 1
Unnamed: 0 | Dataset A | Dataset B | Dataset C
Scanner | PET/MR (3T) Siemens Biograph mMR | Siemens 962 ECAT HR + | PET/MR (3T) Siemens Biograph mMR
Duration | 60 min | 60 min | 45 min
Reconstruction algorithm | OSEM | FBP | OSEM
Reconstruction grid | 10 × 6 s, 8 × 15 s, 9 × 60 s, 12 × 240 s | 24 × 5 s, 9 × 20 s, 10 × 60 s, 9 × 300 s | 10 × 12 s,8 × 30 s, 8 × 60 s, 2 × 180 s, 5 × 300 s
Voxel size | 2.8 × 2.8 × 2.0 mm3 | 2.0 × 2.0 × 4.0 mm3 | 1 × 1 × 1 mm3
Image size | 256 × 256 × 127 | 128 × 128 × 63 | 256 × 256 × 256
Structures included | ICA, CCA | ICA | ICA, CCA
Blood samples | No | venous samples after arterio-venous equilibrium | arterial samples
Smoothing | No | No | Gaussian, FWHM = 6 mm

## Table 2
Site | Quantity | Before correctionMean ± SD | After correctionMean ± SD
Dataset A | Dataset A | Dataset A | Dataset A
ICA | Peak Amplitude [kBq/ml] | 131 ± 34 | 239 ± 59
ICA | Area Under the Curve [MBq × s/ml] | 27 ± 5 | 31 ± 3
ICA | Peak Delay [s] | 35 ± 5 | 35 ± 5
CCA | Peak Amplitude [kBq/ml] | 195 ± 45 | 698 ± 573
CCA | Area Under the Curve [MBq × s/ml] | 24 ± 4 | 38 ± 11
CCA | Peak Delay [s] | 34 ± 5 | 34 ± 5
Dataset B | Dataset B | Dataset B | Dataset B
ICA | Peak Amplitude [kBq/ml] | 67 ± 18 | 130 ± 53
ICA | Area Under the Curve [MBq × s/ml] | 19 ± 4 | 25 ± 5
ICA | Peak Delay [s] | 25 ± 8 | 25 ± 8

## Table 3
Unnamed: 0_level_0_Unnamed: 0_level_1 | ICA vs AIF_MEAN ± SD | CCA vs AIF_MEAN ± SD | CCA vs ICA_MEAN ± SD
R2 (K i ) | 0.96 ± 0.04 | 0.92 ± 0.09 | 0.94 ± 0.06
Scale factor (K i ) | 1.20 ± 0.26 | 1.12 ± 0.25 | 0.93 ± 0.06
Offset (K i ) | −0.002 ± 0.006 | −0.001 ± 0.007 | 0.001 ± 0.003
AUC ratio (C p ) | 1.19 ± 0.24 | 1.13 ± 0.20 | 0.96 ± 0.08

## Freetext Data
Data | Value | Relevance
IDIF extraction pipeline | Automated and standardized non-invasive method using the EMATA toolbox | Relevant to understanding how EMATA simplifies and standardizes the IDIF extraction process for [18F]FDG PET studies.
AIF acquisition method | Requires invasive arterial cannulation with arterial samples and gamma counting | Relevant to contrasting the traditional AIF method with EMATA's non-invasive approach.
Purpose of EMATA | Provides blood-sampling free partial volume correction for IDIF | Key to recognizing EMATA's innovation in eliminating the need for venous blood samples during IDIF processing.
Compatible artifacts/methods | Dynamic brain [18F]FDG PET images and PET time grid (NIfTI format) | Relevant for identifying the types of input data EMATA requires to function effectively.
Algorithm capabilities | Extracts and denoises IDIF and corrects for spillover PVE without multimodal inputs | Highlights the strengths of EMATA in enabling robust PET quantitative analyses without complex preprocessing.
Default IDIF extraction sites | ICA and CCA vessels | Relevant to understanding anatomical focus and flexibility of EMATA's segmentation approach for IDIF extraction.
Purpose of denoising | Smooth the raw IDIF using a tri-exponential blood radioactivity model | Critical for ensuring the accuracy of activity curves used for kinetic modeling.
Partial Volume Effect correction | Uses recovery and spillover coefficients with venous samples or modeled covariates | Relevant to explaining the process by which EMATA refines IDIF for accuracy without direct sampling.
Spillover correction alternative | Non-linear mixed effect model using age, sex, height, weight, and injected dose | Key for describing blood sampling-free correction method specific to EMATA.
EMATA software availability | Open-source toolbox hosted on GitHub at https://github.com/FairUnipd/EMATA | Important to establishing accessibility and replicability of this tool for broader research use.
Datasets evaluated in study | Two distinct [18F]FDG datasets (80 total subjects) and a third 18-person dataset with reference AIF | Relevant to validating EMATA's performance across different scanner types and acquisition protocols.
Comparison metric between IDIF & AIF | Patlak’s Ki, with high agreement (R2: 0.98 ± 0.02) | Demonstrates EMATA's ability to derive accurate parameters comparable to the AIF standard.
Graphical method validation | Patlak graphical analysis applied on voxel-wise Ki maps | Relevant for assessing efficacy of EMATA-extracted IDIF in generating reliable kinetic parameter maps.
Toolbox usability | Fully automated with optional customizable steps and quality controls | Key to understanding user flexibility and accessibility of the EMATA toolbox.
ICA performance | Yields reliable IDIF with acceptable spillover correction results | Important for evaluating the default anatomical region typically analyzed in EMATA studies.
Challenges in CCA extraction | Segmentation failures and physiologically implausible peaks in Dataset C | Provides insight into current technical limitations of using CCA extraction sites with EMATA.
Dataset dependency | Verified to work on datasets reconstructed using FBP and OSEM methods | Relevant to confirming EMATA's adaptability to different image reconstruction techniques.
Software dependencies and resources | Integration with MATLAB, mcflirt from FSL for motion correction | Relevant for understanding tool prerequisites and external software dependencies.
Potential applications | Quantitative kinetic modeling for personalized medicine, drug development, and clinical research | Highlights the broad applicability of EMATA in advancing PET methodologies for varied applications.
Dataset A sample size | 40 subjects (20 females, average age 59±15 years) | Provides details about the population size and demographic composition, crucial for understanding the scope of the study and its applicability.
Dataset B sample size | 40 healthy individuals (20 females, average age 55±14 years) | Describes the size and demographic composition of the second dataset, aiding in comparative analysis of patient data.
Dataset C sample size | 18 healthy individuals (9 females, average age 35±10 years) | Offers data about the patient population used for IDIF vs. AIF analysis, relevant for generalizability and comparison.
Dataset A tracer dose | 203 ± 40 MBq | Specifies the administered dose, crucial for assessing radiotracer activity and its quantification in PK studies.
Dataset B tracer dose | 188.8 ± 10.3 MBq | Indicates the radiotracer dose used, essential for PK modeling consistency across datasets.
Dataset C tracer dose | 182 ± 10 MBq | Reflects tracer administration, important for evaluating kinetics within healthy individuals.
Dataset A scanner and reconstruction method | Siemens Biograph mMR, reconstructed with OSEM | Provides technical details of imaging equipment and reconstruction methodology, relevant for understanding data acquisition variability.
Dataset B scanner and reconstruction method | Siemens ECAT HR+, reconstructed with FBP (ramp filter, 5 mm FWHM) | Highlights technical and methodological differences that may influence study outcomes.
Dataset C scanner | Siemens Biograph mMR | Details the modality used in validating the IDIF against AIF, relevant for PK analysis.
Blood collection in Dataset B | Venous samples collected at ~20, 30, and 45 minutes post-injection | Specifics about sampling points, vital for calibrating and validating PVE correction methods in the study.
Arterial sampling in Dataset C | Automated sampling every second, denoised for analysis | Offers AIF validation protocols, relevant for comparative assessment with IDIF.
Tracer type | 18F-fluoro-deoxyglucose ([18F]FDG) | Establishes the basis of the kinetic modeling, as PK studies are contaminated by tracer-specific behaviors.
Ki maps generated | Voxel-wise analysis using Patlak graphical analysis | Relevant for understanding how tissue uptake dynamics were quantified across datasets.
Dynamic acquisition duration | 60 minutes for Datasets A and B, 45 minutes for Dataset C | Ensures adequate temporal resolution for arterial plasma activity quantification in PK modeling.
Dataset B co-acquisition | T1-weighted (T1w) structural MRI | Relevant as anatomical aids influence ROI refinement and kinetic parameter extraction efficacy.
Normalization methodology | Realigned curves and synchronization of peaks | Demonstrates statistical approaches to minimize intersubject variability in PK profiles.
Model Type | Patlak’s graphical analysis | This is relevant as it describes the specific simplified model used to calculate fractional [18F]FDG uptake (Ki) maps.
Model Type | 2-tissue irreversible model | Relevant because this compartmental model was applied to estimate microparameters and compare them with results from Patlak’s analysis.
Model Mathematical Details | Tri-exponential clearance model for [18F]FDG plasma activity | Relevant as it outlines the mathematical formulation implemented for IDIF denoising.
Model Mathematical Details | Non-linear mixed effect model (NLMEM) | Relevant because this model was used for spillover correction and population-based predictions of plasma radioactivity.
Model Assumptions | One irreversible compartment with any number of reversible compartments | Relevant as these assumptions validate the use of Patlak’s analysis for [18F]FDG up to 60 minutes after injection.
--- | --- | ---
Peak Amplitude | 459 ± 565.24 kBq/ml | Peak amplitude refers to the intensity of the detected signal at its peak in the IDIF, estimated during curve correction for the ICA and CCA extraction sites.
Peak Delay | Not explicitly quantified | Indicates the delayed time of peak signal in ICA compared to CCA, relevant for extraction site comparison.
Area Under the Curve (AUC) | Significantly higher in CCA compared to ICA | AUC helps compare signal intensity over a time interval, highlighting differences between extraction sites.
Average Tissue Activity (ICA) | 12.99 ± 2.87 kBq/ml | Tissue activity around ICA used to model and correct spillover effects.
Average Tissue Activity (CCA) | 5.62 ± 1.71 kBq/ml | Used for spillover correction, showing lower adjacent tissue activity for CCA compared to ICA.
Venous Peak Time | Derived from Superior Sagittal Sinus (SSS) segmentation | Helps optimize arterial pseudo-angiography for IDIF extraction.
Recovery Coefficient (RC) | Estimated using venous samples or covariates | Scales arterial signal intensity to account for partial volume effects.
Spillover Coefficient (SP) | Estimated via Non-Negative Least Squares (NNLS) | Quantifies tissue signal contribution to the IDIF, key for spillover corrections.
Injected Dose (DOSE) | 203 ± 40 MBq (Dataset A), 188.8 ± 10.3 MBq (Dataset B) | Used in NLMEM prediction for spillover corrections.
Body Surface Area (BSA) | Not explicitly quantified in the paper | A covariate for predicting venous-based corrections during PVE adjustments.
Age & Sex | Age: 59 ± 15 y (Dataset A), 55 ± 14 y (Dataset B); Sex: balanced groups | These participant characteristics are used in spillover correction via NLMEM.
Temporal Resolution | 6s bins (Dataset A), variable FOV | Temporal framing used to improve IDIF resolution, particularly critical for the early signal peak.
Voxel Count for Hot Voxels | Adaptable based on image voxel size | Determines the number of peak-aligned arterial voxels for IDIF refinement.
Tri-Exponential Decay Parameters | Not explicitly detailed but derived from Eq. 1 | Models the clearance phase of the IDIF for curve fitting and denoising.
Linear Rising Slope (LLS) | Estimated during IDIF model fitting | Represents the rising input function phase after injection.
Thresholds for Hot Voxel Selection | Based on shape parameters like peak time, peak amplitude | Helps identify arterial voxels minimizing spillover effects.
Physiological Factors | Sex, Age, Height, Weight | The pharmacokinetics reported are influenced by individual physiological parameters as inputs to the NLMEM model for spillover correction.
Body Surface Area (BSA) | DuBois BSA formula | Referenced in the non-linear mixed effect model (NLMEM) formulation used to estimate plasma activity, relevant for pharmacokinetics variability.
Dose | Injected [18F]FDG dose | Included in NLMEM as a covariate, impacting pharmacokinetics estimates.
Time Grid Resolution | 6s and 12s bins | Affects IDIF precision and, consequently, the pharmacokinetics determinations by influencing how well the arterial input function's early kinetics are captured.
Spillover Coefficients | SP (spillover coefficient), RC (recovery coefficient) | Directly affect accurate IDIF and pharmacokinetic modeling. Helps account for partial volume effects in the extracted input function.
Tracer Injection Speed | Injection duration of 20–60s | Crucial for peak amplitude and IDIF precision, which in turn impacts pharmacokinetic analysis.
Tissue Activity | Background regions near ICAs, CCAs | Serves as part of the model estimating spillover corrections, affecting pharmacokinetics derived from IDIF.
Vessel Diameter | 4–7 mm for carotids | Vessel dimensions relative to scanner resolution influences partial volume effects, which is a pharmacokinetics-related artifact.
Scanner Spatial Resolution | ~5 mm resolution | This factor impacts the accuracy of IDIF extraction and partial volume correction, which would influence pharmacokinetics analysis.