## Table 1
Unnamed: 0 | Mean Concentration (mg/L) | Intraday CV (%) | Interday CV (%) | Accuracy Bias (%)
LQC | 2.03 | 0.17 | 2.85 | +1.40
MQC | 15.34 | 0.6 | 3.67 | −4.11
HQC | 116.95 | 0.09 | 3.4 | −8.63

## Table 2
Unnamed: 0 | Median (IQR), No. (%)
Sex, men | 105 (69%)
Age, yr | 69 (60–78)
Body mass index, kg/m2 | 27.4 (24.2–31.3)
Weight, kg | 81 (71–95)
Height, cm | 172 (165–180)
Serum creatinine, mg/dL | 1.0 (0.7–1.7)
CrCL, mL/min | 65.3 (39.6–94.9)
CVVHD | 5 (3.3%)
CRP, mg/dL | 176 (95.3–253)
White blood cell count, cells/μL | 11.6 (8.73–14.8)
Site of infection
CAP | 150 (98.7%)
Endocarditis | 1 (0.7%)
CNS Infection | 1 (0.7%)

## Table 3
c (mg/L) | <8 | 8–16 | 16–32 | 32–48 | >48
All (n = 336) | 2 (0.6%) | 54 (16.1%) | 199 (58.9%) | 57 (16.9%) | 24 (7.2%)
<48 h (n = 152) | 1 (0.7%) | 24 (15.8%) | 77 (50.7%) | 32 (21.1%) | 18 (11.8%)
>48 h (n = 184) | 1 (0.5%) | 30 (16.3%) | 122 (66.3%) | 25 (13.6%) | 6 (3.3%)

## Freetext Data
Data | Value | Relevance
Study Purpose | To develop and validate a rapid and cost-effective HPLC–UV spectrometry method for quantifying ampicillin in human serum and ensuring its practical application in ICU patients | Relevant as it establishes the main research question and focus of the study.
Therapeutic Drug Monitoring (TDM) Target Range | Optimal range: 16–32 mg/L; Quasioptimal range: 8–48 mg/L | Directly relates to the clinical application and ensures safe and effective antibiotic dosing in ICU patients.
Validated Concentration Range | 2–128 mg/L | Relevant for method validation and its applicability to real-world clinical use for TDM in ICU patients receiving ampicillin.
Lower Limit of Quantification (LLOQ) | 2 mg/L | Critical for determining the method's sensitivity and ensuring accuracy regarding drug concentrations relevant for therapy.
Retention Time | Ampicillin monitored at 3.6 minutes | Relevant for confirming method efficiency and reliability in detecting ampicillin in clinical samples.
Chromatographic Column | Shim-pack XR-ODS III with 2.2-µm particle size | Relevant as it's part of the methodological setup ensuring valid drug separation and quantification.
Clinical Application Insight | 92.9% of samples within optimal or quasioptimal drug exposure range | Relevant for assessing how the method performs in achieving therapeutic targets in critical care scenarios.
Turnaround Time for Results | Approximately 6 hours | Relevant for the practicality of implementing timely TDM in ICU settings for critically ill patients.
Real-world Data | Retrospective analysis of 336 serum samples from 152 ICU patients | Relevant for evaluating the method's application and its impact on therapeutic strategies in clinical settings.
Observed Ampicillin Clearance | Range: 0.5–31.2 L/h | Indicates pharmacokinetic variability in ICU patients and the need for individualized dosing strategies.
Sample Stability | Stable at room temperature for 6 hours; long-term stability up to 6 months at −80°C | Relevant for ensuring sample integrity and reliability of results in routine testing environments.
Accuracy and Precision | Accuracy bias: -8.63% to 1.4%; Precision CV: 0.09%–3.67% | Relevant for validating the method and ensuring reliable therapeutic monitoring of ampicillin.
Study Population Characteristics | Median daily dose: 5800 mg; administered as continuous infusion | Relevant to contextualize the dosing regimens monitored and analyzed in the study.
Predicted vs. Observed Clearance | Good correlation (R2 = 0.67, Pearson coefficient = 0.82) | Relevant for assessing the accuracy of initial dosing predictions compared to clinical observations.
Demographic and Clinical Characteristics of the Study Population at Admission | CAP, CNS conditions, creatinine clearance (CrCL), CRP levels, age range, inclusion criteria: ICU patients receiving ampicillin/sulbactam | Relevant to understanding the patient population involved in the PK study.
Sample Size | 336 serum samples from 152 ICU patients | Indicates the scope and robustness of the PK study sample size.
Observation Time | Blood samples obtained 6 hours after therapy initiation | Establishes blood sampling time points, which are critical for pharmacokinetic analysis.
Initial Maintenance Dosing | Based on a Calculator to Approximate Drug-Dosing in Dialysis program using creatinine clearance and respective dialysis settings | Defines how dosing was personalized based on pharmacokinetics and renal function.
Continuous Infusion Protocol | Loading dose of 1000 mg followed by continuous infusion; maintenance dose was initially selected by physicians | Provides insight into the study design methodology for sustaining drug levels.
Retrospective Design | Routine TDM serum samples collected at Heidenheim General Hospital (2018-2021) | Confirms study design and time span, highlighting retrospective nature to analyze PK variability and TDM efficiency.
Drug Clearance Metrics | Observed clearance (CLobs) calculated using dosing and measured concentration | Shows how pharmacokinetic data, such as clearance, was derived to inform conclusions.
Exclusion Criteria | Patients with missing information, such as dose/plasma creatinine levels, and those undergoing intermittent dialysis | Ensures study integrity by excluding confounding variables that could affect pharmacokinetics.
Observed PK Variability | Clearance ranged from 0.5 to 31.2 L/h across ICU patients | Relevant for pattern analysis in patient pharmacokinetics.
Model | Routine therapeutic drug monitoring (TDM) framework | The paper discusses a practical implementation of an analytical method via TDM, not explicitly a pharmacokinetic model. However, TDM serves as a functional model to individualize drug dosing, crucial for ICU patient care.
Pharmacokinetic Clearance Equation | CLobs=[maintenance dose (mg)]⋅24 hours⋅c−1(mgL) | Although not identified as a compartmental model, the equation used approximates clearance, relevant as a practical pharmacokinetic calculation in routine TDM.
Linearity range | 2–128 mg/L | The linearity range of ampicillin concentration in serum was validated for HPLC-UV quantification, allowing practical estimation in clinical contexts.
Correlation coefficient (R2) | >0.99 | Indicates the accuracy and reliability of the calibration curve derived from serum samples for quantifying ampicillin in routine care.
LLOQ | 2 mg/L | Represents the lower limit of quantification determined from serum samples, ensuring detection of clinical concentrations.
Retention time | 3.6 minutes | Retention time was key to chromatographic identification using the HPLC-UV method, ensuring specific detection of ampicillin.
Bias accuracy range | −8.63% to 1.4% | Validates the method's accuracy across the concentration range, relevant for clinical interventions based on measured values.
Coefficient of variation (CV) | 0.09%–3.67% | Supports the method's precision, making it consistent and reliable for therapeutic drug monitoring in ICU patients.
Observed clearance range (CLobs) | 0.5–31.2 L/h | Determines variability in ICU patient pharmacokinetics using measured serum concentrations during therapy.
Room temperature stability | 6 hours | Stability testing informs serum sample handling parameters within specified temperature-controlled storage.
Frozen storage stability | −80°C for at least 6 months | Determines long-term preservation viability for serum samples, affecting method applicability in hospital settings.
Therapeutic concentration range | 16–32 mg/L | Target values for assessing optimal drug exposure in ICU patients based on calculated pharmacokinetics and MIC thresholds.
Quasioptimal range | 8–48 mg/L | Defines acceptable therapeutic exposure levels in ICU patients with variable pharmacokinetics, balancing efficacy and safety.
Optimal target attainment | 58.9% after initial dosing | Demonstrates the adequacy of serum ampicillin concentrations in the therapeutic range, relevant for evaluating dosing protocols.
Analysis time post-sampling | 6 hours | Indicates turnaround time for HPLC-UV analysis, critical for real-time therapeutic drug monitoring and dose adjustments.
Observed clearance formula | CLobs = [maintenance dose (mg)] × 24 hours ⋅ c−1 (mg/L) | Calculates patient-specific clearance based on measured concentrations and dosing, guiding individual therapy adjustments.
Optimal dose adjustment percentage | Increased from 50.7% to 66.3% | Highlights the improved attainment rates through TDM-guided adjustments using estimated parameters.
Creatinine clearance | Range: 0.5–31.2 L/h | Demonstrates variability in pharmacokinetics, particularly in ICU patients, where renal function impacts drug clearance.
Organ function variability | ICU patients with variable pharmacokinetics | Critically ill patients often have organ dysfunction or augmented renal clearance, influencing drug pharmacokinetics.
Renal clearance | Augmented renal clearance >90 mL/min/1.73 m2 | High renal clearance leads to difficulties in reaching therapeutic drug levels.
Critical care conditions | Pharmacokinetic variability due to critical illness | The instability in physiological parameters in ICU patients affects drug metabolism and clearance.
Dosing protocol | Initial loading dose followed by maintenance dose | Individualized dosing strategies based on patient-specific pharmacokinetic variables ensure effective drug exposure.
TDM-guided adjustments | Individualized therapeutic drug monitoring | These are necessary to address interpatient variability in pharmacokinetics and to achieve the desired therapeutic drug exposure.
Dosage adjustment factors | Blood sampling timing and patient’s clinical condition | Timing and condition affect measured concentrations and subsequent dose adjustments.
Continuous infusion | Maintains consistent drug concentrations | The method addresses time-dependent bactericidal activity of ampicillin by considering pharmacokinetic factors and avoiding fluctuating levels that might compromise efficacy.