## Table 1
QC level_QC level | Intra-day (n = 6)_Mean (μg/mL) | Intra-day (n = 6)_Accuracy RE (%) | Intra-day (n = 6)_Precision CV (%) | Inter-day (n = 6 × 3)_Mean (μg/mL) | Inter-day (n = 6 × 3)_Accuracy RE (%) | Inter-day (n = 6 × 3)_Precision CV (%)
Apalutamide | Apalutamide | Apalutamide | Apalutamide | Apalutamide | Apalutamide | Apalutamide
LLOQ-0.025 μg/mL | 0.0254 | 1.7 | 1.7 | 0.0239 | −4.4 | 9.8
LQC-0.05 μg/mL | 0.048 | −3.3 | 4.7 | 0.048 | −4.0 | 6.4
MQC-3.5 μg/mL | 3.30 | −5.8 | 2.6 | 3.29 | −6.1 | 3.7
HQC-17.5 μg/mL | 16.85 | −3.7 | 3.5 | 16.37 | −6.5 | 3.2
N-desmethyl apalutamide | N-desmethyl apalutamide | N-desmethyl apalutamide | N-desmethyl apalutamide | N-desmethyl apalutamide | N-desmethyl apalutamide | N-desmethyl apalutamide
LLOQ-0.025 μg/mL | 0.0275 | 10.1 | 6.7 | 0.0253 | 1.4 | 10.9
LQC-0.05 μg/mL | 0.053 | 5.7 | 4.4 | 0.051 | 1.7 | 7.6
MQC-3.5 μg/mL | 3.42 | −2.2 | 2.0 | 3.47 | −0.8 | 3.8
HQC-17.5 μg/mL | 17.82 | 1.8 | 2.3 | 17.65 | 0.9 | 3.2

## Table 2
QC level_QC level | Analyte MF mean (%)_Analyte MF mean (%) | IS MF mean (%)_IS MF mean (%) | IS-normalised MF (n = 6)_Mean | IS-normalised MF (n = 6)_SD | IS-normalised MF (n = 6)_CV (%) | Extraction recovery (n = 6)_Mean ± SD (%)
Apalutamide | Apalutamide | Apalutamide | Apalutamide | Apalutamide | Apalutamide | Apalutamide
LQC-0.05 μg/mL | 92.3 | 97.4 | 0.95 | 0.05 | 5.24 | 109.7 ± 8.23
MQC-3.5 μg/mL | [5 empty] | 108.8 ± 7.51
HQC-17.5 μg/mL | 98.4 | 100.3 | 0.98 | 0.03 | 3.54 | 104.4 ± 2.98
N-desmethyl apalutamide | N-desmethyl apalutamide | N-desmethyl apalutamide | N-desmethyl apalutamide | N-desmethyl apalutamide | N-desmethyl apalutamide | N-desmethyl apalutamide
LQC-0.05 μg/mL | 90.1 | 97.4 | 0.92 | 0.05 | 5.05 | 110.4 ± 9.78
MQC-3.5 μg/mL | [5 empty] | 110.4 ± 4.70
HQC-17.5 μg/mL | 99.0 | 100.3 | 0.99 | 0.06 | 6.45 | 103.5 ± 2.64
Apalutamide-d4 | Apalutamide-d4 | Apalutamide-d4 | Apalutamide-d4 | Apalutamide-d4 | Apalutamide-d4 | Apalutamide-d4
5.0 μg/mL | [5 empty] | 104.5 ± 4.97

## Table 3
Stability tests_Stability tests | Stability tests_Stability tests.1 | Room temperature for 24 h_Accuracy RE (%) | Room temperature for 24 h_Precision CV (%) | Auto-sampler for 24 h_Accuracy RE (%) | Auto-sampler for 24 h_Precision CV (%) | Three freeze–thaw cycles_Accuracy RE (%) | Three freeze–thaw cycles_Precision CV (%) | −80°C 30 days_Accuracy RE (%) | −80°C 30 days_Precision CV (%)
Apalutamide stability (n = 6) | LQC-0.05 μg/mL | 0.7 | 3.5 | −2.1 | 4.6 | −5.4 | 5.1 | 4.8 | 6.8
Apalutamide stability (n = 6) | MQC-3.5 μg/mL | 2.8 | 1.7 | 6.3 | 7 | 7.5 | 3.6 | 11.6 | 3.8
Apalutamide stability (n = 6) | HQC-17.5 μg/mL | 3.5 | 2.7 | 8.7 | 3.1 | 10.0 | 4.6 | 12.9 | 1.7
N-desmethyl apalutamide stability (n = 6) | LQC-0.05 μg/mL | 0.4 | 6.3 | −6.6 | 6.7 | 0.6 | 4.4 | 10.5 | 11.3
N-desmethyl apalutamide stability (n = 6) | MQC-3.5 μg/mL | −0.4 | 2.4 | 0.1 | 5 | 4.7 | 3.6 | 12.7 | 4.6
N-desmethyl apalutamide stability (n = 6) | HQC-17.5 μg/mL | 0.4 | 5.4 | 1.5 | 5.9 | 7.2 | 5.5 | 14.9 | 3.3

## Table 4
0 | 1
Age | Age
Mean (SD) | 74.5
Median | 76.0
Min, max | 53, 94
Metastasis status, n (%) | Metastasis status, n (%)
Bone metastasis | 1 (4.2)
No bone metastasis | 23 (95.8)
Rash grade, n (%) | Rash grade, n (%)
2 | 3 (12.5)
3 | 1 (4.2)
No rash | 20 (83.3)
Total Gleason score, n (%) | Total Gleason score, n (%)
7 | 2 (8.3)
8 | 9 (37.5)
9 | 7 (29.2)
10 | 6 (25.0)
PSA concentration (ng/mL) | PSA concentration (ng/mL)
Baseline, median (range) | 61.030 (0.57–885.93)
Four weeks median (range) | 0.970 (0.01–47.92)
Maximum reduction from baseline, median (range) | −59.755 (−885.15 to −0.47)
Maximum reduction of percent change from baseline, median (range) | −97.98 (−99.96 to −29.54)

## Freetext Data
Data | Value | Relevance
Method | LC–MS/MS in positive ion mode with MRM | Relevant as the primary method developed and validated to determine apalutamide and N-desmethyl apalutamide concentrations.
Blood concentration range of apalutamide | 0.517–7.27 μg/mL | Relevant for understanding variability in drug exposure among patients.
Median blood concentration of apalutamide | 4.92 μg/mL | Relevant for characterizing population-level steady-state concentrations after 180 mg dosing.
Blood concentration range of N-desmethyl apalutamide | 1.78–8.32 μg/mL | Relevant for assessing drug metabolism and variability among individuals.
Median blood concentration of N-desmethyl apalutamide | 5.71 μg/mL | Relevant for evaluating metabolite's presence at steady-state levels.
Dosage of apalutamide | 180 mg once daily | Relevant for ensuring the pharmacokinetic data is tied to a standard clinical dosage regimen.
Reduction in PSA level (median) | −97.98% (range −29.54 to −99.96%) | Relevant as it measures therapeutic efficacy in reducing PSA levels.
Adverse events | Lower rate of rash with 180 mg compared to 240 mg | Relevant for balancing efficacy and safety in dosing.
Therapeutic drug monitoring purpose | Evaluate individual differences in drug concentrations among patients | Relevant for optimizing dose adjustments based on variability.
Primary metabolite | N-desmethyl apalutamide | Relevant for understanding drug metabolism and potential active contributions to efficacy or safety.
Analytical range (LC–MS/MS) | 0.025–20 μg/mL | Relevant for establishing the analytical scope to detect clinically meaningful concentrations.
Limit of quantification | 0.025 μg/mL | Relevant for determining the sensitivity of the method developed for the study.
Primary enzyme involvement | CYP3A4 and CYP2C8 | Relevant for linking variability in concentrations to metabolic pathways and potential drug-drug interactions.
Approval date of apalutamide | 14 February 2018 | Relevant as historical context for its clinical application in prostate cancer treatment.
PSA levels at baseline (median) | 61.03 ng/mL (range 0.57–885.93) | Relevant as baseline data for measuring therapeutic effectiveness.
PSA levels at week 4 (median) | 0.970 ng/mL (range 0.01–47.9) | Relevant for assessing treatment impact over time.
Equipment used | Agilent 1260 HPLC, SCIEX 5500QTRAP MS | Relevant as it outlines the technical setup validating the study's reproducibility.
Statistical analysis | SPSS (version 25.0) | Relevant for understanding how data significance was confirmed, ensuring rigor in outcome reporting.
Clinical setting | NM-CRPC treated patients | Relevant for defining the patient population and clinical relevance of the findings.
Study sample size | 24 patients | Relevant for gauging the robustness and generalizability of the findings.
Retention times | Apalutamide: 5.45 min, N-desmethyl apalutamide: 4.49 min | Relevant for verifying specificity in chromatographic separation.
Extraction recovery of apalutamide | 104.4%–109.7% | Relevant for confirming efficiency in sample preparation for accurate quantification.
Incidence of skin rash | Lower in 180 mg treatment vs. 240 mg | Relevant in guiding clinicians on balancing side effects with therapeutic effectiveness.
Validation guidelines followed | FDA and EMA | Relevant for guaranteeing the study adheres to international standards for biological analysis.
Effect of age or condition | Variability in blood levels due to age or genetic polymorphisms | Relevant in supporting the need for therapeutic drug monitoring and individualized treatment approaches.
Patient sample size | 24 patients | Relevant as it defines the scale of the PK study and the robustness of data collected.
Patient population | Adult male patients diagnosed with non-metastatic desmoplasia-resistant prostate cancer (NM-CRPC) | Relevant because the characteristics of the study population are critical to analyzing the pharmacokinetics of apalutamide.
Blood sampling time points | Blood samples were collected half an hour before drug administration | Relevant because the timing of blood sampling corresponds to trough concentration measurements, crucial for PK analysis.
Dosing regimen | Apalutamide administered at a dose of 180 mg once daily for at least 4 weeks | Relevant as it ensures steady-state blood levels are achieved, critical for evaluating pharmacokinetics.
Blood sample storage | Supernatant stored in a −80°C refrigerator until analysis | Relevant as preserving the integrity of plasma samples is critical for reliable PK data.
Ethics approval | Approved by the Sichuan Provincial People’s Hospital Medical Ethics Committee | Relevant as it ensures compliance with ethical standards, important for the validity and acceptability of the study design.
Patient demographics | Median age of patients was 76 years (range 53–94 years) | Relevant for understanding the variability in PK parameters due to age.
Steady-state condition | Patients were treated with apalutamide for at least 4 weeks | Relevant as achieving steady-state concentration is essential for accurate PK assessment.
Model of apalutamide concentration determination | HPLC–MS/MS method | The paper describes LC–MS/MS as the methodology used to quantify apalutamide and its metabolite concentrations in plasma samples, relevant because this approach defines the analytical framework rather than pharmacokinetic modeling like compartmental or PBPK models.
Pharmacokinetics observation | Apalutamide exhibits linear pharmacokinetics across 30–480 mg dose range | While pharmacokinetic behavior is described, the study does not specify compartmental or physiologically based models, making direct relevance limited to pharmacokinetic linearity observations.
Metabolite ratio | Ratio of N-desmethyl apalutamide to apalutamide steady-state trough concentration was 1.25 | Although concentrations were measured, this ratio does not reflect usage of a traditional pharmacokinetic model such as a compartmental approach, instead focusing on steady-state measurements.
Declustering Potential (DP) for apalutamide | 260 V | Relevant as it is one of the compound-specific parameters set for MS/MS detection essential for quantification in LC-MS/MS analysis.
Collision Energy (CE) for apalutamide | 33 eV | Relevant because it determines the fragmentation of the analyte, critical for accurate mass spectrometry results.
Retention time of apalutamide | 5.45 min | Relevant in identifying and quantifying apalutamide as part of chromatographic separation in plasma.
Retention time of N-desmethyl apalutamide | 4.49 min | Relevant for quantifying the active metabolite of apalutamide in chromatographic separation.
Mobile phase ratio | 55% acetonitrile (0.1% formic acid) and 45% water (0.1% formic acid) | Relevant as it optimized chromatographic retention and analyte response.
Injection volume | 1 µL | Relevant in ensuring consistent analysis in LC-MS/MS instrumentation.
Injection plate temperature | 4 °C | Relevant for the stability of plasma samples during LC-MS/MS injection.
LC flow rate | 0.4 mL/min | Relevant to maintaining consistent chromatographic separation and accuracy in plasma analysis.
ESI+ ion spray voltage | 5500 V | Relevant for generating positive charge ions to detect apalutamide and its metabolite in plasma samples.
Curtain gas (CUR) | 40 psi | Relevant for minimizing contamination during ionization in the mass spectrometer.
Nebulizer gas (GAS1) | 50 psi | Relevant to facilitate plasma sample ionization for MS detection.
Auxiliary gas (GAS2) | 50 psi | Relevant in stabilizing ion spray for accurate MS measurement.
Collision gas (CAD) | Medium | Relevant for aiding fragmentation of analytes during mass spectrometry analysis.
Dwell time | 50 ms | Relevant for the MS detection window to ensure data reliability during MRM detection.
LLOQ for apalutamide and N-desmethyl apalutamide | 0.025 µg/mL | Relevant, as it defines the sensitivity of the method for quantifying low plasma concentrations.
Linear range | 0.025–20 µg/mL | Relevant as it confirms the concentration range over which the method is validated for quantification.
CV for intra-day apalutamide precision | 1.7%–4.7% | Relevant since it validates the repeatability of the method for accurate plasma analysis.
CV for inter-day apalutamide precision | 3.2%–9.8% | Relevant as it demonstrates reproducibility across different assay days.
CV for intra-day N-desmethyl apalutamide precision | 2.0%–6.7% | Relevant for validating stability of metabolite quantification within daily runs.
CV for inter-day N-desmethyl apalutamide precision | 3.2%–10.9% | Relevant as it ensures reliability of metabolite quantification across multiple days.
Relative error for apalutamide intra-day accuracy | -5.8%–1.7% | Relevant for showing calibration reliability of apalutamide during each assay day.
Relative error for apalutamide inter-day accuracy | -4.0%– -6.5% | Relevant for showing calibration reliability across different assay days.
Matrix effect CV for apalutamide | < 5.24% | Relevant for establishing the method's robustness against plasma interferences.
Matrix effect CV for N-desmethyl apalutamide | < 6.45% | Relevant for ensuring accurate metabolite quantification despite plasma matrix variability.
Age | Different ages of patients may contribute to individual variability in blood concentrations of apalutamide and its metabolite. | Apalutamide and N-desmethyl apalutamide blood concentrations were observed to vary significantly across individuals, with age being one potential influencing factor impacting pharmacokinetics.
Physical Conditions | Physical conditions of patients can cause variability in observed blood concentrations of apalutamide. | Patient physical conditions were identified as possible contributors to variability in drug pharmacokinetics, impacting treatment efficacy and safety.
Genetic Polymorphism | Genetic polymorphism in drug-metabolizing enzymes may account for variability in apalutamide pharmacokinetics. | Genetic differences affecting enzymes such as CYP3A4 and CYP2C8, responsible for apalutamide metabolism, can influence individual drug exposure levels.
CYP Enzyme Activity | Apalutamide is metabolized by CYP3A4 and CYP2C8, and co-administration with strong enzyme inhibitors may require dosage adjustments. | The activity of CYP3A4 and CYP2C8 enzymes directly affects apalutamide metabolism, contributing to altered pharmacokinetics.
Drug Interaction | Apalutamide is a strong inducer of CYP3A4, CYP2C19, and weak inducer of other enzymes (e.g., CYP2C9), influencing drug exposure and interactions. | Drug interactions involving CYP enzymes can lead to loss of efficacy or reduced exposure, necessitating attention to pharmacokinetic variability.
Co-Administered Drugs | The combination of apalutamide with drugs that are sensitive substrates for CYP3A4, CYP2C19, CYP2C9, P-gp, BCRP, or OATP1B1 can decrease exposure. | Pharmacokinetic variability may arise due to interactions with other drugs that utilize similar metabolic pathways as apalutamide, requiring dosage adjustments.
Dosage Variability | Observed variability in blood concentrations despite fixed 180 mg dosage suggests patient-specific factors influencing pharmacokinetics. | Fixed doses of apalutamide resulted in significant individual variability in plasma concentrations, likely due to patient-specific pharmacokinetic factors.