## Table 1
QCs_Level_(pg.mL−1) | Within‐run (n = 6)_DDAVP_(pg.mL−1) | Within‐run (n = 6)_Accuracy_(%DEV) | Within‐run (n = 6)_Precision_(%) | Between‐run (n = 18)_DDAVP_(pg.mL−1) | Between‐run (n = 18)_Accuracy_(%DEV) | Between‐run (n = 18)_Precision_(%)
20 | 19.8 ± 2.1 | −1.1 | 10.7 | 19.3 ± 1.9 | −3.3 | 9.7
40 | 39.1 ± 1.1 | −2.2 | 2.8 | 38.1 ± 1.2 | −4.6 | 3.3
250 | 254.4 ± 16.6 | −1.7 | 6.5 | 249.0 ± 12.6 | −0.4 | 5.1
1250 | 1394.5 ± 42.5 | −11.6 | 3 | 1225.1 ± 168.7 | −2 | 13.8

## Table 2
Conditions | Parameter | 40 pg.mL−1 | 1250 pg.mL−1
Autosampler 24 h (n = 6) | DDAVP (pg.mL−1) | 38.8 ± 2.9 | 1136.6 ± 89.9
Autosampler 24 h (n = 6) | Accuracy (%DEV) | 1.6 | 0.6
Autosampler 24 h (n = 6) | Precision (%) | 7.6 | 7.9
Autosampler 48 h (n = 6) | DDAVP (pg.mL−1) | 37.6 ± 0.5 | 1135 ± 107.8
Autosampler 48 h (n = 6) | Accuracy (%DEV) | −1.4 | 0.5
Autosampler 48 h (n = 6) | Precision (%) | 1.4 | 9.5
Freeze–thaw (n = 3) | DDAVP (pg.mL−1) | 38.6 ± 0.8 | 1318.7 ± 93.8
Freeze–thaw (n = 3) | Accuracy (%DEV) | −3.6 | 5.5
Freeze–thaw (n = 3) | Precision (%) | 2.2 | 7.1
Long‐term (n = 4) | DDAVP (pg.mL−1) | 37.3 ± 1.3 | 1275.9 ± 84.1
Long‐term (n = 4) | Accuracy (%DEV) | −6.6 | −2.1
Long‐term (n = 4) | Precision (%) | 3.4 | 6.6

## Freetext Data
Data | Value | Relevance
Measurement Range | 20-2000 pg/mL | Provides the quantification levels within which desmopressin (DDAVP) in plasma can be accurately measured, crucial for assessing pharmacokinetics in patients.
LLOQ (Lower Limit of Quantification) | 20 pg/mL | Indicates the lowest DDAVP concentration that the method can measure with precision and accuracy, relevant to ensuring therapeutic monitoring in low-dose scenarios.
Mean Volume of Distribution at Steady State | 18.8 L (CV% 26.7) | Reflects how DDAVP is distributed within the body post-administration, key to understanding pharmacokinetics in hemophilia A patients.
Mean Clearance | 7.8 L/h (CV% 25.1) | Demonstrates the rate at which DDAVP is eliminated from the body, essential for dose adjustment and efficacy in hemophilia A management.
Mean Half-life | 1.8 h (CV% 14.7) | Indicates the duration DDAVP remains active in the system, linking to the prohemostatic effect duration critical to therapeutic planning.
Sample Volume Requirement | 100 µL | Highlights the minimal plasma sample needed for analysis, supporting pediatric and limited-volume scenarios in hemophilia A cases.
Pharmacokinetic Population | 10 patients with hemophilia A | Identifies the study's patient demographic for pharmacokinetics, underscoring the applied clinical context.
Analytical Approach | LC-HRMS | Validates the use of liquid chromatography-high resolution mass spectrometry for analyzing DDAVP concentrations, emphasizing the methodological innovation.
Validation Criteria | Accuracy <11.6%; Precision <13.8% | Confirms that the method meets FDA bioanalytical guidelines, ensuring reliability and reproducibility in clinical use.
Stability | Postpreparation stability ≤1.6%; Freeze-thaw degradation ≤5.5%; Long-term stability ≤6.6% | Ensures DDAVP stability under various storage and handling conditions, linking to real-world applications.
Development Rationale | Interindividual variability in DDAVP response | Emphasizes the need for precise quantification methods due to inconsistent therapeutic outcomes, relevant for personalizing treatment.
Mass Spectrometry Instrument | QExactivePlus | Identifies the equipment used, providing context for potential scalability or reproducibility in other laboratories.
Key Methodological Innovation | Four isotopes and two fragments for quantification | Highlights the unique approach in quantifying DDAVP, ensuring specificity and accuracy in the analytical method.
Comparison to LC-MS/MS | LC-HRMS provides comparable/higher sensitivity for small peptides | Positions the study's method within the spectrum of existing techniques, advocating for broader accessibility in labs equipped with HRMS.
Study Approval | Ethics Committee of Rennes University Hospital (Avis 13–75) | Confirms ethical compliance of the clinical study, relevant when considering the validity and acceptance of findings.
Clinical Application | Monitoring and optimizing DDAVP therapy | Underscores the method's direct utility in improving treatment regimens for hemophilia A patients.
Sample size | 10 patients | The study was described as involving hemophilia A carriers and patients with mild hemophilia A, making this relevant to understanding how representative or generalizable the PK findings might be.
Patient population | Patients with mild hemophilia A (n=5) and carriers of hemophilia A (n=5) | The differentiation between mild hemophilia A and carriers helps contextualize the pharmacokinetics in subgroups with varying disease severity.
Sampling time points | Blood samples collected at 0.5, 1, 2, and 4 hours after a 30-minute infusion | These specific time points are key in designing pharmacokinetic analysis, capturing absorption, distribution, and elimination phases of DDAVP.
Dose administered | 0.3 μg.kg−1 of desmopressin acetate | The dosing of DDAVP is crucial for understanding its pharmacokinetics and response at therapeutic levels in this specific patient population.
Ethical approval | Study approved by Ethics Committee of Rennes University Hospital (avis 13–75) | Ethical approval is essential for validation and credibility of the study's design and methodology.
Model Used | Noncompartmental Analysis | The pharmacokinetic analysis in the study was performed using a noncompartmental approach, which allows the calculation of parameters such as half-life, clearance, and volume of distribution without assuming a specific drug distribution model.
Volume of distribution at steady state | 18.8 L (CV% 26.7) | Relevant for understanding DDAVP distribution in the body, estimated from patient pharmacokinetics data.
Clearance | 7.8 L.h−1 (CV% 25.1) | Key metric for DDAVP elimination rate, estimated from patient pharmacokinetics data.
Half-life | 1.8 h (CV% 14.7) | Indicates DDAVP persistence in plasma, estimated from patient pharmacokinetics data using non-compartmental analysis.
Method Range | 20–2000 pg.mL−1 | Defines the quantification range of DDAVP using the LC-HRMS method, relevant for assessing the method's applicability to clinical studies.
Sampling time intervals | 0.5, 1, 2, and 4 h after dosing | Necessary for constructing DDAVP pharmacokinetic profiles in hemophilia A patients.
Retention time | 20.7 min | Represents chromatographic performance and DDAVP identification during analysis, aiding accurate pharmacokinetic estimation.
Resolution (tSIM mode) | 70,000 at m/z 200 | Ensures high sensitivity and accuracy, aiding precise pharmacokinetic parameter estimation.
AGC target | 5.104 | Ensures optimized control of ion accumulation for sensitive DDAVP measurement, indirectly supporting pharmacokinetics conclusions.
Patients studied | 10 hemophilia A patients | Crucial for estimating pharmacokinetic parameters under clinically relevant conditions.
Normal dose | 0.3 µg.kg−1 desmopressin acetate | Used for pharmacokinetic study setup to simulate therapeutic dosage conditions.
Extraction method | ACN/2% FA protein precipitation followed by SPE | Ensures sample quality for accurate estimation of DDAVP pharmacokinetics.
Software used | PKanalix software | Facilitated noncompartmental analysis to compute pharmacokinetic parameters from patient plasma concentration data.
Protein Precipitation | Protein precipitation assays revealed that the intensity of DDAVP’s chromatographic peak was better when ACN/2% FA mixture was used. | The choice of protein precipitation impacts the quality of sample preparation, thereby influencing the accuracy of pharmacokinetics measurements.
Dosage Variability | A 0.3 μg.kg−1 dosage was used in intravenous administration during the study. | Dosage directly impacts DDAVP plasma levels observed, which is a key factor in determining pharmacokinetics.
Interindividual Pharmacokinetic Variability | Significant interindividual variability in response to DDAVP administration was observed. | This variability emphasizes the need for personalized assessments in pharmacokinetics to optimize therapeutic outcomes.
Matrix Effects | Matrix effect was evaluated, and no significant interference was noted in human plasma matrices. | Matrix effect influences the reliability of DDAVP quantification, impacting the pharmacokinetics data analysis.
Sample Preparation Method | Protein precipitation followed by a solid-phase extraction ensured column stability and prevented clogs. | The sample preparation method affects the viability of accurate mass spectrometry quantification, which is critical for pharmacokinetic profiling.
Pharmacokinetic Parameters | Parameters such as mean volume of distribution (18.8 L), clearance (7.8 L.h−1), and half-life (1.8 h) were reported. | These are direct indicators of pharmacokinetics, revealing how DDAVP is distributed, metabolized, and eliminated in patients.
Patient Populations | Hemophilia A carriers and mild hemophilia A patients were studied. | Patient characteristics, such as hemophilia condition, may influence DDAVP pharmacokinetics and therapeutic outcomes.
Instrumentation Specificity | LC-HRMS method eliminates matrix interferences and simplifies the workflow compared to LC-MS/MS. | Analytical methodology impacts the sensitivity and specificity of data collection in pharmacokinetics studies.