## Table 1
Peak_Peak | Precision_RRT | Precision_RPA | Repeatability_RRT | Repeatability_RPA | Stability_RRT | Stability_RPA
1 | 0.09 | 1.56 | 0.08 | 1.64 | 0.18 | 1.81
2 | 0.07 | 2.47 | 0.08 | 2.26 | 0.17 | 2.09
4 | 0.08 | 1.42 | 0.06 | 2.22 | 0.22 | 2.17
5 | 0.1 | 1.56 | 0.07 | 2.31 | 0.16 | 1.52
6 | 0.1 | 1.46 | 0.09 | 2.33 | 0.18 | 1.36
7 | 0.09 | 1.63 | 0.07 | 2.34 | 0.21 | 1.63
8 | 0.1 | 1.57 | 0.1 | 2.01 | 0.25 | 1.39
9 | 0.1 | 2.15 | 0.1 | 2.47 | 0.25 | 2.39

## Table 2
Components | Regression equation | R 2 | LOD/(μg/mL) | LOQ/(μg/mL) | Linear range/(μg/mL)
Protocatechualdehyde | Y = 27.244X + 14.763 | 0.999 5 | 0.377 | 1.256 | 2.044–40.880
Caffeic acid | Y = 14.981X + 1.844 | 0.999 7 | 0.426 | 1.149 | 1.958–39.160
Calycosin‐7‐O‐beta‐D‐glucoside | Y = 26.368X + 5.281 | 0.999 9 | 0.395 | 1.318 | 6.042–120.840
Naringin | Y = 15.354X + 2.378 | 0.999 9 | 0.478 | 1.592 | 3.258–65.160
Rosmarinic acid | Y = 7.341 6X + 1.067 | 1.000 0 | 0.365 | 1.218 | 6.334–174.174
Ononin | Y = 30.626X + 7.405 | 0.999 9 | 0.633 | 2.11 | 2.820–56.400
Baicalin | Y = 21.596X + 2.548 9 | 0.999 3 | 0.101 | 0.338 | 0.486–9.720
Luteolin | Y = 28.249X + 0.564 | 1.000 0 | 0.342 | 1.141 | 1.805–36.096
Formononetin | Y = 39.257X + 1.729 9 | 0.999 9 | 0.098 | 0.327 | 0.365–7.305

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Funding | Science and Technology Project of Guangxi Zhuang Autonomous Region Administration of Traditional Chinese Medicine (GXZYB20240547), School‐Level Scientific Research Project of Guangxi University of Traditional Chinese Medicine (2020MS056) | Relevant as it identifies financial support facilitating this study, ensuring resources for comprehensive evaluation.
Objective | Establish a method for the determination of nine components of Shenqi Tongmai Oral Liquid (SQTM) and to screen quality control indicators | Relevant for addressing the focus of the study in controlling SQTM quality.
Selected Q‐Markers | Rosmarinic acid, Luteolin, Protocatechualdehyde | These are identified as primary quality markers (Q-Marketers) for their antioxidant properties based on fingerprint, statistics, and molecular docking methods.
Methodology — Primary Approach | Quantitative Analysis of Multicomponents by Single Marker (QAMS), Molecular docking, and Multivariate statistics (GRA, BCA, PLSR) | Relevant for outlining the methods combining chemical analysis and antioxidant activity correlation in evaluating SQTM quality.
Components Studied | Protocatechualdehyde, Caffeic acid, Calycosin‐7‐O‐beta‐D‐glucoside, Naringin, Rosmarinic acid, Ononin, Baicalin, Luteolin, Formononetin | These components are central to quality indicators for SQTM and antioxidant efficacy.
HPLC System | Agilent 1260 Infinity II HPLC system, using Agilent ZORBAX SB‐C18 chromatographic column (250 mm × 4.6 mm, 5 μm) | Relevant as the experimental parameter facilitating chromatographic separation and accuracy in determining active compounds.
Quality Control Method Validity | RCF and RRT stability validated across instruments and chromatographic columns | Ensures reliability and reproducibility in the quality evaluation of SQTM.
Active Mechanism | Phenolic hydroxyl groups donating protons/electrons for free radical scavenging | Explains the molecular basis for the antioxidant activity of the candidate Q-Markers.
Clinical Significance | Effective in treating cardiovascular diseases (CVD) by reducing oxidative stress and atherosclerosis | Relevant as the pharmacological intent bridges laboratory results with clinical applications of SQTM.
Molecular Targets | CYP2C9, CYP3A4, HO‐1, HO‐2, HIF‐1α, LOX‐5 | Critical targets identified in molecular docking linked to antioxidant mechanisms, highlighting potential pharmacological pathways.
Fingerprint Peak Identification | Calycosin‐7‐O‐beta‐D‐glucoside served as the reference peak; exhibited stable chemical properties and median retention time | Relevant for ensuring consistent data points in evaluating SQTM batches for quality.
Correlation Analysis Methods | Gray Relational Analysis (GRA), Bivariate Correlation Analysis (BCA), Partial Least Squares Regression (PLSR) | Used to establish the relationship between antioxidant activity and chemical constituents' contents, vital for identifying Q-Markers.
Batch Variability | Significant differences in antioxidant capacity and component concentration across the 17 batches | Ensures the real-world variability of SQTM is representative and analyzed for standardization requirements.
ROS Mechanisms | Reduced oxidative stress through binding energy and antioxidant enzyme activity regulation | Relevant as it links SQTM activity to a practical biochemical mechanism useful in CVD treatment.
Statistical Confirmation | No significant differences (p > 0.05) between QAMS and external standards, reflecting accuracy and validity | Ensures methodological rigor in determining the active and quality components in SQTM.
Results Utilization | Promotes safety, efficacy, reproducibility, and modernization of TCM through robust quality control mechanisms | Relevant as it shows practical implications beyond this study toward enhancing SQTM standardization for broader application.
Comparative Advantage | Synchronization of content determination with activity assessment ensures targeted quality control | Demonstrates a harmonized approach to chemical and clinical efficacy confirmation in TCM quality studies.
--- | --- | ---
Patient Population | Not specified explicitly in the paper | Relevant because identifying the patient population is critical for understanding the pharmacokinetic (PK) study design.
Sample Size | 17 batches of Shenqi Tongmai oral liquid analyzed | Relevant as it indicates the scope of product consistency evaluation, even though it does not relate to human subjects in a PK context.
Blood/Tissue Sampling Time Points | Not mentioned | Relevant to pharmacokinetics as sampling time points are vital for measuring drug concentration in blood/tissue.
Study Objective | Determined the content of nine components and antioxidant activity but did not conduct direct PK measurements | Relevant because PK studies design focus on the pharmacokinetics, whereas this focused on content and antioxidant analyses instead.
PK Study Design | No PK study conducted in this research | Relevant because the lack of PK parameters indicates it didn't aim for clinical or in vivo data collection.
Chromatographic fingerprint method | Established method using HPLC | Relevant as it establishes the fingerprint for quality evaluation of SQTM.
Quantitative analysis of multicomponents by single marker (QAMS) | Used to determine the content of nine components | Relevant as QAMS serves as the model for evaluating SQTM's quality through multi-component analysis.
Partial least squares regression (PLSR) | Used for correlating antioxidant indicators and active components | Relevant because it models the relationship between chemical constituents and pharmacological effects.
Gray relational analysis (GRA) | Assessed correlation between component contents and antioxidant activity | Relevant as it’s part of the multi-factor analysis model.
Molecular docking | Used for mechanism prediction and quality marker identification | Relevant since it models molecular-level interactions between candidate markers and antioxidant-related targets.
Hybrid spectrum-effect model | Combined with GRA, BCA, and PLSR | Relevant because it integrates multiple approaches for comprehensive evaluation of SQTM quality and activity.
--- | --- | ---
Chromatographic column | Agilent ZORBAX SB‐C18 (250 mm × 4.6 mm, 5 μm) | Relevant as it defines the parameter for chromatographic separation during analysis of SQTM components.
Mobile phase composition | Water with 0.1% formic acid (A) and acetonitrile solution (B) | Relevant as the mobile phase is a key parameter for the chromatography method for separating components.
Gradient elution program | 0–25 min, 10%–25% B; 25–40 min, 25%–65% B | Relevant as it specifies the conditions for component separation in HPLC analysis.
Column temperature | 30°C | Relevant as it directly influences the chromatographic separation efficiency.
Injection volume | 10 μL | Relevant as it defines the volume of the test sample injected into the HPLC system, impacting quantitative results.
Flow rate | 1.0 mL/min | Relevant as it is crucial for ensuring proper separation and peak resolution in HPLC.
Detection wavelength | 267 nm | Relevant as it corresponds to the maximum absorption of targeted components, ensuring their accurate detection.
Reference solution preparation | Standards in methanol; concentrations including protocatechualdehyde at 40.880 μg/mL | Relevant as it serves as the basis for constructing calibration curves and determining component concentrations.
Extraction solvent | n‐Butanol | Relevant as it was identified as providing the best chromatographic peaks for SQTM in preliminary experiments.
Antioxidant activity assay | DPPH and hydroxyl radical scavenging methods | Relevant as these are estimation tools for antioxidant effects, correlating with Q‐Markers.
Standard curve linearity range | R2 values > 0.999 | Relevant as the parameter validates the precision of content measurement using standard curves.
Precision RSD range | 1.00%–2.35% for content; 0.03%–0.45% for retention time | Relevant as this parameter ensures reliability of results for content and component identification.
Repeatability RSD range | 1.56%–2.45% for content; 0.02%–0.16% for retention time | Relevant as it quantifies the method's ability to produce consistent results for SQTM components.
Stability RSD range | 1.04%–2.46% for content; 0.03%–0.47% for retention time | Relevant as it ensures the reproducibility of results over time.
Recovery rates | 97.48%–103.08%; RSD 0.62%–2.49% | Relevant as it evaluates the accuracy of the method for determining SQTM components.
LODs and LOQs | Provided for nine component standards | Relevant as these parameters establish the detection sensitivity for each targeted component.
DPPH IC50 range (SQTM) | 1.57–4.55 mg/mL | Relevant as it quantifies the antioxidant activity, correlating it with quality markers.
Hydroxyl IC50 range (SQTM) | 3.78–9.59 mg/mL | Relevant as it measures the hydroxyl radical scavenging capacity, a parameter linked to Q-marker efficacy.
Molecular docking binding energy | < −7.0 kJ/mol for key actives | Relevant as it estimates the binding strength of Q‐Markers with antioxidant-related receptors.
Molecular docking receptor targets | CYP2C9, CYP3A4, HO‐1, HO‐2, HIF‐1α, LOX‐5 | Relevant as docking predictions of key components were made with these targets to verify antioxidant mechanisms.
Factors influencing pharmacokinetics | Origin of raw materials | The origin impacts the composition variability of Shenqi Tongmai oral liquid (SQTM), which could potentially influence its pharmacokinetics.
Factors influencing pharmacokinetics | Processing methods | Variations in processing may alter the chemical composition, affecting pharmacokinetics.
Factors influencing pharmacokinetics | Preparation procedures | Different preparation techniques contribute to the variability of active components, which may modify the pharmacokinetic outcomes.
Factors influencing pharmacokinetics | Variability in antioxidant components like rosmarinic acid | Different batches of SQTM exhibited variability in rosmarinic acid and related antioxidants, which influence its bioavailability and oxidative stress mediation.
Factors influencing pharmacokinetics | Synergistic effects of components | The interplay between components such as rosmarinic acid and luteolin can alter pharmacokinetics by affecting absorption or metabolism rates.
Factors influencing pharmacokinetics | Stability of chemical composition across batches | Stability and consistency affect the pharmacokinetic behavior, ensuring reproducibility in therapeutic efficacy.