## Table 1
Compound_Compound | Concentration (ng/mL)_Concentration (ng/mL) | Accuracy (%)_Intraday | Accuracy (%)_Interday | Precision (RSD%)_Intraday | Precision (RSD%)_Interday | Matrix effect (%)_Matrix effect (%) | Recovery (%)_Recovery (%)
Senegenin | 5 | 108.8 | 91.3 | 11.1 | 11.5 | 87.7 | 94.2
Senegenin | 10 | 104.6 | 102 | 10.8 | 6.6 | 87.3 | 94.9
Senegenin | 450 | 102.8 | 96.4 | 6.7 | 11.3 | 89 | 90.1
Senegenin | 3500 | 96.1 | 103.7 | 6.7 | 10.9 | 93.4 | 93.1
Tenuifolin | 5 | 109.5 | 87 | 11.7 | 13.8 | 88.4 | 97.7
Tenuifolin | 10 | 96.7 | 107.4 | 5.4 | 12.4 | 93.4 | 95.2
Tenuifolin | 450 | 108 | 89.1 | 9.8 | 9 | 86.1 | 88.9
Tenuifolin | 3500 | 93.5 | 106.3 | 10.5 | 12 | 88.4 | 96.4

## Table 2
Compound_Compound | Concentration (ng/mL)_Concentration (ng/mL) | Autosampler (4°C, 12 h)_Accuracy | Autosampler (4°C, 12 h)_RSD | Ambient (2 h)_Accuracy | Ambient (2 h)_RSD | −20°C (30 d)_Accuracy | −20°C (30 d)_RSD | Freeze-thaw_Accuracy | Freeze-thaw_RSD
Senegenin | 10 | 98 | 3.6 | 98.5 | 3.4 | 93.1 | 10.3 | 88.7 | 11.9
Senegenin | 450 | 100.6 | 7.3 | 107.7 | 8.3 | 106.6 | 10 | 106.2 | 11.5
Senegenin | 3500 | 102.2 | 3 | 97.9 | 1.5 | 103.8 | 8 | 99.3 | 8.1
Tenuifolin | 10 | 101.8 | 3.3 | 99.5 | 4.1 | 108.3 | 11.3 | 90 | 11.4
Tenuifolin | 450 | 102.6 | 6.8 | 103.8 | 2.6 | 94.6 | 3.7 | 104.7 | 4.4
Tenuifolin | 3500 | 97.8 | 2.5 | 98.5 | 5 | 104.1 | 10.4 | 90.3 | 10.4

## Table 3
Compound | Group | AUC(0-t) (ng/mL ∗ h) | AUC(0-∞) (ng/mL ∗ h) | t 1/2z (h) | CL z/F (L/h/kg) | V z/F (L/kg) | C max (ng/mL)
Senegenin | PO, 60 mg/kg | 434.2 ± 67.8 | 454.7 ± 66.0 | 2.6 ± 0.6 | 134.3 ± 21.8 | 503.0 ± 152.0 | 119.7 ± 30.8
Senegenin | IV, 5 mg/kg | 994.3 ± 116.0 | 998.0 ± 116.5 | 1.6 ± 0.4 | 5.1 ± 0.7 | 12.2 ± 4.1 | 1910.6 ± 279.2
Tenuifolin | PO, 60 mg/kg | 170.8 ± 20.8 | 176.1 ± 21.2 | 1.1 ± 0.2 | 343.8 ± 38.7 | 554.7 ± 23.3 | 98.3 ± 19.0
Tenuifolin | IV, 5 mg/kg | 845.4 ± 171.2 | 849.4 ± 172.6 | 0.8 ± 0.2 | 6.1 ± 1.4 | 7.2 ± 2.2 | 1497.3 ± 351.2

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Developed Method | UPLC-MS/MS for senegenin and tenuifolin detection | Relevant as it describes the analytical approach used for pharmacokinetic study.
Device | Acquity I-Class UPLC and XEVO TQS-micro triple quadrupole MS | Relevant as it specifies the equipment for the method validation and application.
Column | CORTECS T3 (2.1 mm × 50 mm, 1.6 μm), 40°C | Relevant as it points to the column and temperature used, which are crucial for chromatographic separation.
Mobile Phase | Acetonitrile and 0.1% formic acid | Relevant as it outlines the mobile phase composition, key for method reproducibility.
Flow Rate | 0.4 mL/min | Relevant because the flow rate impacts sensitivity and separation efficiency.
Gradient Elution Time | 4 minutes | Relevant as it specifies the time for sample analysis, critical for method efficiency.
Detection Mode | ESI negative ion, MRM | Relevant as it provides details of the detection methodology, crucial for sensitivity.
Analyte 1 Range | Senegenin: 5–400 ng/mL | Relevant because it describes the working concentration range.
Analyte 2 Range | Tenuifolin: 5–400 ng/mL | Relevant for determining tenuifolin sensitivity and quantification range.
Linear Correlation | Senegenin: r = 0.9985, Tenuifolin: r = 0.9964 | Relevant as it indicates the method's linearity for quantification.
LOD | 5 ng/mL for both senegenin and tenuifolin | Relevant as it shows detection limits critical for pharmacokinetics.
Precision Data | Intraday <12%, Interday <14% | Relevant as precise results are a hallmark of robust methods.
Accuracy | 87–109% for QC blood samples | Relevant for defining method reliability and reproducibility.
Recovery Range | >88% | Relevant to demonstrate efficient extraction of analytes from biological matrices.
Matrix Effect | 87–94% | Relevant to assess interference from biological matrix in the detection.
Stability Conditions | Stable for up to 30 days at −20°C | Relevant to ensure sample integrity in pharmacokinetic studies.
IV Dose | 5 mg/kg in mice | Relevant as it represents the experimental dosage for pharmacokinetic evaluation.
Oral Dose | 60 mg/kg in mice | Relevant as it provides comparable oral data to intravenous studies.
Key PK Parameter 1 | t1/2 senegenin: 2.6 ± 0.6 h | Relevant as it relates to drug metabolism and elimination in mice.
Key PK Parameter 2 | t1/2 tenuifolin: 1.1 ± 0.2 h | Relevant as it confirms rapid metabolism of the compound.
Oral Bioavailability | Senegenin: 8.7%, Tenuifolin: 4.0% | Relevant because it highlights the low systemic absorption via the oral route.
Supported by | Young Talent Project of Wenzhou Medical University | Relevant for funding acknowledgment, affecting study scope.
Mouse Model | ICR mice (20–22g) | Relevant as pharmacokinetics depend on the biological model used.
Twelve mice were randomly divided into two groups | 6 mice in each group | Specifies the sample size and group design used in the study.
After 0.0833 h, 0.5 h, 1 h, 2 h, 3 h, 4 h, 6 h, 8 h, and 12 h | Blood sampling time points | Indicates specific time intervals at which the blood concentration data were collected.
One group was administered intravenously (5 mg/kg) | Intravenous PK group | Details one of the routes of administration and the dosage received by the test group.
The other group was administered orally (60 mg/kg) | Oral PK group | Details the second route of administration and the corresponding dosage administered.
20 μL of blood was collected from the tail vein | Sampling method and volume | Highlights the method (tail vein sampling) and the volume of blood collected per time point from each mouse.
Blood samples were stored frozen at −20°C | Sample storage conditions | Relevant for ensuring the integrity of blood samples for pharmacokinetic analysis.
ICR mice (weight 20–22 g) | Patient population | Describes the specific mouse strain and weight range used, providing information about the test subjects.
Blood concentration data substituted into Drug and Statistics (DAS) 2.0 software | Data processing software | Used for fitting pharmacokinetic parameters, which is integral to study design.
Noncompartmental model | Noncompartmental analysis | The noncompartmental model was explicitly used in the study to fit the pharmacokinetic parameters of senegenin and tenuifolin, relevant for determining how the drug distributes and is eliminated without assuming a specific compartment structure.
Linear relationship (r) | >0.995 within a concentration range of 5–400 ng/mL | Relevant as it establishes the reliability and validity of the UPLC-MS/MS method for quantifying senegenin and tenuifolin in blood.
Intraday precision | <12% | Relevant as it determines the precision of measurements within the same day for assessing consistency in results.
Interday precision | <14% | Relevant as it evaluates the consistency of results across different days, important for method validation.
Accuracy | 87–109% | Relevant because it reflects how closely the measured values are to the true value in mouse blood.
Recovery | >88% | Relevant for showing the efficiency of sample extraction and its contribution to accurate quantification of analytes.
Matrix effect | 87–94% | Relevant as it establishes the degree of interference from endogenous substances, ensuring method reliability.
Lower limit of quantification (LLOQ) for senegenin and tenuifolin | 5 ng/mL | Relevant to demonstrate the method's sensitivity in detecting low concentrations of analytes in mouse blood.
Detection time per sample | 4 min | Relevant for emphasizing the efficiency of the optimized method in terms of time required for analysis.
Pharmacokinetic model used | Noncompartmental model | Relevant for explaining how the pharmacokinetic parameters of senegenin and tenuifolin were derived from mouse blood data.
Oral bioavailability of senegenin | 8.7% | Relevant as it quantifies the proportion of senegenin reaching systemic circulation after oral administration.
Oral bioavailability of tenuifolin | 4.0% | Relevant as it quantifies the proportion of tenuifolin reaching systemic circulation after oral administration.
Half-life (t1/2) of senegenin | 2.6 ± 0.6 h | Relevant for understanding the drug's elimination rate and systemic circulation time.
Half-life (t1/2) of tenuifolin | 1.1 ± 0.2 h | Relevant for evaluating the rapid metabolism and clearance of tenuifolin.
Sample volume for blood concentration measurements | 20 µL | Relevant as it specifies the amount of biological sample used for pharmacokinetic assessments.
Column used for analysis | CORTECS T3 (2.1 mm × 50 mm, 1.6 μm) at 40°C | Relevant to detail the chromatographic conditions under which the parameters were optimized and estimated.
Mobile phase | Acetonitrile and 0.1% formic acid, gradient elution | Relevant for providing details about the composition and flow rate utilized in method development and parameter estimation.
Flow rate | 0.4 mL/min | Relevant as part of the chromatographic conditions used during the estimation of pharmacokinetics.
Internal standard | Saikosaponin B2 | Relevant because it was used to correct for variability during the analysis, impacting the estimation of pharmacokinetic values.
Mouse strain and weight | ICR mice, 20–22 g | Relevant for providing the biological context from which pharmacokinetic parameters were derived.
Blood collection timepoints | After 0.0833 h, 0.5 h, 1 h, 2 h, 3 h, 4 h, 6 h, 8 h, 12 h | Relevant as it describes when samples were collected for parameter estimation.
Capillary voltage | 2.0 kV | Relevant for optimizing mass spectrometry settings during the quantification process.
Ion source temperature | 150°C | Relevant as part of the settings affecting mass spectrometry performance during pharmacokinetics estimation.
Desolvation temperature | 500°C | Relevant in optimizing chromatographic analysis conditions for deriving reliable parameters.
Factors influencing pharmacokinetics | Poor water solubility of tenuifolin (0.036 mg/mL) | The low water solubility of tenuifolin affects its oral absorption and bioavailability, which directly influences its pharmacokinetic profile.
Factors influencing pharmacokinetics | Poor intestinal absorption of tenuifolin | Poor intestinal absorption contributes to the low bioavailability of tenuifolin, impacting its systemic circulation and pharmacokinetics.
Factors influencing pharmacokinetics | Rapid metabolism of senegenin and tenuifolin | Rapid metabolism results in short half-lives for both compounds, influencing their pharmacokinetic behavior in vivo.
Factors influencing pharmacokinetics | Sensitivity enhancements via LC-MS/MS | The application of LC-MS/MS technology enhances the sensitivity and specificity of detecting senegenin and tenuifolin, providing accurate pharmacokinetic data.
Factors influencing pharmacokinetics | ESI negative ion mode shows higher sensitivity | The choice of ESI negative ion mode over positive ion mode improves detection sensitivity, facilitating better quantification of pharmacokinetic parameters.
Factors influencing pharmacokinetics | CORTECS T3 column and mobile phase optimization | The selection of the CORTECS T3 column and a mobile phase of acetonitrile with 0.1% formic acid ensured appropriate peaks and detection of compounds, aiding in pharmacokinetic analysis.
Factors influencing pharmacokinetics | 5% trichloroacetic acid-methanol for sample preparation | This protein precipitant showed the highest recovery for senegenin and tenuifolin, ensuring accurate pharmacokinetic analysis.
Factors influencing pharmacokinetics | Species differences (mice vs. rats) | Differences in pharmacokinetics parameters, such as half-life and bioavailability, noted between mice and rats may influence how these data are interpreted across species.
Factors influencing pharmacokinetics | Low oral bioavailability of senegenin (8.7%) and tenuifolin (4.0%) | Low bioavailability impacts the systemic exposure of these compounds following oral administration, affecting their pharmacokinetic profiles.
Factors influencing pharmacokinetics | Freeze-thaw stability of senegenin and tenuifolin in blood | Good stability under experimental conditions ensures reliable measurement of pharmacokinetic parameters.