## Table 1
Concentration (ng/ml)_Concentration (ng/ml) | Intra-day_Mean ± SD | Intra-day_CV (%) | Intra-day_Bias (%) | Inter-day_Mean ± SD | Inter-day_CV (%) | Inter-day_Bias (%)
0.5 | 0.50 ± 0.04 | 7.1 | −0.57 | 0.51 ± 0.01 | 1.96 | 2.00
1 | 1.02 ± 0.10 | 9.42 | 1.59 | 0.98 ± 0.05 | 5.09 | −1.80
20 | 20.42 ± 0.83 | 4.05 | 2.08 | 20.35 ± 0.61 | 3 | 1.75
400 | 410 ± 22.77 | 5.55 | 2.50 | 417.67 ± 7.79 | 1.87 | 4.42

## Table 2
Concentration (ng/ml)_Concentration (ng/ml) | Recovery (%)_Mean ± SD | Recovery (%)_CV (%) | Matrix effect (%)_Mean ± SD | Matrix effect (%)_CV (%) | IS-normalized matrix effect (%)_Mean ± SD | IS-normalized matrix effect (%)_CV (%)
1 | 84.80 ± 4.58 | 5.4 | 143.02 ± 0.06 | 0.04 | 123.35 ± 0.10 | 0.08
20 | 81.43 ± 1.92 | 2.35 | 126.08 ± 0.07 | 0.06 | 124.12 ± 0.13 | 0.1
400 | 78.20 ± 5.11 | 6.54 | 127.45 ± 0.70 | 0.05 | 124.83 ± 0.13 | 0.1

## Table 3
Concentration (ng/ml)_Concentration (ng/ml) | Room temperature stability_Mean ± SD | Room temperature stability_CV (%) | Post-preparation stability_Mean ± SD | Post-preparation stability_CV (%) | Freeze–thaw stability_Mean ± SD | Freeze–thaw stability_CV (%) | Working solution stability_Mean ± SD | Working solution stability_CV (%) | Long-term stability_Mean ± SD | Long-term stability_CV (%)
1 | 1.03 ± 0.10 | 4.7 | 1.07 ± 0.06 | 5.3 | 1.06 ± 0.07 | 6.45 | 1.034 ± 0.08 | 8.13 | 1.01 ± 0.07 | 5.3
400 | 434.00 ± 8.07 | 7.8 | 441.20 ± 10.76 | 2.44 | 448.60 ± 6.19 | 1.38 | 409.37 ± 37.98 | 9.28 | 399.67 ± 20.10 | 3.69

## Table 4
Parameters | Sotorasib
t 1/2 (h) | 1.24 ± 0.22
C max (ng/ml) | 227.28 ± 98.83
T max (h) | 0.5 (0.25–1)
AUC0– t (ng·h/ml) | 457.05 ± 165.17
AUC0–∞ (ng·h/ml) | 462.75 ± 166.63
Vz_F (L/kg) | 43.28 ± 17.90
CL_F (L h−1 kg−1) | 24.00 ± 8.04
MRT (h) | 1.89 ± 0.18

## Table 5
Model | Potential biomarker | VIP | Pearson’s coefficient
AUC refined model | N,N-dimethylglycine | 2.44 | 0.955**
AUC refined model | Adenine | 2.39 | −0.934**
AUC refined model | OH-phenylpyruvate | 2.24 | −0.877*
AUC refined model | FA 20:1-iso1 | 2.17 | −0.847*
AUC refined model | Glutaconylcarnitine/heptanoylcarnitine | 2.15 | −0.840*
AUC refined model | FA 20:0 | 2.13 | −0.833*
C max refined model | N,N-dimethylglycine | 2.44 | 0.853*
C max refined model | Adenine | 2.39 | −0.873*
C max refined model | OH-phenylpyruvate | 2.24 | −0.970**
C max refined model | 2′-Deoxycytidine | 1.98 | 0.977**
C max refined model | FA 22:2 | 1.78 | −0.890*
C max refined model | d-Glucosamine 6-phosphate | 1.72 | −0.890*
C max refined model | Thiamine hydrochloride (B1) | 1.6 | −0.821*
C max refined model | l-Homoserine | 1.44 | 0.871*
C max refined model | FA 22:1 | 1.31 | −0.835*

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Submitted to | Cancer Metabolism, a section of the journal Frontiers in Oncology | Indicates the focus area of the research—cancer metabolism, specifically relevant because sotorasib is studied for its effects on KRAS-driven cancers.
Objective | Integration of pharmacokinetics (PK) and pharmacometabolomics (PM) of sotorasib in rats | Demonstrates the innovative aspect of the study and its relevance for understanding the drug's efficacy and safety.
Method | Development of HPLC-MS/MS method for quantitation of sotorasib in rat plasma | Critical for achieving the results and ensuring methodological robustness.
Key Biomarkers | N,N-dimethylglycine, adenine, OH-phenylpyruvate | Relevant for predicting sotorasib drug exposure and toxicity, linking PM to PK.
Pharmacokinetic Parameters | Cmax = 134.72 ± 30.85 ng/ml, Tmax = 0.25 h, AUC0-8 = 431.96 ± 89.40 ng·h/ml, t1/2 = 1.39 ± 0.42 h | Directly provides scientifically validated sotorasib pharmacokinetics data in rats.
Metabolic Pathways | Taurine and hypotaurine metabolism | Reports the most significantly disturbed metabolic pathway, contributing to understanding sotorasib's wider metabolic effects.
Formulation for Oral Administration | 1% Tween-80 and 2% hydroxypropyl methylcellulose (HPMC) in water | Essential for sotorasib pharmacokinetics study, ensuring standardized administration.
Novelty | First HPLC-MS/MS study on sotorasib PK and PM in vivo | Highlights the study's originality and fills a gap in existing literature.
Significant Upregulated Metabolites | Taurine, l-valine, l-leucine | Important for understanding metabolic responses, reflecting sotorasib's impact on systemic metabolism.
Significant Downregulated Metabolites | OH-phenylpyruvate, chenodeoxycholic acid | Provides insight into reduced metabolites due to drug effects, linking metabolism and toxicity.
Predictive Model | Two-stage PLS and OPLS-DA | Relevant for determining efficacy and safety through correlation of metabolites with AUC and Cmax.
Animal Model Used | Six Sprague–Dawley rats | Ensures reliability and reproducibility in preclinical data regarding sotorasib in KRAS G12C studies.
FDA Approval | Sotorasib approved for KRAS (G12C) tumors in 2021 | Demonstrates clinical importance and translation relevance for targeted cancer therapy.
Stability Conditions | Stable at ambient temperature for 6 h, −80°C for long-term storage | Ensures reliability of PK data and practical implications for handling and analysis.
Relevant Metabolites | Branched-chain amino acids, carnitines, adenine derivatives | Reflects the diversity of metabolic pathways affected by sotorasib, critical for comprehensive metabolic insights.
Limitations | Small sample size, single administration study | Addresses gaps in wider application and validation, relevant for planning future studies.
Patient Sample Size | 6 Sprague–Dawley rats | The PK study involved six rats to assess the pharmacokinetics of sotorasib, which provides a defined small sample group for preclinical research.
Patient Population | Male Sprague–Dawley rats (180–220 g, 8-week-old) | Utilizing a specific and standardized rat population ensures controlled variability in the PK study.
Blood Sampling Time Points | Pre-dose and at 15 min, 30 min, 1, 1.5, 2, 2.5, 3, 4, and 8 hours post-dose | Frequent and defined time-point sampling allows for a detailed time-course analysis of sotorasib's pharmacokinetics.
Dosing Protocol | Sotorasib administered orally at 10 mg/kg | This specific dosage reflects the study's aim to measure drug absorption, metabolism, and elimination in a controlled manner.
Ethics Approval | Approved by Beijing Chao-Yang Hospital, Capital Medical University, Animal Care and Ethics Committee | Ensures the study complies with ethical considerations for preclinical animal experiments.
Plasma Sample Collection | Blood collected into heparin-anticoagulated tubes and centrifuged to separate plasma | Plasma was used to measure the concentration of sotorasib, aligning with the pharmacokinetic analysis goals.
Model | Not explicitly stated | The paper does not explicitly mention a specific pharmacokinetic model, such as 1-compartment, 2-compartment, or physiologically based models.
PLS Model | Two-component partial least squares (PLS) model | The PLS model was employed for predictive correlation between metabolites and pharmacokinetic parameters like AUC and Cmax, showing relevance for predicting drug exposure/toxicity in pharmacometabolomics.
Calibration Curve Range | 0.5–500 ng/ml | Provides the values for establishing the calibration curve range for sotorasib quantitation in rat plasma samples, which is critical for pharmacokinetics (PK) analysis.
Lower Limit of Quantitation (LLOQ) | 0.5 ng/ml | Specifies the sensitivity threshold of the HPLC-MS/MS method for sotorasib detection, which establishes the method’s ability to quantify low concentrations.
Upper Limit of Quantitation (ULOQ) | 500 ng/ml | Indicates the upper concentration limit for reliable quantitation of sotorasib in rat plasma, ensuring validity over the defined range.
Precision Intra-Day (LLOQ Level) | 9.42% CV | An intra-day performance parameter demonstrating the method’s repeatability at the lower limit of quantitation.
Recovery | 78.20%–84.80% | Refers to the percentage of sotorasib retrieved from the rat plasma after processing, relevant to assessing extraction efficiency.
Recovery CV | ≤6.54% | Reflects the consistency in recovery, which is critical for method reproducibility.
Matrix Effects (IS-Normalized) | 123.35%–124.83% | Quantifies enhancement effects introduced by the plasma matrix, relevant for evaluating the validity of the HPLC-MS/MS method in complex biological matrices.
Matrix Effects CV | <0.10% | Indicates minimal variability in matrix effects, important for reliability of the quantitation process.
Stability (Short-term) | Bias and CV < ±15% | Evaluates the method’s robustness under short-term sample storage at ambient temperature for 24 hours.
Stability (Freeze–Thaw) | Bias and CV < ±15% | Assesses method robustness through three cycles of freeze–thaw processes, ensuring consistent performance under typical storage conditions.
Stability (Post-Preparation) | Bias and CV < ±15% | Indicates sample stability in the autosampler for 24 hours, ensuring integrity over the analytical timeframe.
Stability (Long-term) | –80°C for 3 months | Confirms the method’s reliability for samples stored long-term, relevant for prolonged studies or delayed analysis.
Pharmacokinetic Parameter: Tmax | 0.67 ± 0.16 h | Reflects the time to achieve maximum plasma concentration of sotorasib after administration, important for absorption kinetics.
Pharmacokinetic Parameter: Cmax | 298.36 ± 54.78 ng/ml | Represents the maximum plasma concentration, a key metric for drug exposure.
Pharmacokinetic Parameter: t1/2 | 1.38 ± 0.36 h | Describes the half-life of sotorasib, crucial for understanding its elimination kinetics.
Pharmacokinetic Parameter: AUC0–t | 812.46 ± 198.56 ng·h/ml | Provides the area under the curve up to the last measurable concentration, an indicator of total drug exposure over time.
Pharmacokinetic Parameter: MRT | 2.23 ± 0.42 h | Indicates the mean residence time of sotorasib in systemic circulation, relevant for determining drug persistence.
Multiple Reaction Monitoring (MRM) Ion Transitions | m/z 561.4→317.1 and m/z 561.4→134.1 | Specifies ion transitions used in the HPLC-MS/MS analysis for identifying and quantifying sotorasib.
Column Used | Waters XBrige C18 (50 mm × 2.1 mm, 3.5 μm) | Provides information on chromatographic hardware utilized, critical for method reproduction.
Mobile Phase Composition | 0.1% Formic Acid in ACN and Water | Defines the chromatographic solvent gradient system employed, pivotal for separation and peak resolution.
Flow Rate | 0.4 ml/min | Specifies the flow rate used in the HPLC-MS/MS system, affecting chromatographic separation and retention times.
Injection Volume | 2 μl | Indicates the volume of sample injected, impacting peak shape and quantitation reproducibility.
Run Time | 3.0 min | Represents the total time for each analysis, vital for efficiency in high-throughput studies.
Analyte Stability Temperature | −80°C | Provides storage details to ensure analyte integrity for long-term analyses.
Selectivity and specificity | No interference at indicated retention times for sotorasib and internal standard (IS) | Relevant as these ensure accurate separation and quantitation of sotorasib, which directly influences the pharmacokinetics data quality.
Limit of Quantification (LOQ) | LOQ of 0.5 ng/ml with acceptable accuracy and precision | Relevant because the sensitivity of the method affects accurate detection of sotorasib at low plasma levels, significantly influencing pharmacokinetic evaluations.
Recovery | Mean recovery of sotorasib ranged from 78.20%–84.80% with consistent matrix effects | Relevant since recovery impacts the quantitative reliability of pharmacokinetic studies.
Uncertainty of Measurement | Largest uncertainty was from recovery; overall uncertainty expression was 20.42 ± 8.06 ng/ml for sotorasib | Relevant as measurement uncertainty calibrates the reliability of pharmacokinetic data.
Matrix effects | Observed consistent matrix enhancement (123.35%–124.83%) | Relevant since matrix effects can influence accurate quantitation of sotorasib in plasma, impacting pharmacokinetics.
Animal dosing | Rats were orally administered sotorasib at 10 mg/kg | Relevant because dosage and administration route determine pharmacokinetic parameters such as absorption and metabolism.
Protein precipitation (PPT) | A one-step PPT method used for plasma sample preparation | Relevant as efficient sample preparation impacts the accuracy and precision of pharmacokinetics data.
Column and solvents used | Waters XBrige C18 column and ACN as the organic phase | Relevant as chromatographic conditions influence sotorasib separation and quantitation, affecting pharmacokinetics analysis.
Storage and stability | Stability confirmed under various conditions such as 24 h at ambient temperature and −80°C for 3 months | Relevant because stability impacts how well pharmacokinetics reflect actual drug levels over time.
Calibration range | 0.5–500 ng/ml | Relevant as a wider calibration range allows better modeling of pharmacokinetic parameters across different plasma concentrations.
Pharmacokinetic parameters | Cmax = 298.36 ng/ml, Tmax = 0.5 h | Relevant because these parameters describe the absorption and peak concentration of sotorasib, key for pharmacokinetics.