## Table 1
Concentration(ng/mL)_Concentration(ng/mL) | Intra-day precision and accuracy(n = 6)_Accuracy (%) ± SD | Intra-day precision and accuracy(n = 6)_RSD (%) | Inter-day precision and accuracy(n = 18)_Accuracy (%) ± SD | Inter-day precision and accuracy(n = 18)_RSD (%)
5 | 98.48 ± 4.90 | 4.98 | 103.85 ± 5.83 | 5.61
15 | 96.67 ± 0.50 | 0.5 | 95.33 ± 4.80 | 5.04
400 | 110.25 ± 14.70 | 12.81 | 111.75 ± 11.70 | 10.47
4000 | 109.25 ± 1.70 | 1.67 | 104.50 ± 4.50 | 4.31

## Table 2
Concentration (ng/mL)_Concentration (ng/mL) | Concentration (ng/mL)_Concentration (ng/mL).1 | Recovery (%, n = 6)_Mean (%) ± SD | Recovery (%, n = 6)_RSD (%)
UK-5099 | 15 | 91.11 ± 5.18 | 5.68
UK-5099 | 400 | 111.75 ± 4.75 | 4.25
UK-5099 | 4000 | 111.79 ± 8.16 | 7.3
IS | IS | 109.37 ± 4.91 | 4.49

## Table 3
Storage conditions | Concentration (ng/mL) | Accuracy ± SD (%) | RSD (%)
Ambient temperature for 24 h | 15 | 115.47 ± 7.11 | 6.16
Ambient temperature for 24 h | 400 | 107.42 ± 4.65 | 4.65
Ambient temperature for 24 h | 4000 | 106.67 ± 3.53 | 3.31
At -20 °C for 60 days | 15 | 107.73 ± 9.12 | 8.47
At -20 °C for 60 days | 400 | 108.75 ± 5.00 | 4.6
At -20 °C for 60 days | 4000 | 106.22 ± 6.01 | 5.66
At 4 °C in the autosampler for 24 h | 15 | 95.11 ± 10.42 | 10.96
At 4 °C in the autosampler for 24 h | 400 | 107.42 ± 4.65 | 4.33
At 4 °C in the autosampler for 24 h | 4000 | 104.08 ± 5.30 | 5.09
Three Freeze–thaw cycles | 15 | 99.11 ± 6.71 | 6.77
Three Freeze–thaw cycles | 400 | 108.75 ± 5.00 | 4.6
Three Freeze–thaw cycles | 4000 | 100.33 ± 2.27 | 2.26

## Table 4
Parameters (Units) | Mean ± SD
Kel (h−1) | 0.052 ± 0.160 13.358 ± 0.239
T1/2 (h) | 0.052 ± 0.160 13.358 ± 0.239
Tmax (h) | 0.250 ± 0.000
Cmax (ng/mL) | 82,500 ± 20,745
AUC0-t (h/ng/mL) | 42,103 ± 12,072
AUC0-inf (h/ng/mL) | 44,088 ± 12,098
MRT0-t (h) | 0.857 ± 0.143
MRT0-inf (h) | 2.227 ± 0.155

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Standard used for UK-5099 analysis | Glibenclamide (internal standard, IS) | The internal standard is used to standardize UK-5099 quantification in LC-MS/MS analysis, ensuring accuracy and reproducibility.
Pharmacokinetic model | Noncompartmental model | A noncompartmental model was used to calculate pharmacokinetic parameters, ensuring accurate data interpretation for UK-5099 in plasma.
Plasma Cmax (Peak Concentration) | 82,500 ± 20,745 ng·mL−1 | Indicates the peak plasma concentration achieved, relevant for determining therapeutic efficacy versus Toxoplasma gondii.
Tmax (Time to Cmax) | 0.250 ± 0.000 h | Represents the time required to reach the maximum concentration, vital for understanding drug absorption rate.
T1/2 (Half-life) | 13.358 ± 0.239 h | Highlights UK-5099’s elimination timeframe, crucial for dosing schedule determination.
AUC0-t (Area Under Curve to last time point) | 42,103 ± 12,072 h·ng−1·mL−1 | Reflects the drug’s total plasma exposure, a key determinant in pharmacokinetics.
MRT0-t (Mean Residence Time) | 0.857 ± 0.143 h | Provides insight into how long UK-5099 stays effective in the system per dose.
Lower limit of quantification (LLOQ) | 5 ng·mL−1 | Indicates the sensitivity of the developed analytical method, ensuring accurate pharmacokinetic measurement.
Calibration curve r2 | 0.9947 | Demonstrates excellent linearity of the method, validating its application for pharmacokinetic studies.
Matrix effect | 98.81% ± 1.44% (UK-5099), 99.53 ± 2.97% (IS) | Confirms minimal interference from plasma matrix in detecting UK-5099, ensuring the method’s reliability.
Recovery rate of UK-5099 | >95% | Shows the efficiency and reliability of the sample preparation process for pharmacokinetic evaluation.
Intraperitoneal dose | 20 mg·kg−1 | Specifies the dosage administered to mice, critical for correlating dosing with pharmacokinetic outcomes.
Animal model used | BALB/c female mice | Demonstrates the relevance and appropriateness of the biological model for in vivo pharmacokinetic studies of UK-5099.
LC-MS/MS instrument | AB SCIEX Triple QuadTM 5500 | Confirms the technical specifications used for sensitive and accurate quantification of UK-5099.
Time points for plasma sample collection | 0 h, 0.083 h, 0.25 h, 0.5 h, 1 h, 2 h, 4 h, 8 h, 12 h, and 24 h | Offers a comprehensive timeframe to evaluate changes in plasma concentration for pharmacokinetic modeling.
Mobile phase components | Water with 0.1% FA (phase A) and ACN with 0.1% FA (phase B) | Ensures optimal separation and detection of UK-5099 in LC-MS/MS analysis.
Chromatographic column used | Agilent ZORBAX XDB-C18 (3.5 μm, 2.1 × 50 mm) | Provides details on the column used, critical for reproducing the method for pharmacokinetic analysis.
Blood collection protocol | 100 μL per time point, centrifuged at 3000 rpm for 10 min | Describes the sample handling process, ensuring consistency in pharmacokinetic analysis.
Validation parameters | Precision, accuracy, stability, matrix effect | Demonstrates the analytical method complies with rigorous validation standards for pharmacokinetics.
Route of administration | Intraperitoneal injection | Reinforces the method of drug delivery used in the study, relevant to evaluating UK-5099’s pharmacokinetics.
Sample size | Nine BALB/c female mice | The study used a small animal model (mice) with a clearly defined sample size of nine individuals to perform the pharmacokinetic study.
Species and strain | BALB/c female mice | The choice of animal species and strain is relevant, as it defines the biological system used for the pharmacokinetic analysis.
Animal body weight | 16.8–20.0 g | This information is relevant for calculating the dosing regimen and ensuring uniformity in the pharmacokinetic assessment.
Animal conditions | Adaptation to standard environmentally controlled animal room (25 ± 2 °C, relative humidity 50%, 12:12 h light/dark cycle) | Describes the controlled environment, which ensures consistency in the physiological conditions that can influence pharmacokinetics.
Fasting protocol | Mice fasted overnight before administration; resumed eating 4 h after administration | Relevant to control any influence of food on drug absorption and ensure consistency across samples.
Drug administration method | Intraperitoneal injection | Identifies the route of administration used, which is crucial for understanding pharmacokinetics in the study.
Drug dose | 20 mg·kg−1 of UK-5099 | Defines the dosing regimen applied to the mice, which directly impacts pharmacokinetic results.
Sampling time points | 0 h, 0.083 h, 0.25 h, 0.5 h, 1 h, 2 h, 4 h, 8 h, 12 h, 24 h | Relevant for defining the intervals at which blood samples were collected, providing a detailed time course for pharmacokinetic analysis.
Blood sample volume | 100 μL | Specifies the amount of blood collected at each sampling time point, which is sufficient for the LC–MS/MS analysis.
Plasma preparation | Blood centrifuged at 3000 rpm for 10 min, plasma stored at -20 °C | Describes the process used to prepare and store the plasma, ensuring sample integrity for pharmacokinetic analysis.
Approval and ethics | Institutional ethics committee approval: SCXK (Gan) 2020–0005 | Relevant to confirm compliance with ethical guidelines for animal experimentation.
Optimal pharmacokinetic model | Noncompartmental model | The relevance lies in the application of a noncompartmental model to determine the pharmacokinetic parameters of UK-5099. This directly addresses the type of pharmacokinetic modeling used in the study, providing clarity on how the data was analyzed quantitatively.
AUC0-t | 42,103 ± 12,072 ng·h·mL−1 | This parameter represents the area under the plasma concentration-time curve from time zero to the last measurable concentration, indicating drug exposure over time. It was estimated from the plasma of health mice after intraperitoneal administration.
MRT0-t | 0.857 ± 0.143 h | Mean residence time (MRT) indicates the average time the drug stays in the body. It was calculated from plasma concentration data in mice.
Cmax | 82,500 ± 20,745 ng·mL−1 | This is the peak concentration achieved by the drug, demonstrating the extent of the drug’s absorption. It was determined from mouse plasma after intraperitoneal injection.
Tmax | 0.250 ± 0.000 h | The time to reach peak concentration post-dosing, showing how quickly the drug reaches its maximum concentration. Estimated from plasma concentration-time profiles in mice.
T1/2 | 13.358 ± 0.239 h | The half-life of UK-5099, indicating how long it takes for the plasma concentration to reduce by half. Derived from the pharmacokinetic analysis in mice.
LLOQ | 5 ng·mL−1 | Lower limit of quantification (LLOQ) is the smallest concentration of the drug that can be reliably measured. Used for constructing calibration curves during pharmacokinetic evaluations.
Recovery (Plasma Extraction) | >95% | Shows the efficiency of the drug recovery process from plasma, crucial for ensuring accurate pharmacokinetic estimations. Derived from spiked plasma sample analysis.
Matrix Effect | 98.81% ± 1.44% for UK-5099 | Indicates minimal interference from plasma, ensuring the reliability of results. Evaluated by analyzing blank plasma from nine different mice.
Linear Range | 5–5000 ng·mL−1 | The calibration range in which the plasma concentration reliably correlates with the ion peak area ratio. Used for creating the standard curve for measurement.
Dilution Integrity | 98.81% accuracy and RSD of 6.73% | Demonstrates the reliability of diluted plasma sample analysis for concentrations exceeding calibration range. Estimated from samples exceeding linear range.
Extraction Recovery Rates (15 ng·mL−1) | 91.11 ± 5.18% | Reflects how efficiently UK-5099 is recovered from low-quality control (LQC) plasma samples. Crucial for precision in quantitation.
Extraction Recovery Rates (400 ng·mL−1) | 111.75 ± 4.75% | Recovery efficiency from medium-quality control (MQC) plasma samples. Ensures method validation of pharmacokinetics.
Extraction Recovery Rates (4000 ng·mL−1) | 111.79 ± 8.16% | High recovery values for high-quality control (HQC) plasma samples to confirm method reliability.
Accuracy (Intra-day) | 96.67–110.25% | Reflects method consistency during single-day analysis. Evaluated using quality control (QC) concentrations.
Accuracy (Inter-day) | 95.33–111.75% | Verifies consistency across multiple days. Measured using QC concentrations.
Precision (Intra-day) | 0.50–12.81% | Assesses variation within measurements made in one day across QC concentrations.
Precision (Inter-day) | 4.31–10.47% | Measures reproducibility across different days using QC plasma concentrations.
Calibration Curve Equation | y = 0.000293x + 0.00112 (r2 = 0.9947) | Mathematical model to predict concentration from peak area ratio. Applied to quantify UK-5099 levels.
Retention Times (LC-MS/MS) | 1.39 min for UK-5099, 1.40 min for IS | Separation times for the analyte and internal standard, ensuring no interference during detection.
Matrix Effect | The average matrix effect on UK-5099 was 98.81% ± 1.44%, and on IS was 99.53 ± 2.97%. | Relevant because matrix effects influence the accuracy of pharmacokinetic measurements in plasma samples.
Storage Conditions | UK-5099 was stable under ambient temperature for 24 h, at -20°C for 60 days, in an autosampler at 4°C for 24 h, and after three freeze–thaw cycles. | Relevant because stability during storage affects the reliability of pharmacokinetic data.
Dilution Integrity | Plasma samples at high concentrations (10,000 ng/mL) diluted 10-fold showed accuracy and precision within acceptable limits. | Relevant because dilution procedures affect the determination of UK-5099 concentration exceeding the linear range.
Vehicle for Administration | UK-5099 was dissolved in corn oil with 10% DMSO for intraperitoneal injection. | Relevant because the choice of vehicle may affect drug absorption and subsequent pharmacokinetics.
Administration Mode | Intraperitoneal injection was the mode of UK-5099 administration. | Relevant because the route of administration directly influences the pharmacokinetics and bioavailability of the drug.
Mobile Phase Composition | Water with 0.1% FA and ACN with 0.1% FA improved ionization and resolution in the LC–MS/MS method. | Relevant because factors improving ionization may influence the detection and quantification of UK-5099 during pharmacokinetic studies.
Injection Volume | The sample injection volume was 5 μL. | Relevant because the precision of injection volume can impact consistent pharmacokinetic analysis outcomes.
Chromatographic Column | An Agilent ZORBAX XDB-C18 column (2.1×50 mm, 3.5 μm) was used. | Relevant because the choice of column affects the separation of analytes, impacting pharmacokinetic evaluations.