## Table 1
Analyte N = 9_Unnamed: 0_level_1 | Internal Standard Normalized Matrix Factor_Mean Value | Internal Standard Normalized Matrix Factor_SD | Internal Standard Normalized Matrix Factor_RSD (%)
HQC | 0.990 * | 0.0135 | 1.4
0.988 **
0.984 ***
MQC | 1.010 * | 0.02 | 2
0.998 **
1.012 ***
LQC | 0.977 * | 0.0373 | 3.8
0.982 **
0.981 ***

## Table 2
AnalyteN = 6,6,6 | Intra-Batch Mean | Intra-Batch RSD (%) | Deviation of Average Accuracy Intra-Batch (%) | Inter-Batch MeanN = 18 | Inter-Batch RSD (%) N = 18 | Average Accuracy Deviation Inter-Batches (%)N = 18
LLOQ QC | 2.04 | 2.8 | 2.0 | 2.11 | 5.5 | 5.2
| 2.14 | 5.9 | 7.20
| 2.13 | 6.4 | 6.60
LQC | 5.98 | 3 | −0.30 | 6.13 | 3.4 | 2.2
| 6.22 | 3.4 | 3.70
| 6.2 | 2.7 | 3.30
MQC | 60.1 | 3.4 | 0.10 | 61.9 | 3.8 | 3.2
| 63 | 2.9 | 5.00
| 62.7 | 3.4 | 4.50
HQC | 752 | 1.8 | 0.30 | 753 | 2.4 | 0.4
| 741 | 1.7 | −1.20
| 765 | 2.7 | 2.00

## Table 3
Extraction Recovery_Extraction Recovery | Normal Plasma_HQC | Normal Plasma_MQC | Normal Plasma_LQC | Hyperlipoidemia_HQC | Hyperlipoidemia_MQC | Hyperlipoidemia_LQC
The mean of analyte extraction recovery (%) | 101 | 104.2 | 99.7 | 100.8 | 103.4 | 98.9
The relative standard deviation of analyte extraction recovery(%RSD) | 2.3 | 2.3 | 2.3 | 2.2 | 2.2 | 2.2

## Table 4
AnalyteN = 6 | Mean Value(ng/mL) | SD | RSD (%) | Average Accuracy (%) | Mean Accuracy Deviation (%)
DQC (diluted by a factor of 5) 4000 ng/mL | 4040 | 174 | 4.3 | 101 | 1

## Table 5
Survey Sample TypeN = 6 | Duration of Investigation | Mean Value (ng/mL) | RSD(%) | Storage Condition
Stability control sample1.00 (mg/mL) | 0 h | 0.935 | 3.9 | RT
Stability test sample1.00 (mg/mL) | 41 h | 0.92 | 2.3 | RT
Stability control sample1.00 (mg/mL) | 0d | 0.947 | 1 | 4 °C
Stability test sample1.00 (mg/mL) | 36d | 1.04 | 1.3 | 4 °C

## Table 6
Unnamed: 0 | Fasting | Post-Prandial
Tmax (h) | 1.500 (0.5, 4) | 1.750 (0.75, 4)
Cmax (ng/mL) | 448.9 ± 203.57 | 549.1 ± 201.70
AUC0-t (h×ng/mL) | 2671.599 ± 2298.5138 | 3196.242 ± 1210.5110
AUC0-∞ (h×ng/mL) | 2810.615 ± 2387.0430 | 3383.230 ± 1416.7882
λz（1/h） | 0.044 ± 0.0175 | 0.043 ± 0.0125
t1/2 (h) | 17.681 ± 6.0084 | 17.858 ± 5.9342

## Table 7
CompoundName | Multi-Reaction Monitoring (MRM) | Dwell Time (ms) * | Declustering Power (DP)(volts) | Collision Energy (CE)(volts) | Chromatographic Retention Time (min)
Dapoxetine | 306.2–157.2 | 180 | 60 | 33 | 0.95
Dapoxetine-d7 | 313.2–164.2 | 180 | 60 | 34 | 0.95

## Freetext Data
Data | Value | Relevance
DP Concentration Linear Range | 2.00~1000 ng/mL | Relevant to question about sensitivity and scope of the HPLC–MS/MS method developed for DP detection.
Chromatographic Analysis Time | 2.8 min | Relevant to question about method speed and efficiency in analyzing DP levels.
Internal Standard Used | Dapoxetine-d7 | Relevant to question about accuracy and standardization in DP analysis.
Limit of Quantification (LLOQ) | 2.0 ng/mL | Relevant to question about sensitivity of the method for detecting Dapoxetine in plasma samples.
Correlation Coefficient (R2) | 0.99 | Relevant to question about linearity and reliability of the calibration curves used for analysis.
Retention Time RSD | ≤0.4% | Relevant to question about precision of the HPLC–MS/MS method.
Accuracy Deviation for LLOQ QC | <20% | Relevant to question about reliability and accuracy in quantifying low concentrations of Dapoxetine.
Precision RSD for QC Samples | ≤15% (≤20% for LLOQ QC) | Relevant to question about consistency in detecting Dapoxetine levels within acceptable standards.
Matrix Effect Observation | None | Relevant to question about method robustness against interference from plasma components.
Extraction Recovery | 101.0% (HC), 104.2% (MC), 99.7% (LC) | Relevant to question about efficiency of the plasma extraction process for Dapoxetine quantification.
Stability (Room Temperature) | Up to 41 h | Relevant to question about practical storage duration for plasma samples before analysis.
Stability (Refrigerated at 4°C) | Up to 36 days | Relevant to question about long-term sample stability under standard storage conditions.
Maximum Plasma Concentration (Cmax) | 448.9 ± 203.57 ng/mL (fasting), 549.1 ± 201.70 ng/mL (postprandial) | Relevant to question about pharmacokinetic behavior of Dapoxetine in healthy volunteers under different nutritional states.
Elimination Half-Life (t1/2) | 17.681 ± 6.0084 h (fasting), 17.858 ± 5.9342 h (postprandial) | Relevant to question about duration of Dapoxetine activity in the human body.
Safety Profile Post-Dose | Good | Relevant to question about the clinical relevance and tolerability of Dapoxetine administration.
HPLC Column | Ultimate XB C18, 4.6 × 50 mm, 5 µm | Relevant to question about the technical setup for chromatographic separation in DP analysis.
Injection Volume | 5.00 μL | Relevant to question about methodological precision in sample handling.
Flow Rate | 0.800 mL/min | Relevant to question about the methodological efficiency in chromatographic setup for DP analysis.
Ethical Approval | Ethics Committee of The Affiliated Hospital of Guizhou Medical University | Relevant to question about compliance with ethical standards for clinical pharmacokinetic studies.
Funding Source | Grant number SXK20220201030 | Relevant to question about resource allocation and financial support for the study.
Subjects | 95 Healthy Chinese Volunteers | Relevant to question about study population representation and relevance in pharmacokinetic studies.
Patient Sample Size | 95 healthy subjects | Relevant as it specifies the number of participants analyzed in the pharmacokinetic study, critical for understanding the study's robustness and statistical power.
Patient Population | Healthy Chinese volunteers | Relevant as it identifies the demographic focus of the study, which impacts the generalizability of the pharmacokinetic findings.
Study Design | Open, single-center, single-dose, two-cycle, two-sequence, randomized, crossover trial | Relevant as it clarifies the structure of the PK study, which influences data reliability and comparison across fasting vs. fed conditions.
Blood Sampling Time Points | Not explicitly stated | Relevant as the absence of this detail limits the understanding of the temporal sampling framework in the PK study.
Single Dose | 60 mg dapoxetine | Relevant because dosing specifications are integral to eliciting pharmacokinetic data and evaluating safety.
Fasting vs. Postprandial Conditions | Tested under both conditions | Relevant because food's effect on pharmacokinetics was being investigated, which impacts drug absorption and action.
Ethics Approval | Ethics Committee of The Affiliated Hospital of Guizhou Medical University, approval number 2019035 | Relevant as ethical clearance guarantees the study was conducted following international safety/ethics standards.
Trial Registration | Registered in China Drug Trial database, approval number CTR20191062 | Relevant as the registration adds credibility and transparency to the study, allowing external validation if necessary.
Model type | Not explicitly mentioned | The study provides information on the pharmacokinetic properties of dapoxetine, including elimination half-life and maximum plasma concentration, but does not explicitly state the compartmental model used for pharmacokinetics analysis.
Approach | HPLC-MS/MS methodology | The relevance lies in the analytical method used for quantitative measurements of dapoxetine plasma levels, foundational for pharmacokinetic profiling.
Design | Open, single-center, single-dose, two-cycle, two-sequence, randomized, crossover trial | This design is relevant as it indicates how pharmacokinetic sampling and data collection were performed, though it does not directly specify the use of any compartmental modeling.
Parameters analyzed | Pharmacokinetic parameters (Cmax, t1/2) | These parameters suggest some level of pharmacokinetic modeling but do not clarify the specific model employed.
--- | --- | ---
Mass spectrometric parameters | Electrospray ionization voltage: 5500 V, temperature: 550 °C, curtain gas: 30.0 psi, CAD gas: 9, Gas 1 (nebulizing gas): 50.0 psi, Gas 2 (auxiliary gas): 55.0 psi | These were optimized instrumental parameters used for HPLC–MS/MS analysis of DP in human plasma.
Operating temperature of the auto-sampler | 4 °C | This parameter ensures sample stability during analysis in the HPLC system.
Column specifications | Ultimate XB C18 (4.6 × 50 mm, 5 μm) | Specific chromatographic column used relates to the method's separation efficiency for DP.
HPLC mobile phase composition | Aqueous 0.1% formic acid (Phase A) and acetonitrile with 0.1% formic acid (Phase B) | Mobile phase composition ensures proper elution and resolution of DP and IS in plasma.
HPLC gradient program | 0–1.2 min: 50% Phase B; 1.2–1.3 min: 50–95% Phase B; 1.3–2.0 min: 95% Phase B; 2.0–2.1 min: 95–30% Phase B; 2.1–2.8 min: 30% Phase B | Gradient program optimizes chromatographic separation of DP and IS.
HPLC column temperature | 35 °C | Consistent column temperature aids in reproducible chromatographic retention times for DP.
Injection volume | 5.00 μL | Controlled injection volume is critical for accurate quantification and reproducibility.
Extraction technique | Simple protein precipitation | Simplifies plasma sample preparation for efficient and reliable quantification of DP.
Linear range | 2.00–1000 ng/mL | This parameter defines the sensitivity and dynamic quantitation range of DP in human plasma.
Lower limit of quantification (LLOQ) | 2.0 ng/mL | Defines the minimum detectable analyte concentration with acceptable precision and accuracy.
Matrix effect conditions | Evaluated on fasting plasma, postprandial plasma, and hemolytic plasma | Assessment ensures reliability across different biological plasma conditions.
Precision and accuracy standards | Intra- and inter-batch deviation (RSD) ≤15%, LLOQ QC <20% | Indicates robustness and repeatability of the method under study conditions.
Stability conditions | Samples stable at room temperature for up to 41 h, refrigerated at 4 °C for up to 36 days | Stability parameters ensure sample viability during handling and storage.
Dilution integrity | Up to 5-fold dilution with precision and accuracy maintained | Confirms method reliability for samples exceeding the upper quantitation range.
Estimation location | Data were derived from pharmacokinetic studies of DP in healthy Chinese volunteers | Ensures relevance of the parameters to clinical application in a specific population context.
Effects of food on pharmacokinetics | No significant differences in pharmacokinetic parameters between fasting and postprandial states | Relevant because the study directly evaluated the impact of food intake on dapoxetine's pharmacokinetic parameters, such as Cmax and t1/2.
Maximum plasma concentrations (Cmax) | 448.9 ± 203.57 ng/mL for fasting, 549.1 ± 201.70 ng/mL for postprandial | Relevant as the variability highlights potential factors like food intake influencing the pharmacokinetics, though the differences were not statistically significant.
Elimination half-life (t1/2) | 17.681 ± 6.0084 h for fasting, 17.858 ± 5.9342 h for postprandial | Relevant as the observed stability in t1/2 between states confirms that food intake did not significantly alter drug elimination rates.
Study design | Comparison of fasting vs. postprandial states in pharmacokinetic profiles | Relevant because the study protocol specifically assessed perturbing factors, like food, which could have influenced pharmacokinetics.
Analysis sample type | Evaluations performed on fasting plasma, postprandial plasma, and hemolytic plasma | Relevant because contrasting different plasma types assessed potential matrix effects, which could influence pharmacokinetic assessments.