## Table 1
Samples_Samples | ID_ID | Nominal conc. (ng mL−1)_VEN | Nominal conc. (ng mL−1)_ODV
CSs | STD-A | 0.503 | 0.493
CSs | STD-B | 1.378 | 1.35
CSs | STD-C | 6.891 | 6.749
CSs | STD-D | 19.689 | 19.283
CSs | STD-E | 49.222 | 48.208
CSs | STD-F | 98.444 | 96.416
CSs | STD-G | 196.889 | 192.833
CSs | STD-H | 255.7 | 250.432
QCs | LOQQC | 0.504 | 0.494
QCs | LQC | 1.392 | 1.363
QCs | M1QC | 49.222 | 48.208
QCs | MQC | 98.444 | 96.419
QCs | HQC | 196.889 | 192.883

## Table 2
Analytes/SIL-IS | Retention time (min)
VEN | 1.1–1.4
VEN-D6 | 1.1–1.4
ODV | 0.75–1.1
ODV-D6 | 0.75–1.1

## Table 3
Parameter | Values
Gas 1—Ion Spray nebulizer gas | 60 psig
Gas 2—TURBO ION SPRAY heater gas | 40 psig
Temperature | 500 °C
Curtain gas | 30 psig
Ion Spray voltage | 5500 V
Collision gas | 6 psig
Interface heater | ON

## Table 4
Compound_Compound | MRM_Q1 (amu) | MRM_Q3 (amu) | Compound parameters_DP (V) | Compound parameters_EP (V) | Compound parameters_CE (V) | Compound parameters_CXP (V)
VEN | 278.2 | 58.1 | 40 | 10 | 35 | 6
VEN-D6 | 284.2 | 64.1 | 40 | 10 | 35 | 6
ODV | 264 | 58.1 | 40 | 10 | 35 | 6
ODV-D6 | 270 | 64.1 | 40 | 10 | 35 | 6

## Table 5
Average calibration curve parameters_Analyte | Average calibration curve parameters_CC run | Average calibration curve parameters_Slope | Average calibration curve parameters_Intercept | Average calibration curve parameters_R
VEN | I | 0.0427 | − 0.000968 | 0.9995
VEN | II | 0.0433 | − 0.00114 | 0.9996
VEN | III | 0.0422 | 0.00068 | 0.9997
ODV | I | 0.0392 | 0.00437 | 0.9995
ODV | II | 0.0407 | 0.00431 | 0.9991
ODV | III | 0.0385 | 0.00376 | 0.9994

## Table 6
Sensitivity at LOQ_Analyte | Sensitivity at LOQ_LOQQC run (within-day) | Sensitivity at LOQ_SD (±) | Sensitivity at LOQ_Precision (%CV) | Sensitivity at LOQ_Accuracy (%Nominal)
VEN | PA batch—I | 0.10805 | 19.15 | 111.97
VEN | PA batch—II | 0.10248 | 18.29 | 111.14
VEN | PA batch—III | 0.02192 | 4.7 | 92.56
ODV | PA batch—I | 0.07833 | 15.3 | 103.61
ODV | PA batch—II | 0.08118 | 16.38 | 100.3
ODV | PA batch—III | 0.02701 | 6.13 | 89.24

## Table 7
Analyte_IS_QC level | VEN_VEN-D6_VEN-MF | VEN_VEN-D6_VEN-D6-MF | VEN_VEN-D6_IS-normalized-MF
LQC | 0.9853 | 0.9645 | 1.0215
LQC | 0.9918 | 0.9893 | 1.0025
LQC | 0.8935 | 0.8380 | 1.0662
LQC | Mean | Mean | 1.0301
LQC | SD (±) | SD (±) | 0.0327
LQC | Precision (%CV) | Precision (%CV) | 3.17
HQC | 0.9943 | 0.9881 | 1.0063
HQC | 1.0053 | 0.9737 | 1.0324
HQC | 0.8720 | 0.8405 | 1.0374
HQC | Mean | Mean | 1.0254
HQC | SD (±) | SD (±) | 0.0167
HQC | Precision (%CV) | Precision (%CV) | 1.63

## Table 8
Analyte_QC levels | VEN_LOQQC | VEN_LQC | VEN_MQC | VEN_HQC | ODV_LOQQC | ODV_LQC | ODV_MQC | ODV_HQC
Nominal conc. (ng mL−1) | 0.504 | 1.392 | 98.444 | 196.889 | 0.494 | 1.363 | 96.416 | 192.833
Between batch PA | Between batch PA | Between batch PA | Between batch PA | Between batch PA | Between batch PA | Between batch PA | Between batch PA | Between batch PA
Mean conc. (ng mL−1 , n = 18) | 0.530 | 1.368 | 105.538 | 208.041 | 0.482 | 1.332 | 102.478 | 206.946
SD (±) | 0.009 | 0.090 | 8.974 | 5.397 | 0.070 | 0.096 | 5.633 | 6.929
Precision (%CV) | 17.71 | 6.64 | 8.50 | 2.59 | 14.55 | 7.23 | 5.50 | 3.35
Accuracy (%Nominal) | 105.22 | 98.32 | 107.21 | 105.66 | 97.72 | 97.77 | 106.29 | 107.32
Within batch PA—I | Within batch PA—I | Within batch PA—I | Within batch PA—I | Within batch PA—I | Within batch PA—I | Within batch PA—I | Within batch PA—I | Within batch PA—I
Mean conc. (ng mL−1 , n = 6) | 0.564 | 1.370 | 105.921 | 208.395 | 0.511 | 1.317 | 102.381 | 207.529
SD (±) | 0.108 | 0.111 | 11.781 | 6.595 | 0.078 | 0.114 | 7.061 | 9.499
Precision (%CV) | 19.15 | 8.12 | 11.12 | 3.16 | 15.30 | 8.66 | 6.90 | 4.58
Accuracy (%Nominal) | 111.97 | 98.43 | 107.60 | 105.84 | 103.61 | 96.66 | 106.19 | 107.62
Within batch PA—II | Within batch PA—II | Within batch PA—II | Within batch PA—II | Within batch PA—II | Within batch PA—II | Within batch PA—II | Within batch PA—II | Within batch PA—II
Mean conc. (ng mL−1 , n = 6) | 0.560 | 1.369 | 106.177 | 208.930 | 0.495 | 1.311 | 102.391 | 204.891
SD (±) | 0.102 | 0.106 | 10.380 | 5.524 | 0.081 | 0.106 | 6.515 | 6.538
Precision (%CV) | 18.29 | 7.75 | 9.78 | 2.64 | 16.38 | 8.15 | 6.36 | 3.19
Accuracy (%Nominal) | 111.14 | 98.41 | 107.86 | 106.12 | 100.30 | 96.20 | 106.20 | 106.25
Within batch PA—III | Within batch PA—III | Within batch PA—III | Within batch PA—III | Within batch PA—III | Within batch PA—III | Within batch PA—III | Within batch PA—III | Within batch PA—III
Mean conc. (ng mL−1 , n = 6) | 0.466 | 1.365 | 104.516 | 206.798 | 0.440 | 1.369 | 102.661 | 208.420
SD (±) | 0.021 | 0.066 | 5.034 | 4.701 | 0.270 | 0.068 | 3.940 | 4.710
Precision (%CV) | 4.70 | 4.84 | 4.82 | 2.27 | 6.13 | 4.99 | 3.84 | 2.26
Accuracy (%Nominal) | 92.56 | 98.12 | 106.17 | 105.03 | 89.24 | 100.44 | 106.48 | 108.08

## Table 9
Analyte_Analyte | % Recovery_LQC | % Recovery_MQC | % Recovery_HQC | Mean_Mean | SD ( ±)_SD ( ±) | Precision (%CV)_Precision (%CV)
VEN (n = 6/QC) | 86.41 | 89.10 | 88.05 | 87.85 | 1.355 | 1.54
ODV (n = 6/QC) | 72.42 | 75.91 | 73.77 | 74.03 | 1.760 | 2.38
IS | % Recovery | % Recovery | % Recovery | % Recovery | % Recovery | % Recovery
VEN-D6 (n = 18) | 81.52 | 81.52 | 81.52 | 81.52 | 81.52 | 81.52
ODV-D6 (n = 18) | 68.64 | 68.64 | 68.64 | 68.64 | 68.64 | 68.64

## Table 10
Strength | Comparison | Dissolution medium | f2 result
37.5 mg | Test ER tablet vs Efexor XR | pH 4.5 acetate buffer | 65.62
37.5 mg | Test ER tablet vs Efexor XR | pH 5.5 acetate buffer | 67.24
37.5 mg | Test ER tablet vs Efexor XR | pH 6.8 phosphate buffer | 74.4

## Table 11
PK parameters_PK parameters_PK parameters | Analyte_VEN_Efexor XR | Analyte_VEN_Test ER tablet | Analyte_ODV_Efexor XR | Analyte_ODV_Test ER tablet
Tmax (h) | 3.00 | 4.00 | 3.00 | 3.00
Cmax (ng/mL) | 58.94 ± 13.20 | 58.99 ± 10.77 | 9.57 ± 0.75 | 10.24 ± 1.84
AUClast (h ng/mL) | 573.22 ± 99.23 | 617.85 ± 112.95 | 116.93 ± 11.63 | 134.47 ± 30.89
AUCINF_obs (h ng/mL) | 608.95 ± 110.35 | 659.32 ± 120.00 | 126.90 ± 15.09 | 148.93 ± 35.41
HL_Lambda_z (h) | 9.61 ± 1.34 | 10.06 ± 0.64 | 9.72 ± 1.31 | 10.63 ± 0.49
AUC_%Extrap_obs (%) | 5.75 ± 1.71 | 6.30 ± 1.03 | 7.70 ± 1.98 | 9.57 ± 1.03
Lambda_z (1/h) | 0.07 ± 0.01 | 0.07 ± 0.004 | 0.07 ± 0.01 | 0.07 ± 0.003
Lambda_z_lower (h) | 12.00 | 12.00 | 4.50 ± 1.00 | 5.00 ± 2.00
Lambda_z_upper (h) | 36.00 | 36.00 | 36.00 | 36.00
AUMClast (h h ng/mL) | 5334.39 ± 857.88 | 5832.99 ± 1047.68 | 1313.09 ± 231.29 | 1567.81 ± 393.92
AUMCINF_obs (h h ng/mL) | 7173.60 ± 1563.80 | 7932.15 ± 1436.72 | 1816.69 ± 431.07 | 2311.14 ± 634.17
MRTlast (h) | 9.33 ± 0.32 | 9.45 ± 0.13 | 11.20 ± 1.24 | 11.62 ± 0.28
Vz_F_obs (L) | 866.37 ± 124.12 | 848.24 ± 176.88 | 4155.02 ± 441.18 | 4011.84 ± 890.25
AUClast/AUCINF_obs | 0.94 ± 0.02 | 0.94 ± 0.01 | 0.92 ± 0.02 | 0.90 ± 0.01
CL_F_obs (L/h) | 63.34 ± 12.98 | 58.38 ± 11.10 | 298.55 ± 34.22 | 262.19 ± 58.92

## Table 12
Analyte_PK parameters | VEN_Cmax (ng/mL) | VEN_AUClast (h ng/mL) | VEN_AUCINF_obs (h ng/mL) | ODV_Cmax (ng/mL) | ODV_AUClast (h ng/mL) | ODV_AUCINF_obs (h ng/mL)
Least square mean (T) | 58.19 | 609.91 | 650.93 | 10.12 | 131.92 | 145.89
Least square mean (R) | 57.69 | 566.21 | 600.81 | 9.55 | 116.5 | 126.25
Mean square error | 0.05 | 0.03 | 0.04 | 0.02 | 0.03 | 0.03
Intersubject variability | 22.5 | 18.79 | 19.18 | 13.77 | 17.43 | 18.57
SE of difference | 0.11 | 0.09 | 0.1 | 0.07 | 0.09 | 0.09
Power | 33.82 | 48.03 | 46.21 | 77.55 | 55.05 | 49.12
100 × T/R ratio | 100.87 | 107.72 | 108.34 | 105.99 | 113.24 | 115.56
90% CI Lower limit | 74.33 | 83.39 | 83.44 | 87.8 | 89.28 | 89.73
90% CI Upper limit | 136.88 | 139.14 | 140.68 | 127.95 | 143.63 | 148.83

## Freetext Data
Data | Value | Relevance
Objective | "To develop and validate a preclinical pharmacokinetic (PK) study of extended-release (ER) venlafaxine oral dosage forms in New Zealand White rabbits and assess bioequivalence with a reference drug (Efexor XR)." | "The objective of the study is central to its purpose, addressing the formulation development and preclinical evaluation of VEN ER tablets."
Study Design | "Comparative pharmacokinetic study of an in-house produced VEN ER tablet versus the US FDA reference listed drug (RLD) Efexor XR 37.5 mg in New Zealand White rabbits." | "The study design was crucial to comparing the bioavailability and PK parameters between the experimental (test) and reference formulations."
Study Population | "New Zealand White rabbits, four pairs (male/female), each weighing 3–4 kg, provided by Government Rabbit Farm, Kashmir." | "The selected animal model is relevant for preclinical pharmacokinetics in ER tablet studies due to its capacity for housing and tolerance for oral drug formulations."
Developed Bioanalytical Method | "Solid-phase extraction (SPE) and ultra-high performance liquid chromatography–mass spectrometry/mass spectrometry (UHPLC-MRM-MS/MS) for VEN and ODV quantification in rabbit plasma." | "The bioanalytical method is pivotal for the accurate and reliable quantification of venlafaxine and its active metabolite (ODV) to evaluate pharmacokinetics."
Validation | "The bioanalytical method validation followed US FDA bioanalytical method validation guidelines (2001, 2018) and ICH Harmonized Guideline M10." | "Validation ensures the developed method meets regulatory criteria for reliability, precision, accuracy, and reproducibility."
Analytes Measured | "Venlafaxine (VEN) and O-desmethylvenlafaxine (ODV)." | "Analyte measurement is relevant because VEN and its active metabolite ODV are critical to assessing the drug's pharmacokinetic behavior and therapeutic efficacy."
Dosage Forms Compared | "Efexor XR 37.5 mg capsule (reference) and in-house produced VEN extended-release tablet (test)." | "Comparing reference and test formulations provides bioequivalence data essential for regulatory and development purposes."
Dose Administered | "Efexor XR 37.5 mg for the reference and equivalent dosage for the in-house VEN ER tablet." | "The administered dose ensures comparability of pharmacokinetic evaluations between the reference and test formulations."
Sampling Time Points | "0, 1, 2, 3, 4, 6, 8, 12, 24, and 36 hours post-dose." | "The time points were critical for constructing the concentration-time profile and deriving PK parameters."
Pharmacokinetic Parameters Analyzed | "Cmax, Tmax, AUClast, AUCINF_obs, half-life (HL_Lambda_z), mean residence time (MRT), total body clearance (CL_F_obs), and volume of distribution (Vz_F_obs)." | "Key PK parameters were analyzed to compare the absorption, distribution, metabolism, and elimination profiles between test and reference formulations."
Key Statistical Analysis | "Bioequivalence assessment using analysis of variance on log-transformed PK parameters (Cmax, AUClast, and AUCINF_obs)." | "Bioequivalence is relevant for determining whether the test ER formulation matches the marketed reference product."
Main Study Finding | "Bioequivalence was successfully demonstrated between the in-house produced VEN ER tablet and the Efexor XR reference product in rabbits." | "The finding supports the viability of the in-house formulation for clinical studies and demonstrates its equivalence to the FDA-approved formulation."
Similarity Factor (f2) | "Calculated to compare dissolution profiles of the in-house VEN ER tablet and Efexor XR, with f2 values falling between 50 and 100 across different pH media." | "The similarity factor confirms the in vitro equivalence of dissolution profiles, supporting the bioequivalence findings."
Funding and Affiliations | "Partially supported by Sun Pharmaceuticals Industries Limited India; animal study conducted at the University of Kashmir." | "Acknowledging funding and affiliations is relevant for understanding the study's resources and potential conflicts of interest."
Patient Sample Size | 4 pairs (male/female) of healthy rabbits | Describes the sample size used for the PK study, vital for assessing the adequacy of the experimental design.
Patient Population | New Zealand White rabbits, 3-4 kg each | Indicates the animal model chosen, relevant for understanding the generalizability of results and animal selection rationale.
Blood/Tissue Sampling Time Points | Blood samples collected at 0, 1, 2, 3, 4, 6, 8, 12, 24, and 36 hours post-administration | Provides the specific time points for plasma sampling, essential for determining the PK profile of the drug.
Blood Collection Method | Blood collected from the marginal ear vein using sodium heparin-containing BD VACUTAINER tubes | Specifies the blood collection method and anticoagulant used, which is crucial for sample integrity and data accuracy.
Blood Volume Collected | 2 mL per sample | Indicates the volume of blood drawn per time point, relevant for ensuring ethical compliance in animal studies.
Plasma Processing | Plasma obtained by centrifuging blood samples at 3000 rcf, 17°C for 15 minutes | Details the processing method for obtaining plasma, critical for assay preparation.
Preclinical Group Division | Reference group and test group; received Efexor XR 37.5 mg and in-house VEN ER tablet respectively | Explains the grouping strategy and treatments, essential for bioequivalence assessment within the study design.
Freezing and Storage of Plasma | Plasma samples frozen at −40°C until analysis | Notes plasma storage conditions, critical for maintaining sample stability for accurate PK analysis.
Model | Noncompartmental Analysis (NCA) | The study employed NCA for analyzing the pharmacokinetics (PK) of venlafaxine (VEN) and its metabolite (ODV), providing essential insights into bioavailability and PK parameters relevant for preclinical assessments.
Tmax | Time of maximum observed concentration | This parameter provides information about the time it takes for venlafaxine (VEN) or O-desmethylvenlafaxine (ODV) to reach the maximum observed concentration in plasma, which is a key pharmacokinetic (PK) parameter estimated from rabbit plasma.
Cmax | Maximum observed concentration, occurring at time Tmax | The highest concentration achieved by the drug in plasma as observed in the PK study, estimated from rabbit plasma, and is an indicator of drug absorption and bioavailability.
AUClast | Area under the curve from the time of dosing to the time of the last measurable (positive) concentration | This parameter shows the drug exposure over time up until the last measurable concentration, derived from plasma concentration data of rabbits.
AUCINF_obs | AUC from time of dosing extrapolated to infinity, based on the last observed concentration | This parameter measures the total drug exposure from administration to theoretical infinite time, also estimated from rabbit plasma data.
HL_Lambda_z | Terminal half-life [ln(2)/λz] | The time it takes for the drug’s plasma concentration to reduce by half during the terminal phase, calculated using rabbit plasma concentration data.
AUC_%Extrap_obs | Percentage of AUCINF_obs due to extrapolation from Tlast to infinity | Represents the contribution of extrapolated data to the total drug AUC, estimated from rabbit plasma, illustrating the robustness of the AUCINF_obs parameter.
Lambda_z | First-order rate constant associated with the terminal (log-linear) portion of the curve [Estimated by linear regression of time vs. log concentration] | This parameter quantifies the terminal phase elimination rate, derived from rabbit plasma concentration time data.
Lambda_z_lower | Lower limit on time for values to be included in the calculation of Lambda Z | Indicates the time range for data points used in calculating the terminal slope (Lambda_z) in rabbits, ensuring accurate terminal phase characterization.
Lambda_z_upper | Upper limit on time for values to be included in the calculation of Lambda Z | Similar to Lambda_z_lower but indicates the maximum time point, further refining the elimination rate constant estimations.
AUMClast | Area under the moment curve from the time of dosing to the last measurable (positive) concentration | Describes the total exposure and time-weighted drug presence in plasma, derived directly from PK data in rabbits.
AUMCINF_obs | Area under the first moment curve (AUMC) extrapolated to infinity, based on the last observed concentration | Provides insights into drug distribution and systemic persistence over infinite time, extrapolated from rabbit plasma data.
MRTlast | Mean residence time from the time of dosing to the time of the last measurable concentration | Gives an average time the drug stays in the system before being eliminated, calculated from rabbit plasma pharmacokinetic data.
Vz_F_obs | Volume of distribution based on the terminal phase | Reflects the apparent volume in which the drug is distributed during the terminal elimination phase, calculated from PK data in rabbits.
CL_F_obs | Total body clearance for extravascular administration, where F is the fraction of dose absorbed | Indicates the efficiency of the body to clear the drug, estimated from rabbit plasma concentration profiles.
Solid oral dosage form | Extended-release (ER) | ER pharmaceutical formulations critically influence pharmacokinetics by modifying the drug release rate, absorption, and action site.
Animal model | New Zealand White rabbits | The choice of animal model may affect drug absorption, metabolism, and elimination, which are crucial for predicting pharmacokinetics in other species, including humans.
Drug metabolism | O-desmethylvenlafaxine (ODV) equipotent to VEN | The presence of an active metabolite affects the overall pharmacokinetics, including therapeutic efficacy and clearance.
Species variation | Presence of VEN > ODV in slow metabolizers | Species-specific metabolic differences (e.g., CYP enzymes) significantly influence VEN and ODV profiles in vivo.
Enantiomeric forms | R-(–) and S-(+) VEN enantiomers | The enantiomers exhibit differential activity on neurotransmitter reuptake, influencing pharmacokinetic and pharmacodynamic profiles.
Sample preparation | Solid-phase extraction (SPE) | The use of specific extraction methods impacts the accuracy and reliability of pharmacokinetic evaluations by removing matrix interferences.
Ionization method | Positive ESI in LC–MS/MS | The optimization of ionization polarity enhances mass spectrometry sensitivity, directly affecting the accurate quantitation in pharmacokinetic studies.
Buffer conditions | 2 mM ammonium formate with 0.1% formic acid | Buffer systems optimized for chromatographic separation impact pharmacokinetic characterization of compounds by improving resolution.
Plasma matrix effect | Selectivity and Matrix Ion Suppression | Matrix effects like ion suppression can alter the pharmacokinetic data, necessitating validation to establish robustness and precision.
Gender | Male and female separate groups | Pharmacokinetics may vary with biological sex; separate groups ensure gender effects are accounted for.
Bioavailability variability | Test and reference formulations statistically similar | Controlled formulation and manufacturing consistency can significantly influence bioavailability and pharmacokinetic parameters.
Lipophilicity | Log P > 1.5 for VEN and ODV | Higher lipophilicity may affect permeability and systemic absorption, influencing metabolism and plasma levels.
Release polymers | Carbopol 971P, Blanose 7HXF | Specific release-controlling excipients are employed to modulate drug pharmacokinetic profiles for extended-release formulations.
In vivo dissolution similarity | Similarity factor (f2) between formulations | Consistent in vitro-in vivo correlation is essential to align experimental drug release with expected pharmacokinetics.
Plasma half-life and clearance | Variability per formulation design | Half-life and clearance guided by ER design directly affect the drug exposure time, systemic availability, and therapeutic consistency.