## Table 1
Nominal Concentration (ng/mL) | Determined Concentration (ng/mL) | Accuracy (%) | Precision (%)
2(LLOQ) | 1.84 ± 0.29 | 87.05 | 16.19
5 | 5.4092 ± 0.59 | 106.55 | 10.98
10 | 9.7690 ± 0.86 | 94.91 | 8.77
50 | 53.5744 ± 5.88 | 95.71 | 10.97
100 | 114.2086 ± 10.72 | 104.98 | 9.39
500 | 513.9346 ± 17.32 | 101.61 | 3.37
1000 | 968.5228 ± 31.61 | 98.98 | 3.26

## Table 2
Nominal Concentration (ng/mL)_Nominal Concentration (ng/mL) | Intra-Day (n = 5)_Determined Concentration (ng/mL) | Intra-Day (n = 5)_Accuracy (%) | Intra-Day (n = 5)_Precision (%) | Inter-Day (n = 15)_Determined Concentration (ng/mL) | Inter-Day (n = 15)_Accuracy (%) | Inter-Day (n = 15)_Precision (%)
2(LLOQ) | 2.00 ± 0.24 | 100.87 | 12.19 | 1.92 ± 0.27 | 96.25 | 13.86
6 | 6.02 ± 0.37 | 106.98 | 6.19 | 6.36 ± 0.49 | 106.48 | 7.71
60 | 57.05 ± 2.62 | 98.75 | 4.61 | 59.09 ± 4.86 | 98.49 | 8.22
900 | 861.82 ± 22.42 | 97.24 | 2.6 | 832.55 ± 39.68 | 92.51 | 4.77

## Table 3
Conditions | Determined Concentration (ng/mL) | Accuracy (%) | Precision (%)
6 ng/mL
Autosampler (room temperature, 12 h) | 5.72 ± 0.45 | 95.39 | 7.91
Bench-top (room temperature, 12 h) | 5.98 ± 0.68 | 99.67 | 11.4
Freeze–thaw (three cycles) | 6.14 ± 0.22 | 102.36 | 3.52
Long-term (1 month at −80 °C) | 5.73 ± 0.32 | 95.5 | 5.65
60 ng/mL
Autosampler (room temperature, 12 h) | 66.76 ± 1.33 | 111.26 | 1.99
Bench-top (room temperature, 12 h) | 62.56 ± 1.66 | 104.26 | 2.66
Freeze–thaw (three cycles) | 59.87 ± 2.19 | 99.79 | 3.66
Long-term (1 month at −80 °C) | 63.12 ± 2.33 | 105.2 | 3.69
900 ng/mL
Autosampler (room temperature, 12 h) | 923.85 ± 38.89 | 102.65 | 4.21
Bench-top (room temperature, 12 h) | 943.02 ± 52.15 | 104.78 | 5.53
Freeze–thaw (three cycles) | 873.81 ± 16.52 | 97.09 | 1.89
Long-term (1 month at −80 °C) | 870.48 ± 68.68 | 96.72 | 7.89

## Table 4
QC Samples | Recovery(%) | Precision for Recovery (RSD %) | Matrix Effect (%) | Precision for Matrix Effect (RSD %)
6 ng/mL | 103.68 | 6.02 | 109.03 | 3.92
60 ng/mL | 92.52 | 4.79 | 99.86 | 10.13
900 ng/mL | 99.76 | 3.13 | 98.02 | 11.52

## Table 5
Parameters_Parameters | i.v._2.5 mg/kg | i.v._5 mg/kg | i.v._10 mg/kg | i.g._20 mg/kg
Cmax (μg/L) | - | - | - | 64.64 ± 34.79
C2min (μg/L) | 1140.35 ± 477.81 | 1393.22 ± 800.06 | 1662.94 ± 229.57 | -
Tmax (h) | - | - | - | 3.38 ± 0.74
T1/2Z (h) | 0.61 ± 0.18 | 0.66 ± 0.13 | 0.61 ± 0.18 | 2.94 ± 1.59
AUC(0–t) (μg/L∙h) | 479.75 ± 142.84 | 760.67 ± 414.15 | 1282.04 ± 328.82 | 284.91 ± 87.29
AUC(0–∞) (μg/L∙h) | 484.47 ± 143.86 | 771.31 ± 425.43 | 1298.92 ± 332.04 | 318.25 ± 98.27
AUC(0–t)/AUC(0–∞) | 0.99 ± 0.01 | 0.99 ± 0.01 | 0.99 ± 0.01 | 0.90 ± 0.09
MRT (h) | 0.62 ± 0.27 | 0.72 ± 0.25 | 0.80 ± 0.19 | 5.86 ± 2.24
VZ (L/kg) | 4.98 ± 2.33 | 7.50 ± 3.32 | 7.04 ± 2.50 | -
CLZ (L/kg/h) | 5.64 ± 1.90 | 8.55 ± 4.95 | 8.18 ± 2.22 | -
F (%) | - | - | - | 10.26 ± 2.02

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Oxypeucedanin purity | >99.0% | Relevant for understanding the quality and reliability of the compound used in the pharmacokinetic study.
Oxypeucedanin pharmacological effects | Analgesic, anti-inflammatory, anticancer, antibacterial | Relevant to evaluate the therapeutic potential of oxypeucedanin in drug development.
Injection dose levels | 2.5, 5, and 10 mg/kg | Relevant as it defines the pharmacokinetic study design for intravenous administration.
Oral dose level | 20 mg/kg | Relevant to assess bioavailability and oral pharmacokinetics of oxypeucedanin.
Bioavailability | 10.26% | Relevant in determining the efficiency of oral absorption of oxypeucedanin.
Elimination half-life for i.v. administration | 0.61~0.66 h | Relevant to understand the drug's clearance and distribution post-intravenous administration.
Clearance (CLZ) for i.v. administration | 5.64~8.55 L/kg/h | Relevant for understanding the drug’s removal rate from plasma.
Mean plasma concentration Tmax for oral administration | 3.38 h | Relevant in investigating the absorption rate and time taken to reach peak plasma concentration.
Volume of distribution (VZ) | 4.98~7.50 L/kg | Relevant to assess the extent of extravascular drug distribution.
Matrix effects | 98.02–109.03% | Relevant to validate the accuracy and consistency of the analytical method used for concentration determination.
Animal model | Male and female Sprague-Dawley rats | Relevant as it identifies the organism used in pharmacokinetic and bioavailability evaluations.
Chromatographic method | UPLC/MS/MS | Relevant for understanding the methodology accuracy in evaluating pharmacokinetics.
Significant pharmacokinetic property | Linear kinetics observed post i.v. administration | Relevant to ensure predictable pharmacokinetics across administered dosages.
Absorption via oral route | Poor and slow | Relevant to potential challenges in developing oxypeucedanin as an orally administered drug.
Analgesic effect dose | 10 mg/kg, significant maximal effect | Relevant for associating pharmacokinetics with the compound's practical therapeutic application.
Internal standard used | Imperatorin (purity >99.0%) | Relevant to ensure the reliability of comparison during analytical procedures.
Gender difference in pharmacokinetics | No significant difference between male and female rats | Relevant as it supports the uniform application of data across genders in preclinical studies.
Number of Rats | 8 (for pharmacokinetics per dose group) | Indicates the sample size used in the pharmacokinetic study, highlighting the scale of experimentation.
Animal Weight Range | 250–300 g | Demonstrates the chosen weight of Sprague-Dawley rats to ensure consistent and reliable pharmacokinetic data.
Animal Source | Laboratory Animal Center, Nantong University, Nantong, China | Provides provenance of animal subjects, ensuring a standard, controlled source critical for reproducibility.
Sex of Animals | Both male and female | Relevant to explore sex-based differences in pharmacokinetics, even though no significant differences were found.
Animal Housing Conditions | Controlled temperature of 22 ± 1 °C, relative humidity of 50–70%, 12 h light/dark cycle | Ensures a standardized and stress-free environment to maintain physiological consistency in pharmacokinetics.
Fasting Duration Before Dosing | 12 hours before dosing, 2 hours afterwards | Ensures consistency in absorption and metabolism by minimizing confounding variables related to food intake.
Intravenous Dosing Levels | 2.5, 5, and 10 mg/kg | These doses were used to evaluate dose-dependent pharmacokinetic properties.
Intragastric Dosing Level | 20 mg/kg | Used to assess oral pharmacokinetics and calculate bioavailability.
Blood Sampling Time Points for Intravenous Group | 0 (pre-dose), 0.033, 0.117, 0.25, 0.5, 1, 1.5, 2, 3, 4 h | Corresponds to critical time points for capturing key pharmacokinetic parameters post-i.v. administration.
Blood Sampling Time Points for Intragastric Group | 0, 0.167, 0.5, 1, 1.5, 2, 3, 4, 6, 8, 10, 12 h | Designed to observe absorption rates, Tmax, and overall exposure after oral dosing.
Blood Sample Volume | Approximately 0.3 mL per sample | Provides the volume needed to ensure adequate analysis via UPLC/MS/MS.
Blood Collection Site | Tail vein and posterior orbital venous plexus | Clarifies the sampling method, critical for understanding the study's procedural setup.
Blood Volume Maintenance | 1 mL of normal saline injected intravenously every three blood sampling points | Ensures physiological stability of the animals during frequent sampling.
Plasma Storage Conditions | Stored at −80 °C | Ensures sample integrity for accurate pharmacokinetic analysis.
Sampling Frequency | Designed based on the preliminary experiment | Highlights pre-study optimization to ensure adequate pharmacokinetic profiling.
Animal Protocol Approval | Approved by the Institutional Animal Care and Use Committee, Nantong University | Ensures ethical compliance in animal handling.
Study Protocol | Protocol code S20201001-011, date: October 1, 2020 | Confirms standardized approval process, indicating good research practice.
Plasma concentration-time curve | Non-compartmental model | The study explicitly states that pharmacokinetic parameters were calculated using a non-compartmental model, which is the applied method for analyzing the data.
--- | --- | ---
Accuracy of calibrator standards | 87.05% to 106.55% | Indicates the reliability of the calibration standards, crucial for estimating pharmacokinetic parameters.
Precision of calibrator standards (%RSD) | Less than 15%, except at LLOQ (<20%) | Ensures the robustness of the calibration data used to compute parameters.
LLOQ for oxypeucedanin | 2 ng/mL | Determines the sensitivity of the analytical method for pharmacokinetic analysis.
Plasma concentration range for oxypeucedanin | 2–1000 ng/mL | Defines the quantifiable range for calculating parameters from plasma data.
Correlation coefficient (r) for calibration curve | ≥ 0.995 | Validates the linearity of the calibration curve, essential for accurate parameter estimation.
Retention time for oxypeucedanin | 4.4 ± 0.1 min | Ensures specific identification of oxypeucedanin for parameter determination.
Retention time for IS imperatorin | 5.5 ± 0.1 min | Supports the accuracy of quantification through the internal standard method.
Tmax (i.g. administration) | 3.38 ± 0.74 h | Describes the time to reach peak concentration, derived from plasma concentration-time data.
MRT (i.g. administration) | 5.86 ± 2.24 h | Reflects the average time oxypeucedanin remains in the body after oral administration.
Bioavailability (F) | 10.26 ± 2.02% | Quantifies the extent of absorption of oxypeucedanin, calculated using oral and intravenous plasma AUC values.
T1/2Z (i.v. administration) | 0.61~0.66 h | Indicates the elimination half-life for various intravenous doses, estimated using plasma concentration data.
MRT (i.v. administration) | 0.62~0.80 h | Reflects distribution and elimination over time for intravenous administration.
CLZ (i.v. administration) | 5.64~8.55 L/kg/h | Represents the systemic clearance rates, derived from plasma AUC and dose data.
VZ (i.v. administration) | 4.98~7.50 L/kg | Indicates the apparent volume of distribution, estimated from clearance and half-life.
AUC0–∞ | Dose-dependent, linear proportion | Quantifies total drug exposure over time; used for bioavailability and clearance calculations.
Bioavailability formula | F = (Dosei.v. × AUCi.g.) / (Dosei.g. × AUCi.v.) × 100% | Mathematical basis for calculating oral absorption.
Extraction recovery for oxypeucedanin | 92.52–103.8% | Demonstrates sample preparation efficiency, crucial for accurate plasma quantification.
Matrix effect | 98.02–109.03% | Validates that plasma matrix did not interfere with oxypeucedanin measurement.
Dilution recovery accuracy | 98.64% | Confirmed reliability for samples above quantification range, impacting parameter estimates.
Dilution recovery precision (%RSD) | 4.94% | Demonstrates reproducibility for high-concentration samples affecting pharmacokinetic parameters.
Sampling time points (i.v.) | 0, 0.033, 0.117, 0.25, 0.5, 1, 1.5, 2, 3, 4 h | Essential for capturing rapid clearance and distribution phases.
Sampling time points (i.g.) | 0, 0.167, 0.5, 1, 1.5, 2, 3, 4, 6, 8, 10, 12 h | Designed to capture slow absorption and prolonged MRT.
--- | --- | ---
Tmax after oral administration | 3.38 ± 0.74 h | Relevant as it indicates the slow absorption rate of oxypeucedanin upon oral administration.
Bioavailability | 10.26 ± 2.02% | Relevant as it shows the compound has poor absorption when administered orally.
Volume of distribution (VZ) | 4.98~7.50 L/kg | Relevant as it suggests oxypeucedanin is extensively distributed in various tissues.
Systemic clearance (CLZ) | 5.64~8.55 L/kg/h | Relevant as it highlights the rapid clearance of oxypeucedanin from the body.
Comparison with hepatic flow velocity | About two-fold higher than 3.3 L/kg/h | Relevant in showing that extrahepatic pathways contribute to oxypeucedanin clearance.
Interaction with CYP3A4 inhibitors in ADR extract | Psoralen and xanthotoxol inhibit CYP3A4 activity | Relevant as these interactions may alter the elimination of oxypeucedanin in the context of herbal mixtures.
Gender differences | No differences found | Relevant as it indicates sex does not influence oxypeucedanin pharmacokinetics in this context.
Matrix effect | None significant | Relevant because it confirms the measurement method does not interfere with pharmacokinetic evaluation.
Drug-drug interactions in ADR extract | Components in ADR may inhibit the metabolism of oxypeucedanin | Relevant to understanding differences in pharmacokinetics when the compound is part of a complex herbal mixture.
Delayed Tmax in some studies | Tmax up to 12 h | Relevant as it demonstrates potential variations based on study conditions or interactions.