## Freetext Data
Data | Value | Relevance
Contrast-agent concentration increase rate in DP4 phantom | 0.17 mM/min | Relevant to evaluate the accuracy and consistency of the DP4 phantom in creating predictable perfusion profiles.
Measurement accuracy of concentration change | 96% | Demonstrates the precision of the DP4 phantom's ability to mimic perfusion dynamics, which is critical for its role in error correction.
Repeatability of CEC within the DP4 phantom | ICC = 0.997 | Reflects the reliability and consistency of the phantom’s internal dynamics, ensuring reproducible qDCE-MRI benchmarking.
Intraclass correlation coefficient of Ktrans in the Tofts model (TM) before DP4 correction | 0.34 | Indicates poor reproducibility of TM PK parameter measurements without error correction.
Intraclass correlation coefficient of Ktrans in the TM model after DP4 correction | 0.93 | Demonstrates enhanced reproducibility of TM PK parameter measurements post-DP4 error correction.
Volume and rate of gadoteridol injection into DP4 phantom | 0.24 ml/s, 4 ml | Relevant for determining the experimental setup and maintaining consistent infusion protocols for phantom validation.
Number of DP4 phantoms used to assess CEC | 5 | Ensures the reliability of repeatability results, critical for consistency across multiple phantom implementations.
Number of healthy human subjects recruited | 5 | Shows sample size used to validate qDCE-MRI reproducibility across human subjects.
Number of MRI scanners used in the study | 3 (from three different vendors) | Demonstrates multi-institutional setup, validating the DP4's capability in diverse clinical environments.
Intraclass correlation coefficient of Ktrans in the extended Tofts model (ETM) before DP4 correction | 0.39 | Highlights variability in ETM PK parameters without correction.
Intraclass correlation coefficient of Ktrans in the ETM model after DP4 correction | 0.98 | Shows significant improvement in reproducibility of ETM PK parameters with DP4 usage for error correction.
Intraclass correlation coefficient of Ktrans in the shutter speed model (SSM) before DP4 correction | 0.72 | Indicates moderate reproducibility of SSM PK parameters without correction.
Intraclass correlation coefficient of Ktrans in the SSM model after DP4 correction | 0.86 | Demonstrates enhanced reproducibility of SSM PK parameters after DP4 error adjustment.
DP4 phantom imaging setup | Imaged concurrently with human subjects | Relevant for understanding how DP4 synchronously corrects qDCE-MRI errors in real-time during human imaging.
Analysis model frameworks used for PK parameters | Tofts model, extended Tofts model, shutter speed model | Reflects the PK computational frameworks within which the DP4's utility was validated.
Five healthy human subjects | 5 | Indicates the patient sample size used in the study, which is essential to evaluate the robustness of the PK study design.
Institutions | Two institutes | Demonstrates the PK study's multi-institutional setup, which is important for assessing external validity.
MRI scanners/vendors | Three 3T MRI scanners from three different vendors | Reflects diversity in imaging equipment, which impacts reproducibility across varied clinical settings.
Human imaging with DP4 phantom | Concurrent imaging with humans and phantom | Relevant to the design involving paired imaging, ensuring a reference data point for error correction in qDCE-MRI measurements.
qDCE-MRI models used | TM, ETM, SSM | Indicates models utilized to calculate pharmacokinetic parameters, which are central to the PK study.
Organs assessed | Liver, spleen, pancreas, paravertebral muscle | Specifies tissues included in the study, critical for understanding the spatial scope and versatility of the analysis.
Model | Tofts model | The Tofts model (TM) was used as one of the pharmacokinetic models to calculate PK parameters in the study, aligning with qDCE-MRI methodology.
Model | Extended Tofts model | The extended Tofts model (ETM) was used as an alternative PK model to evaluate accuracy and reproducibility of qDCE-MRI measurements.
Model | Shutter speed model | The shutter speed model (SSM) was utilized as another pharmacokinetic model to assess reproducibility and compare results before and after DP4-based error correction.
Contrast-agent concentration increase rate | 0.17 mM/min | Relevant as it quantifies the rate of change in the phantom, crucial for evaluating the accuracy of qDCE-MRI.
Measurement accuracy of contrast-agent concentration | 96% | Relevant as it indicates the reliability of concentration measurements, critical for error correction in qDCE-MRI.
Injection rate of gadoteridol | 0.24 ml/s | Relevant for establishing the controlled conditions used in the experiment to simulate perfusion.
Injected volume of gadoteridol | 4 ml | Relevant for defining the experimental setup, ensuring consistency across measurements.
Repeatability of Contrast Enhancement Curve (CEC) as ICC | 0.997 | Relevant as it establishes the consistency of phantom performance in a single MRI scanner.
Pharmacokinetic parameter assessed (Ktrans) initial ICC (TM model) | 0.34 | Relevant as it quantifies reproducibility before the DP4 correction for one PK model.
Pharmacokinetic parameter assessed (Ktrans) initial ICC (ETM model) | 0.39 | Relevant as it quantifies reproducibility before the DP4 correction for an extended PK model.
Pharmacokinetic parameter assessed (Ktrans) initial ICC (SSM model) | 0.72 | Relevant as it quantifies reproducibility before the DP4 correction for a shutter speed model.
Pharmacokinetic parameter assessed (Ktrans) corrected ICC (TM model) | 0.93 | Relevant as it demonstrates the improvement in reproducibility after DP4 correction for one PK model.
Pharmacokinetic parameter assessed (Ktrans) corrected ICC (ETM model) | 0.98 | Relevant as it demonstrates the improvement in reproducibility after DP4 correction for an extended PK model.
Pharmacokinetic parameter assessed (Ktrans) corrected ICC (SSM model) | 0.86 | Relevant as it demonstrates the improvement in reproducibility after DP4 correction for a shutter speed model.
MRI scanner magnetic field strength | 3T | Relevant as it provides information on the imaging environment where measurements were conducted.
Institutions involved in multi-institutional setting | Two | Relevant as it indicates the scope of reproducibility testing across different sites and equipment.
MRI scanner vendors compared | Three | Relevant as it signifies the diversity of equipment used to validate reproducibility in the study.
Regions of interest (ROIs) for qDCE-MRI PK parameter calculation | Liver, spleen, pancreas, paravertebral muscle | Relevant as these were the tissues where pharmacokinetic parameters were estimated, illustrating the application of findings.
Contrast-agent concentration in the DP4 phantom | Linearly increased over 10 minutes (0.17 mM/min, measurement accuracy: 96%) | Relevant because a reliable and controlled contrast-agent concentration is necessary to evaluate pharmacokinetics and calibrate measurements.
Injection rate of gadoteridol | 0.24 ml/s, 4 ml | Relevant as the injection rate influences the dynamics of contrast-agent concentration and affects the pharmacokinetic modeling.
Repeatability of the contrast enhancement curve (CEC) | ICC of 0.997 within the phantom | Relevant, as high repeatability ensures consistent phantom performance, which is crucial for accurate pharmacokinetic analysis.
Multi-scanner variability | Measurements taken using three 3T MRI scanners from different vendors at two institutes | Relevant because variability in scanner hardware or settings between institutions could influence pharmacokinetic values, and the study addresses correction methods.
Pharmacokinetic models utilized | Tofts model (TM), extended Tofts model (ETM), and shutter speed model (SSM) | Relevant because different pharmacokinetic models can influence the derived parameters and their reproducibility.
Error correction with DP4 phantom | ICC of Ktrans improved from 0.34-0.72 (before) to 0.86-0.98 (after) | Relevant as the error correction impacts the reliability and reproducibility of pharmacokinetic parameters.
Regions evaluated for PK parameters | Liver, spleen, pancreas, and paravertebral muscle | Relevant as physiological variations in these regions can influence pharmacokinetics and the need for reproducibility testing.