## Freetext Data
Data | Value | Relevance
--- | --- | ---
Goal of the project | Develop a sensitive and selective assay for simultaneous quantification of sedatives in pediatric plasma samples | The project's goal directly addresses the need for precision dosing strategies through pharmacokinetic modeling in critically ill children.
Analytes quantified | Midazolam (MDZ), alpha hydroxymidazolam (1-OH MDZ), dexmedetomidine (DEX), morphine (MOR), morphine-3-glucuronide (M3G), morphine-6-glucuronide (M6G), fentanyl (FEN), norfentanyl (NF), and hydromorphone (HM) | The inclusion of multiple sedatives and metabolites in this assay emphasizes its capability to provide comprehensive pharmacokinetic data.
Blood sample volume required | 100 μL of plasma | The low volume requirement is critical for pediatric ICU patients where limited blood sampling is possible.
Method of sample preparation | Protein precipitation extraction using acetonitrile with internal standards | This simple and efficient preparation method supports reliable and reproducible quantification even in small sample volumes.
Detection and separation method | Ultra-high performance liquid chromatography-mass spectrometry (UPLC-MS/MS) using a Waters Acquity C18, 1.7 μm (2.1 × 100 mm) column | UPLC-MS/MS enhances sensitivity and specificity for simultaneous sedative quantification, addressing clinical and logistical challenges.
Run time of assay | 10 minutes | The short assay duration is suitable for high-throughput clinical applications and timely therapeutic monitoring.
Clinical concentration ranges for MDZ, MOR, HM | 0.5–125 ng/mL | These ranges confirm the assay’s ability to detect clinically relevant drug levels for certain sedatives.
Clinical concentration ranges for 1-OH MDZ, M3G, M6G | 5–500 ng/mL | These ranges validate the assay’s applicability to metabolites present at typical clinical concentrations.
Clinical concentration ranges for DEX, FEN, NF | 0.05–7.5 ng/mL | Ensures detection capability for drugs with lower therapeutic plasma levels.
Validation criteria | R² > 0.99 for all analytes | Demonstrates high linearity and reliability across the specified concentration ranges, essential for clinical applicability.
Relevance to pediatric ICU | Enables analysis of sedatives in small plasma volumes from critically ill children | Directly aligns with the unmet need for precision dosing in pediatric ICU settings.
Patient Population | Critically ill children in the pediatric intensive care unit (ICU) | The paper specifies the population, highlighting that the methodology is designed for use in critically ill pediatric patients where sampling is limited.
Blood Sampling Volume | 100 μL of plasma | This detail demonstrates how the assay enables work with minimal sample volumes, which is critical for pediatric ICU patients.
Sampling Preparation | Protein precipitation extraction with acetonitrile and internal standards | This is relevant as it outlines the methodology for preparing small pediatric plasma samples for analysis, emphasizing simplicity and efficiency suitable for critically ill patients.
Analytes | Simultaneous quantification of nine sedatives and metabolites | This describes the core aim of enabling pharmacokinetic analysis in the patient population studied.
Clinical Concentration Ranges | MDZ, MOR, HM: 0.5–125 ng/mL; 1-OH MDZ, M3G, M6G: 5–500 ng/mL; DEX, FEN, NF: 0.05–7.5 ng/mL | These ranges illustrate the precision necessary for PK modeling in pediatric ICU patients where drug variations can be significant.
Model | Not explicitly stated in the paper | The paper does not describe the pharmacokinetic model directly, focusing instead on developing an assay for the quantification of sedatives and their metabolites. The model type would be relevant for precision dosing but is outside the scope of this study.
Analyte linearity range | MDZ, MOR, HM: 0.5–125 ng/mL; 1-OH MDZ, M3G, M6G: 5–500 ng/mL; DEX, FEN, NF: 0.05–7.5 ng/mL | These parameters define the concentration ranges in which the assay is effective for each analyte, ensuring accurate pharmacokinetic modeling of sedatives in pediatric ICU patients.
Assay linearity correlation | R2 > 0.99 for all analytes | This parameter validates the assay's sensitivity and selectivity across clinical concentration ranges, indicating the reliability of the estimations derived from plasma samples.
Detection sensitivity | Clinical concentrations confidently measured | Indicates the adequacy of the assay for detecting target analytes in pediatric plasma samples at low volumes, essential for critically ill children with limited blood availability.
Sample volume requirement | 100 μL of plasma | Demonstrates the minimal sample required for assay, making it feasible for pediatric ICU patients where large blood draws are not possible.
Gradient mixture for separation | A: 0.15% formic acid in water; B: Acetonitrile | These conditions were estimated for optimal analyte separation during UPLC-MS/MS, critical for accurately quantifying sedatives and their metabolites.
Chromatographic column | Waters Acquity C18, 1.7 μm (2.1 × 100 mm) | Estimated as the optimal column for analyte separation, providing high sensitivity in pediatric bioanalytical assays.
Assay run time | 10 min | Estimated to ensure efficiency while maintaining simultaneous quantification of analytes and catering to clinical workflow in ICU settings.
Factors influencing pharmacokinetics | Limited blood sampling availability in critically ill children | Relevant because restricted sampling impacts the ability to accurately model drug concentrations, thereby influencing pharmacokinetics.
Factors influencing pharmacokinetics | Need for multiple assays to quantify a variety of commonly used sedatives | Relevant as the logistical challenge affects pharmacokinetic modeling by complicating drug monitoring and concentration measurements.
Factors influencing pharmacokinetics | Small volume pediatric plasma samples | Relevant because smaller sample sizes require highly sensitive assays, which directly impacts the precision and reliability of pharmacokinetic assessments.