## Table 1
Analytes | Regression equation | R | Linear range (ng/mL) | LLOQ (ng/mL)
Neochlorogenic acid | y = 1.980x + 0.013 | 0.996 | 0.6–504 | 0.6
Chlorogenic acid | y = 1.842x + 0.054 | 0.992 | 10–3180 | 10
Cryptochlorogenic acid | y = 1.747x − 0.002 | 0.993 | 2.5–234 | 2.5
3,4-diCQA | y = 1.578x + 0.012 | 0.996 | 10.7–112 | 10.7
3,5-diCQA | y = 1.010x + 0.008 | 0.997 | 2.5–625 | 2.5
4,5-diCQA | y = 1.487x + 0.008 | 0.995 | 10.0–204 | 10
Columbianetin | y = 29.151x + 0.021 | 0.998 | 3.9–4520 | 3.9
Psoralen | y = 15.281x + 0.005 | 0.998 | 3.7–505 | 3.7
Xanthotoxin | y = 67.454x + 0.047 | 0.998 | 2.2–1120 | 2.2
Bergapten | y = 71.002x + 0.020 | 0.997 | 4.8–680 | 4.8
Columbianetin acetate | y = 2.499x − 0.008 | 0.998 | 7.4–4320 | 7.4
Isoimperatorin | y = 6.338x − 0.017 | 0.997 | 8.4–890 | 8.4
Osthol | y = 77.336x + 0.271 | 0.991 | 1.0–5500 | 1
Columbianadin | y = 0.536x + 0.014 | 0.996 | 6.4–2440 | 6.4

## Table 2
Analytes_Analytes | Concentration (ng/mL)_Concentration (ng/mL) | Precision (RSD, %)_Intraday | Precision (RSD, %)_Interday | Accuracy (RE, %)_Intraday | Accuracy (RE, %)_Interday
Neochlorogenic acid | 0.6 | 3.76 | 1.1 | 4.51 | 3.64
Neochlorogenic acid | 10 | 4 | 9.21 | 4.21 | 10.86
Neochlorogenic acid | 252 | 2.62 | 0.89 | 9.18 | 10.30
Neochlorogenic acid | 504 | 8.31 | 13.52 | 2.38 | 10.70
Chlorogenic acid | 10 | 6.72 | 4.99 | 0.75 | 0.05
Chlorogenic acid | 10.6 | 2.37 | 3.61 | −6.49 | −5.29
Chlorogenic acid | 1060 | 2.42 | 2.16 | −2.73 | −2.28
Chlorogenic acid | 3180 | 9.06 | 13.81 | −14.76 | −12.53
Cryptochlorogenic acid | 2.5 | 4.33 | 0.99 | 3.58 | 2.49
Cryptochlorogenic acid | 11.7 | 2.9 | 7.63 | 0.08 | 13.67
Cryptochlorogenic acid | 117 | 2.97 | 2.92 | 5.04 | 3.55
Cryptochlorogenic acid | 234 | 4.77 | 1.45 | 1.01 | 2.67
3,4-diCQA | 10.7 | 9.33 | 1.4 | 4.55 | 6.19
3,4-diCQA | 11.2 | 8.82 | 12.7 | 8.33 | −0.36
3,4-diCQA | 56 | 5.32 | 3.4 | 1.23 | 0.01
3,4-diCQA | 112 | 0.82 | 0.17 | 5.30 | 4.83
3,5-diCQA | 2.5 | 9.4 | 1.71 | −1.56 | −0.09
3,5-diCQA | 12.5 | 6.15 | 5.84 | 5.17 | 9.80
3,5-diCQA | 312.5 | 2.51 | 4.39 | −3.79 | −6.89
3,5-diCQA | 625 | 1.06 | 2.62 | 0.61 | 2.14
4,5-diCQA | 10 | 13 | 1.92 | 1.24 | 2.03
4,5-diCQA | 20.4 | 3.17 | 1.42 | −0.96 | −0.26
4,5-diCQA | 102 | 5 | 0.96 | 1.01 | 0.42
4,5-diCQA | 204 | 1.2 | 2.44 | 1.36 | 0.03
Columbianetin | 3.9 | 3.87 | 0.74 | 7.29 | 7.98
Columbianetin | 39 | 8.72 | 4.37 | 9.64 | 6.70
Columbianetin | 2260 | 1.24 | 3.77 | 3.63 | 5.96
Columbianetin | 4520 | 0.72 | 0.94 | −0.83 | −0.34
Psoralen | 3.7 | 2.18 | 2.43 | 0.27 | 2.72
Psoralen | 5.05 | 2.18 | 7.61 | −9.26 | 13.01
Psoralen | 252.5 | 5.09 | 1.36 | 8.52 | 6.86
Psoralen | 505 | 2.73 | 2.61 | 7.39 | 9.30
Xanthotoxin | 2.2 | 5.09 | 1.06 | 11.21 | 10.00
Xanthotoxin | 11.2 | 6.02 | 5.9 | 0.14 | 3.41
Xanthotoxin | 560 | 1.55 | 2.1 | −1.18 | −0.17
Xanthotoxin | 1120 | 3.91 | 3.86 | 1.65 | 3.68
Bergapten | 4.8 | 2.78 | 0.57 | −0.95 | −0.49
Bergapten | 13 | 8.09 | 4.08 | 9.96 | 5.18
Bergapten | 340 | 2.62 | 9.98 | −8.05 | −14.83
Bergapten | 680 | 6.81 | 3.61 | 12.28 | 9.14
Columbianetin acetate | 7.4 | 8.11 | 1.56 | −1.1 | 0.40
Columbianetin acetate | 54 | 7.45 | 1.88 | 4.31 | 3.04
Columbianetin acetate | 2160 | 1.86 | 4.52 | 5.87 | 5.73
Columbianetin acetate | 4320 | 3.47 | 1.98 | 4.25 | 6.62
Isoimperatorin | 8.4 | 3.16 | 0.48 | −3.08 | −2.59
Isoimperatorin | 8.9 | 0.39 | 1.74 | 1.87 | 2.19
Isoimperatorin | 445 | 6.26 | 4.47 | −13.39 | −11.21
Isoimperatorin | 890 | 5.63 | 4.77 | 2.76 | 4.52
Osthol | 1 | 4.27 | 0.74 | −3.96 | −3.33
Osthol | 5.5 | 7.7 | 4.21 | −1.64 | 0.94
Osthol | 2200 | 8.17 | 1.09 | 2.50 | 1.41
Osthol | 5500 | 3.67 | 1.41 | 5.72 | 7.17
Columbianadin | 6.4 | 14.22 | 2.09 | 11.09 | 13.84
Columbianadin | 12.2 | 4.19 | 6.69 | −10.37 | 1.22
Columbianadin | 1220 | 9.14 | 1.66 | 3.43 | 1.91
Columbianadin | 2440 | 8.07 | 2.82 | 4.83 | 7.40

## Table 3
Analytes_Analytes | Concentration (ng/mL)_Concentration (ng/mL) | Recovery (%)_Mean ± SD | Matrix effect (%)_Mean ± SD
Neochlorogenic acid | 10 | 98.37 ± 0.84 | 96.03 ± 0.24
Neochlorogenic acid | 252 | 98.53 ± 1.18 | 97.36 ± 0.83
Neochlorogenic acid | 504 | 99.35 ± 0.56 | 96.67 ± 0.71
Chlorogenic acid | 10.6 | 93.79 ± 4.36 | 96.75 ± 0.60
Chlorogenic acid | 1060 | 98.67 ± 1.81 | 99.66 ± 0.40
Chlorogenic acid | 3180 | 99.55 ± 2.08 | 100.19 ± 2.90
Cryptochlorogenic acid | 11.7 | 96.62 ± 0.81 | 95.87 ± 1.31
Cryptochlorogenic acid | 117 | 93.56 ± 2.76 | 92.87 ± 2.47
Cryptochlorogenic acid | 234 | 97.11 ± 1.50 | 93.64 ± 5.02
3,4-diCQA | 11.2 | 96.45 ± 2.84 | 94.87 ± 4.77
3,4-diCQA | 56 | 100.55 ± 1.03 | 94.29 ± 3.61
3,4-diCQA | 112 | 94.39 ± 2.53 | 98.10 ± 0.79
3,5-diCQA | 12.5 | 100.24 ± 1.44 | 99.19 ± 0.76
3,5-diCQA | 312.5 | 99.44 ± 0.34 | 98.73 ± 1.47
3,5-diCQA | 625 | 96.17 ± 2.42 | 93.75 ± 1.53
4,5-diCQA | 20.4 | 95.94 ± 5.51 | 94.74 ± 5.71
4,5-diCQA | 102 | 90.38 ± 7.27 | 88.11 ± 5.31
4,5-diCQA | 204 | 98.24 ± 2.58 | 96.54 ± 1.30
Columbianetin | 39 | 100.61 ± 1.72 | 91.94 ± 9.71
Columbianetin | 2260 | 94.77 ± 4.24 | 94.89 ± 4.41
Columbianetin | 4520 | 99.57 ± 0.56 | 99.45 ± 0.71
Psoralen | 5.05 | 93.25 ± 4.57 | 96.85 ± 0.22
Psoralen | 252.5 | 96.67 ± 6.07 | 98.33 ± 1.58
Psoralen | 505 | 99.16 ± 0.67 | 98.98 ± 0.53
Xanthotoxin | 11.2 | 97.27 ± 1.08 | 98.69 ± 1.27
Xanthotoxin | 560 | 97.90 ± 1.24 | 98.17 ± 0.99
Xanthotoxin | 1120 | 95.60 ± 0.47 | 99.72 ± 0.11
Bergapten | 13 | 94.7 ± 9.98 | 95.13 ± 9.57
Bergapten | 340 | 103.73 ± 2.78 | 92.19 ± 8.08
Bergapten | 680 | 100.62 ± 10.70 | 96.77 ± 8.80
Columbianetin acetate | 54 | 95.58 ± 0.88 | 93.72 ± 6.68
Columbianetin acetate | 2160 | 98.04 ± 1.90 | 100.09 ± 7.76
Columbianetin acetate | 4320 | 100.06 ± 3.49 | 97.66 ± 3.34
Isoimperatorin | 8.9 | 99.29 ± 2.11 | 99.81 ± 1.91
Isoimperatorin | 445 | 95.01 ± 3.06 | 95.95 ± 2.76
Isoimperatorin | 890 | 95.66 ± 5.42 | 90.78 ± 9.05
Osthol | 5.5 | 94.26 ± 3.63 | 96.24 ± 0.79
Osthol | 2200 | 99.93 ± 1.34 | 98.92 ± 2.45
Osthol | 5500 | 100.16 ± 1.59 | 98.70 ± 0.70
Columbianadin | 12.2 | 91.42 ± 3.26 | 94.17 ± 5.35
Columbianadin | 1220 | 99.66 ± 1.20 | 99.85 ± 1.67
Columbianadin | 2440 | 96.46 ± 9.48 | 102.29 ± 8.50
Chloramphenicol | 100 | 96.68 ± 2.07 | 97.72 ± 3.17
Daidzein | 100 | 99.74 ± 6.36 | 99.75 ± 1.89

## Table 4
Analytes_Analytes | Concentration (ng/mL)_Concentration (ng/mL) | Short term stability_RSD (%) | Short term stability_RE (%) | Long term stability_RSD (%) | Long term stability_RE (%) | Freeze-thaw cycles stability_RSD (%) | Freeze-thaw cycles stability_RE (%) | Posttreatment stability_RSD (%) | Posttreatment stability_RE (%)
Neochlorogenic acid | 10 | 2.83 | 3.18 | 3.8 | 3.30 | 4.3 | 2.40 | 7.71 | 0.96
Neochlorogenic acid | 252 | 4.02 | 11.46 | 4.33 | 11.71 | 2.86 | 10.25 | 2.1 | 9.31
Neochlorogenic acid | 504 | 12.07 | 3.48 | 13.42 | 1.97 | 11.6 | 2.89 | 10.32 | 3.01
Chlorogenic acid | 10.6 | 13.41 | −10.70 | 11.16 | −10.10 | 9.3 | −9.38 | 7.04 | −8.90
Chlorogenic acid | 1060 | 0.57 | −4.07 | 2.31 | −3.00 | 0.96 | −7.72 | 2.42 | −2.64
Chlorogenic acid | 3180 | 2.98 | −12.94 | 5.95 | −14.43 | 11.29 | −14.56 | 8.15 | −12.93
Cryptochlorogenic acid | 11.7 | 4.62 | 0.09 | 7.81 | 0.11 | 4.91 | 0.10 | 2.47 | 0.05
Cryptochlorogenic acid | 117 | 5.89 | 2.98 | 5.1 | 2.57 | 4.78 | 2.12 | 3.4 | 2.21
Cryptochlorogenic acid | 234 | 7.76 | 3.55 | 8.13 | 1.12 | 6.02 | 0.54 | 5.95 | 0.37
3,4-diCQA | 11.2 | 9.42 | 7.83 | 8.78 | 8.03 | 11.5 | 4.70 | 10.99 | 3.59
3,4-diCQA | 56 | 3.26 | 1.26 | 5.41 | 0.47 | 2.76 | 0.11 | 2.41 | 2.38
3,4-diCQA | 112 | 11.76 | 10.17 | 11.25 | 9.46 | 6.54 | 12.74 | 8.7 | 10.42
3,5-diCQA | 12.5 | 2.91 | 10.66 | 7.37 | 5.53 | 2.47 | 11.59 | 6.67 | 2.20
3,5-diCQA | 312.5 | 7.18 | −2.48 | 6.17 | −3.61 | 5.56 | −3.62 | 4.84 | −3.41
3,5-diCQA | 625 | 2.51 | 1.54 | 2.33 | 1.49 | 2.15 | 1.58 | 1.8 | 1.31
4,5-diCQA | 20.4 | 5.56 | −0.05 | 5.22 | −1.39 | 4.65 | −1.10 | 4.61 | −1.17
4,5-diCQA | 102 | 3.52 | 1.81 | 4.46 | 1.98 | 4.57 | 1.74 | 2.78 | 0.33
4,5-diCQA | 204 | 2.03 | 0.82 | 1.41 | 0.18 | 1.67 | 0.80 | 1.81 | 0.03
Columbianetin | 39 | 5.28 | 0.47 | 4.79 | 8.79 | 1.88 | −5.49 | 2.58 | 7.89
Columbianetin | 2260 | 3.07 | 4.19 | 2.27 | 3.56 | 1.39 | 3.82 | 1.55 | 3.59
Columbianetin | 4520 | 1.27 | −0.87 | 1.18 | −0.94 | 0.98 | −0.84 | 0.86 | −0.88
Psoralen | 5.05 | 5.69 | −5.85 | 3.17 | −8.84 | 10.07 | −8.37 | 1.57 | −13.10
Psoralen | 252.5 | 3.86 | 7.43 | 5.16 | 9.22 | 0.45 | 11.50 | 1.7 | 5.27
Psoralen | 505 | 5.47 | 7.62 | 4.56 | 5.91 | 0.93 | 10.13 | 2.53 | 8.21
Xanthotoxin | 11.2 | 9.77 | 0.18 | 9.36 | −0.74 | 7.04 | 0.06 | 7.03 | −0.52
Xanthotoxin | 560 | 2.68 | −0.81 | 2.57 | −0.76 | 2.16 | −0.74 | 1.97 | −1.16
Xanthotoxin | 1120 | 2.36 | 7.30 | 2.76 | 7.34 | 4.24 | 6.75 | 4.79 | 1.28
Bergapten | 13 | 6.95 | 0.63 | 7.66 | 1.53 | 7.64 | 2.72 | 8.44 | 1.62
Bergapten | 340 | 9.35 | −13.21 | 6.41 | −12.79 | 6.19 | −7.04 | 3.46 | −10.30
Bergapten | 680 | 7.5 | 5.28 | 4.17 | 1.84 | 7.17 | 4.19 | 6.4 | 7.29
Columbianetin acetate | 54 | 8.01 | 0.55 | 7.18 | 2.56 | 7.42 | 1.77 | 2.03 | 1.96
Columbianetin acetate | 2160 | 7.73 | 7.96 | 5.53 | 3.76 | 6.37 | 9.80 | 0.25 | 6.87
Columbianetin acetate | 4320 | 3.35 | 2.64 | 1.9 | 3.38 | 4.58 | 4.44 | 4.29 | 4.02
Isoimperatorin | 8.9 | 2.74 | 1.35 | 4.79 | 0.03 | 3.83 | 1.05 | 1.78 | 0.78
Isoimperatorin | 445 | 2.83 | −12.34 | 3.49 | −12.65 | 4.33 | −13.11 | 5.87 | −13.01
Isoimperatorin | 890 | 2.6 | 0.18 | 6.96 | 0.87 | 4.1 | 0.53 | 3.37 | 1.16
Osthol | 5.5 | 0.73 | 3.44 | 6.79 | -0.08 | 4.39 | −3.84 | 3.64 | −3.39
Osthol | 2200 | 4.19 | 0.28 | 8.56 | 0.09 | 2.82 | 0.81 | 4.34 | 1.27
Osthol | 5500 | 2.27 | 0.82 | 4.58 | 0.53 | 5.89 | 1.74 | 2.7 | 5.18
Columbianadin | 12.2 | 14.15 | −2.01 | 12.98 | −1.51 | 14.63 | −8.53 | 13.8 | −6.29
Columbianadin | 1220 | 7.48 | 2.07 | 7.02 | 1.08 | 8.37 | −0.74 | 6.79 | 0.72
Columbianadin | 2440 | 9.13 | −5.05 | 6.13 | −2.67 | 8.24 | −0.12 | 9.69 | −2.46

## Table 5
Analytes | Group | AUC0-t (ng/L ∗ h) | AUC0-∞ (ng/L ∗ h) | C max (ng/mL) | t max (h) | t 1/2 (h) | MRT0-t (h) | CL (L/h/kg)
Neochlorogenic acid | Normal | 1140.97 ± 76.91 | 1841.89 ± 375.29 | 419.76 ± 58.64 | 0.20 ± 0.04 | 39.94 ± 16.54 | 15.59 ± 0.68 | 16.79 ± 3.08
Neochlorogenic acid | Model | 1191.17 ± 45.24 | 1730.83 ± 234.76 | 531.12 ± 24.05 | 0.23 ± 0.03 | 31.80 ± 10.17 | 15.60 ± 0.26 | 17.56 ± 2.06
Chlorogenic acid | Normal | 3750.55 ± 258.95 | 5361.78 ± 591.80 | 1669.61 ± 25.80 | 0.54 ± 0.36 | 27.89 ± 14.85 | 5.95 ± 0.28 | 5.64 ± 0.56
Chlorogenic acid | Model | 4518.22 ± 123.41 ∗∗ | 5658.96 ± 1752.92 | 2759.25 ± 264.26 ∗∗ | 0.45 ± 0.10 | 51.97 ± 13.17 ∗ | 8.68 ± 0.52 ∗∗ | 5.67 ± 1.47
Cryptochlorogenic acid | Normal | 1293.94 ± 31.4 | 2023.36 ± 571.79 | 142.61 ± 4.63 | 0.42 ± 0.12 | 34.55 ± 17.65 | 18.26 ± 0.46 | 15.70 ± 3.89
Cryptochlorogenic acid | Model | 1695.03 ± 117.262 ∗∗ | 3849.34 ± 472.22 ∗∗ | 188.64 ± 8.70 ∗∗ | 0.45 ± 0.10 ∗∗ | 48.36 ± 10.53 | 19.51 ± 0.55 ∗∗ | 7.89 ± 1.02 ∗∗
3,4-diCQA | Normal | 664.51 ± 54.19 | 1472.35 ± 280.50 | 85.71 ± 8.14 | 0.29 ± 0.10 | 57.97 ± 11.96 | 21.16 ± 0.73 | 21.06 ± 4.38
3,4-diCQA | Model | 504.41 ± 19.59 ∗∗ | 1744.69 ± 748.99 | 79.74 ± 7.11 | 0.29 ± 0.10 | 84.47 ± 24.30 ∗ | 19.81 ± 0.40 ∗∗ | 19.66 ± 7.70
3,5-diCQA | Normal | 1129.67 ± 137.54 | 1762.50 ± 613.93 | 292.78 ± 47.74 | 0.18 ± 0.03 | 33.90 ± 14.30 | 21.07 ± 0.68 | 18.37 ± 4.81
3,5-diCQA | Model | 961.07 ± 40.95 ∗ | 3223.71 ± 110.12 ∗ | 405.33 ± 49.16 ∗∗ | 0.18 ± 0.03 | 59.48 ± 17.24 ∗ | 18.79 ± 0.49 ∗∗ | 10.62 ± 4.85 ∗
4,5-diCQA | Normal | 1011.06 ± 30.37 | 2283.82 ± 375.11 | 125.50 ± 11.99 | 0.24 ± 0.03 | 52.82 ± 19.30 | 21.70 ± 0.72 | 11.34 ± 6.62
4,5-diCQA | Model | 760.23 ± 40.08 ∗∗ | 1287.79 ± 198.07 ∗ | 154.10 ± 8.92 ∗∗ | 0.23 ± 0.03 | 40.72 ± 5.72 ∗∗ | 21.72 ± 0.78 | 11.76 ± 9.60
Columbianetin | Normal | 30285.36 ± 1540.07 | 30618.34 ± 1524.53 | 3116.03 ± 241.95 | 9.67 ± 0.82 | 6.04 ± 0.12 | 13.30 ± 0.36 | 0.98 ± 0.05
Columbianetin | Model | 25928.65 ± 675.38 ∗∗ | 26123.62 ± 692.36 ∗∗ | 2220.70 ± 167.90 ∗∗ | 9.00 ± 1.09 | 6.07 ± 1.28 | 12.10 ± 0.20 ∗∗ | 1.14 ± 0.03 ∗∗
Psoralen | Normal | 3231.02 ± 159.33 | 3431.94 ± 240.22 | 209.65 ± 27.61 | 8.00 ± 1.26 | 9.80 ± 3.28 | 14.34 ± 0.31 | 8.77 ± 0.59
Psoralen | Model | 3745.47 ± 90.89 ∗∗ | 3770.10 ± 922.58 ∗∗ | 326.62 ± 42.49 ∗∗ | 7.66 ± 0.81 | 5.98 ± 0.44 ∗ | 12.93 ± 0.22 ∗∗ | 7.96 ± 019 ∗∗
Xanthotoxin | Normal | 4443.85 ± 187.58 | 4619.69 ± 224.28 | 553.93 ± 76.03 | 4.33 ± 0.82 | 12.12 ± 1.73 | 10.72 ± 0.53 | 6.50 ± 0.31
Xanthotoxin | Model | 4637.98 ± 148.45 | 4887.81 ± 179.48 ∗ | 528.00 ± 34.98 | 3.33 ± 1.03 | 14.25 ± 3.76 | 10.30 ± 0.51 | 6.14 ± 0.22
Bergapten | Normal | 2263.69 ± 175.96 | 2331.37 ± 183.83 | 383.01 ± 95.75 | 3.67 ± 0.82 | 9.41 ± 2.12 | 9.40 ± 0.34 | 12.93 ± 1.05
Bergapten | Model | 3119.18 ± 100.34 ∗∗ | 3185.02 ± 140.89 ∗∗ | 518.44 ± 42.86 ∗ | 4.67 ± 1.03 | 7.16 ± 0.41 | 7.11 ± 0.09 ∗∗ | 9.43 ± 0.42 ∗∗
Columbianetin acetate | Normal | 9066.10 ± 950.05 | 10092.04 ± 1428.28 | 2020.33 ± 162.24 | 0.18 ± 0.03 | 17.30 ± 3.61 | 18.56 ± 0.64 | 2.61 ± 1.06
Columbianetin acetate | Model | 9190.51 ± 376.09 | 10597.06 ± 389.11 | 2243.01 ± 304.11 | 0.15 ± 0.03 | 15.92 ± 2.06 | 15.83 ± 0.91 ∗∗ | 2.83 ± 0.10
Isoimperatorin | Normal | 1188.60 ± 68.55 | 1555.48 ± 149.22 | 224.37 ± 26.80 | 0.58 ± 0.20 | 26.91 ± 8.34 | 15.10 ± 0.57 | 19.42 ± 1.73
Isoimperatorin | Model | 1277.40 ± 36.97 ∗ | 1653.04 ± 86.14 | 232.11 ± 20.96 | 0.58 ± 0.20 | 26.76 ± 5.46 | 15.71 ± 0.65 | 18.18 ± 0.88
Osthol | Normal | 11448.25 ± 552.50 | 11648.88 ± 567.74 | 3642.21 ± 286.50 | 1.16 ± 0.40 | 13.42 ± 0.51 | 6.53 ± 0.29 | 2.58 ± 0.11
Osthol | Model | 22518.30 ± 2167.96 ∗∗ | 22544.07 ± 2169.73 ∗∗ | 4561.27 ± 271.63 ∗∗ | 0.91 ± 0.20 | 6.42 ± 0.69 ∗∗ | 6.94 ± 0.42 | 1.33 ± 0.11 ∗∗
Columbianadin | Normal | 2661.55 ± 122.95 | 2968.16 ± 200.66 | 1683.74 ± 221.50 | 0.23 ± 0.03 | 16.43 ± 3.96 | 12.30 ± 0.57 | 10.14 ± 0.70
Columbianadin | Model | 3487.92 ± 132.71 ∗∗ | 3849.07 ± 265.00 ∗∗ | 1497.02 ± 48.21 | 0.23 ± 0.03 | 16.51 ± 4.83 | 11.51 ± 0.87 | 7.82 ± 0.51 ∗∗

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Data Source | National Natural Science Foundation of China, Natural Science Foundation of Heilongjiang Province, and others | Provides funding and support for the study, ensuring research integrity and resources.
Method | UPLC-MS/MS | Essential for accurately quantifying and simultaneously determining 14 compounds in plasma.
Internal Standards | Chloramphenicol and daidzein | Used to validate and ensure reliability of the UPLC-MS/MS method.
Animal Model | Sprague-Dawley rats | Relevant for studying pharmacokinetics in normal vs. arthritis-induced conditions.
Pathological Condition | Arthritis caused by complete Freund's adjuvant | Ensures the study focuses on the pharmacokinetic differences under disease conditions.
Detected Compounds | 14, including chlorogenic acid, psoralen, osthol | Vital in identifying and quantifying the multiple bioactive elements of APR.
Protein Precipitation Solvent | Acetonitrile | Chosen for optimal extraction and preparation in plasma analysis.
Column Used | Thermo Hypersil GOLD C18 | Critical for the chromatographic separation and analysis of compounds.
Mobile Phase Composition | 0.1% formic acid aqueous and acetonitrile | Key in achieving ideal chromatographic results in the study.
Detection Mode | Positive/negative ion exchange | Enables simultaneous determination of phenolic acids and coumarin compounds.
Significant Finding | Pharmacokinetic differences in normal vs. arthritis rats | Demonstrates that pathological states influence drug metabolism.
Precision and Accuracy Standards | Intra- and interday precision within 15% | Validates the reliability and reproducibility of the UPLC-MS/MS method.
Storage Stability | Stable under varying conditions like room temperature and freezing | Ensures data validity over different handling/storage protocols.
Primary Conclusion | Pharmacokinetics of drug change with pathological states | Shapes clinical recommendations for personalized medication in arthritis.
Clinical Relevance | APR components impact arthritis treatment efficacy | Supports potential therapeutic application of APR in arthritis.
Funding Scope | Supports pharmacokinetics and modernization of TCM | Aligns with goals to integrate TCM with global pharmacological frameworks.
Rat Group Size | 6 per group, normal and model rats | Ensures adequate sample size for statistical reliability.
Male Sprague-Dawley rats weighing 240–260 g | Twelve SD rats, randomly divided into two groups (n = 6) | The PK study used an animal model (rats), providing a controlled way to simulate normal and arthritic states.
Arthritic model establishment | Complete Freund's adjuvant injection (0.1 mL); control received saline (0.1 mL) | Establishes pathological conditions (arthritis) to investigate differences in PK parameters under disease conditions.
Successful modeling verification | Plasma levels of MDA and TNF-α determined using ELISA; model rat levels significantly higher than normal | Confirmed the pathological state of model rats, ensuring relevance to arthritis conditions.
APR extract dose | 4.1 mL/kg administered orally | Dose is essential to understand pharmacokinetic studies and drug absorption dynamics.
Blood sampling time points | 0.083, 0.167, 0.25, 0.5, 1, 2, 4, 6, 8, 10, 12, 24, 36, and 48 h post-administration | Wide range of time points ensures comprehensive monitoring of plasma drug concentration over time.
Blood collection method | Collected from the angular vein into heparinized tubes | Details the methodology relevant for consistency in sample collection for PK analysis.
Plasma processing | Centrifuged at 12,000 × g, 15 min at 4°C; supernatant stored at −80°C | Highlights procedure used to standardize and preserve samples for accurate analysis.
Animal housing conditions | Temperature: 25 ± 2°C; humidity: 50 ± 15%; light/dark cycle; ad libitum access to food and water | Ensures controlled and consistent environment to reduce variables affecting PK studies.
Number of rats per group | Six rats each in normal and arthritic model groups | Sample size directly relevant for statistical computation of the pharmacokinetic parameters.
Pharmacokinetic model | Noncompartmental model | The study explicitly states that the pharmacokinetic parameters were calculated using DAS 2.0 software in a noncompartmental model, showing this model was applied to analyze the pharmacokinetics of the components.
Sheath Gas | 30 Arb | Relevant as this parameter specifies conditions for mass spectrometry analysis in the study's method development.
Aux Gas | 10 Arb | Relevant for optimizing the ionization process during UPLC-MS/MS analysis.
Ion Transfer Tube Temp | 325°C | Relevant for maintaining sample stability and effective ion transfer during mass spectrometry.
Vaporizer Temperature | 350°C | Relevant for ensuring efficient vaporization during mass spectrometry analysis.
Flowing Rate | 0.3 mL/min | Relevant for the separation phase in UPLC, influencing chromatographic efficiency and resolution.
Linear Regression Coefficient | >0.99 | Indicates the accuracy and reliability of the calibration curves for compound measurement, critical for pharmacokinetic parameter estimation.
Lower Limit of Quantification (LLOQ) | 0.6–10.7 ng/mL | Relevant for evaluating the sensitivity of the developed method and its suitability for measuring compounds at low concentrations.
Range of Extraction Recovery | 90.38–103.73% | Relevant for assessing the efficiency of the protein precipitation method used for sample preparation and its reliability in quantitative analysis of plasma samples.
Matrix Effect Range | 88.11–102.29% | Relevant for ensuring the analytical method is unaffected by endogenous plasma components, crucial for pharmacokinetic parameter accuracy.
Short-Term Stability at Room Temp | 4 hours | Relevant for confirming sample stability during handling and analysis, affecting data reliability.
Freeze-Thaw Stability | 3 cycles | Relevant for validating sample stability under standard storage protocols, which is critical for long-term pharmacokinetic studies.
Storage Stability at -80°C | 30 days | Relevant for ensuring sample integrity during extended storage, important for repeatable pharmacokinetic measurements.
Posttreatment Stability | 24 hours at 4°C | Relevant for sample robustness after preparation and prior to UPLC-MS/MS analysis accuracy.
Calibration Curve | Linear, Weighted 1/χ2 | Relevant because it determines how plasma concentration values of the compounds are calculated from the method.
t1/2 Range (Model Rats) | Extended for some compounds | Relevant as it highlights how arthritis pathology alters pharmacokinetic parameters like elimination time.
AUC0-t Change | Increased/Decreased VALUES VARIED | Relevant for understanding compound absorption and exposure differences in diseased versus normal rats.
Modeling Success Criteria | MDA and TNF-α significantly higher | Relevant because it validates the arthritis condition in model rats, ensuring accurate pharmacokinetic analysis reflective of pathological states.
Drug metabolism enzymes | Changes in drug metabolism enzymes levels under pathological conditions | Relevant because altered enzyme levels influence the metabolism and pharmacokinetics of drugs.
Gut bacteria | Gut bacterial composition changes under pathological conditions | Relevant as the intestinal flora impacts drug absorption, metabolism, and transformation in the pharmacokinetics process.
pH levels | Neutral or alkaline intestinal pH affects isomerization of caffeoylquinic acids | Relevant since pH influences drug compound transformation and bioavailability in pharmacokinetics.
Histamine secretion | Increased histamine secretion in pathological states increases vascular permeability | Relevant because it enhances the absorption and distribution of coumarin compounds.
Receptors on blood vessels | Activation or changes in drug interaction with vascular receptors in pathological conditions | Relevant since receptor interaction significantly alters the absorption and permeation characteristics of drugs.
Protein binding | Changes in binding of drugs to plasma proteins under inflammation | Relevant due to its impact on drug distribution and free drug concentration in plasma.
Liver metabolic enzymes | Altered liver enzyme activity impacts columbianetin metabolism | Relevant as liver enzymes directly regulate drug clearance and pharmacokinetics in disease states.
Bacterial esterase activity | Esterase produced by gut bacteria supports conversion of certain drug compounds | Relevant for understanding drug hydrolysis processes and interconversion affecting pharmacokinetics.
Drug transporters | Changes in activity of drug transporters under pathological conditions | Relevant because transporters affect drug clearance rate and overall pharmacokinetics in vivo.