## Table 1
Concentration[µg/mL]_Voriconazole | Concentration[µg/mL]_Voriconazole N-oxide | Median relative recovery voriconazole, %(95% confidence interval)_Unnamed: 2_level_1 | Median relative recovery voriconazole N-oxide, %(95% confidence interval)_Unnamed: 3_level_1 | n_Unnamed: 4_level_1
0.01 | 0.01 | 87.9 (83.7 – 91.6) | 86.3 (82.5 – 91.4) | 18
0.2 | 0.5 | 86.4 (83.3 – 92.4) | 89.1 (87.3 – 91.3) | 20
0.5 | 0.5 | 95.1 (n.a.) | 94.9 (n.a.) | 5
3 | 0.01 | 87.9 (84.7 – 92.2) | 95.0 (91.4 – 96.3) | 19
3 | 3 | 85.4 (81.1 – 92.9) | 87.4 (84.1 – 94.4) | 20

## Table 2
Parameter | Estimate | 95% confidence interval of the estimate | P-value
\documentclass[12pt]{minimal} \usepackage{amsmath} \usepackage{wasysym} \usepackage{amsfonts} \usepackage{amssymb} \usepackage{amsbsy} \usepackage{mathrsfs} \usepackage{upgreek} \setlength{\oddsidemargin}{-69pt} \begin{document}$${a}_{0}$$\end{document} a 0
RR of VRC | 89.7% | 86.2% – 93.3% | 1.8∙10–11
\documentclass[12pt]{minimal} \usepackage{amsmath} \usepackage{wasysym} \usepackage{amsfonts} \usepackage{amssymb} \usepackage{amsbsy} \usepackage{mathrsfs} \usepackage{upgreek} \setlength{\oddsidemargin}{-69pt} \begin{document}$${a}_{1}$$\end{document} a 1
ΔRR of VRC + NO | -1.56% | -3.18% – + 0.113% | 0.0636
ΔRR of NO | 0.473% | -1.24% – + 2.28% | 0.5936
ΔRR of NO + VRC | 0.868% | -0.757% – + 2.54% | 0.3014
\documentclass[12pt]{minimal} \usepackage{amsmath} \usepackage{wasysym} \usepackage{amsfonts} \usepackage{amssymb} \usepackage{amsbsy} \usepackage{mathrsfs} \usepackage{upgreek} \setlength{\oddsidemargin}{-69pt} \begin{document}$${a}_{2}$$\end{document} a 2 | 0.309 mL/µg | -0.254 – + 0.900 mL/µg | 0.2840
η (Study day)* | 4.10% | 2.31% – 7.30% | n.a
η (Catheter)* | 1.25% | 0.481% – 3.19% | n.a
ε (residual)* | 4.23% | 3.92% – 4.54% | n.a

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Median RR of VRC during individual microdialysis | 87.6% | Indicates high and consistent recovery of voriconazole, essential for reliable microdialysis applications.
Median RR of NO during individual microdialysis | 91.1% | Confirms effective recovery of voriconazole N-oxide, enabling simultaneous microdialysis testing.
Effect of concentration on VRC RR | Not significant (p = 0.284) | Demonstrates concentration independence, crucial for varied clinical scenarios.
Median RR of VRC during simultaneous microdialysis with NO | 87.9% | Shows no significant impact on voriconazole recovery when NO is present.
Median RR of NO during simultaneous microdialysis with VRC | 91.1% | Verifies that NO recovery is unaffected by simultaneous voriconazole presence.
Study day variability on VRC RR | Responsible for 46.3% of total variability | Identifies a significant source of experimental variability, critical for methodology refinement.
Microdialysis catheter variability on VRC RR | Responsible for 4.33% of total variability | Highlights minor but present variability due to catheter differences.
Performance of VRC retrodialysis for NO calibration | Feasible with deviations of +1.6% to -14.9% | Confirms suitability for ISF concentration determination of both parent compound and metabolite.
RR of VRC from the LME model | 89.7% | Provides a joint estimate incorporating multiple experimental factors for enhanced reliability.
Use of VRC and NO microdialysis methodology | Simultaneous microdialysis feasible, no interference observed | Supports development of personalized dosing strategies targeting both drug and metabolite.
CYP2C19's role in VRC metabolism | Major contributor to variability in NO levels | Crucial for understanding interindividual pharmacokinetics and therapeutic optimization.
In vivo versus in vitro VRC RR | Slightly lower in vivo (84.9–85.2%) compared to in vitro (87.6%) | Demonstrates the need for in vivo calibration despite high in vitro reliability.
Impact of experimental handling on study day variability | Unidentified factors like pump flow rates or air pockets during storage | Highlights complexity and necessity for rigorous standardization in experimental setups.
Application of study results | Basis for clinical trials involving simultaneous VRC and NO monitoring | Enables optimization of antifungal treatments via PK profiling in target sites.
Microdialysis catheter | CMA 60 (molar mass cut-off 20 kDa, membrane length 30 mm) | The study uses this catheter to simulate patient tissue sampling and assess relative recovery (RR) of voriconazole (VRC) and its metabolite.
Flow rate | Typically 1–2 µL/min | Relevant because it mimics in vivo conditions seen in patient sampling during clinical microdialysis studies.
In vitro system used | Validated in vitro microdialysis system (IVMS) | Provides controlled, standardized environment that resembles in vivo pharmacokinetics to simulate tissue sampling in clinical setups.
Investigated compounds | Voriconazole (VRC) and Voriconazole N-oxide (NO) | Studied to evaluate their pharmacokinetics during microdialysis, necessary to understand the drug's metabolism and target-site concentrations.
Temperature during study | 37°C | Maintained to mimic physiological conditions relevant for human pharmacokinetic studies.
Sampling schedule | Up to ten intervals consecutively on one study day per catheter | This sequential sampling allowed a detailed study of the pharmacokinetics in a controlled setting.
Retrodialysis calibration | Using VRC for VRC and NO | Demonstrates feasibility of catheter calibration for PK studies involving drug and metabolites simultaneously.
Study days for VRC recovery | Days 1, 2, 3, 4, and 7 | Breakdown of sampling timeline emphasizes variability introduced by experimental factors, aiding PK data interpretation.
Study days for NO recovery | Days 3, 5, and 7 | The distinct timeline for NO highlights the necessity of metabolite-specific PK analysis during clinical relevance determinations.
Study replicates | Several experiments, pooling data across days and catheters | Shows how variability across patient-like settings was managed for robust PK analysis.
Linear Mixed-Effects Model (LME) | Evaluated the dependency of RR on various factors | Relevant because the paper analyzed potential influences on relative recovery, particularly focusing on concentration, microdialysis setup, and scenarios.
1-Compartment Retrodialysis Model | Used retrodialysis for catheter calibration and determination of ISF concentrations | Relevant for assessing VRC and NO unbound concentrations using retrodialysis calibration, a fundamental step for deriving the pharmacokinetics at the target site.
Exploratory Statistical Model | Graphical and exploratory RR evaluation prior to LME | Relevant as it provided the initial framework for assessing RR, forming the basis of the LME model setup.
RR (Relative Recovery) of VRC | 87.6% (median), 95% CI: 86.5%-88.8% | This parameter was measured in vitro to assess the consistency of drug diffusion across the microdialysis membrane, crucial for validating microdialysis sampling of VRC.
RR (Relative Recovery) of NO | 91.1% (median), 95% CI: 88.4%-94.5% | Estimated in vitro to study the diffusion of the major VRC metabolite through microdialysis, ensuring feasibility of combined assessments.
Variability from Study Day | 46.3% of total variability, SD: 4.10% (95% CI: 2.31%-7.30%) | Estimated through LME modeling to determine sources of variability in RR, critical for improving experimental reliability.
Variability from Catheter | 4.33% of total variability, SD: 1.25% (95% CI: 0.481%-3.19%) | Quantified via LME modeling to understand the influence of catheter assembly on RR, relevant for standardizing microdialysis.
Unexplained Variability | 49.4%, SD: 4.23% (95% CI: 3.92%-4.54%) | Derived using the LME model, relevant for addressing factors influencing variability not directly attributable to experimental design.
VRC Retrodialysis Deviation | -1.6% to -14.9% (compared to directly measured concentrations) | Evaluated from in vitro data to assess the performance of VRC retrodialysis for calibrating metabolite and drug concentration estimates.
Concentration Dependence | p=0.284 for RR, not concentration-dependent | Estimated using LME and exploratory analysis, demonstrating that diffusion properties of VRC and NO are consistent across a range of concentrations.
Standard Microdialysis Flow Rate | 2 µL/min | Applied during in vitro experiments to mimic clinical settings precisely, influencing the estimation of RR for both VRC and NO.
Microdialysis Membrane Cut-off | 20 kDa | Chosen for CMA 60 catheters to represent the ideal molecular weight cut-off for VRC and NO, relevant for controlling diffusion in experiments.
Temperature of Medium | 37°C | Parameter controlled in in vitro experiments to simulate physiological conditions, enhancing the reliability of RR estimates.
High interindividual pharmacokinetic variability | Reported in voriconazole and its N-oxide metabolite | Highlights the general pharmacokinetic challenge posed by voriconazole due to individual differences.
Cytochrome P450 isoenzyme system (CYP3A4, 2C9, 2C19) | Key enzymes in voriconazole metabolism | Demonstrates the metabolic complexity and variability linked to the CYP system, particularly CYP2C19.
Polymorphic CYP2C19 enzyme | Major contributor to the formation of voriconazole N-oxide | Explains a primary genetic factor influencing voriconazole pharmacokinetics and interindividual differences.
Voriconazole N-oxide metabolite | Lacks antifungal activity but induces adverse reactions | Suggests that the metabolite contributes indirectly to pharmacokinetic variability through its effects.
Concomitant drug interactions | Potentially interact with voriconazole or its metabolites in ISF | Highlights pharmacokinetic variability due to co-administered drugs competing for diffusion across the microdialysis membrane.
Study day in microdialysis | Explained 46.3% of variability in relative recovery | Identifies variability-dependent factors in experimental conditions specific to pharmacokinetics determinations.
Specific microdialysis catheters | Minor variability impact (4.33%) | Proves marginal influence from catheter-specific factors in recovery assessments during pharmacokinetic studies.
Target-site and plasma concentration discrepancy | Extravascular sites differ pharmacokinetically from plasma | Highlights pharmacokinetic complexity as plasma concentrations do not reliably predict target-site exposure.
CYP2C19 metabolizer status | Requires in vivo PK assessments | Suggests the need for phenotype-specific PK investigations to address genetic variability.
Tortuosity in interstitial space during in vivo microdialysis | Decreases RR compared to in vitro values | Demonstrates a physiological factor influencing PK variability in vivo.