## Table 1
Column Type_Column Type | Internal Standard_Internal Standard | Mobile Phase_A | Mobile Phase_B | Elution_Elution | Analysis Time [min]_Analysis Time [min] | ESI Mode_ESI Mode | m/z_Colistin A | m/z_Colistin B | Ref._Ref.
Xbridge C18(150 mm × 2.1 mm; 5 µm) | polymyxin B | 0.1% formic acid in water | 0.1% formic acid in acetonitrile | isocraticA:B (80:20) | 3.8 | positive | 585.5 → 101.2 | 578.5 → 101.2 | [17]
Xbridge BEH-Amide (50 mm × 2.1 mm; 2.5 µm) HILIC | not used | 0.1% formic acid in acetonitrile | 0.1% formic acid in water | gradient | 12 | positive | 390.7 → 100.9 | 386.0 → 100.9 | [28]
Synergi Fusion RPC18 (150 mm × 2 mm; 4 μm) | polymyxin B | 0.1% formic acid in water | 0.1% formic acid in acetonitrile | gradient | 11 | positive | 585.7 → 101.1; 202.3; 241.3 | 578.7 → 101.1; 202.3; 227.3 | [29]
Kinetex C18 (50 mm × 3 mm; 2.6 µm) | polymyxin B | 0.1% formic acid in water | 0.1% formic acid in acetonitrile | gradient | 6 | positive | 585.5 → 101.1; 241.1 | 578.5 → 101.1; 227.2 | [30]
Acquity UPLC BEH C18(100 mm × 2.1 mm; 1.7 µm) | not specified | 0.2% formic acid and 5% acetonitrile in water | acetonitrile | gradient | 10 | positive | 390.60 → 101.07; 241.19 | 385.90 → 101.07; 227.17 | [31]
Atlantis dC18(100 mm × 2.1 mm; 3 µm) | clarithromycin | water | 0.2% formic acid in acetonitrile | isocraticA:B (50:50) | 4 | positive | 585.6 → 101.4 | 578.7 → 101.3 | [32]
Kinetex XB-C18 (100 mm × 2.1 mm; 2.6 μm) | polymyxin B | acetonitrile:methanol (1:1) | 0.1% formic acid in water | gradient | 3.5 | positive | 390.7 → 101.3 | 386.0 → 101.2 | [33]
MassTox | polymyxin B | 0.1% formic acid in water | 0.1% formic acid in methanol | gradient | 3.5 | positive | 585.5 → 534.9; 576 | 578.5 → 527.9; 568.9 | [34]
Acquity UPLC C18(150 mm × 4.6 mm; 3.5 μm) | polymyxin B | 0.1% formic acid in water | 0.1% formic acid in acetonitrile | gradient | 2.5 | positive | 390.9 → 385.1 | 386.2 → 101.0 | [35]
Acquity UPLC BEH C18(50 mm × 2.1 mm; 1.7 µm) | sulphadiazine 13C6 | 0.1% formic acid in water | 0.1% formic acid in acetonitrile | gradient | 3.5 | positive | 390.8 → 86.1; 101.0 | 386.0 → 86.0; 101.1 | [36]
Acquity UPLC BEH C18(50 mm × 2.1 mm; 1.7 µm) | sulphadiazine 13C6 | 0.1% formic acid in water | 0.1% formic acid in acetonitrile | gradient | 3.5 | negative | 1167.8 → 1079.4; 1124.1 | 1153.7 → 1065.8; 1110.0 | [36]

## Table 2
Population_Population | Number of Subjects_Number of Subjects | Renal Function_Renal Function | Dosage(CMS * mg Intravenous)_Dosage(CMS * mg Intravenous) | LD_LD | Sampling_Timing | Sampling_before + after the Infusion [min] | Pharmacokinetic Data—Colistin_cMAX [mg/L] | Pharmacokinetic Data—Colistin_TMAX [min] | Pharmacokinetic Data—Colistin_AUC[mg × h/L] | Ref._Ref.
critically ill | 3 | NSall on continuous RRT | 150 q 18 h75 q 8 h75 q 8 h | no | day 3day 10day 6 | 0 + 10; 60; 120; 240; 360; 480; 600; before the next | 2.982.292.11 | 10 | 33.6–40.8cSS,AVE 1.4–1.7 mg/L | [39]
critically ill | 14 | CrCl:46.0–199.7 mL/min | 225 q 8/12 h150 q 8 h | no | after min. 2 days | 0 + 10; 60; 120; 240; 360; 480 | mean 2.93SD 1.24 | NS | mean 12.8SD 5.1 | [55]
critically ill | 73 | calculated CrCl:median 86 mL/min(range 14–368 mL/min) | LD median 160; 16 patients 600–720MD median daily dose 480 | yes | fist, random dose | during the infusion (2×) + 60–120 min; 5 min before the next | NS | NS | NScSS,AVE 3.4 mg/L ** | [56]
critically ill | 18 | calculated CrCl:mean 82.3 mL/min(SD 24.35) mL/min | 240 q 8 h or 160 q 8 h | no | first, fourth, or sixth/seventh dose | 0 + 15; 30; 60; 90; 120; 240; 360; 465 | following the first dose 0.6 ** following next doses 2.3 ** | NS | NS | [57]
critically ill | 10 | calculated CrCl:24.9–191.5 mL/min | LD 48080–240 q 8 h | yes | first, eigth dose | 0 + 15; 30; 60; 120; 240; 465 | NS | NS | NS | [58]
critically ill | 19 | calculated CrCl:29–220 mL/min | LD 480–720MD 240 q 8 hor 360 q 12 h | yes | first, fifth/sixth dose | 0 + 30; 60; 120; 240; 480; 720; before the next | following the first dose mean 2.65range 0.95–5.1 at steady state range 0.68–8.72 | 480 | NS | [59]
critically ill | 2 | NSboth on continuous RRT | LD 720MD 240 q 8 h | yes | first; end of second–eigth dose | 0 + 30; 60; 120; 240; 360; 720; before the next | 13.410.9 | NS | 216.3179.1 | [66]
critically ill | 215 | CrCl:median 39.8 mL/minrange 0–314 mL/min29 patients on RRT | median daily dose 480range 180–1454 | no | days 3–5 | NS | NS | NS | NSmedian cSS,AVE 2.35 mg/L;range 0.24–9.92 mg/L | [67]
critically ill | 105 | calculated CrCl:mean 28.7 mL/min/1.73 m2 range 0–169 mL/min/1.73 m2 | median daily dose 200range 75–410 mg | no | day 3–4 | 0 + end of infusion; 30; 60; 120;240; 480; 720 | NS | NS | 11.5–225median cSS,AVE 2.36 mg/L | [68]
critically ill | 10 | NSall on continuous RRT | LD 480 or 720MD 160–240 q 8 h | yes | first, seventh dose | 0 + 30; 60; 180; 360; 480 | NS | NS | NScSS,AVE 4.67 mg/L | [69]
critically ill | 2 | CrCl:107 mL/min159 mL/min156 mL/min | LD 720MD 360 q 12 h | yes | ninth dosefirst dosefifth dose | 0 + 60; 240; 720120; 360; 720120; 360; 720 | NS | NS | 8061.856.5 | [70]
NS | 15 | calculated CrCl:median 89.8 mL/range 24.2–330 mL/min | mean daily dose 235.3 ***SD 79.9 *** | no | day 5 | 0 + 30; 60; 120;240; 480 | mean 5.50SD 2.75 | 73.8 ± 69 | mean 40.5SD 20.7 | [71]

## Freetext Data
Data | Value | Relevance
CMS Stability and Hydrolysis | Dependent on CMS concentration, pH, temperature, and material of infusion containers | Relevant for understanding how CMS stability under various clinical conditions impacts its conversion to active colistin.
Colistin TMAX | Ranges from 1–8 hours in critically ill patients | Relevant to determine the pharmacokinetic delay needed to achieve maximum plasma concentrations in critically ill patient populations.
Colistin AUCSS,24h Target | Approximately 50 mg × h/L | Relevant as it represents the PK/PD parameter correlated with colistin’s therapeutic efficacy.
CMS Conversion Factors | Inversely related to renal function; higher exposure to colistin in patients with renal insufficiency | Relevant to understanding and optimizing dosing in patients with varying renal functionalities.
Analytical Method | LC/MS with liquid chromatography is most accurate and effective for detecting colistin and CMS | Relevant to ensuring reliable therapeutic drug monitoring (TDM) in clinical practice.
Renal Clearance of CMS and Colistin | CMS undergoes glomerular filtration and tubular secretion, low renal clearance of colistin with tubular reabsorption | Relevant for assessing dose adjustments in patients with different renal conditions and during renal replacement therapy.
Nephrotoxicity | Incidence ranges between 36 and 76% in critically ill patients; risk increases with higher trough concentrations (>3.33 mg/L on day 7) and prolonged exposure | Relevant as critical safety information guiding dosing regimens and TDM monitoring to minimize renal adverse effects.
Extracorporeal Methods | CMS and colistin demonstrated measurable clearance during continuous renal replacement therapy (CRRT); limited adsorption of colistin in ECMO | Relevant because these methods impact colistin pharmacokinetics in critically ill patients undergoing extracorporeal treatments.
Loading Dose Impact | Omission delays therapeutic levels; loading dose of 9 million IU over 30–60 min recommended | Relevant for achieving optimal therapeutic plasma levels at the earliest in critically ill patients.
Nebulization vs Intravenous | Higher local tissue concentrations with nebulization; systemic absorption results in measurable plasma levels | Relevant for understanding pharmacodynamics and risks from different administration routes, especially in ventilator-associated pneumonia.
Combination Therapy | Colistin combined with other antibiotics (e.g., rifampicin, carbapenems) shows synergistic antibacterial effects | Relevant to treatment optimization against multidrug-resistant bacteria like CRAB or Pseudomonas aeruginosa.
TDM Sampling Strategies | 6–9 samples recommended in a single dosing cycle; trough level and 2-hour post-infusion levels correlate well with AUC | Relevant for accurate implementation of TDM in clinical practices while simplifying sampling methods.
Resistance Issues | Emerging global resistance; susceptibility testing for clinical isolates limited due to variable practices | Relevant for highlighting the need for research and improved methods in microbial testing and drug efficacy preservation.
Colistin MIC Limits | ≤4 mg/L for Pseudomonas aeruginosa; ≤2 mg/L for Acinetobacter baumannii | Relevant as they ensure both efficacy and safety in clinical use and guide therapy.
TDM Clinical Benefit | Can improve dosing precision, minimize nephrotoxicity risks, and confirm plasma concentration effectiveness | Relevant for enabling safer and more effective use of colistin in multidrug-resistant infections.
Pharmacokinetic/Pharmacodynamic Gaps | Insufficiently validated models; more clinical-outcome-based data needed; challenges in critically ill populations | Relevant to highlighting areas needing targeted research for improved colistin therapeutic use in critical care.
PK study design | Characteristics of pharmacokinetic trials/case reports in adult patients were outlined. | Helps understand the structure and methodology of PK studies referenced in the review.
Patient sample size | Limited sample sizes; specific numbers varied by study. | Illustrates variability in population size and its potential impact on study conclusions.
Blood sampling | 6–9 samples were drawn in a single dosing cycle; one study carried only four samples. | Demonstrates the variability in sampling frequency and its significance for accuracy in PK data.
Sampling timing | Blood samples were collected across a dosing schedule; in one study, trough and 2 hours after infusion start were emphasized. | Highlights the timing of sample collection to achieve accurate PK profiles relevant to colistin therapy.
Patient population | Critically ill patients were the target population. | Defines the clinical relevance and application of PK data obtained from high-risk patients.
Purpose of sampling | Multiple samples allowed individual plasma concentration–time curve construction. | Emphasizes the attempt to minimize variability and refine PK/PD parameter determination.
Continuous infusion studies | Limited data; in a described cohort, continuous infusion's impact was investigated. | Provides insight into alternative dosing strategies and their impact on PK/PD relationships.
Challenges | Substantial interindividual variability noted in the critically ill population. | Demonstrates the complexity of obtaining consistent PK data across patient populations.
Population models | Proposed development of a population model to address variability in critically ill patients. | Relevant to future research aiming to refine dosing strategies and reduce variability within PK studies.
CMS and colistin pharmacokinetics | Not clearly described as 1-compartment or 2-compartment; population model suggested for critically ill patients | Population pharmacokinetic modeling is recommended for better understanding of variability in critically ill patients and optimizing doses.
Pharmacokinetic data in critically ill patients | 1–8 hours for colistin TMAX and 3.1–18.5 hours for half-life, no explicit mention of compartmental model | Understanding compartmental behavior is crucial to accurately characterize colistin distribution and clearance variability.
Population pharmacokinetic modeling suggestion | Future direction proposed | Population PK modeling could standardize dosing strategies and better account for interindividual variability in CMS-to-colistin conversion and clearance in clinical settings.
cMAX of colistin | 0.6–13 mg/L | Estimated from studies involving critically ill patients; relevant as it indicates variability in plasma concentrations based on individual and therapeutic factors such as dosing and renal conditions.
cSS,AVG (steady-state concentration) | 2 mg/L | This is the defined target concentration for therapeutic efficacy, consistent with the current PK/PD parameter for total plasma concentration of colistin.
TMAX for colistin | 1–8 hours | Derived from critically ill patient data; significant for understanding the delayed time to maximum plasma concentration due to CMS bioactivation variability.
CMS conversion to colistin | 30–60% | Estimated from studies with volunteers; critical to understanding variability in bioactivation and exposure.
Volume of distribution for CMS and colistin | 14 L (CMS), 12.4 L (colistin) | Obtained from healthy volunteer data; relevant for understanding the pharmacokinetic distribution relative to extracellular fluid volumes.
Plasma protein binding for colistin | 50–74% | Increased levels in critically ill patients; significant for pharmacodynamics and toxicity considerations.
Clearance of colistin in healthy volunteers | 1.9 mL/min | Direct implication for renal clearance and tubular reabsorption mechanisms.
fAUC/MIC target (PK/PD determinant) | 50 mg × h/L | Determined from in vitro and animal models; relevant for calculating effective exposure-dependent activity of colistin.
AUCSS,24h | Approximately 50 mg × h/L | Defined as a pharmacokinetic goal in monotherapy; critical for confirming therapeutic exposure.
Renal clearance variability (CRRT impact) | Significant in CRRT | Clearance impacted by CRRT dosing and residual renal function; critical for adjusting doses in critically ill patients on RRT.
Colistin bioactivation dependency | Renal insufficiency increases colistin exposure | Derived from critically ill patient data; important for safe dosing in individuals with varying renal function.
Predicted concentrations in patients with normal renal function | 9–10.9 million IU daily maintenance dose | Establishes standard maintenance dosing; essential for avoiding suboptimal therapy.
Factors influencing pharmacokinetics | Renal function | Renal function impacts the rate and extent of CMS bioactivation to colistin. Patients with renal insufficiency show higher exposure to colistin due to slower CMS clearance.
Factors influencing pharmacokinetics | Non-renal clearance pathways | Non-renal pathways such as spontaneous hydrolysis of CMS also influence pharmacokinetics by contributing to colistin formation.
Factors influencing pharmacokinetics | Interindividual variability | Substantial variability in CMS conversion rates to colistin affects the pharmacokinetics and therapeutic levels among patients.
Factors influencing pharmacokinetics | Residual renal function in RRT patients | Patients with residual renal activity undergoing RRT (Continuous Renal Replacement Therapy) experience altered CMS and colistin pharmacokinetics due to clearance changes.
Factors influencing pharmacokinetics | Extracorporeal membrane oxygenation (ECMO) | Preliminary data suggest ECMO does not significantly sequester colistin, but pharmacokinetics may differ with circuit materials.
Factors influencing pharmacokinetics | Loading dose administration | The omission of a loading dose can delay achieving therapeutic colistin levels due to delayed TMAX and variability in CMS activation.
Factors influencing pharmacokinetics | Adsorption to materials | Colistin adsorption to hemodialyzer polysulfone membranes can impact plasma drug levels during RRT.
Factors influencing pharmacokinetics | Product variability | Differences between colistin products and manufacturing batches result in inconsistent pharmacokinetic profiles.
Factors influencing pharmacokinetics | Creatinine clearance (CrCl) | High CrCl in patients risks too rapid CMS excretion before conversion into colistin, leading to suboptimal therapeutic concentration.
Factors influencing pharmacokinetics | Protein binding | Colistin's approximate 50–74% plasma protein binding (higher in critically ill patients) affects pharmacokinetics by altering free drug levels.
Factors influencing pharmacokinetics | Drug-to-drug pharmacodynamic interactions | Potential synergistic effects with drugs like rifampicin or carbapenems may indirectly alter colistin activity but are not proven in PK terms.
Factors influencing pharmacokinetics | Administration method | Methods such as continuous infusion simplify AUC correlation but do not consistently improve therapeutic outcomes.
Factors influencing pharmacokinetics | Extracorporeal drug clearance via CRRT | CRRT settings and dose variability significantly alter pharmacokinetics of CMS and colistin due to extracorporeal clearance and adsorption.