## Table 1
Analyte_Analyte | Unnamed: 1_level_0_R | Unnamed: 2_level_0_R1 | Unnamed: 3_level_0_Unnamed: 3_level_1 | Unnamed: 4_level_0_R2 | Unnamed: 5_level_0_Unnamed: 5_level_1 | Unnamed: 6_level_0_R3 | Unnamed: 7_level_0_R4 | Unnamed: 8_level_0_R5
TCEVCTGCCTCLCMNCDCOTCMTC | HNHCOCH2N(CH2)4 NHCOCH2NHC(CH3)3 HHHHHH | HFN(CH3)2 ClHN(CH3)2 HHH |  | OHHOHOHOHHOHH | CH2 | CH3 HCH3 CH3 CH3 HCH3 CH3 | HHHHHHHOHH | HHHHMe-N-LysHHHH
| Anti-BSA-TC(f) Ab #32 | Anti-BSA-TC(f) Ab #32 | Anti-BSA-TC(f) Ab #32 |  |  | anti-BSA-TGC(f) Ab #100 | anti-BSA-TGC(f) Ab #100 | anti-BSA-TGC(f) Ab #100
Analyte | IC50, ng/mL |  | CR, % |  |  | IC50, ng/mL |  | CR, %
TC | 1.25 |  | 126.5 |  |  | >1000 |  | <0.02
EVC | 1.33 |  | 119.3 |  |  | >1000 |  | <0.02
TGC | 1.59 |  | 100 |  |  | 0.23 |  | 100
CTC | 1.90 |  | 83.5 |  |  | >1000 |  | <0.02
LC | 5.58 |  | 28.4 |  |  | >1000 |  | <0.02
MNC | 9.08 |  | 17.5 |  |  | >1000 |  | <0.02
DC | 13.08 |  | 12.1 |  |  | >1000 |  | <0.02
OTC | 27.05 |  | 5.9 |  |  | >1000 |  | <0.02
MTC | 62.11 |  | 2.6 |  |  | >1000 |  | <0.02

## Table 2
Assay | IC50 | IC20–IC80 | IC90 (LOD) | Reference
ELISALFIA ELISA-Ab#32 | 2.30nd1.59 | ndnd0.22–18.9 | 0.2215.030.05 | [13][13]Present work
ELISA-Ab#100 | 0.23 | 0.04–2.83 | 0.02 | Present work

## Table 3
Sample Pretreatment_Sample Pretreatment | TGC Spike Level,ng/mL_TGC Spike Level,ng/mL | Ab #32_RC, % | Ab #32_RSD, % | Ab #100_RC, % | Ab #100_RSD, %
PBST | 1500 | 81.4 | 8.6 | 102 | 9.4
| 300 | 98.1 | 3.4 | 90.8 | 11.5
TCA | 1500 | 82 | 6 | 88.7 | 2.2
| 300 | 73.6 | 9.7 | 80.1 | 4.1
MeOH | 1500 | 24.1 | 16.1 | 25.9 | 15.5
| 300 | 28.5 | 7.1 | 24.7 | 22.7
ACN | 1500 | 35.8 | 24.3 | 35.1 | 14.7
| 300 | 34.8 | 38.8 | 69.3 | 1.2

## Table 4
Unnamed: 0 | Patient 1 | Patient 2 | Patient 3
Dose, mg/12 h | 100 | 100 | 50
AUC0-24 h, mg*h/L | 11.08 | 15.38 | 10.60
Cmax, mg/L | 0.86 | 2.03 | 0.84
CL, L/h | 18.04 | 13.01 | 9.43
Vss, L | 975.49 | 149.96 | 189.56
Causative microorganism | K. pneumoniae | E. faecium | A. baumannii

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Tigecycline (TGC) description | Third-generation tetracycline antibiotic with broad antibacterial activity | Explains TGC's pharmacological relevance in treating infections.
TGC therapeutic uses | Treatment of complicated skin and soft tissue infections, intra-abdominal infections, and community-acquired pneumonia | Provides context about clinical applications of TGC.
TGC activity against MDR organisms | Effective against carbapenem-resistant A. baumannii, Enterobacteriaceae, and methicillin-resistant S. aureus | Highlights TGC's significance in multidrug-resistant infections.
TGC side effects | Increased risk of death, liver failure, and coagulopathy | Key consideration for TGC's clinical safety profile.
Mortality risk with TGC therapy | Large meta-analysis linked TGC to an increased risk of death and treatment failure | Relevant to understanding limitations of TGC use.
Pharmacokinetics (PK) in critically ill patients | Substantial inter-individual variability observed in PK | Underscores the need for personalized therapeutic monitoring.
Volume of distribution | 7–10 L/kg | Critical for understanding TGC's pharmacokinetic properties.
Clearance rate | ~0.2–0.3 L/h/kg | Indicates systemic clearance characteristics of TGC.
Excretion pathway | Primarily biliary, with minimal renal excretion | Relevant to understanding drug elimination routes.
Therapeutic drug monitoring (TDM) development | ELISA-based immunodetection assays for TGC quantification | Central to advancing safe and effective TGC therapy.
IC50 sensitivity of ELISA | 0.23 and 1.59 ng/mL for different antibodies | Demonstrates assay sensitivity for clinical application.
Cross-reactivity of antibodies | Group-specific vs TGC-selective antibodies | Provides technical insight into assay specificity.
TGC recovery from blood serum | 74–102% using optimal sample pretreatment | Validates the reliability of ELISA for clinical samples.
Correlation of ELISA systems | R2 value = 0.966 between group-specific and TGC-selective assays | Confirms assay reliability for TGC concentration measurement.
Advantages of developed assay | High sensitivity, low detection limits, and suitability for PK studies | Highlights utility in individual and population-level TDM.
PK variability among critically ill patients | Different clearance and volume of distribution values observed | Demonstrates variability in TGC concentrations, justifying monitoring.
Influence of sample pretreatment | TCA deproteinization stabilizes TGC and ensures accurate ELISA results | Ensures reliability and reproducibility in real-world applications.
Therapeutic concentrations of TGC | Successfully measured with ELISA in critically ill patients | Demonstrates clinical feasibility of the assay.
Potential clinical applications | Use in personalized dosing and population PK modeling | Central to improving TGC therapy outcomes.
Blood sampling time points | 6–8 samples over 12 h for each patient | Key element of the PK study design as it provides details on time intervals for pharmacokinetic profiling.
Sample collection timing | Before infusion; 5 min, 30 min, 1 h, 2 h, 4 h, 8 h, 11 h after infusion | Specifies the detailed sampling timeline critical for mapping pharmacokinetics of TGC.
Patient sample size | 4 critically ill patients treated with TGC | Indicates the patient population and size involved in the PK study, highlighting that this is a small cohort study.
Patient conditions | Critically ill patients with COVID-19 and secondary bacterial infections caused by MDR strains | Describes the specific patient population under investigation, emphasizing relevance to treatment in high-need clinical scenarios.
Therapeutic settings | Patients received TGC dose of 50–100 mg every 12 h with a loading dose on the first day | Provides dose regimen details for assessing PK variability in the study.
Clinical interventions | Two patients on continuous venovenous hemodialysis (CVVH), one on extracorporeal membrane oxygenation (ECMO) | Highlights the variability in clinical status, potentially influencing pharmacokinetics.
Blood sample handling | Samples collected in EDTA K4 tubes, centrifuged, frozen at −20 °C, analyzed within a month | Ensures bioanalytical reliability, representing the sample pre-processing steps necessary for PK studies.
Analysis timeframe | Steady-state PK measured after at least 48 h of TGC therapy | Indicates the timing criterion for assessing pharmacokinetics during steady-state conditions.
Steady-state TGC pharmacokinetics | Non-compartmental model | The paper explicitly mentions using non-compartmental pharmacokinetic (PK) analysis for TGC concentrations measured in critically ill patients, making it relevant to understanding the overall PK assessment model.
PK analysis software | PKanalix version 2020R1 | This tool was utilized for the non-compartmental analysis, reinforcing that the chosen model aligns with the methodologies described in the study.
IC50 for Ab#100 | 0.23 ng/mL | The IC50 value represents the sensitivity of the ELISA system for Tigecycline (TGC) detection, important for evaluating the assay's suitability in therapeutic monitoring.
IC50 for Ab#32 | 1.59 ng/mL | Indicates the lower sensitivity of the group-specific assay compared to the TGC-specific antibody-based ELISA, useful in comparing assay performance.
LOD for Ab#100 | 0.02 ng/mL | Indicates the limit at which TGC can be reliably detected using the selective immunoassay, which is critical for therapeutic drug monitoring applications.
LOD for Ab#32 | 0.05 ng/mL | Represents the detection limit of the group-specific assay, providing insights into its comparative efficacy.
Recovery Rate (Ab#100) | 81-102% | Satisfactory recovery in spiked blood serum from healthy volunteers confirms the assay's accuracy for TGC quantification.
R^2 between Assays | 0.966 | Demonstrates strong correlation between the Ab#32 and Ab#100 ELISAs, validating their reliability in quantifying TGC.
Volume of Distribution (Vss) (range) | 7–10 L/kg | Highlights the pharmacokinetic property of TGC related to its wide tissue distribution, crucial for dose adjustments.
Clearance (CL) | 0.2–0.3 L/h/kg | Indicates the systemic clearance rate of TGC, affecting its therapeutic concentration and aiding in PK analysis.
Major Excretion Pathway | Biliary (as parent drug) | Relevant to understanding TGC disposition and tailoring dose regimens in special patient populations.
Minor Excretion Pathway | Renal | Provides supporting data for the elimination routes, impacting dosage considerations in renal impairment.
Patient Sample Range | 4 patients, 31 serum samples | Establishes the dataset size and diversity used for evaluating the assay's application in critically ill patients.
AUC0-24 h Range | Patient-specific (not detailed) | Area under the concentration-time curve provides insight into TGC exposure across individual patients.
COVID-19 Patient Dosage | 50–100 mg every 12 h | Outlines the clinical dosing regimen investigated, crucial for linking pharmacokinetic findings to therapeutic practice.
Deproteinization Agent | Trichloroacetic Acid (TCA) | Key for sample preparation, ensuring stability and reliable TGC analysis in serum.
Observed PK Parameters Variability | Significant inter-individual variability | Demonstrates high inter-patient differences, emphasizing the importance of personalized drug monitoring.
Correlation Coefficient | 0.95 | High agreement between TGC-specific and group-specific ELISAs corroborates reliability and utility in clinical contexts.
HPLC Alternative | Noted for TGC quantification | Highlights that ELISAs offer a simpler, cost-effective method in comparison to HPLC/LC-MS.
Clearance (CL) | 0.2–0.3 L/h/kg in healthy volunteers | Provides a baseline for TGC metabolism; changes in clearance influence TGC PK in critically ill patients.
Volume of Distribution (Vss) | 7–10 L/kg in healthy volunteers | Indicates the drug's lipophilicity, which may change under critical illness, affecting PK.
Inter-Individual Variability | Significant in critically ill patients | Highlights the need for individualized TGC monitoring due to variability in PK parameters.
Extracorporeal Membrane Oxygenation (ECMO) | Observed in Patient 3 | Suggests ECMO can influence TGC pharmacokinetics, as illustrated by variable patient PK profiles.
Continuous Venovenous Hemodialysis (CVVH) | Used in Patients 1 and 2 | Demonstrates that CVVH affects drug clearance, impacting PK variability among patients.
TGC Dose | 50–100 mg every 12 h (loading dose 2× maintenance) | Variable dosing underscores the influence of dosing regimen on PK profiles.
Protein Binding Variability | Noted in critically ill patients | Indicates alterations in plasma protein concentrations, which can modify drug bioavailability and clearance.
Critically Ill Patient Status | Significantly altered PK parameters | Reflects how critical illness disrupts normal pharmacokinetics, necessitating patient-specific PK study.