## Table 1
Study | Tracer | Blood calibration | Metabolite correction | Kinetic model | Outcome parameter | Correlation (R 2) | Bias (slope; [intercept])
Roccia, 2019 [11] | [18F]FDG | Arterial | No | 2T3k | CMRglu | 0.59 | n.r
Takikawa, 1993 [7] | [18F]FDG | Arterial | No | 2T3k | CMRglu | 1.00 | 0.99
McGinnity, 2018 [13] | [18F]GE179 | Arterial | Yes | Spectral analysis | VT | 0.81 | 1.02 [-0.20]
Lavisse, 2015 [14] | [18F]DPA714 | Arterial | Yes | 2T4k (AIF) Logan (PBIF) | VT | 0.92 | n.r
Lavisse, 2015 [14] | [18F]DPA714 | Venous | Yes | Logan | VT | 0.45 (mean) | n.r
Mabrouk, 2017 [15] | [18F]FEPPA | Arterial | Yes | 2T4k (AIF) | VT | 0.86 | n.r
Mabrouk, 2017 [15] | [18F]FEPPA | Arterial | Yes | Logan (PBIF) | VT | 0.86 | n.r
Rissanen, 2015 [16] | [11C]TMSX | Arterial | Yes | Logan | VT | 0.94 | n.r
Rissanen, 2015 [16] | [11C]TMSX | Arterial | Yes | Logan | DVR | 0.67–1.00 (range) | n.r
Rissanen, 2015 [16] | [11C]TMSX |  | Population | Logan | VT | 0.58 | n.r
Rissanen, 2015 [16] | [11C]TMSX |  | Population | Logan | DVR | 0.67–1.00 (range) | n.r
Zanotti-Fregonara, 2013 [17] | [18F]FMPEP-d2 | Arterial | Yes | Logan | VT | 0.88 | n.r
Takikawa, 1994 [12] | [18F]FDOPA | Arterial | Yes | 2T3k | Ki | 0.98 | n.r

## Table 2
Study | Tracer | Blood calibration | Metabolite correction | Kinetic model | Outcome parameter | Precision (R 2) | Bias (slope; [intercept])
Zhou 2012 [18] | [18F]FDG | Arterial | No | Patlak | Ki (ROI based) | 0.99–1.00 | 0.92–1.09 [0.00–0.00]
Zhou 2012 [18] | [18F]FDG | Arterial | No | Patlak | Ki (voxel-based) | 0.99–1.00 | 0.92–1.08 [0.000.00]
Huisman 2012 [23] | [18F]FDG | Arterial | No | Patlak | Ki | 0.99 ± 0.01 (mean) | 0.99 ± 0.06 (mean)
Huisman 2012 [23] | [18F]FDG | Arterial | No | NLR | Ki | 0.85 ± 0.34 (mean) | 0.97 ± 0.13 (mean)
Zhou 2011 [24] | [18F]FDG | Venous | No | Patlak | Ki (ROI based) | 0.99–1.00 | 1.00–1.09 [0.00–0.00]
Zhou 2011 [24] | [18F]FDG | Venous | No | Patlak | Ki (voxel-based) | 0.98–1.00 | 1.00–1.11 [0.00–0.00]
Chen 1998 [8] | [18F]FDG | Venous | No | Patlak | CMRglc | 0.99–1.00 | 0.92–1.09 [– 0.04–0.05]
Chen 2007 [25] | [18F]FDG | Venous | No | Patlak | CMRglc | 0.99–1.00 | 1.02 [0.00]
Croteau 2010 [26] | [18F]FDG |  | No | 2T3K | CMRglc | 0.91 | n.r
Galovic, 2021 [20] | [18F]GE179 | Venous | Yes | 2T4k | VT | 0.90 | n.r
Mabrouk 2014 [27] | [18F]FEPPA | Arterial | Yes | 2T4K | VT | 0.70–0.87 | 0.83–1.01
Mabrouk 2014 [27] | [18F]FEPPA | Arterial | Yes | 2T4K | VT (ICA) | 0.88–0.92 | 1.01–1.17
Zanderigo 2018 [28] | [11C]Arachidonic acid |  | Population based | 2T3K | Ki | 0.84 | 1.06 [0.31]
Mertens, 2021 [22] | [18F]JNJ-64413739 | Arterial | Yes | Logan | VT | 0.69 | n.r
Schain 2013 [29] | [11C]Flumazenil | Arterial | Yes | Logan | VT (MDC) | 0.98 | 1.21 [– 0.17]
Schain 2013 [29] | [11C]Flumazenil | Arterial | Yes | Logan | VT (4HVC) | 0.95 | 1.29 [– 0.45]
Schain 2013 [29] | [11C]Flumazenil | Arterial | Yes | Logan | VT (PWC) | 0.96 | 1.10 [– 0.13]
Schain 2013 [29] | [11C]AZ10419369 | Arterial | No | Logan | VT (MDC) | 0.89 | 1.30 [– 0.25]
Schain 2013 [29] | [11C]AZ10419369 | Arterial | No | Logan | VT (4HVC) | 0.90 | 1.35 [– 0.23]
Schain 2013 [29] | [11C]AZ10419369 | Arterial | No | Logan | VT (ICA) | 0.90 | 1.29 [– 0.21]
Schain 2013 [29] | [11C]AZ10419369 | Arterial | No | Logan | VT (PWC) | 0.96 | 1.01 [– 0.02]
Bahri 2017 [30] | [18F]UCB-H | Arterial | Yes | Logan | VT | > 0.99 (mean) | 0.98–1.06 [–0.02–0.04]
Islam 2017 [19] | [15O]H2O |  | No | 1T2K | K1 | > 0.99 | 1.00 [0.05]
Vestergaard, 2021 [21] | [15O]H2O |  | No | 1T2k | K1 | 0.87 | n.r

## Table 3
Study | Tracer | Blood calibration | Metabolite correction | Kinetic model | Outcome parameter | Correlation (R 2) | Bias (slope; intercept)
Roccia, 2019 [11] | [18F]FDG | Arterial | No | 2T3K | CMRglu | 0.72–0.88 | n.r
Ogden, 2010 [31] | [18F]FDG | Arterial | No | 2T3k | Ki | 0.91–0.95 | 0.70–0.88 [– 0.00–0.01]
Wong, 2001 [33] | [18F]FDG | Venous | No | 2T3k | CMRglu | 0.94 | 1.01 [0.01]
Roccia, 2019 [11] | [18F]FDG |  | No | 2T3K | CMRglu | 0.62–0.69 | n.r
Schain, 2018 [34] | [11C]PBR28 | Arterial | Yes | 2T4k | BPND (AIF) | 0.56 | n.r
Schain, 2018 [34] | [11C]PBR28 | Arterial | Yes | 2T4k | VT /fp (SIME) | 0.56 | n.r
Schain, 2018 [34] | [11C]PBR28 |  | Template | 2T4k | BPND | 0.78 | 0.92 [0.10]
Schain, 2018 [34] | [11C]PBR28 |  | Template | 2T4k | BPND (AIF)
Schain, 2018 [34] | [11C]PBR28 |  | Template | 2T4k | VT /fp (SIME) | 0.37 | n.r
Bartlett, 2019 [35] | [11C]CUMI | Arterial | Yes | LEGA | VT | 0.81 | 0.92 [0.76]
Bartlett, 2019 [35] | [11C]CUMI | Arterial | Yes | LEGA | BPND | 0.81 | 0.92 [0.76]
Zanderigo, 2015 [36] | [11C]CUMI | Arterial | Yes | LEGA | VT | 0.84 | 0.93 [1.58]
Zanderigo, 2015 [36] | [11C]CUMI | Arterial | Yes | LEGA | BPND | 0.90 | 0.99 [0.64]
Bartlett, 2019 [35] | [11C]CUMI | Venous | Yes | LEGA | VT | 0.36 | 0.79 [5.52]
Zanderigo, 2015 [36] | [11C]CUMI |  | Predicted | LEGA | VT | 0.69 | 0.72 [4.07]
Zanderigo, 2015 [36] | [11C]CUMI |  | Predicted | LEGA | BPND | 0.78 | 0.84 [1.60]
Ogden, 2010 [31] | [11C]DASB | Arterial | Yes | 1T2k | VT | 0.95 | 0.84 [2.96]
Bartlett, 2019 [35] | [11C]DASB | Arterial | Yes | LEGA | VT | 0.79 | 0.84 [6.90]
Bartlett, 2019 [35] | [11C]DASB | Arterial | Yes | LEGA | BPND | 0.79 | 0.84 [6.90]
Bartlett, 2019 [35] | [11C]DASB | Venous | Yes | LEGA | VT | 0.68 | 0.68 [4.12]
Mikhno, 2015 [37] | [11C]DASB |  | Predicted | 1T2k | VT | 0.77 | n.r
Mikhno, 2015 [37] | [11C]DASB |  | Predicted | 1T2k | BPND | 0.92 | n.r
Ogden, 2010 [31] | [11C]WAY-100635 | Arterial | Yes | 2T4k | VT | 0.82 | 1.00 [0.01]
Sari, 2018 [38] | [11C]SB201745 |  | Fitted | 2T4k | VT | 0.94 | n.r
Sari, 2018 [38] | [11C]SB201745 |  | Fitted | 2T4k | BPND | 0.97 | n.r
Bartlett, 2019 [35] | [11C]ABP688 | Arterial | Yes | 2T4k | VT | 0.79 | 0.82 [0.76]
Bartlett, 2019 [35] | [11C]ABP688 | Venous | Yes | 2T4k | VT | 0.87 | 1.08 [0.17]
Zanderigo, 2018 [32] | [11C]Harmine | Arterial | Yes | 1T2k | VT | 0.90 | 1.07 [– 1.04]
Zanderigo, 2018 [32] | [11C]Harmine | Arterial | Yes | 1T2k | VT | 0.88–0.93 (ROI wise) | 1.11–1.20 [– 4.35 to – 0.59]
Ogden, 2010 [31] | [11C]BTA | Arterial | Yes | 2T4k | VT | 0.85 | 1.03 [0.08]

## Freetext Data
Data | Value | Relevance
Use of arterial sampling | Considered the gold standard for pharmacokinetic modelling of brain PET data | Arterial sampling provides the most accurate input function for tracers but is invasive, limiting its routine clinical use.
Non-invasive methods | Includes PBIF, IDIF, and SIME | These approaches are alternatives to arterial sampling aimed at reducing invasiveness while maintaining accuracy in PET quantification.
Comparative performance of PBIF | Correlation with AIF: R2 = 0.59–1.00, depending on calibration | The performance of PBIF depends on calibration with arterial or venous samples, influencing its suitability as a non-invasive alternative.
Comparative performance of IDIF | Correlation with AIF: R2 = 0.71–1.00 with arterial or no calibration | IDIF shows promise as an alternative but requires validation for certain tracers and applications that influence input function quality.
Comparative performance of SIME | Correlation with AIF: R2 = 0.36–0.96, depending on calibration | SIME demonstrates variability but could serve as a viable non-invasive approach if calibrated properly, especially for some tracers.
Tracer metabolism impact | Non-metabolized tracers like [18F]FDG show better performance with non-invasive methods | Non-invasive methods perform better when no plasma metabolites are involved, reducing complexity in modelling.
PBIF optimization | Calibration with arterial samples improves results significantly | Calibration using arterial samples mitigates intersubject variations, affecting tracer metabolism and clearance in PBIF.
IDIF optimization | Requires short frame times and partial volume correction for blood peak estimation | Optimization steps like short time frames improve IDIF accuracy by capturing true peak activity.
SIME challenges | Affected by motion, noise, and limited diversity in TACs | Computational and physiological factors hinder the accuracy of SIME in generating precise input functions.
Non-invasive approaches with no blood samples | IDIF and SIME show promise without blood samples for tracers like [18F]FDG | Methods omitting arterial sampling are more appealing clinically but need testing for other tracers and conditions.
Bias and variability | Slope deviations observed in non-invasive methods using metabolized tracers | Indicates increased error or bias in non-invasive outcomes compared to AIF for tracers with metabolites.
Importance of method validation | Non-invasive methods require specific validation for each tracer and pathology | Disease conditions and tracer properties heavily influence non-invasive methods' performance and clinical applicability.
Recommendations for future studies | Emphasis on reporting slope, intercept, and bias for better assessment | Proper reporting of these parameters is crucial for evaluating the reliability of non-invasive approaches.
Limitations of AIF | Influenced by sampling methods, tracer injection protocols, and metabolite analysis | Highlights the inherent issues even in gold standard methods, suggesting improvements in calibration metrics.
Study scope | Included 30 studies on non-invasive methods compared to AIF until December 2021 | Represents a comprehensive review of existing methods and their comparison to the gold standard AIF.
Clinical potential | IDIF and SIME methods for non-invasive application in specific cases like [18F]FDG | These methods, once validated, could potentially eliminate arterial sampling, widening their clinical usability.
Use of venous calibration | Venous blood calibration shows promise for non-invasive input functions like IDIF for [18F]FDG | Venous calibration reduces invasiveness while maintaining acceptable correlation in some cases.
Need for advances | Non-invasive techniques are "in their infancy" but demonstrate potential | Reflects the early stage of development and emphasizes the need for further technological and methodological advancements.
Sample size | 9 to 96 per study | Defines the number of participants used in investigations of non-invasive methods, critical for assessing study validity and robustness.
Blood sampling time points | ≥10 minutes post-injection for PBIF calibration; 40 minutes post-injection for SIME calibration | Ensures stable radioactivity levels for calibration, which is vital for reliable input function estimation.
Blood/Tissue sampling methods | Arterial, arterialized venous, or venous samples used for calibration/metabolite correction; IDIF extracted from vascular ROI such as carotid arteries | Details the data extraction methods used, directly influencing accuracy in pharmacokinetic analysis.
Patient population | Varied across studies; includes healthy controls, Alzheimer's Disease patients, Parkinson's Disease patients, Mild Cognitive Impairment patients, and others | Diversity in populations ensures applicability of methods to different tracers, pathologies, and conditions.
Tracer metabolic profiles | Both metabolized and non-metabolized tracers studied (e.g., [18F]FDG, [15O]H2O) | Influences feasibility of non-invasive methods since metabolized tracers require more complex corrections.
Tissue sampling/ROI selection | Carotid arteries, aorta, heart ventricles; selection influences IDIF-based model accuracy | Demonstrates focus on optimizing IDIF generation through accessible vascular structures for imaging.
Time frames for imaging | Short time frames (e.g., ≤10s) used for blood peak; longer frames after peak | Balances improved temporal resolution against noise for refining dynamic tracer activity measurements.
Disease-specific effects on input function | Impact assessed in Parkinson’s, Alzheimer’s, multiple sclerosis, and cerebrovascular disease patient groups | Addresses whether disease or intervention affects the reliability of non-invasive methods, a key factor for clinical utility.
Model | 1T2k (Reversible one-tissue compartment model) | This model is commonly used for reversible tracers in brain PET data analysis and is relevant for ensuring compatibility with non-invasive and AIF-driven kinetic modelling methods.
Model | 2T3k (Irreversible two-tissue compartment model) | Used for assessing irreversible tracers such as [18F]FDG, and its kinetic parameters like Ki are often compared between invasive and non-invasive input functions.
Model | 2T4k (Reversible two-tissue compartment model) | Applied to reversible tracers to evaluate VT and BPND, highlighting its role in testing non-invasive input function methods like IDIF and SIME.
Model | Patlak Graphical Method | A linearization approach frequently applied for irreversible tracers in kinetic modelling, relevant for comparing non-invasive vs. AIF-based VT estimations.
Model | Logan Graphical Method | Used for reversible tracers to compute macroparameters like VT, relevant in assessing the accuracy of alternative non-invasive input functions.
Model | Spectral Analysis (Basis Function Method) | Applied in combination with AIF for detailed quantification, relevant when comparing it to results generated with non-invasive methodologies.
Model | Physiologically Derived Approaches (IDIF/SIME) | Relevant as this is the core focus of the paper—comparing non-invasive methods like IDIF and SIME against compartmental and AIF models.
Net rate of influx (Ki) | 0.91-1.00 correlation (R2), slope = 0.91–1.09 | Ki is a key parameter in PET quantification, and its correspondence with AIF-derived methods was assessed using non-invasive IDIF-based approaches.
Volume of distribution (VT) | R2 = 0.56–1.00 across studies | VT was measured to compare non-invasive methods (PBIF, IDIF, SIME) with AIF, offering insights into tracer kinetics.
Binding potential (BPND) | R2 = 0.36–0.96 across studies | BPND estimation evaluates receptor binding and was analyzed using non-invasive IDIF and SIME, compared to the gold standard.
Distribution volume ratio (DVR) | Not specified, correlation R2 > 0.85 in most studies | DVR is used in reversible tracer quantification, linked to receptor availability.
Cerebral metabolic rate of glucose (CMRglu) | R2 = 0.98; slope = 0.99 using PBIF with arterial calibration for [18F]FDG | CMRglu was analyzed specifically with [18F]FDG to assess glucose metabolism accuracy without AIF.
Plasma/blood ratio (correction factor) | Stable over time for tracers like [18F]FDG | Plasma/blood ratios are vital for calibration in non-invasive methods lacking AIF.
Metabolite correction | Required for PBIF, IDIF, and SIME comparison against AIF | Non-invasive methods for tracers with metabolites need metabolite correction to improve comparability with AIF.
[18F]FDG macroparameters (Ki, CMRglu) | High correlation with IDIF (R2 = 0.85–1.00), moderate for SIME without calibration (R2 = 0.62–0.69) | [18F]FDG parameters were specifically studied due to their frequent clinical application.
[11C]DASB VT | R2 = 0.95; slope = 0.84 using arterial calibration | Used to measure serotonin transporter activity; SIME showed good overlap with AIF-based estimates with calibration.
[18F]GE179 VT | R2 = 0.81 using PBIF with arterial calibration | Investigated for inflammation studies; PBIF provided acceptable correlation, indicating potential non-invasive use.
[15O]H2O K1 | R2 > 0.99 for IDIF without blood calibration in one study | K1 assesses blood flow, with potential for IDIF quantification particularly in CVD contexts.
[11C]PBR28 VT | R2 = 0.56–0.78 using SIME and arterial calibration | Evaluated as a neuroinflammation marker; moderate results highlight variability in SIME performance relative to AIF.
[11C]SB201745 VT | R2 = 0.94–0.96 using SIME without blood calibration | Explored feasibility of fully non-invasive SIME methods in tracers with rapid metabolism.
Slope and intercept (bias measures) | 0.91–1.29 slope range across tracers; intercept range -0.45–5.52 | Slope and intercept values are essential for understanding bias in outcomes vs. AIF-based gold standard.
Intraclass correlation coefficient (ICC) | Not systematically reported across studies | ICC would validate the reliability of non-invasive parameter estimates, as noted in paper limitations.
Tracer injection protocol | Manual injections vs. automatic system | Tracer injection methods, like manual versus automatic injection, can influence the measured arterial input function (AIF) and therefore affect pharmacokinetic modeling.
Blood data correction | Arterial, venous, or no blood calibration | Proper correction of blood data is essential for generating accurate input functions, which are critical in pharmacokinetics.
Partial volume effects | Signal spill-out or spill-in | Small vascular structures like carotid arteries, used in IDIF methods, are susceptible to partial volume errors, which can influence blood curve estimation in pharmacokinetics.
Plasma metabolite presence | Impact on input function | For tracers producing metabolites, corrections for plasma metabolite fractions remain crucial, highlighting their significant impact on pharmacokinetics.
Scanner resolution | PET resolution and reconstruction | The intrinsic resolution and reconstruction algorithms of PET scanners affect input function estimations, introducing potential errors in pharmacokinetics.
ROI definitions | Methods of defining ROIs | Accurate delineation of regions of interest (ROIs) like carotid arteries directly impacts the derived blood activity curves and therefore pharmacokinetic output.
Disease effects | Impact on tracer kinetics | Diseases that alter plasma clearance, blood-brain barrier, or tracer metabolism significantly affect pharmacokinetics by modifying input function parameters.
Metabolite analytic errors | Measurement limitations | Errors in assessing the tracer parent fraction due to low count rates or limited samples impact the precision of AIF and subsequent pharmacokinetics.
Input function modeling | Choice of mathematical models | Models used to generate or approximate input functions (e.g., SIME with 3-exponential models) influence the outcome of pharmacokinetic analysis.
Variables for PBIF individualization | Heart rate, body composition | Variations in factors like heart rate and body size influence PBIF calibration, altering pharmacokinetic parameter accuracy.
Reconstruction parameters | Number of iterations | PET reconstruction parameters, such as iteration counts, influence signal-to-noise ratios and input functions, which are critical in pharmacokinetics.
Labelled metabolites crossing BBB | Influence on input curves | For tracers with metabolites crossing the blood-brain barrier, pharmacokinetic models must adapt due to changes in the input signal.
Patient motion | Impact on SIME | Movement during scans can disrupt time-activity curve uniformity, which SIME relies on, thereby influencing pharmacokinetics.