## Table 1
QC conc. (ng/mL)_QC conc. (ng/mL) | Intra-day (n = 5)_Mean ± SD ng/mL | Intra-day (n = 5)_Precision (RSD,%) | Intra-day (n = 5)_Accuracy (RE,%) | Inter-day (n = 15, 3 days)_Mean ± SD ng/mL | Inter-day (n = 15, 3 days)_Precision (RSD,%) | Inter-day (n = 15, 3 days)_Accuracy (RE,%)
3 (LLOQ) | 3.30 ± 0.33 | 10.05 | 9.93 | 3.25 ± 0.41 | 12.52 | 8.43
6.00 | 5.52 ± 0.42 | 7.68 | −7.92 | 6.44 ± 0.71 | 10.96 | 7.31
60.00 | 62.43 ± 3.60 | 5.77 | 4.04 | 59.87 ± 4.20 | 7.01 | −0.22
800.00 | 820.68 ± 29.51 | 3.6 | 2.58 | 787.65 ± 54.51 | 6.92 | −1.54

## Table 2
Unnamed: 0_level_0_Unnamed: 0_level_1 | QC conc. (ng/mL)_QC conc. (ng/mL) | Extraction recovery_Mean ± SD (%) | Extraction recovery_RSD (%) | Matrix effect_Mean ± SD (%) | Matrix effect_RSD (%)
NDSM | 6 | 73.55 ± 2.75 | 3.74 | 97.65 ± 10.73 | 10.99
NDSM | 60 | 78.44 ± 1.89 | 2.41 | 92.95 ± 7.78 | 8.37
NDSM | 800 | 81.88 ± 6.21 | 7.59 | 103.96 ± 2.78 | 2.68
IS | 30 | 94.19 ± 2.24 | 2.38 | 89.73 ± 0.42 | 0.47

## Table 3
Conditions | QC conc. (ng/mL) | Mean ± SD ng/mL | Precision (RSD,%) | Accuracy (RE,%)
Short-term stability (at room temperature for 6 h) | 6 | 5.53 ± 0.43 | 7.8 | −7.75
Short-term stability (at room temperature for 6 h) | 60 | 57.39 ± 1.04 | 1.81 | −4.35
Short-term stability (at room temperature for 6 h) | 800 | 761.50 ± 43.19 | 5.67 | −4.81
Autosampler stability (processed samples at 4 °C autosampler for 24 h) | 6 | 6.57 ± 0.31 | 4.79 | 9.39
Autosampler stability (processed samples at 4 °C autosampler for 24 h) | 60 | 63.62 ± 3.59 | 5.64 | 6.03
Autosampler stability (processed samples at 4 °C autosampler for 24 h) | 800 | 821.64 ± 63.04 | 7.67 | 2.70
Long-term stability (at −20 °C for 30 days) | 6 | 5.67 ± 0.72 | 12.74 | −5.46
Long-term stability (at −20 °C for 30 days) | 60 | 57.37 ± 2.72 | 4.75 | −4.38
Long-term stability (at −20 °C for 30 days) | 800 | 814.75 ± 33.02 | 4.05 | 1.84
Freeze-thaw stability (3 cycles) | 6 | 5.74 ± 0.76 | 13.26 | −4.34
Freeze-thaw stability (3 cycles) | 60 | 57.51 ± 1.66 | 2.88 | −4.16
Freeze-thaw stability (3 cycles) | 800 | 793.01 ± 28.26 | 3.56 | −0.87

## Table 4
Parameters (unit)_Parameters (unit) | Oral administration_10 mg/kg | Oral administration_20 mg/kg | Oral administration_40 mg/kg | Intravenous administration_0.5 mg/kg | Intravenous administration_1 mg/kg | Intravenous administration_2 mg/kg
Cmax (ng/mL) | 226.42 ± 56.77 | 345.30 ± 89.68 | 1063.07 ± 242.20 | - | - | -
C2 min (ng/mL) | - | - | - | 262.33 ± 42.62 | 598.98 ± 201.02 | 1243.18 ± 483.02
Tmax (h) | 3 ± 0 | 3 ± 0 | 3 ± 0 | - | - | -
T1/2Z (h) | 3.45 ± 2.59 | 4.30 ± 1.12 | 2.92 ± 1.12 | 1.73 ± 0.71 | 1.70 ± 0.38 | 1.55 ± 0.76
AUC(0-t) (ng/mL*h) | 923.80 ± 163.96 | 1958.50 ± 517.98 | 5416.40 ± 1100.90 | 176.03 ± 82.48 | 301.90 ± 54.87 | 828.34 ± 209.16
AUC(0-∞) (ng/mL*h) | 954.70 ± 163.98 | 2033.39 ± 573.54 | 5583.96 ± 1203.10 | 185.52 ± 85.74 | 310.99 ± 56.69 | 843.11 ± 215.07
AUC(0-t)/AUC(0-∞) | 0.97 ± 0.02 | 0.97 ± 0.03 | 0.97 ± 0.02 | 0.94 ± 0.06 | 0.97 ± 0.02 | 0.98 ± 0.02
MRT (h) | 5.21 ± 1.61 | 6.30 ± 1.48 | 5.35 ± 1.35 | 1.81 ± 0.67 | 1.71 ± 0.38 | 1.52 ± 0.36
VZ (L/kg) | - | - | - | 7.99 ± 5.78 | 8.07 ± 1.98 | 5.62 ± 3.63
CLZ (L/h/kg) | - | - | - | 3.26 ± 1.51 | 3.34 ± 0.83 | 2.51 ± 0.67
F (%) | 26.24% ± 4.91% | 32.44% ± 6.73% | 32.69% ± 7.15% | - | - | -

## Freetext Data
Data | Value | Relevance
N-Demethylsinomenine (NDSM) Purity | >98.0% by HPLC purity analysis | Relevant as it establishes the quality of the NDSM used in the research, critical for analytical and pharmacokinetic accuracy.
Internal Standard (IS) Used | Metronidazole (purity >98.0%) | Relevant to the mass spectrometry method; ensures accurate quantification by avoiding interference with metabolites of NDSM.
UPLC-MS/MS Method Sensitivity (LLOQ) | 3 ng/mL | Relevant to assess the developed method's ability to detect minute quantities of NDSM in plasma.
Major Ion Pairs for NDSM and IS MRM Detection | 316/239 for NDSM, 172/128 for IS | Essential for monitoring accurate mass transitions in UPLC-MS/MS.
Plasma Extraction Method | Liquid-liquid extraction with ethyl acetate | Directly relevant to efficient sample preparation for pharmacokinetic analysis of NDSM.
Chromatographic Separation Column | ZORBAX C18 column | Pertinent to achieving optimal separation during UPLC-MS/MS analysis.
Run Time for UPLC-MS/MS Analysis | 6-minute isocratic elution | Highlights the method's efficiency and suitability for processing large sample volumes.
Mobile Phases Used | 10 mM ammonium acetate (aqueous) and acetonitrile (organic) | Relevant as it defines the solvent system ensuring peak performance during chromatography.
Pharmacokinetic Profile of NDSM After Intravenous Administration | T1/2Z: 1.55–1.73 h, VZ: 5.62–8.07 L/kg | Relevant to understanding the drug's distribution and elimination characteristics.
Pharmacokinetic Profile of NDSM After Oral Administration | T1/2Z: 2.92–4.23 h, Tmax: 3 h | Relevant to assessing oral bioavailability and absorption rates.
Oral Absolute Bioavailability of NDSM | 30.46% | Critical for evaluating the drug's potential effectiveness when administered orally.
Matrix Effect for NDSM in Plasma | Range: 92.95% to 103.96% | Relevant to confirm minimal interference in UPLC-MS/MS analysis, indicating reliable results.
Precision and Accuracy of UPLC-MS/MS | Within the criteria of ±15% | Essential to validate the reliability and reproducibility of the developed analytical method.
Animal Model Used | Sprague-Dawley rats, 200–250 g | Relevant as it determines the physiological basis for the pharmacokinetics study of NDSM.
Ethical Compliance | Approved by the Institutional Animal Care and Use Committee of Nantong University | Ensures adherence to ethical standards in animal experimentation.
Regression Equation for AUC vs Dose (Intravenous) | Y = 451.8X - 80.54 (r² = 0.9768, p = 0.0973) | Relevant to confirm linear pharmacokinetics of NDSM when administered intravenously.
Regression Equation for AUC vs Dose (Oral) | Y = 157.6X - 820.6 (r² = 0.9768, p = 0.0693) | Highlights dose-dependent linearity of oral pharmacokinetics.
Volume of Distribution (VZ) | 5.62–8.07 L/kg | Indicates extensive tissue distribution of NDSM, pertinent to its pharmacokinetics characterization.
Systemic Clearance (CLZ) | 2.51–3.34 L/kg/h | Relevant to understanding the rapid elimination rate of NDSM.
Approved Analytical Validation Parameters | Sensitivity, specificity, linearity, precision, accuracy, recovery, matrix effect, stability | Ensures the methodology's reliability in determining NDSM pharmacokinetics.
--- | --- | ---
Patient Population | Male and female Sprague-Dawley rats, weighing 200–250 g | Relevant because it defines the biological model used for the PK study.
Sample Size | Six groups of 6 rats each (3 male, 3 female) | Relevant because it provides clarity on the number of animals per dose group to determine study robustness.
Fasting Protocol | Rats were subjected to overnight fasting with free access to water prior to experiments | Relevant because fasting can influence pharmacokinetics and ensures standardization across experiments.
Blood Collection Schedule (Oral) | 0.083, 0.167, 0.333, 0.75, 1, 2, 3, 4, 6, 8, 12, and 24 h post-administration | Relevant as it demonstrates timepoints for capturing absorption, distribution, and elimination phases post-oral administration.
Blood Collection Schedule (Intravenous) | 0.033, 0.116, 0.25, 0.5, 0.75, 1, 1.5, 2, 4, 6, and 8 h post-administration | Relevant because it shows timepoints tailored to capture rapid pharmacokinetic changes post-IV injection.
Dosage Levels (Oral) | 10, 20, and 40 mg/kg | Relevant to explore dose-dependent pharmacokinetic behaviors in oral administration.
Dosage Levels (Intravenous) | 0.5, 1, and 2 mg/kg | Relevant because lower doses are used for IV administration to avoid plasma concentration exceeding ULOQ.
Sample Processing | Blood samples were centrifuged at 4000 rpm for 10 min, plasma supernatants stored at −20°C | Relevant as it describes the methodology for preserving sample integrity for PK analysis.
Plasma Sampling Considerations | Internal blood volume of rats maintained by IV injection of 1 mL of saline every three sampling intervals | Relevant because it addresses blood volume restoration, critical for animal welfare and consistent PK results.
Pharmacokinetic Analysis | Non-compartmental model calculated using PKSolver | Relevant because it defines the computational model employed for PK parameter derivation.
Pharmacokinetic model | Non-compartmental model | The study used a non-compartmental model to calculate the pharmacokinetics parameters of NDSM in rats. This is relevant as it provides the foundational approach to determine drug disposition and bioavailability, significant for preclinical drug development.
T1/2Z (Elimination half-life) | 1.55–1.73 h (intravenous), 2.92–4.23 h (oral) | T1/2Z was estimated from the pharmacokinetic profiles of NDSM in rats and is significant to understand how long the compound stays active in the system.
MRT (Mean Residence Time) | 1.52–1.81 h (intravenous), 5.21–6.30 h (oral) | MRT was derived from pharmacokinetic analysis and provides detail about the average time NDSM remains in circulation.
VZ (Volume of Distribution) | 5.62–8.07 L/kg | VZ was obtained from intravenous administration data and indicates how widely NDSM distributes throughout the body tissues.
CLZ (Systemic Clearance) | 2.51–3.34 L/kg/h | CLZ was calculated from intravenous administration and reflects the efficiency at which NDSM is removed from circulation.
AUC0-∞ | Y = 451.8X - 80.54 (intravenous), Y = 157.6X - 820.6 (oral) | AUC0-∞ was estimated for both administration routes to evaluate drug exposure in plasma over time.
Oral Bioavailability | 30.46% | Oral bioavailability was estimated by comparing oral and intravenous AUC data, which helps determine the effectiveness of NDSM when administered orally.
Tmax (Time to peak plasma concentration) | 3 h (oral) | Estimated from oral pharmacokinetics and is critical for assessing the absorption rate of NDSM.
Plasma Concentration Range | 3–1000 ng/mL | This range was determined using UPLC-MS/MS and is essential for constructing standard curves and quantitating plasma levels.
Factors influencing pharmacokinetics | Suboptimal oral absorption and oral bioavailability of NDSM (mean 30.46%) | Demonstrates the role of oral absorption efficiency in pharmacokinetic properties
Factors influencing pharmacokinetics | Volume of distribution (VZ) far exceeding total body fluid volume in rats | Suggests extensive tissue distribution of NDSM, indicating its pharmacokinetic behavior
Factors influencing pharmacokinetics | Total clearance rate (CLZ) close to rat hepatic blood flow rate | Indicates rapid elimination of NDSM, reflecting its clearance dynamics
Factors influencing pharmacokinetics | Longer Tmax (3 hours) compared to sinomenine | Suggests slower absorption or different absorption site kinetics of NDSM versus sinomenine
Factors influencing pharmacokinetics | Enhanced polarity and hydrophilicity due to the demethylation of sinomenine to NDSM | Indicates how molecular transformations affect oral absorption and bioavailability
Factors influencing pharmacokinetics | Difference in half-life for oral versus intravenous administration | Indicates potential enterohepatic circulation influences on pharmacokinetics of NDSM
Factors influencing pharmacokinetics | No observed gender differences in pharmacokinetics in rats | Indicates that sex does not significantly alter pharmacokinetic behavior in this study model