## Table 1
Substance class | Substance | Dosing | Target level | Target level.1
Calcineurin inhibitors | Tacrolimus | 2×10–12 mga | 6–8 ng/mL | 6–8 ng/mL
Calcineurin inhibitors | Ciclosporin A | 2×600–1,000 mga | 80–100 ng/mL | 80–100 ng/mL
Proliferation inhibitors | MMF | 2×1 g
Proliferation inhibitors | Everolimus | 2×3–8.25 mga | 3–8 ng/mL | 3–8 ng/mL
Antibodies | Basiliximab | 20 mg | – | –
Steroids | Prednisolone | 10 mg | – | –
Steroids | Methylprednisolone | 2 sheep 2×1 g, 2 sheep 1×1,5 g, 2 sheep (Control) 2×1 g | – | –
Group 1 | Group 2 | Group 3 | Group 4 | Group 5
TAC, MMF, PRED | CYA, MMF, PRED | EVER, MMF, PRED | BAS | MP

## Table 2
0 | 1
Ahalf | Drug amount associated with half of the maximum adsorption capacity
ALAG | Delay of oral adsorption after oral intake
Amax | Maximum drug amount that can be adsorbed
ARDS | Acute respiratory distress syndrome
BAS | Basiliximab
CA | California
Ci | Inlet drug concentration
CL | Clearance
Co | Outlet drug concentration
CLmax | Maximum clearance
CPB | Cardiopulmonary bypass
CRRT | Continuous renal replacement therapy
CV | Coefficient of variation
CYA | Cyclosporin A
DAMPS | Damage associated molecular patterns
E | Elimination rate
ECC | Extracorporeal circulation
ECMO | Extracorporeal membrane oxygenation
EDTA | Ethylenediaminetetraacetic acid
ELISA | Enzyme-linked immunosorbent assay
Eq. | Equation
EVER | Everolimus
EVLP | Ex-vivo lung perfusion
F | Bioavailability
FL | Plasma/Serum flow through the adsorber
HPLC | high performance liquid chromatography
ID | Immunosuppressant drugs
IIVs | Interindividual Variabilities
KA | First order oral absorption rate
LC–MS/MS | Liquid Chromatography with tandem mass spectrometry
MMF | Mycophenolat Mofetil
MP | Methylprednisolone
OFV | Objective function value
PAMPS | Pathogen associated molecular patterns
PK | Pharmacokinetics
PRED | Prednisolone
Q | Intercompartmental clearance
RSE | Relative standard error
TAC | Tacrolimus
USA | United States of America
V | Volume of distribution
V1 | Central volume of distribution
V2 | Peripheral volume of distribution

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Edited by | Rami Namas, University of Pittsburgh, United States | Relevant as it provides context about the editorial oversight for the paper and ensures academic credibility.
Reviewed by | Sridhar R. Allam, Texas Christian University, United States; Tobias Kammerer, Cologne University Hospital, Germany | Relevant as it establishes the peer-review process and corroborates the article’s integrity.
Hemoadsorption Device | CytoSorb® | Relevant since the study investigates the pharmacokinetic impact of this specific device.
Study Objective | Potential impact of hemoperfusion on the pharmacokinetics of immunosuppressant drugs (ID) | Relevant as it defines the research goal central to the study.
Study Design | Interventional study in sheep (n=15): 5 with CytoSorb®, 3 sham controls, 7 for different drug analyses | Relevant because it explains the methodology to assess hemoadsorption’s pharmacokinetic effects.
Tested Drugs | Tacrolimus (TAC), Cyclosporin A (CYA), Mycophenolate Mofetil (MMF), Everolimus (EVER), Basiliximab (BAS), Methylprednisolone (MP), Prednisolone (PRED) | Relevant since it highlights the focus on specific immunosuppressant drugs impacted by hemoperfusion.
Drug Dosages | Clinically relevant doses of TAC, CYA, MMF, EVER, BAS, MP, and PRED tested | Relevant because understanding dosage ensures the study mimics clinical scenarios.
Findings for PRED and BAS | Negligible clearance observed | Relevant as it emphasizes drugs unaffected by CytoSorb® hemoadsorption.
Adsorption Pattern | Saturable adsorption with a linear decrease over adsorbed amount | Relevant as it explains the pharmacokinetic mechanism affecting certain drugs.
Maximum Adsorbed Drug Amounts | TAC: 0.040 mg, CYA: 1.15 mg, MMF: 4.17 mg, EVER: 0.0163 mg, MP: 53.4 mg | Relevant because it quantifies drug adsorption by CytoSorb® to highlight safety and clinical implications.
Daily Dose Adsorption Percentage | Less than 5% for all examined drugs | Relevant as it underscores minimal impact on overall drug levels.
Clinical Implications | Hemoperfusion has limited effect on immunosuppressant clearance; therapeutic drug monitoring recommended | Relevant because it affirms the safety of CytoSorb® in clinical use while advising on precautions.
Experimental Animals | 15 ewes, 85 kg each, with catheter setups and acclimatization | Relevant as it describes the animal model used to generate translational preclinical data.
Blood Flow Rate | 120 mL/min | Relevant because it standardizes the hemoperfusion process during the study.
Pharmacokinetic Modeling | NONMEM® 7.5 for population PK modeling | Relevant as it details how pharmacokinetic data was analyzed computationally.
Study Duration | Hemoperfusion applied for 6 hours, with observations spanning pre- and post-intervention | Relevant since the timing reflects practical patient-care scenarios.
Key Observation Period | Most adsorption occurs within the first 1–2 hours | Relevant for timing therapeutic drug monitoring in clinical settings.
Safety Assurance | Negligible influence on systemic clearance of most drugs; validated safety in CytoSorb® use | Relevant as it supports the device’s feasibility in transplant and critical care scenarios.
Limitations | Conducted in healthy sheep; small sample size; oral drug administration differing from human pharmacokinetics | Relevant as it underscores factors impacting study generalizability.
Recommendations | Preclinical data suggests hemoperfusion safety; human trials required for confirmation | Relevant as it directs future research priorities to validate findings.
Published Literature | Rarely data on immunosuppressant removal during hemoadsorption; single cases and scattered results | Relevant for highlighting the research gap addressed by this study.
Therapeutic Drug Monitoring | Advised during hemoperfusion | Relevant as it ensures optimal patient management despite minimal systemic drug effects.
Relevant Clinical Applications | Organ preservation, cytokine reduction during transplant, prevention of complications | Relevant as it situates the study findings in practical healthcare scenarios.
Sample size | 15 five-year-old ewes | The study involved a clearly defined animal model to assess drug pharmacokinetics and hemoadsorption effects.
Sampling time points for TAC, CYA, MMF, EVER, PRED | Baseline, 30 min, 90 min, 250 min, 330 min post-intervention | Blood sampling at specified intervals provided data for modeling drug pharmacokinetics before and after hemoadsorption.
Sampling time points for MP | 10 min, 30 min, 60 min, 90 min, 120 min, 180 min post-administration of the first dose | Frequent sampling for MP allowed for detailed pharmacokinetic measurement.
Intervention groups | Five animals per immunosuppressant combination were tested with CytoSorb® intervention | Allowed testing the effects of hemoadsorption on pharmacokinetics.
Control groups | Three animals per immunosuppressant combination without adsorber (sham procedure) | Established a comparative baseline to evaluate the adsorber’s impact.
Dosage adjustment | Blood levels of drugs like TAC, EVER, and CYA were monitored thrice weekly for dose adjustment | Ensured that drug levels were tailored to clinical relevance before intervention.
Drug administration method | TAC, EVER, CYA, MMF administered orally; PRED and MP administered intravenously | Tailored administration routes simulated typical clinical settings for evaluating pharmacokinetics.
Study environment | Animals housed with free access to food and water, 14-day acclimatization period | Ensured a controlled and standardized environment for consistent data collection.
Blood level measurement methods | LC-MS/MS for TAC, EVER, CYA; HPLC for MMF; ELISA for PRED and BAS; UPLC-MS/MS for MP | High-precision methods ensured accurate pharmacokinetic measurements.
Hemoadsorption procedure details | 6-hour extracorporeal circulation, blood flow rate ~120 mL/min, heparin anticoagulation | Defined procedural parameters were critical to assessing adsorption characteristics.
Context of the study | Healthy sheep model, drug administration in clinically relevant combinations | This context provided a basis to simulate potential clinical applications and evaluate pharmacokinetic profiles.
Model Type | One-compartment model with linear elimination and proportional residual variability | This model was used to describe the pharmacokinetics of orally administered drugs like CYA, MMF, TAC, and EVER.
Model Type | Two-compartment model with linear elimination and a combined proportional and additive residual variability model | This model best described data for Methylprednisolone (MP).
Pharmacokinetics Adjustment | Lag time incorporated for TAC (15.3 h), MMF (4.7 h), and EVER (4.1 h) | The inclusion of lag time suggests physiological events influencing drug absorption and distribution, which are important for the pharmacokinetic modeling accuracy.
Clearance Pathway | Saturable and non-saturable clearance pathways added for CytoSorb® | This step evaluates the adsorption characteristics of the devices used in the study, showing the impact on the pharmacokinetics described by the models.
Adsorption Sub-model | Saturable adsorption sub-model with linear decrease over the adsorbed amount | This addition helps describe adsorption kinetics and aligns with the limited drug clearance observed, relevant to the pharmacokinetic evaluation.
Software Used | NONMEM 7.5 | The software used for pharmacokinetic modeling ensures the application's suitability for the models employed (e.g., one-compartment and two-compartment).
Residual Variability | Post-adsorber residual variability <30% CV | This statistic indicates the one- and two-compartment models adequately represented the observed data, underscoring their relevance.
Evaluation Criteria | Objective function value (OFV), Akaike Information Criterion (AIC), graphical evaluation | These criteria were used to validate the chosen compartmental models in the context of the study.
Drug absorption rates | TAC (0.040 mg), CYA (1.15 mg), MMF (4.17 mg), EVER (0.0163 mg), MP (53.4 mg) | These values reflect the maximum absolute adsorbed amounts for each drug and are crucial for determining the limited effect of CytoSorb® on drug clearance, derived from in vivo measurements in sheep.
Maximum drug clearance through adsorber (CLmax) | TAC (4.02 L/h), CYA (2.80 L/h), MMF (3.71 L/h), EVER (3.23 L/h), MP (8.21 L/h) | These parameters indicate the rate of drug removal during hemoadsorption, highlighting adsorption kinetics and their saturation characteristics, estimated from NONMEM pharmacokinetic modeling.
Lag time (ALAG) | TAC (15.3 h), MMF (4.7 h), EVER (4.1 h) | Indicates the initial delay in drug absorption kinetics, derived using NONMEM 7.5 modeling to accurately reflect drug behavior pre- and post-adsorption in the study.
Residual variabilities | Post-cartridge residuals for all drugs (<30% CV) | Specifies the precision in representing post-adsorber drug levels, derived from NONMEM and crucial for confirming minimal drug removal by hemoadsorption.
Pharmacokinetic model choice | One-compartment for orally administered drugs; Two-compartment for MP | Reflects the structural model selection necessary to understand drug kinetics and adsorption effects, based on fitting pre-/post-sample data using NONMEM.
Volume of distribution (V/F) | TAC, MMF, EVER (ranges estimated variably) | Vital for defining systemic drug distribution in serum and plasma, estimated from steady-state levels in sheep.
Interindividual variability (IIV) | Included for CL or CL/F for all drugs, and V/F for TAC | Explains variability in pharmacokinetic parameters observed between individual sheep, enhancing the detailed understanding of drug behavior.
Clearance (CL/F) | Oral drugs clearance rates, precise values per drug reported variably | Represents systemic drug clearance, provided as a key determinant to address whether hemoadsorption significantly affects pharmacokinetics.
Hemodynamic flow rate | Blood flow at 120 mL/min | A critical technical parameter ensured for uniformity across interventions, impacting overall drug adsorption estimations in the ECC setup.
Molecular weight constraint | Beads capable of adsorbing molecules <60 kDa (CytoSorb® characteristic) | Informs parameter boundaries for adsorption, affecting data modeling and saturation thresholds derived during the study.
ALAG | 15.3 h for Tacrolimus, 4.7 h for Mycophenolate Mofetil, 4.1 h for Everolimus | The lag time represents a factor in pharmacokinetics that affects the onset of drug adsorption and clearance dynamics during treatment with hemoadsorption.
Volume of Distribution (V/F) | Estimated in relation to bioavailability (V/F) | Volume of distribution is relevant as it determines how the drug is dispersed within the body and impacts plasma drug concentrations subject to clearance by hemoadsorption.
Bioavailability (F) | Drugs administered orally were evaluated with V/F and CL/F | Oral bioavailability influences drug concentration and systemic levels for pharmacokinetic modeling in the study.
Drug Binding Properties | Hemoadsorption targets hydrophobic, protein-bound substances | Protein-binding characteristics significantly influence whether drugs are adsorbed and cleared via the device, representing a major factor in pharmacokinetics.
Residual Variability | <30% CV for post-adsorber levels for most drugs | Residual variability indicates the difference in drug measurements pre- and post-adsorber, accounting for inconsistencies that affect pharmacokinetics analysis.
Drug Combination and Interaction | Drugs administered in clinically relevant combinations | Drug combinations reflect potential interactions in pharmacokinetics, influencing adsorption and clearance rates during hemoadsorption.
Daily Dosage Impact | Adsorption accounted for less than 5% of daily dosages | The relative proportion of daily dosages adsorbed is crucial for understanding the magnitude of effect on drug pharmacokinetics during hemoperfusion.
Maximum Adsorbed Amount | Examples: Tacrolimus—0.040 mg, Cyclosporin A—1.15 mg | The total adsorbed drug amount aids in quantifying how hemoadsorption impacts pharmacokinetics.
Hemoperfusion Duration | Adsorption mostly occurred within the first 1–2 h | The duration reflects a time-sensitive factor in hemoadsorption and its influence on pharmacokinetics.
Clearance Mechanism Evaluation | Saturable CLmax models better explained drug removal than constant adsorption | Saturable clearance mechanism provides insights into dynamic pharmacokinetic processes during hemoadsorption.
Animal Health Status | Drugs tested in healthy sheep without pathophysiological changes | The absence of pathophysiological influences represents a controlled variable but limits the generalizability to pharmacokinetics in critically ill patients.