## Freetext Data
Data | Value | Relevance
--- | --- | ---
Drug loss during tracking | "30.3 ± 21.1% of the total drug load" | This value quantifies the significant extent of paclitaxel tracking loss, crucial to understanding drug delivery inefficiencies and safety concerns.
Systemic plasma paclitaxel concentration post-tracking | "746.9 ± 336.3 ng/mL" | Highlights the peak drug concentration in systemic plasma caused by significant tracking losses, underlining systemic exposure risks.
Systemic plasma paclitaxel concentration post-inflation | "24.6 ± 20.2 ng/mL" | Demonstrates a sharp decrease in drug levels in plasma after inflation, providing insight into procedural drug retention.
Drug transfer to upstream tissues (UABf) | "4350.8 ± 4083.6 ng/g" | Reflects the high drug concentrations delivered to non-target upstream arterial bends due to frictional loss.
Residual drug on DCB post-inflation | "4.2 ± 1.2% of nominal load" | Indicates the fraction of the drug that remains on the balloon, illustrating inefficiencies in targeted delivery.
Percent coated drug delivered to target ISR lesion tissue | "0.9 ± 1.2% of nominal load" | Displays the minimal amount of paclitaxel delivered to the intended site, emphasizing the disparity between upstream and target-site delivery.
Drug delivery via friction mechanisms (benchtop experiments) | "124 ± 71.5 µg (FpL), 125.8 ± 55.1 µg (FpH)" | Demonstrates pressure-independent efficiency of friction-mediated drug transfer, explaining significant off-target arterial delivery.
Drug concentration in lung tissue | "277.2 ± 228.1 ng/g" | Reveals lung tissue as a primary systemic organ for off-target particle capture due to circulating losses during tracking.
In vivo tracking model-determined drug loss to plasma | "44.5 ± 11.1% of nominal drug load" | Confirms that tracking over bends, as simulated, is the primary contributor to non-target drug loss in real-world scenarios.
Regional late downstream tissue paclitaxel concentration | "9.3 ± 5.1 ng/g to 88.7 ± 86.6 ng/g" | Highlights low concentrations downstream of the treatment site, implicating an acceptable safety margin for embolization risks.
Baseline plasma sample collection time point | At the start of the intervention (t0) | This represents the baseline measurement for systemic drug concentration prior to DCB tracking, crucial for understanding changes due to the intervention.
Tracking plasma sample collection time point | Immediately after DCB tracking to ISR lesion (t1) | Captures systemic drug concentration at the key procedural step of device tracking to assess impact of tracking loss on systemic exposure.
Inflation plasma sample collection time point | Immediately 3 min post-DCB inflation at ISR lesion (t2) | Measures systemic drug concentration to evaluate the influence of inflation on systemic exposure.
Animal population characteristics | Four male Landsrace x Large White crossbreed swine (37–64 kg) | Details on the animal model used to simulate human physiology, critical for assessing translational relevance.
Number of treated arteries | Four ISR lesions and four contralateral naïve SFAs | Sample size within the animal study, affecting the robustness of the results.
Regional and systemic tissues sampled | Lungs, liver, kidney, vastus lateralis, tensor fasciae latae, tibialis anterior, coronary band, subcutaneous fat, carotid artery, and common iliac artery (UABf) | Tissue sampling informs downstream and systemic drug distribution.
Systemic plasma collection method | Blood drawn through a hemostatic valve at the carotid access site | Describes the procedural approach to systemic blood sampling, vital for drug quantification.
Plasma storage | Centrifuged and stored at −80 °C prior to analysis | Ensures sample integrity, crucial for reliable pharmacokinetic analysis.
Tissue storage | Flash-frozen and stored at −80 °C until analysis | Preservation method for tissue samples ensures the accuracy of drug concentration measurements.
Calculated total plasma volume | 54% of total blood volume, equal to 6% of animal weight | Enables conversion of plasma paclitaxel concentrations into systemic exposure estimates.
Drug extraction process | Via diethyl ether and sodium acetate buffer for plasma and tissues | Details on sample preparation methodology, key for LC-MS/MS quantification.
Plasma and systemic tissue bioanalysis | Conducted using LC-MS/MS with a 6500+ QTRAP mass spectrometer | Analytical technique employed, ensuring reliability of systemic and tissue drug concentration values.
In vivo experiment | Porcine superficial femoral artery model (naïve and ISR conditions) | This model was used to study paclitaxel distribution and loss during the entire DCB intervention process, including tracking and inflation.
Benchtop experiment | Simulated tracking and frictional coating transfer using PVC tubing and ex vivo porcine arteries | This model reproduced specific mechanical interactions observed in vivo, enabling controlled studies on coating loss and frictional drug delivery.
Computational model | Abaqus CAE simulation of catheter-vessel geometry | This model predicted regions of frictional contact pressure in the vascular pathway, helping identify hotspots for potential drug loss and upstream tissue delivery.
Drug quantification method | LC-MS/MS with corresponding pharmacokinetics | LC-MS/MS was used for determining paclitaxel concentrations, supporting quantification of drug loss and compartment distribution empirically referenced in the study design.
Pre-treatment validation model | 3-point bending tests for mechanical properties of devices | These mechanical assessments informed resistance and behavior during tracking, indirectly impacting drug delivery modeling.
Drug distribution reference | Mass balance calculations of drug load | This approach served as a bridging element between experimental data and systemic assumptions regarding coated drug spatial-temporal loss in models.
Peak Paclitaxel Plasma Concentration Post-Tracking | 746.9 ± 336.3 ng/mL | Relevant as it represents a derived parameter quantifying systemic drug loss due to premature coating release during intervention steps.
Systemic Paclitaxel Plasma Concentration Post-Inflation | 24.6 ± 20.2 ng/mL | This parameter reveals the steep decline in systemic drug levels after local inflation, giving insight into localized transfer efficiency and systemic effects.
Percentage of Nominal Drug Load Lost During Tracking (in vivo) | 44.5 ± 11.1% | Relevant as it highlights the extent of drug coating loss during catheter tracking, estimated from plasma sampling.
Percentage of Nominal Drug Load Lost During Insertion (in vitro) | 1 ± 1.1% | This parameter, derived from benchtop experiments, provides insights into minimal losses during initial procedural steps.
Percentage of Nominal Drug Load Transferred to Upstream Iliac Bends (UABf) | 5.4–46.5% of target site paclitaxel concentration | Relevant to quantifying off-target arterial delivery during tracking based on spatial sampling of arterial tissues.
Contact Pressures in Ileac Bend "Friction Hotspots" | 0.01–0.3 atm | Parameter modeled via in silico simulations, relevant to understanding friction-mediated paclitaxel transfer during tracking.
Percentage of Drug Coating Transferred via Friction in Benchtop Tests | 124 ± 71.5 µg at 0.11 atm and 125.8 ± 55.1 µg at 0.16 atm | These values, derived from pressure-controlled experiments, demonstrate the high transfer efficiency under frictional conditions independent of pressure magnitude.
Paclitaxel Concentration in Target ISR SFA Vessel | 56,983.5 ± 89,453 ng/g | A critical parameter that measures the efficacy of delivery to the target site based on local tissue sampling.
Paclitaxel Concentration in Lung Tissue | 277.2 ± 228.1 ng/g | Estimation from systemic organ analysis relevant to evaluating systemic distribution and organ-specific drug capture post-intervention.
Paclitaxel Concentration in Systemic Plasma (Baseline, Pre-Intervention) | Negligibly low levels | Derived from in vivo sampling, serves as a control for evaluating procedural drug introduction.
Residual Drug on DCB Post-Intervention | 4.2 ± 1.2% of nominal drug load | Relevant as it quantifies drug left on the balloon after inflation, estimated from residual extraction and benchtop tests.
Paclitaxel Concentration in Downstream Coronary Band (CB) Tissue | 88.7 ± 86.6 ng/g | This parameter sheds light on the extent and variability of downstream drug embolization post-inflation, estimated from tissue analysis.
In Silico Predicted Tracking Arc Radius in UABf | 37 mm | Relevant to identifying geometric parameters of bends contributing to predicted high friction spots during catheter tracking simulations.
Residual Paclitaxel in Methanol Wash Tubing Post-In Vitro Tracking | 180.9 ± 78.5 µg (11.8 ± 5.1% of nominal load) | Derived from benchtop setups, representing friction-associated drug coating retained within the simulation tubing.
Residual Drug on Protective Sheath During Unpacking | 9.4 ± 6.4% | A parameter measured in vitro to evaluate early procedural losses post-sheath removal.
Percentage of Drug Transferred Across Stamping Experiments | 27.2 ± 15.4 µg at 0.16 atm | Relevant to assess inflation pressure contributions compared to friction, validated from earlier benchtop data comparisons.
Downstream Tibialis Anterior Drug Concentration (Post-Inflation) | 9.3 ± 5.1 ng/g | Derived from regional tissue analysis, important for estimating localized distal embolization effects.
Paclitaxel Concentration Exclusive to Adventitia Vessels | 3,690.8 ± 4,077.8 ng/g | Quantifies penetration depth through vessel tissue layers, derived from ISR tissue sampling.
Simulation Predicted Bend Contact Pressure at Critical Points | 0.17–0.22 atm under experimental conditions | Validated through computational and stamping studies, relevant to modeling DCB-tissue interaction forces.
Percentage of Nominal Drug Delivered to Target Naïve SFA Vessel | 0.9 ± 1.2% | Includes tissue extraction and analysis, serves as a comparison for ISR-target drug efficacy discrepancies.
Intima Hyperplasia Layer Concentration (ISR-SFA) | 161,621.8 ± 257,313.9 ng/g | Provides maximum drug concentrations achieved at the target lesion, critical for evaluating DCB performance.
Drug loss percentage during DCB tracking over single bends | 30% | This significant loss due to tracking highlights a critical factor in the pharmacokinetics of paclitaxel distribution, as less drug is available for intended delivery.
Paclitaxel plasma concentration post-tracking | 746.9 ± 336.3 ng/mL | The peaking of plasma concentration during tracking illustrates systemic distribution caused by mechanical interactions, influencing the pharmacokinetics profile.
Frictional transfer during tracking (ex vivo arteries, low pressure) | 124 ± 71.5 µg | Friction-mediated transfer creates off-target arterial delivery, impacting the pharmacokinetic distribution.
Residual paclitaxel on DCB post-inflation | 4.2 ± 1.2% | Remaining drug affects the cumulative efficacy and safety pharmacokinetics of the device.
Systemic paclitaxel remaining in plasma at euthanasia | 2.4 ± 4.5% | This residual systemic concentration contributes to the broader pharmacokinetics and indicates wash-out dynamics.
Drug concentration measured in upstream common iliac artery bend | 4350.8 ± 4083.6 ng/g | Premature delivery at arterial bends upstream of treatment sites impacts pharmacokinetics by reducing drug available for target delivery.
Paclitaxel concentrations in lung tissue | 277.2 ± 228.1 ng/g | Accumulation in highly vascular systemic organs like the lung reflects systemic pharmacokinetics implications related to tracking loss.
Contact-pressure influence on frictional drug transfer (pressure-independent) | 124 µg at 0.05 atm vs 126 µg at 0.1 atm | Demonstrates that pressure alone does not modulate frictional transfer but confirms its significance in drug pharmacokinetics impacting non-target delivery.
Neointimal hyperplasia layer drug concentration in ISR sites | 161,621.8 ± 257,313.9 ng/g | Variability in intimal drug distribution underlines local pharmacokinetics influenced by lesion characteristics.
Total circulating paclitaxel post-tracking as % of nominal load | 44.5 ± 11.1% | Major systemic losses during tracking influence both pharmacokinetics and drug availability.
IC50 properties of paclitaxel influencing system safety | Not directly measured but inferred | High plasma and tissue levels may approach or exceed IC50 thresholds in systemic or regional compartments, constituting pharmacokinetic concerns.