## Table 1
Peak_Peak | Precision_RRT | Precision_RPA | Repeatability_RRT | Repeatability_RPA | Stability_RRT | Stability_RPA
1 | 0.09 | 1.56 | 0.08 | 1.64 | 0.18 | 1.81
2 | 0.07 | 2.47 | 0.08 | 2.26 | 0.17 | 2.09
4 | 0.08 | 1.42 | 0.06 | 2.22 | 0.22 | 2.17
5 | 0.1 | 1.56 | 0.07 | 2.31 | 0.16 | 1.52
6 | 0.1 | 1.46 | 0.09 | 2.33 | 0.18 | 1.36
7 | 0.09 | 1.63 | 0.07 | 2.34 | 0.21 | 1.63
8 | 0.1 | 1.57 | 0.1 | 2.01 | 0.25 | 1.39
9 | 0.1 | 2.15 | 0.1 | 2.47 | 0.25 | 2.39

## Table 2
Components | Regression equation | R 2 | LOD/(μg/mL) | LOQ/(μg/mL) | Linear range/(μg/mL)
Protocatechualdehyde | Y = 27.244X + 14.763 | 0.999 5 | 0.377 | 1.256 | 2.044–40.880
Caffeic acid | Y = 14.981X + 1.844 | 0.999 7 | 0.426 | 1.149 | 1.958–39.160
Calycosin‐7‐O‐beta‐D‐glucoside | Y = 26.368X + 5.281 | 0.999 9 | 0.395 | 1.318 | 6.042–120.840
Naringin | Y = 15.354X + 2.378 | 0.999 9 | 0.478 | 1.592 | 3.258–65.160
Rosmarinic acid | Y = 7.341 6X + 1.067 | 1.000 0 | 0.365 | 1.218 | 6.334–174.174
Ononin | Y = 30.626X + 7.405 | 0.999 9 | 0.633 | 2.11 | 2.820–56.400
Baicalin | Y = 21.596X + 2.548 9 | 0.999 3 | 0.101 | 0.338 | 0.486–9.720
Luteolin | Y = 28.249X + 0.564 | 1.000 0 | 0.342 | 1.141 | 1.805–36.096
Formononetin | Y = 39.257X + 1.729 9 | 0.999 9 | 0.098 | 0.327 | 0.365–7.305

## Freetext Data
Data | Value | Relevance
Title of Paper | "Quality Control of Shenqi Tongmai Oral Liquid Based on Quantitative Analysis of Multicomponents by Single Marker, Molecular Docking, and Multivariate Statistics" | Relevant because it identifies the focus of the study as establishing a comprehensive quality control system for SQTM.
Objective | "To establish a method for the determination of nine components of SQTM and screen quality control indicators to evaluate the quality comprehensively" | Relevant because it directly addresses the primary goal of the study in relation to quality evaluation.
Funding Sources | "Science and Technology Project of Guangxi Zhuang Autonomous Region Administration of Traditional Chinese Medicine (GXZYB20240547) and School‐Level Scientific Research Project of Guangxi University of Traditional Chinese Medicine (2020MS056)" | Relevant as it shows support for the research methodologies utilized to address quality control of SQTM.
Primary Compounds Investigated in SQTM | "Calycosin-7-O-beta-D-glucoside, protocatechualdehyde, caffeic acid, naringin, rosmarinic acid, ononin, baicalin, luteolin, formononetin" | Relevant because these compounds form the core of the quality evaluation system.
Antioxidant Activity Testing Methods | "DPPH method and hydroxyl method" | Relevant as the study used these methods as measures to correlate antioxidant activity with components and quality markers.
Confirmed Quality Markers (Q-Markers) | "Rosmarinic acid, Luteolin, Protocatechualdehyde" | Relevant because identifying Q-Markers is central to the establishment of a quality evaluation system for SQTM.
Analysis Methods Used for Correlation | "Gray Relational Analysis (GRA), Bivariate Correlation Analysis (BCA), Partial Least Squares Regression (PLSR)" | Relevant as these tools help screen and validate quality markers.
Molecular Docking Findings | "Binding energy of less than -7.0 kJ/mol for key compounds, particularly with antioxidant-related targets like HO-2, CYP2C9, LOX-5" | Relevant since molecular docking supports the identification of pharmacodynamic components like rosmarinic acid as quality markers.
Main Antioxidant Mechanisms Suggested | "CYP450 pathway regulation, Nrf2 pathway, superoxide dismutase enhancement by rosmarinic acid and luteolin" | Relevant because understanding mechanisms reinforces the validity of the antioxidant-related Q-Markers.
Batch Numbers Used | "20210303, 20220101, 20220302, 20230201... to 20231001" | Relevant as variances in antioxidant ability across batches directly show the need for quality markers in evaluation.
Content Determination Validation | "Consistency found between QAMS and ESM; RE < 5%, p > 0.05" | Relevant as it demonstrates the reliability of the QAMS system for determining SQTM component contents.
Fingerprint Similarity Across Batches | "> 0.950 similarity for all studied batches" | Relevant because it indicates consistency in chemical compositions despite antioxidant efficacy differences.
Effectiveness of Identified Q-Markers | "Confirmed via molecular docking and in vitro experiments; rosmarinic acid, luteolin, protocatechualdehyde highly correlated with antioxidant activity" | Relevant since these findings substantiate proposed quality markers for SQTM function.
Number of Batches of SQTM Analyzed | 17 | The study used 17 batches of Shenqi Tongmai oral liquid, representing the sample size for the evaluation; while focused on quality control and antioxidant activity, this provides insight into variability across different formulations relevant to pharmacokinetics studies.
Extraction Method | n-butanol extraction used twice followed by methanol for dissolution | Although samples underwent chemical extraction for quality control, this method offers an understanding relevant to pharmacokinetics to ensure consistency in compound identification.
Test Solution Preparation | Evaporate the supernatant, dissolve residue in methanol, fix to volume, filter through a 0.45-µm microporous membrane | The preparation of the test solution ensures detectability of different compounds in samples, which is indirectly relevant to PK sampling and analysis methodology but is not directly connected to patient sampling times.
Monomer Test Solutions | Active components prepared at 1.0 mg/ml concentration using ethanol | Preclinical verification of compound activities informs surrogate insight on metabolite presence within PK studies—though patient blood/tissue isn't directly referenced.
Patient Population | Not indicated | Specific patient demographics are absent; instead, clinical utility is indirectly explored via antioxidant evaluation—nonhuman PK hints here.
Sampling Time Points | None described | The study lacks any direct time-point specifics as repeatedly operational around control/bio preparations batch QC consistency experimentation indirect PK-implied compound persistence
Model type | Quantitative Analysis of Multicomponents by Single Marker (QAMS) method | Relevant because the QAMS method was used as a structural approach to determine the content of multiple ingredients in SQTM, aligning with quality control goals.
Modeling technique | Spectrum-effect relationship | Relevant because this model integrates chromatographic fingerprint and efficacy data to establish a quality evaluation framework for SQTM.
Regression approach | Partial Least Squares Regression (PLSR) model | Relevant because this statistical modeling technique was utilized to correlate chemical component data with antioxidant activity for quality marker identification.
Docking method | Molecular Docking model | Relevant because this model was applied to predict the binding mechanisms of active compounds with antioxidant receptor proteins, supporting mechanism insights.
Correlation analysis | Gray Relational Analysis (GRA) and Bivariate Correlation Analysis (BCA) | Relevant because these models quantified the relationships between the SQTM components and their antioxidant efficacy.
Evaluation system | Multivariate statistics combined with spectrum-effect relationship | Relevant because it identifies quality markers and ensures stability in clinical efficacy of SQTM.
Relative Correction Factor (RCF) | 0.93, 1.74, 1.67, 3.61, 0.85, 1.13, 0.95, 0.64 | Relevant as these RCF values were determined to enable simultaneous quantitative analysis of multiple components by QAMS.
Relative Retention Time (RRT) | 0.51, 0.64, 1.31, 1.46, 1.59, 1.62, 1.79, 2.06 | Relevant because RRT values were estimated to ensure accurate chromatographic peak identification across different conditions.
Column Temperature | 30°C | Relevant as the column temperature directly impacts chromatographic separation and method accuracy.
Flow Rate | 1.0 mL/min | Relevant as flow rate optimization was found crucial for achieving stable chromatographic peak numbers and reproducibility.
Detection Wavelength | 267 nm | Relevant because this wavelength was selected based on full spectrum scanning as optimal for reflecting chromatogram integrity.
Extraction Solvent | n-Butanol | Relevant as it showed the most abundant chromatographic peaks compared to other solvents like chloroform and ethyl acetate.
Mobile Phase | Acetonitrile-0.1% formic acid in water | Relevant as this combination provided the best separation performance for the nine components.
Injection Volume | 10 µL | Relevant as it was standardized to ensure consistent chromatography results across all batch analyses.
IC50 Values | DPPH: 1.57 to 4.55 mg/mL, Hydroxyl: 3.78 to 9.59 mg/mL | Relevant as these values measured antioxidant capacity across different SQTM batches, reflecting batch quality variation.
Instrumentation | Agilent 1260 Infinity II HPLC, SHIMDZHU LC-40 DXR | Relevant as these instruments were used to evaluate the influence on RCF and RRT, ensuring robust method compatibility.
Chromatographic Column Types | Agilent ZORBAX SB-C18, InsertSustain AQ-C18, Dikma Diamond C18 (250 mm × 4.6 mm, 5 µm) | Relevant as they influenced stability in retention times across analyses.
Antioxidant Receptors for Docking | CYP2C9, CYP3A4, HO-1, HO-2, HIF-1α, LOX-5 | Relevant as molecular docking predicted their interactions with potential Q-Markers, estimating binding mechanisms and antioxidant effects.
--- | --- | ---
Binding Energy of Phytochemicals to Antioxidant Targets | Binding energy less than −7.0 kJ/mol indicates strong effects | Relevant for understanding how binding of phytochemicals to antioxidants affects pharmacokinetics by altering redox systems.
Variability in Ingredient Concentration by Batch | Rosmarinic acid and luteolin concentrations differed between batches | Batch-specific changes in ingredient concentration can influence pharmacokinetics by modifying the bioavailability or systemic effects of SQTM.
Impact of Medicinal Origin and Processing on Antioxidants | Factors include origin, processing, preparation process of materials | Influences variability in concentrations of active pharmacokinetic compounds like rosmarinic acid and luteolin.
DPPH and Hydroxyl Free Radical Scavenging | Activity variation between batches significantly linked to compound content | Highlights potential pharmacokinetic changes—for instance, how a batch’s antioxidant effectiveness correlates with uptake and clearance.
Chromatographic Precision, Stability, and Repeatability | RSDs below 2.5% suggest minimal technical variability | Crucial for pharmacokinetic studies, ensuring detected variations in components like antioxidant agents reflect true batch-to-batch changes.
Molecular Structures of Active Components | Phenolic hydroxyl groups facilitate antioxidant activities | These pharmacokinetic activators enhance uptake, distribution, and metabolism through targeted enzymatic systems.
Influence of Cytochrome P450 Enzymes | CYP2C9 and CYP3A4 regulate oxidative stress and metabolic balance | Relevant because these enzymes can alter pharmacokinetic pathways involving the metabolism and degradation of SQTM's compounds.
HO‐2 Binding by Ononin | Strong interaction residing with HO‐2 targets oxidative cascades | HO‐2-specific effects modulate oxidative stress-related pharmacokinetics tied to SQTM.