## Table 1
MRM Transition (m/z) | Dwell time (ms) | DP (v) | EP (V) | CE (V) | CXP (V)
604.89 > 208.3 | 50 | 131 | 10 | 37 | 30
604.89 > 209.3 | 50 | 131 | 10 | 37 | 30
604.89 > 118.2 | 50 | 131 | 10 | 65 | 14

## Table 2
Ringer's Solution_Intra-day variationa_Nominal concentration (ng/mL) | Ringer's Solution_Intra-day variationa_Day | Ringer's Solution_Intra-day variationa_Mean (ng/mL) | Ringer's Solution_Intra-day variationa_S.D. | Ringer's Solution_Intra-day variationa_R.S.D. (%) | Artificial Cerebrospinal Fluid_Intra-day variationa_Nominal concentration (ng/mL) | Artificial Cerebrospinal Fluid_Intra-day variationa_Day | Artificial Cerebrospinal Fluid_Intra-day variationa_Mean (ng/mL) | Artificial Cerebrospinal Fluid_Intra-day variationa_S.D. | Artificial Cerebrospinal Fluid_Intra-day variationa_R.S.D. (%)
0.5 | 1 | 0.52 | 0.09 | 16.74 | 0.5 | 1 | 0.46 | 0.03 | 6.05
| 2 | 0.48 | 0.05 | 9.65 |  | 2 | 0.49 | 0.03 | 5.51
| 3 | 0.5 | 0.06 | 11.39 |  | 3 | 0.52 | 0.03 | 6.33
1.5 | 1 | 1.45 | 0.14 | 9.53 | 1.5 | 1 | 1.48 | 0.07 | 4.91
| 2 | 1.49 | 0.07 | 4.91 |  | 2 | 1.58 | 0.05 | 3.07
| 3 | 1.46 | 0.07 | 4.56 |  | 3 | 1.47 | 0.06 | 3.9
75 | 1 | 78.66 | 3.74 | 4.76 | 40 | 1 | 39.01 | 2.28 | 5.86
| 2 | 79.81 | 4.24 | 5.32 |  | 2 | 40.48 | 2.5 | 6.18
| 3 | 71.02 | 7.7 | 10.84 |  | 3 | 39.28 | 2.58 | 6.58
1500 | 1 | 1518.63 | 49.08 | 3.23 | 400 | 1 | 407 | 20.2 | 4.96
| 2 | 1506.01 | 74.17 | 4.92 |  | 2 | 406.21 | 10.3 | 2.54
| 3 | 1642.26 | 88.98 | 5.42 |  | 3 | 394.83 | 22.15 | 5.61
Inter-day variation a |  |  |  |  | Inter-day variation a
0.5 |  | 0.5 | 0.06 | 12.63 | 0.5 |  | 0.49 | 0.04 | 7.79
1.5 |  | 1.47 | 0.09 | 6.3 | 1.5 |  | 1.51 | 0.08 | 5.15
75 |  | 76.49 | 6.51 | 8.51 | 40 |  | 39.59 | 2.37 | 5.99
1500 |  | 1555.63 | 92.58 | 5.95 | 400 |  | 402.68 | 17.9 | 4.44

## Table 3
Nominal concentration (ng/mL) | Range (ng/mL) | Accuracy (R.E. % - range)
Ringer's solution | Ringer's solution | Ringer's solution
0.5 | 0.42–0.60 | 84.0–119.5
1.5 | 1.35–1.69 | 89.9–112.5
75 | 64.1–85.9 | 85.5–114.5
1500 | 1430.35–1715.1 | 95.4–114.3
Artificial cerebrospinal fluid | Artificial cerebrospinal fluid | Artificial cerebrospinal fluid
0.5 | 0.43–0.57 | 86.3–114.3
1.5 | 1.38–1.62 | 91.96–107.8
40 | 35.6–42.5 | 88.9–106.3
400 | 378.9–431.3 | 94.7–107.8

## Table 4
Stability Conditions | Nominal Concentration (ng/mL) | Mean ± SDa | R.S.D. (%) | Accuracy (R.E. % - range)
Ringer's solution | Ringer's solution | Ringer's solution | Ringer's solution | Ringer's solution
Long termb | 1.5 | 1.50 ± 0.22 | 14.65 | 85.67–114.82
| 1500 | 1406.40 ± 73.88 | 5.25 | 89.36–99.08
Short termc | 1.5 | 1.52 ± 0.04 | 2.88 | 97.92–103.08
| 1500 | 1509.98 ± 47.51 | 3.15 | 98.01–104.17
Freeze-thawd | 1.5 | 1.51 ± 0.09 | 6.14 | 94.18–106.29
| 1500 | 1453.47 ± 46.35 | 3.19 | 93.65–99.81
12 h autosamplere | 1.5 | 1.58 ± 0.13 | 8.38 | 97.56–114.72
| 1500 | 1532.84 ± 154.36 | 10.07 | 92.42–112.93
Artificial Cerebrospinal Fluid | Artificial Cerebrospinal Fluid | Artificial Cerebrospinal Fluid | Artificial Cerebrospinal Fluid | Artificial Cerebrospinal Fluid
Long termb | 1.5 | 1.55 ± 0.16 | 10.31 | 92.14–113.13
| 400 | 407.34 ± 20.73 | 5.09 | 97.23–107.45
Short termc | 1.5 | 1.44 ± 0.06 | 4.44 | 91.38–99.88
| 400 | 393.56 ± 13.76 | 3.50 | 94.70–101.51
Freeze-thawd | 1.5 | 1.59 ± 0.03 | 2.03 | 103.80–108.00
| 400 | 400.05 ± 51.83 | 12.96 | 86.76–112.65
12 h autosamplere | 1.5 | 1.47 ± 0.16 | 10.60 | 89.74–109.85
| 400 | 410.57 ± 17.06 | 4.16 | 99.81–107.55

## Table 5
Parameter | Plasma | Brain
λ (h−1)a | 1.68 (35.4%) | 1.26 (23.7%)
t½ (h)b | 0.431 (0.131) | 0.562 (0.130)
AUC0–3h (mg·h/L)a | 4.61 (45.9%) | 1.15 (54.2%)
AUC0-∞ (mg·h/L)a | 4.68 (45.8%) | 1.20 (54.2%)
MRT (h)a | 0.771 (11.5%) | 0.924 (27.7%)
CL (L/h/kg)a | 4.34 (45.9%) | –
Vdss (L/kg)a | 3.31 (53.3%) | –
f T b | -- | 0.33 ± 0.21

## Freetext Data
Data | Value | Relevance
Does the method involve microdialysis? | Yes | Microdialysis was used to measure free drug concentrations in plasma and brain tissues, enabling pharmacokinetic analysis specific to ceftaroline's penetration in the brain.
What bioanalytical method was developed and validated? | LC-MS/MS | The LC-MS/MS method was developed and validated to quantify ceftaroline in microdialysate samples, aiding in the determination of its pharmacokinetics and brain penetration.
What are the objectives of the study? | Develop and validate an LC-MS/MS method; Evaluate ceftaroline brain penetration | The study aimed to characterize ceftaroline's brain distribution by using a validated bioanalytical method, providing insights for its therapeutic potential in treating brain infections.
What is the tissue penetration factor (AUCfree brain/AUCfree plasma)? | 0.33 ± 0.21 | The tissue penetration factor measures the extent of ceftaroline crossing the blood-brain barrier, indicating approximately 33% penetration on average, which is crucial for its effectiveness against CNS infections.
Patient Population | Male Wistar rats weighing 200–250 g | The study uses Wistar rats to evaluate plasma pharmacokinetics and brain distribution of ceftaroline, providing an appropriate model for preclinical CNS drug penetration.
Sample Size | Six male Wistar rats | This ensures statistical relevance and variability for pharmacokinetics and tissue penetration analysis.
Blood Sampling | Jugular vein plasma microdialysates collected | Blood sampling via microdialysis was used to access free plasma drug concentrations relevant to systemic exposure.
Tissue Sampling | Microdialysis to access extracellular brain drug concentrations | Microdialysis in the primary motor cortex was utilized to measure free brain drug concentrations, key for CNS drug penetration studies.
Blood Sampling Time Points | Every 15 minutes for up to 3 hours | High temporal resolution sampling addresses the fast clearance of ceftaroline.
Tissue Sampling Time Points | Collected every 15 minutes for up to 3 hours | Frequent sampling improves pharmacokinetic resolution, crucial for evaluating drug penetration and elimination in the brain and plasma.
Study Design | Single 20 mg/kg intravenous bolus administration of ceftaroline fosamil | The dosing regimen allows for the determination of pharmacokinetic parameters following systemic administration.
Non-compartmental analysis (NCA) | NCA was utilized for pharmacokinetic analysis of ceftaroline in plasma and brain | The use of NCA indicates a simplified approach to characterize pharmacokinetics without assuming a specific compartmental model.
Pharmacokinetic parameters derived | Parameters such as elimination rate constant (λ), elimination half-life (t½), clearance (CL), and volume of distribution (Vd) were determined using NCA | Relevant because it showcases NCA's ability to estimate critical pharmacokinetic metrics for ceftaroline distribution and elimination dynamics.
Microdialysis technique | Used to assess free drug concentrations in plasma and brain interstitial fluid | Relevant as microdialysis enhances the understanding of tissue penetration without invoking physiologically-based or compartmental pharmacokinetic models.
Area under the curve ratio | AUC0-∞ (brain vs. plasma) was calculated to determine tissue penetration factors instead of compartment assumptions | Relevant since tissue penetration was directly analyzed using free-drug metrics without compartmental modeling.
Elimination rate constant (λ) | Not explicitly provided in the paper | Relevant for describing drug elimination kinetics, critical for pharmacokinetics.
Elimination half-life (t½) | 0.431 h | Indicates how quickly ceftaroline is eliminated from plasma in rats, essential for plasma kinetics analysis.
Area under the curve (AUC0-∞,free, plasma) | 4.68 mg·h/L (geometric mean, geometric coefficient of variation: 45.8%) | A measure of total drug exposure in plasma, critical for understanding systemic drug distribution and elimination.
Area under the curve (AUC0-∞,free, brain) | 1.20 mg·h/L (geometric mean, geometric coefficient of variation: 54.2%) | Shows total ceftaroline exposure in brain tissue, necessary for evaluating brain penetration.
Tissue penetration factor (fT, AUC0-∞,free, brain/AUC0-∞,free, plasma) | Mean: 0.33 ± 0.21 | Estimates the ratio of ceftaroline's penetration into brain relative to plasma, crucial for assessing brain access.
Clearance (CL) | Not explicitly stated | Relevant for understanding drug elimination rate from plasma.
Volume of distribution (Vd) | Not explicitly stated | Important for understanding ceftaroline's distribution throughout the body and tissues.
RRRD,in vivo recovery (CMA® 12 probe for plasma) | Mean: 17.1 ± 4.5% | Measures probe recovery efficiency, ensuring reliable quantification of free plasma drug levels.
RRRD,in vivo recovery (CMA® 20 probe for brain) | Mean: 16.11 ± 6.03% | Ensures reliable quantification of free brain drug levels, critical for investigating brain pharmacokinetics.
Free plasma concentration | Presented as a curve in Fig. 2; Not precisely stated for individual time points | Key for modeling systemic pharmacokinetics and drug elimination kinetics.
Free brain concentration | Presented as a curve in Fig. 2; Not precisely stated for individual time points | Vital for understanding drug disposition and efficacy within CNS tissues.
Ceftaroline fosamil dephosphorylation by plasma phosphatase enzymes | Rapid and complete conversion to active metabolite ceftaroline | Relevant as the enzymatic conversion influences drug plasma levels and pharmacokinetics.
Free drug concentrations consideration | Only free drug concentrations are capable of crossing membranes and reaching tissues | Relevant because binding of the drug to plasma proteins affects tissue distribution and pharmacokinetics parameters.
Species differences | Differences in plasma exposure reported between Wistar and Sprague-Dawley rats | Relevant because interspecies variability can influence pharmacokinetic outcomes in preclinical studies.
Microdialysis recovery validation | No binding of ceftaroline to probe tubing observed in vitro | Relevant because reliable calibration and recovery measurements of microdialysis probe ensure accurate pharmacokinetic characterization.
High interstitial fluid exposure in inflamed meninges | Up to 51% penetration measured in rabbit models with inflamed meninges vs. 3% in uninflamed meninges | Relevant as meninges' inflammation significantly affects ceftaroline's capacity to cross barriers, influencing pharmacokinetics in CNS infections.
Sample matrix compatibility with LC-MS/MS | High electrolyte contents in ACF or Ringer's solutions can interfere with drug ionization | Relevant, since sample matrix can impact the bioanalytical evaluation of pharmacokinetics.
Administration routes | Intravenous dosing used to eliminate variability from absorption processes | Relevant since administration route directly impacts initial drug kinetics.
Comparison with total vs. free plasma concentration studies | Total drug plasma concentrations differ from free drug plasma levels | Relevant because only free drug, not bound to proteins, reflects its pharmacokinetic and pharmacodynamic behavior.