## Freetext Data
Data | Value | Relevance
Prototype Development | Quadrupole mass spectrometer gas analyzer designed to measure argon solubility | Relevant to understanding how argon pharmacokinetics can be tested and inferred experimentally for medical interventions.
Argon Solubility Measurement Basis | Technique based on mass spectrometry, analyzing total moles leaving a liquid sample | Critical for deriving partition coefficients and measuring argon solubility in blood, essential for pharmacokinetic studies.
Testing Mediums | Ambient air, water saturated with argon, rabbit blood | Demonstrates the system's versatility in handling different mediums, which is foundational for validating its pharmacokinetic application.
Sample Volume Variation | Air samples: 0.25, 0.5, 1 mL injected; liquid samples: 1 mL | Relevant as changes in sample volumes affect the argon mole calculations, showing sensitivity and range applicability of the system.
Key Sensitivity Result | Quadrupole system sensitive to argon in all mediums | Relevant as it confirms the prototype's effectiveness for detecting argon, a prerequisite for its pharmacokinetic testing usability.
Blood Sampling Protocol | Rabbit arterial blood sampled after argon mixtures administered via mechanical ventilator | Relevant to the real-world implementation of the system for pharmacokinetics in animal testing.
System Stability Issues | Proportionality between output integral and argon moles not stable; ambient argon or leaks present | Relevant as these system limitations must be addressed for pharmacokinetic reliability in therapeutic applications.
Analysis Duration | Measurement requires 2 hours including setup and flushing | Relevant to optimizing pharmacokinetic experimental design in terms of sampling frequency and throughput.
Blood Sample Storage | Transported on ice; stored for hours for repeat experiments | Relevant to ensuring integrity and stability of blood samples for pharmacokinetic measurements.
Partition Coefficient (PC) | PC of argon in rabbit blood = 0.03 at 37°C | Relevant as PC is central to calculating the gas concentration and understanding the disposition of argon in biological systems.
Experimental Variation Techniques | Air sample volume, water saturation temperature, administered argon concentration | Relevant as these are methods to test system sensitivity and establish reliable measurement protocols for pharmacokinetics.
Funding Source | Study funded by Air Liquide Santé International | Relevant as it informs the study's scope within commercial and medical gas research.
Argon Administration | Mixtures of 50% and 75% argon with oxygen administered to rabbits | Relevant to the understanding of argon’s physiological effects in a controlled experimental setting for pharmacokinetics.
Ethical Approval | Protocol approved by national ethical committee | Relevant as it ensures the study adheres to ethical standards, critical for pharmacokinetic testing and future therapeutic applications.
Limitations in Blood Measurements | Instabilities due to syringe gas leakage; ambient contamination | Relevant to refining the prototype’s accuracy when used for pharmacokinetic blood sample analysis.
Potential Applications | Inferring argon pharmacokinetics through blood sample analysis | Relevant as the ultimate goal is to facilitate argon’s use in medical interventions via robust pharmacokinetic insights.
Quadrupole Sensitivity Testing | Six-month testing on air, water, blood samples | Relevant for demonstrating long-term reliability and validation of the system for pharmacokinetic research.
Blood Sampling Location | Arterial blood samples | Relevant for determining the sample type used in the pharmacokinetic study.
Sample Source | Rabbit blood | Relevant because rabbits are the model organisms used for the study.
Animal Population | Two male, 2–3 months old New Zealand Rabbits | Relevant for identifying the patient population and study design specifics.
Number of Rabbits | Two rabbits | Relevant to understand the sample size used in the PK study.
Blood Sampling Frequency | Three arterial blood samplings per rabbit per condition | Relevant for understanding the sampling time points and frequency.
Conditions | Ambient air (0.93% Ar), 50% argon, 75% argon mixture with O2 | Relevant for identifying the experimental conditions under which blood sampling was performed.
Gas Administration Method | Intubated rabbit administered gas mixtures via mechanical ventilator | Relevant for understanding how the study aimed to control and deliver argon to the patient population.
Blood Sample Storage | Samples transported on ice and stored for several hours before measurement | Relevant to explain sample preparation and storage considerations for accurate analysis.
Blood Sampling Location Protocol Approval | Approved by the national ethical committee on animal research n°16 (EnvA-Anses-UPEC) | Relevant for ensuring the study adhered to ethical considerations in sampling.
Measurement Time Per Sample | Approximately 2 hours including setup and flushing | Relevant to explain constraints on designing the PK study and limitations on sampling frequency.
Argon Pharmacokinetics Model | Physiologically based model | The paper notes that a physiologically based model of noble gas pharmacokinetics, including argon, has appeared in the literature; it is directly relevant as it identifies the specific type of pharmacokinetic model used for argon, essential for understanding its disposition in the body.
Experimental Data on Model | None published | The absence of experimental data for the physiologically based model is significant because it underscores the need for experimental solubility measurement to validate or inform the existing model for argon pharmacokinetics.
Technique Development | Quadrupole mass spectrometer gas analyzer | This technique, designed to measure argon solubility in blood, could provide the experimental data needed for the physiologically based pharmacokinetics model, making it relevant for bridging the gap between theoretical and practical application.
Purpose of Technique | Support argon pharmacokinetics testing | The developed technique aims to infer argon pharmacokinetics, which aligns directly with the physiologically based model and its need for solubility data to improve biological and therapeutic application understanding.
PC (Partition Coefficient for blood) | 0.03 at 37°C | Relevant as it determines argon solubility in blood during experiments, fundamental for estimating the number of moles in liquid samples. Source: literature reference [18].
PC (Partition Coefficient for water as function of temperature) | Curve-fit function (equation 6) | Relevant as it determines argon solubility in water during sensitivity experiments. Source: tabulated data from literature [17].
Argon concentration in ambient air | 0.93% | Relevant for quantifying the expected moles of argon present in air samples during testing. Source: atmospheric baseline conditions.
Argon gas concentration for rabbit blood experiments | 50% and 75% mixtures with oxygen | Relevant for estimating argon content in blood samples administered during pharmacokinetic testing. Source: administered gas mixtures (Air Liquide).
Temperature for blood samples | 37°C | Relevant for blood sample preparation and its impact on argon solubility. Source: controlled experimental protocols.
Temperature-controlled water bath | Variation for water saturation | Relevant for assessing argon solubility levels in water by adjusting temperature during gas bubbling. Source: experimental setup.
Blood sample volume | 1 mL | Relevant for calculating the moles of argon in rabbit blood samples. Source: experimental protocol.
Injected ambient air sample volumes | 0.25, 0.5, and 1 mL | Relevant for estimating argon moles based on varying air sample volumes. Source: experimental setup within the quadrupole system.
Quadrupole mass spectrometer system pressure | Range: 5 × 10–3 to 1 × 10–2 Pa | Relevant for maintaining proper conditions for gas analysis during the sensitivity experiments. Source: system-controlled environment.
Duration of measurements | 5000 seconds (~2 hours including setup and flushing) | Relevant for understanding constraints in analyzing argon pharmacokinetics data due to measurement time requirements. Source: experimental protocol.
PC (Partition Coefficient) | Value determined for rabbit blood as 0.03 at 37°C | Relevant as the partition coefficient is crucial to understanding argon solubility and impacts its pharmacokinetics by determining equilibrium between gas and blood.
Temperature | Controlled bath temperature for water and rabbit blood maintained at 37°C | Relevant as temperature affects the solubility of argon in the liquids and is an essential factor for accurate pharmacokinetic measurements.
Gas composition | Administered ambient air (0.93% argon), 50% argon, and 75% argon mixtures in rabbits | Relevant because dosage concentration directly impacts the absorption and distribution of argon in the body, influencing its pharmacokinetics.
Blood sample condition | Blood samples transported and stored on ice before testing | Relevant as the handling and storage conditions of blood samples can affect the stability of argon concentration, thus influencing pharmacokinetic results.
Sample preparation | Flushing system with nitrogen to remove ambient argon prior to testing | Relevant to pharmacokinetics since contamination from ambient argon could interfere with accurate measurements of blood argon levels.
Duration of measurement | Measurement duration nearly 2 hours including setup and flushing | Relevant because prolonged measurement time limits sample points, which can affect the granularity of pharmacokinetic analysis.
Gas leakage during storage | Observed instability due to possible syringe gas leakage | Relevant since leakage impacts the true value of argon concentrations in blood samples, influencing pharmacokinetics testing.