## Table 1
Parameters_Parameters | RD_FPV | RD_RDV | 1DD_FPV | 1DD_RDV
Wavelength (nm) | 222 & 256 | 247 & 271 | 228 | 251.2
Linearity range (µg/mL) | 2–24 | 2–24 | 2–24 | 2–24
Slope | 0.2571 | 0.0784 | 2.7023 | 2.7526
Intercept | − 0.0023 | − 0.0004 | − 0.1100 | − 0.0123
Coefficient of determination (r2) | 0.9997 | 0.9998 | 0.9997 | 0.9998
LOD (µg/mL) | 0.390 | 0.336 | 0.402 | 0.331
LOQ (µg/mL) | 1.182 | 1.018 | 1.217 | 1.002
Accuracy (%R)a | 100.32 | 99.89 | 100.46 | 99.67
Repeatability precision (RSD)b | 0.555 | 0.695 | 0.492 | 0.672
Intermediate precision (RSD)b | 0.701 | 0.815 | 0.716 | 0.850

## Table 2
Added (µg/mL)_Added (µg/mL)_FPV | Added (µg/mL)_Added (µg/mL)_RDV | %Recovery_RD_FPV | %Recovery_RD_RDV | %Recovery_1DD_FPV | %Recovery_1DD_RDV
5 | 5 | 100.76 | 99.34 | 101.18 | 99.65
10 | 5 | 99.89 | 99.59 | 99.54 | 99.01
5 | 10 | 99.60 | 100.82 | 100.29 | 99.62
10 | 10 | 100.40 | 99.67 | 100.77 | 100.56
20 | 10 | 100.22 | 100.94 | 99.83 | 100.89
Mean ± RSD | Mean ± RSD | 100.17 ± 0.450 | 100.07 ± 0.749 | 100.32 ± 0.665 | 99.95 ± 0.762

## Table 3
Recovery ± RSD_FPV_Method | Recovery ± RSD_FPV_RD | Recovery ± RSD_FPV_1DD | Recovery ± RSD_FPV_Reported method [17] | Recovery ± RSD_RDV_Method | Recovery ± RSD_RDV_RD | Recovery ± RSD_RDV_1DD | Recovery ± RSD_RDV_Reported method [37]
Avipiravir tablets a | 99.46 ± 0.765 | 100.23± 1.099 | 100.03 ± 1.169 | Remdesivir- vial a | 99.51 ± 0.658 | 100.20 ± 1.040 | 100.14 ± 1.319
Standard addition b | 100.55 ± 0.986 | 100.12 ± 0.887 |  | Standard addition b | 100.98 ± 1.058 | 100.42 ± 0.974
t-Test (2.306)c | 0.905 | 0.869 |  | t-Test (2.306)c | 0.120 | 0.085
F-test (6.388)c | 2.364 | 3.191 |  | F-test (6.388)c | 1.440 | 1.607

## Table 4
Parameters_Parameters | RD_FPV | RD_RDV | 1DD_FPV | 1DD_RDV
LLOQ (µg/mL) | 1.5 | 1.4 | 1.5 | 1.4
Linearity range (µg/mL) | 1.5–24 | 1.4–24 | 1.5–24 | 1.4–24
Accuracy (%R)a | 95.74 | 96.53 | 96.89 | 95.02
Repeatability precision (RSD)b | 1.567 | 1.897 | 1.418 | 1.658
Intermediate precision (RSD)b | 1.774 | 2.001 | 1.704 | 1.911
Matrix effect (Mean ± RSD) | 96.30 ± 1.720 | 95.14 ± 1.936 | 96.25 ± 1.340 | 95.81 ± 1.437

## Table 5
Unnamed: 0 | Developed spectrophotometric methods | Developed spectrophotometric methods.1 | Reported UPLC method [26] | Reported UPLC method [26].1
NEMI
Analytical Eco-scale | Parameters | PPs | Parameters | PPs
Analytical Eco-scale | Reagents | Reagents | Reagents | Reagents
Analytical Eco-scale | Ethanol | 4 | Methanol | 6
Analytical Eco-scale | Ethanol | 4 | Acetonitrile | 4
Analytical Eco-scale | Ethanol | 4 | Water | 0
Analytical Eco-scale | Ethanol | 4 | Orthophosphoric acid | 1
Analytical Eco-scale | Instrument spectrophotometer | Instrument spectrophotometer | Instrument UPLC | Instrument UPLC
Analytical Eco-scale | Energy: <0.1kWh per sample | 0 | Energy: <0.1kWh per sample | 0
Analytical Eco-scale | Occupational hazards | 0 | Occupational hazards | 3
Analytical Eco-scale | Waste < 10 mL | 3 | Waste (1–10 mL) | 3
Analytical Eco-scale | Total PPs | 7 | Total PPs | 17
Analytical Eco-scale | Analytical Eco-scale score | 93 | Analytical Eco-scale score | 83
AGREE tool

## Freetext Data
Data | Value | Relevance | plaintext
--- | --- | ---
Study Objective | Develop validated green spectrophotometric methods for determining favipiravir (FPV) and remdesivir (RDV) in spiked human plasma | Relevant for assessing the study's overarching aim focused on creating environmentally friendly, accurate analytical methods for these drugs amidst the COVID-19 pandemic.
Reason for Difficulty in Simultaneous Determination | UV absorption spectra of FPV and RDV overlap considerably | Addresses the challenge that necessitated the novel methods developed in the study.
Methods Used | Ratio difference and first derivative of ratio spectra methods | Relevant as they are the innovative techniques introduced and validated in the paper for separating and quantifying FPV and RDV.
Experimental Solvent | Ethanol | Critical for understanding the study's adherence to green chemistry principles by using an environmentally safer solvent.
Drugs Analyzed | Favipiravir (FPV) and Remdesivir (RDV) | Central to the study's scope, focusing on these key antiviral drugs repurposed during the COVID-19 pandemic.
Analytical Instrument | Shimadzu UV-Visible 1800 Spectrophotometer | Reflects the technical basis for the methods’ implementation and their minimal environmental impact.
Calibration Range for FPV | 2–24 µg/mL | Relevant to the quantitative scope and limitations for FPV determination in the study methods.
Calibration Range for RDV | 2–24 µg/mL | Provides equivalent quantitative data for RDV, ensuring a comparable scope of analysis.
Limit of Quantification (LOQ) for FPV | 1.5 µg/mL | Demonstrates the sensitivity of the method for detecting FPV in plasma samples.
Limit of Quantification (LOQ) for RDV | 1.4 µg/mL | Corresponding sensitivity measure for RDV, showing the method's effectiveness.
Environmental Metrics | NEMI, Analytical Eco-Scale, AGREE | Key to evaluating the greenness of the proposed methods and siding with the principles of green analytical chemistry.
Selected Analytical Wavelengths for Ratio Difference Method | FPV: 222 & 256 nm; RDV: 247 & 271 nm | Specific innovations vital for overcoming UV spectral overlap and achieving accurate drug analysis.
Matrix Effect Evaluation | Percentage recovery >95%; RSD <2% | Critical to confirming that the method's results are not influenced by interfering substances in plasma.
Greenness Assessment Comparative Result | Proposed methods showed better adherence to green analytical chemistry compared to UPLC | Highlights the environmentally sustainable nature of the developed spectrophotometric techniques.
Results Validation Standard | ICH Q2 (R1) | Ensures the proposed methods meet regulatory and scientific rigor, enhancing their credibility.
Precision Outcome | %RSD <2 for quality control samples | Relevant for demonstrating the repeatability and reliability of the developed methods.
Drugs' Pharmacokinetic Profile | FPV Cmax: 4.43 µg/mL; RDV Cmax: 3027 ng/mL | Provides context on drug concentrations in plasma relevant for the sensitivity and applicability of the analytical methods.
Funding Source | Deanship of Scientific Research at Umm Al-Qura University (Grant Code: 23UQU4280448DSR002) | Indicates the study's financial support, reflecting affiliations and potential research impact.
Additional Applications | Analysis of FPV and RDV in pharmaceutical preparations | Demonstrates the practical utility of the methods beyond plasma analysis.
Patient Population | The current work used spiked human plasma provided by the National Egyptian Blood Bank, stored frozen until analysis. | The patient population aspect is relevant as it indicates that real plasma samples were used to mimic in-vivo conditions.
Blood/Tissue Sampling | Plasma samples of FPV and RDV were prepared by adding aliquots to 0.1 mL plasma, followed by extraction using acetonitrile and centrifugation. The supernatants were evaporated and reconstituted in ethanol for UV analysis. | Details on sample preparation methods are vital for understanding how plasma was handled and its applicability to pharmacokinetic analysis.
Sampling Time Points | Not specifically mentioned; spiked samples appear prepared in controlled lab conditions for the study. | The absence of direct time-point data indicates this study may be mimicking in-vivo analysis without actually sampling at specific temporal intervals, emphasizing its semi-pharmacokinetic design.
Sample Concentration Range | FPV: 15–240 µg; RDV: 14–240 µg prepared from 100 µg/mL stock solutions. | This simulated concentration range is relevant as it aligns with expected pharmacokinetic plasma levels to validate analytical recovery and detection.
Lower Limit of Quantification (LLOQ) | FPV: 1.5 µg/mL; RDV: 1.4 µg/mL. | Establishing LLOQ indicates method sensitivity for detecting the lowest quantifiable plasma drug concentration and is crucial for PK interpretation.
Analyte Stability | Ethanol was used as the solvent since FPV and RDV are soluble in ethanol but RDV is insoluble in water. | Stability considerations in ethanol are relevant for ensuring analyte integrity throughout processing—a key factor in PK studies.
PK Concentrations Examined | Corresponding Cmax values: FPV: 4.43 µg/mL; RDV: 3027 ng/mL. | Cmax values mentioned relate directly to expected pharmacokinetic peaks, essential for validating the method in plasma drug quantification.
Quality Control Levels | LLOQ, LQC (10.40 µg/mL), MQC (13.00 µg/mL), HQC (15.60 µg/mL). | These quality control levels simulate a range of PK-relevant concentrations, ensuring the analytical method's reliability and accuracy for PK studies.
Relevance
The paper does not utilize a pharmacokinetic compartmental model but focuses on green spectrophotometric methods for drug determination in biological matrices.
Although pharmacokinetics is discussed, it is in the context of observed plasma concentrations rather than a defined pharmacokinetic model.
The study uses analytical, spectrophotometric techniques to analyze drug concentrations without employing compartmental models typically used in pharmacokinetics.
Cmax of Favipiravir (FPV) | 4.43 µg/mL | Estimated from pharmacokinetic studies; relevance lies in determining the concentration levels detectable for spectrophotometric analysis in plasma.
Cmax of Remdesivir (RDV) | 3027 ng/mL | Pharmacokinetic data enabling spectrophotometric analysis of RDV at detectable levels in plasma.
Linearity range for FPV | 2–24 µg/mL | Determined using standard solutions; relevant for defining the calibration range of the developed method.
Linearity range for RDV | 2–24 µg/mL | Determined using standard solutions; critical for establishing method validity in quantification.
LOD for FPV in Ratio Difference Method | 0.390 µg/mL | Indicates the sensitivity of the method; estimated from calibration curves.
LOD for RDV in Ratio Difference Method | 0.336 µg/mL | Indicates the detection capacity of the developed method for RDV in mixtures.
LOD for FPV in 1DD Method | 0.402 µg/mL | Shows the minimum amount detectable, relevant for sensitivity assessment.
LOD for RDV in 1DD Method | 0.331 µg/mL | Highlights the sensitivity of the first-derivative spectrophotometric method to RDV detection.
LOQ for FPV | 1.5 µg/mL | Lower limit of quantification, relevant for bioanalytical validation.
LOQ for RDV | 1.4 µg/mL | Key for defining the lowest measurable concentration in the analysis.
∆λ for Derivative Spectra | 4 nm | Wavelength interval used, critical for calculating first derivative spectra and ensuring accuracy.
Scaling Factor for 1DD Method | 100 | Parameter used during derivative calculations, affects peak amplitude interpretation.
Selected Wavelengths for FPV in Ratio Difference Method | 222 and 256 nm | Used to calculate the amplitude difference; essential for quantitative determination of FPV.
Selected Wavelengths for RDV in Ratio Difference Method | 247 and 271 nm | Relevant wavelengths to calculate RDV selectively without interference from FPV.
Peak Wavelength for FPV in 1DD Method | 228 nm | Determines FPV concentration in the mixture without interference.
Peak Wavelength for RDV in 1DD Method | 251.20 nm | Critical for selecting RDV-specific wavelengths during 1DD analysis.
Ethanol as Solvent | HPLC grade; provided by Sigma-Aldrich | Used for solution preparation; chosen for its green characteristics and compatibility with spectrophotometric analysis.
Calibration Standard Levels for FPV | 7 levels spanning 1.5–24 µg/mL | Used for defining linearity and ensuring validation accuracy.
Calibration Standard Levels for RDV | 7 levels spanning 1.4–24 µg/mL | Applied in linearity validation and assessment of analytical methods.
Matrix Recovery Range | Above 95% | Derived from spiked plasma samples; indicative of accuracy and minimal matrix interference.
Relative Standard Deviation (RSD) | Below 2% | Indicates high precision and consistency in both intra-day and inter-day analyses.
Mean Percentage Recovery for FPV | >95% | Demonstrated accurate retrieval in spiked plasma analysis.
Mean Percentage Recovery for RDV | >95% | Highlights method accuracy in determining RDV concentration.
Amount of Reagent Waste | Less than 50 g/sample | Evaluated for environmental impact, confirming alignment with green chemistry principles.
Energy Consumption of UV-Vis Spectrophotometer | <0.1 kWh per sample | Indicates low energy use, supporting the green analytical chemistry approach.
NEMI Criteria Fulfillment | All four quadrants green | Confirms low environmental impact of reagents and methods used.
Analytical Eco-Scale Score | 93 | Assesses eco-friendliness, shows method's alignment with green chemistry principles.
AGREE Score | 0.75 | Indicates excellent adherence to green chemistry practices, validating the method environmentally.
Funding Source | Grant Code: 23UQU4280448DSR002 from Umm Al-Qura University | Relevant as support ensures advance towards green analytical methods development.
Cmax of Favipiravir (FPV) | 4.43 µg/mL | Indicates the maximum plasma concentration of FPV that directly affects its pharmacokinetics and therapeutic efficacy.
Cmax of Remdesivir (RDV) | 3027 ng/mL | Indicates the maximum plasma concentration of RDV relevant to its pharmacokinetic profile and efficacy in treatment.
FPV solubility | Soluble in DMSO, ethanol, methanol, and water | Solubility impacts absorption and distribution, key pharmacokinetic factors.
RDV solubility | Soluble in DMSO, ethanol, methanol; insoluble in water | Solubility affects RDV's formulation, impacting pharmacokinetics like bioavailability.
Plasma matrix evaluation | Recovery >95% from spiked plasma samples | Evaluates pharmacokinetic relevance by confirming plasma as a suitable medium for drug determination.
Matrix effect | No interference in plasma matrix | Highlights absence of endogenous interferences in pharmacokinetic measurements.
Drug co-administration effect | FPV and RDV reduced virus load in lungs more effectively together than alone | Demonstrates interaction influencing RDV and FPV pharmacokinetics, improving outcome.
Sample preparation method | Use of ethanol in plasma samples | Impacts the recovery and quantitation accuracy of drugs, relevant to pharmacokinetics.
Physicochemical properties | FPV and RDV are broad-spectrum RNA polymerase inhibitors | Drug-receptor interaction dynamics can influence pharmacokinetic behavior.