## Table 1
Validation_Validation | Zonarol (ng/mL)_Prepared | Zonarol (ng/mL)_Detected | RSD(%)_RSD(%) | Accuracy(%)_Accuracy(%)
intra-day (n = 6) | 320 | 309.9 ± 5.06 | 1.6 | 96.8
intra-day (n = 6) | 80 | 76.7 ± 1.93 | 2.5 | 95.9
intra-day (n = 6) | 20 | 21.6 ± 0.35 | 1.6 | 107.8
inter-day (n = 3) | 320 | 306 ± 7.51 | 2.5 | 95.6
inter-day (n = 3) | 80 | 75.8 ± 0.43 | 0.6 | 94.7
inter-day (n = 3) | 20 | 21.7 ± 1.14 | 5.3 | 108.5

## Table 2
Treatment_Treatment | Zonarol (ng) vs. 1 mL of Plasma_Prepared | Zonarol (ng) vs. 1 mL of Plasma_Detected | RSD(%)_RSD(%) | Accuracy(%)_Accuracy(%)
storageat 4 °C for 12 h | 320 | 334.2 ± 10.70 | 3.2 | 104.4
storageat 4 °C for 12 h | 80 | 73.8 ± 1.98 | 2.7 | 92.3
storageat 4 °C for 12 h | 20 | 21.0 ± 1.33 | 6.4 | 104.9
storageat RT for 4 h | 320 | 311.1 ± 2.76 | 0.9 | 97.2
storageat RT for 4 h | 80 | 73.0 ± 1.72 | 2.4 | 91.2
storageat RT for 4 h | 20 | 22.6 ± 1.24 | 5.5 | 112.9
storageat 37 °C for 4 h | 320 | 304.6 ± 6.57 | 2 | 95.2
storageat 37 °C for 4 h | 80 | 72.6 ± 0.53 | 0.7 | 90.8
storageat 37 °C for 4 h | 20 | 21.2 ± 0.33 | 1.6 | 105.8
three cycles of freeze-thaw | 320 | 325.5 ± 4.56 | 1.4 | 101.7
three cycles of freeze-thaw | 80 | 75.5 ± 2.38 | 3.2 | 94.4
three cycles of freeze-thaw | 20 | 21.6 ± 1.44 | 6.7 | 107.9

## Table 3
Parameter (unit)_Parameter (unit) | Administration_p.o. | Administration_i.v.
number of data | n = 5 | n = 6
dose of zonarol (mg/kg) | 100 | 10
Cmax (ng/mL) | 722.51 ± 75.93 | —
Tmax (min) | 75 ± 13.41 | —
AUC (min × ng/mL) | 91,333.84 ± 31,976.29 | 36,470.64 ± 5734.82
bioavailability (%) | 25.0 | —

## Freetext Data
Data | Value | Relevance
Zonarol Properties | Antibiotic, antioxidative, anti-inflammatory, neuroprotective hydroquinone properties | Relevant to understanding the multifaceted pharmacological effects of zonarol in potential drug development.
Source of Zonarol | Brown algae Dictyopteris undulata | Relevant as it highlights the marine biodiversity origin and resource for extracting zonarol.
Zonarol Fluorescence | Excitation at 291 nm and emission at 323 nm | Relevant for establishing detection methodology for zonarol in biological samples.
Bioavailability | 25.0% | Relevant for determining absorption efficiency crucial for drug formulation.
Time to Max Plasma Concentration (Tmax) | 75 ± 13.41 min (oral administration) | Relevant for considering dosing schedules and pharmacokinetic modeling.
Maximal Plasma Concentration (Cmax) | 722.51 ± 75.93 ng/mL (oral administration) | Relevant for evaluating systemic exposure and therapeutic potential.
Route of Administration | Oral and intravenous administration | Relevant for comparing absorption, distribution, and pharmacokinetic profiles.
Tissue Distribution | Peak concentration in brain at 30 min (2525 ± 1333 ng/g tissue) | Relevant for considering targeting brain-related diseases or drug delivery systems.
Stability in Plasma | Stable at RT, 37 °C for 4 h; freeze-thaw cycles; 4 °C for 12 h | Relevant for assessing zonarol’s viability during handling and in vivo presence.
Detection Limit in Plasma | LOD: 6.41 ng/mL; LOQ: 11.1 ng/mL | Relevant for ensuring sensitivity and precision in bio-analysis of low concentrations.
Pharmacological Effects in Mice | Suppressed ulcerative colitis and NAFLD | Relevant for evaluating therapeutic use cases and disease targeting.
Extraction Protocol | Methanol-based extraction from Dictyopteris undulata | Relevant for replicating experimental conditions to obtain zonarol for research or product development.
Brain Distribution Mechanism | Passive diffusion through BBB | Relevant for developing drugs targeting neurological conditions.
--- | --- | ---
Sample size for oral administration | 5 mice | Indicates the sample size of mice used in the PK study for oral administration, which is essential to determine statistical robustness.
Sample size for intravenous administration | 6 mice | Provides the number of mice used for intravenous administration, critical for evaluating the study design.
Blood sampling time points after oral administration | 15, 30, 45, 60, 90, 120, 240, and 480 minutes | Defines the precise intervals at which blood samples were collected to measure plasma concentration after oral dosing, crucial for understanding drug absorption and clearance.
Blood sampling time points after intravenous administration | 5, 15, 30, 45, 60, 90, 120, and 240 minutes | Specifies when blood was sampled post-intravenous dosing, relevant for evaluating initial distribution and elimination phases.
Patient population | Male ddY mice, 8 weeks old, 40 ± 2 g | Describes the demographic and physiological profile of the test subjects, informing the generalizability of the study.
Tissue sampling time points after intravenous administration | 15, 30, 60, and 120 minutes | Indicates when tissues (liver, kidney, and brain) were collected, relevant for evaluating the distribution of zonarol in different organs.
Model | Non-compartmental model | The paper specifies that pharmacokinetic parameters were derived using a non-compartmental model. This is crucial to understanding the methodology used in the pharmacokinetics evaluation of zonarol.
Maximum Plasma Concentration (Cmax, Oral Administration) | 722.51 ± 75.93 ng/mL | Estimated from the plasma concentration of zonarol after oral administration, indicating its peak absorption level in mice.
Time to Maximum Plasma Concentration (Tmax, Oral Administration) | 75 ± 13.41 min | Determined after oral administration of zonarol, showing the time it takes to reach peak plasma levels.
Maximum Plasma Concentration (Cmax, Intravenous Administration) | 878.47 ± 371.16 ng/mL | Derived from plasma concentration measurements post-intravenous administration, representing zonarol’s peak presence in systemic circulation.
Area Under Curve (AUC0-480, Oral Administration) | 91,333.84 ± 31,976.29 min × ng/mL | Measured over a 480-minute interval following oral administration, quantifying total drug exposure.
Area Under Curve (AUC0-240, Intravenous Administration) | 36,470.64 ± 5734.82 min × ng/mL | Calculated within 240 minutes after intravenous administration to evaluate systemic exposure.
Absolute Bioavailability | 25.0% | Computed by correlating oral and intravenous AUC values, providing insight into zonarol's absorption efficiency.
Brain Tissue Concentration (Peak at 30 min) | 2,525 ± 1,334 ng/g tissue | Observed from tissue distribution studies post-intravenous administration, highlighting zonarol’s accumulation in the brain.
Liver Tissue Concentration (Peak at 15 min) | 1,320.2 ± 1,042.4 ng/g tissue | Estimated through distribution analysis, showing zonarol’s presence in hepatic tissue immediately following i.v. administration.
Kidney Tissue Concentration (Peak at 15 min) | 1,911.3 ± 1,803.6 ng/g tissue | Ascertained from tissue samples post-i.v. administration, indicating zonarol levels in renal tissue for clearance processes.
Retention Time in HPLC Analysis | 37.6 min | Calculated during HPLC analysis, confirming the identification of zonarol in extracted biological samples.
Limit of Detection (LOD) | 6.41 ng/mL | Estimated using HPLC-FI conditions, identifying the smallest detectable amount of zonarol.
Limit of Quantification (LOQ) | 11.1 ng/mL | Established via fluorescence detection in the HPLC system, defining the minimal quantifiable concentration of zonarol.
Correlation Coefficient for Standard Curve | 0.9999 | Calculated from the linear regression of zonarol’s peak area vs. concentration, verifying the accuracy of quantification methods.
Zonarol bioavailability | 25.0% | Indicates how much of the administered drug is absorbed and available to exert effects, impacting pharmacokinetics understanding.
Zonarol hydrophobicity | High | Describes a physical property influencing absorption, tissue distribution, and potential passive diffusion across membranes, which impacts pharmacokinetics.
Zonarol molecular weight | Low | Facilitates absorption and penetration across biological barriers, directly influencing pharmacokinetics.
Oral administration absorption timing | Max plasma concentration at 75 ± 13.41 min | Demonstrates the pharmacokinetic timeline for absorption and distribution following oral dosing.
Distribution in the brain | 2.525 ± 1.334 µg/g tissue at 30 min | Reflects tissue-specific pharmacokinetics, relevant for potential impacts on drugs targeting cerebral conditions.
Blood-brain barrier crossing | Via passive diffusion and active transport | Highlights mechanisms affecting zonarol's distribution kinetics in the brain, crucial for pharmacokinetics studies.
Storage stability of zonarol | Stable at RT and 4 °C for several hours | Ensures that pharmacokinetics data accuracy during sample analysis is unaffected by degradation.
Metabolite formation | Potential existence of zonarone and conjugated metabolites | Influences the pharmacokinetic behavior via biotransformation, which modifies drug activity and clearance.
Freeze-thaw cycles impact on zonarol | No significant changes in quantification | Confirms sample preparation conditions do not distort pharmacokinetic data integrity.
Relative distribution rates | Kidney > Liver > Brain (early time points) | Provides insights into zonarol's overall distribution dynamics via systemic circulation, directly tied to pharmacokinetics.
Comparative absorption rates | Faster in liver and kidney, slower in brain | Suggests tissue-specific pharmacokinetics mechanisms, relevant for understanding drug behavior.
Other compounds' bioavailability comparison | Fucoxanthin: 0.06%, Quercetin: 16% | Places zonarol's bioavailability in context with related compounds to assess pharmacokinetics performance.
Factors affecting quercetin bioavailability | Gastric content condition and enterohepatic recirculation | Illustrates external factors that could similarly influence zonarol pharmacokinetics.
Zonarol plasma stability | Remained over LOQ within 480 min post-oral administration | Demonstrates sustained pharmacokinetics profile for potential therapeutic applications.