## Freetext Data
Data | Value | Relevance
--- | --- | ---
Effect of CRRT on drug disposition | CRRT modalities impact drug clearance rates based on both the drug's physicochemical properties and CRRT prescription settings | Demonstrates the primary challenge of drug dosing optimization in CRRT patients and the variability caused by CRRT parameters.
Correlation between MB-102 clearance and meropenem clearance | Plasma meropenem clearance highly correlated with transdermal MB-102 clearance (r²: 0.95–0.97, p < 0.001) | Establishes that MB-102 provides a surrogate measure for assessing meropenem clearance, proving its clinical relevance.
Real-time capability of MB-102 monitoring during CRRT | Transdermal fluorescent MB-102 clearance mirrored plasma MB-102 clearance changes immediately following adjustments to CRRT flow rates | Illustrates MB-102’s ability to provide real-time monitoring of clearance, addressing bedside needs for adaptive dosing.
Limitations of bedside CRRT estimations | Current clearance estimation heavily relies on prescribed effluent rate, with variability stemming from filter lifespan, clogging, and potential impact on drug elimination | Highlights the inadequacy of current approaches in dynamic and patient-specific CRRT conditions.
Proof-of-concept study setting | Pigs weighing 35-40 kg post-nephrectomy undergoing CVVH or CVVHD with meropenem and MB-102 administered | Establishes the controlled model used to test the concept and its initial translation from experimental to potential clinical use.
Transdermal method advantages | Non-invasive, continuous real-time measurements, no blood analysis required, detects changes immediately, offers bedside point-of-care | Indicates how this innovation overcomes practical limitations in CRRT-related drug clearance monitoring.
Impact of CRRT settings on MB-102 clearance | Clearance varied with changes in blood and effluent flow rates across low and high settings | Demonstrates MB-102’s responsiveness to CRRT prescription changes, furthering its utility.
Potential clinical impact | Transdermal MB-102 assessment may optimize bedside drug dosing in critically ill CRRT patients, potentially improving efficiency and mitigating unintended drug clearance effects | Clarifies the direct application of the study's findings to human patient care.
Comparison of meropenem to MB-102 physiochemical properties | Meropenem shares negligible protein binding and low molecular weight similar to MB-102 | Validates MB-102 as a surrogate to model meropenem clearance.
Translation to humans and study limitations | Pigs not critically ill, data limited to small solutes like meropenem, unanswered applicability in labile kidney function | Contextual limits of the study emphasize the need for further human trials and extended testing with diverse drugs and clinical conditions.
Pigs used | Pigs weighing 35–40 kg | Relevant because the study used an animal model, specifically pigs, which were employed to gauge the pharmacokinetics (PK) of MB-102 and meropenem.
Surgical procedure | Bilateral nephrectomies were performed on pigs to achieve a model of anuric acute kidney injury (AKI) | Relevant because it established the context of no endogenous renal clearance, mimicking critically ill patients requiring CRRT.
PK agents administered | MB-102 (6 mg/kg as IV bolus) and meropenem (20 mg/kg infusion) | Relevant to establish the pharmacokinetics (drug dosing) studied in this controlled research setup.
Sampling time-points (pre-CRRT) | Baseline plasma sample pre-agent administration for comparison | Relevant to establish baseline data for PK measurements.
CRRT procedures initiated | Continuous veno-venous hemodialysis (CVVHD) and hemofiltration (CVVH) | Relevant as the modalities directly relate to understanding drug clearance and PK during CRRT conditions.
Sampling time-points during low flow rate CRRT | Blood collections at 0, 30, 60, 90 minutes after CRRT initiation | Relevant because these time points provide the PK profile during lower flow CRRT prescription.
Sampling time-points during high flow rate CRRT | Blood collections at 15, 30, 45 minutes after increasing flow rate | Relevant because high flow rates influence CRRT clearance, crucial for PK assessment.
Sampling sites | Pre-hemodiafilter, post-hemodiafilter, ultrafiltrate (UF)/spent dialysate (SD) | Relevant to assess drug clearance at various points within the CRRT system.
Population characteristics | Critically ill model simulated using anesthetized pigs with systemic heparin for anticoagulation | Relevant as it closely mimics real-life patient conditions receiving CRRT therapy.
Duration of CRRT flow testing | 45 minutes for high flow rate, 90 minutes for low flow rate procedures | Relevant because these durations allowed for observing pharmacokinetics under different flow conditions.
Plasma assay method | Validated HPLC/UV, with meropenem quantitation between 1–100 µg/ml | Relevant because accurate plasma assays are critical for measuring drug pharmacokinetics.
Plasma Pharmacokinetics Model | Two-compartment pharmacokinetic model | The study observed a classic two-compartment plasma pharmacokinetic behavior for MB-102 during IV administration, marked by an early vascular-to-tissue distribution phase followed by renal excretion. This modeling is critical to assessing drug clearance during CRRT.
Transdermal Fluorescence Behavior | Two-compartment model through the skin | The transdermal fluorescence of MB-102 mirrored the two-compartment plasma pharmacokinetics, demonstrating its feasibility for real-time bedside drug elimination assessment in CRRT.
CVVH Effluent Rate | Low (20 ml/kg/hr), High (35 ml/kg/hr) | These are the ultrafiltrate flow rates used in the study and are key parameters for assessing CRRT prescription impact on clearance rates.
CVVHD Dialysis Fluid Flow Rates | Varied to mimic clinical flow rates | These rates were varied to represent typical clinical scenarios and assess their effect on MB-102 and meropenem clearance.
Blood Pump Flow Rates | Low (100 ml/min), High (200 ml/min) | The blood flow rates were adjusted to evaluate how flow dynamics impact clearance rates during CRRT.
MB-102 Properties | Molecular weight 372.3 D; negligible protein binding; low lipophilia; total body water volume of distribution | These properties relate to its filtration characteristics and clearance under CRRT, making it suitable to model meropenem clearance.
Meropenem Properties | Antimicrobial agent; administered at 20 mg/kg over 30 min; similar physicochemical properties to MB-102 | Its clearance was measured to compare with MB-102, establishing pharmacokinetics link relevant to antibiotic dosing.
Transdermal Detection Device | 450 nm LED light source; silicon photomultiplier; adhered to porcine abdomen | The device measures MB-102 fluorescence in real time, providing insights into CRRT dynamics and drug clearance.
Plasma Sample Processing | High-performance liquid chromatography with ultraviolet detection (HPLC/UV) employed | This method was used to precisely quantify MB-102 and meropenem concentrations for clearance calculations.
CRRT Filters | Fresenius F50NR hemofilters | These filters served as the site of solute exchange and were integral to the parameter settings and assessments in CVVH and CVVHD modalities.
Effluent Sample Collection Sites | Pre-hemodiafilter (pre-HF), post-hemodiafilter (post-HF), and UF/SD ports | Samples collected from these sites helped assess drug removal dynamics under different CRRT settings.
Mathematical Analysis Tool | MATLAB "polyfit" for linear regressions | This was used to derive clearance rate constants from time-dependent MB-102 fluorescence decay curves, quantifying flow rate impacts.
Pharmacokinetic Fit | Two-compartment model for MB-102 | The model reflects the plasma and transdermal detection of MB-102 clearance, important for correlating with effluent and flow parameters.
Correlation Coefficient (r^2) for MB-102 & Meropenem | 0.95–0.97 | This demonstrates the robustness of MB-102 transdermal clearance as a surrogate marker for meropenem plasma clearance under varying CRRT settings.
Institutional Protocol Approval | University of Michigan IACUC approval | This ensures the experimental design, including parameter selection, adhered to established ethical research guidelines.
Factors influencing pharmacokinetics | Physicochemical properties of drugs (e.g., molecular size/weight, protein binding, lipophilicity) | These drug characteristics impact how substances like meropenem and MB-102 are removed during CRRT, which directly influences pharmacokinetic behavior.
Factors influencing pharmacokinetics | MB-102 physicochemical properties (negligible protein binding, low molecular weight 372.3 D, nonlipophilic, volume of distribution of total body water) | These properties make MB-102 an ideal tracer for studying pharmacokinetics during CRRT.
Factors influencing pharmacokinetics | CRRT prescription parameters (blood pump flow rate, effluent flow rate) | These parameters significantly alter drug clearance rates, thereby affecting the pharmacokinetics of administered drugs during therapy.
Factors influencing pharmacokinetics | Filter lifespan and surface clogging | The decrease in available mass transfer surface area over a CRRT filter’s life reduces drug clearance efficiency, altering pharmacokinetics.
Factors influencing pharmacokinetics | Effluent rates | Changes in effluent rates directly influence drug clearance rates during CRRT, impacting overall pharmacokinetics.
Factors influencing pharmacokinetics | Anuric versus labile kidney function | The pharmacokinetics of drugs may differ between patients with no kidney function (anuric) versus those with fluctuating kidney recovery or function.
Factors influencing pharmacokinetics | Critically ill patient conditions (e.g., instability, medications like vasoactives, and nutritional support) | These systemic factors could alter physiological drug metabolism and pharmacokinetics compared to controlled experimental conditions.
Factors influencing pharmacokinetics | Antimicrobial properties (e.g., solubility, molecular interactions) | The behavior of antibiotics under CRRT conditions varies based on their physicochemical and pharmacokinetic properties, influencing their requirements for personalized dosing.