## Table 1
β- factor_Unnamed: 0_level_1 | Patient 1_K1 | Patient 1_k2 | Patient 1_k3 | Patient 1_Ki | Patient 2_K1 | Patient 2_k2 | Patient 2_k3 | Patient 2_Ki
300 | 0.348 | 4.002 | 0.082 | 0.007 | 0.55 | 4.974 | 0.114 | 0.012
500 | 0.369 | 4.847 | 0.108 | 0.008 | 0.758 | 7.961 | 0.142 | 0.013
700 | 0.312 | 4.774 | 0.134 | 0.009 | 0.643 | 7.994 | 0.178 | 0.014
900 | 0.29 | 4.809 | 0.155 | 0.009 | 0.547 | 8 | 0.22 | 0.015
1000 | 0.286 | 4.911 | 0.163 | 0.009 | 0.514 | 8 | 0.238 | 0.015

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Optimal β-factor for small structures in dynamic PET imaging | 300–500 | Relevant as it guides the reconstruction protocol specifically for small structures, ensuring balanced accuracy and variability in quantitation.
Optimal β-factor for large structures in dynamic PET imaging | 800–1600 | Relevant because it indicates the parameter choice for achieving better accuracy in larger anatomical regions during PET scans.
Impact of β-factor range (300–1000) on Ki variation in clinical data | 25.5% increase in Ki | Demonstrates how β-factor selection directly influences pharmacokinetic outcomes, particularly net influx rate analysis for clinical applications.
Effect of lower β-factors (<200) on quantitation | Strong overestimation and high variability | Relevant as it highlights pitfalls in reconstruction for dynamic PET scans, warning against unsuitable β-factor choices for accurate quantitation.
RMSERC assessment for optimizing accuracy | 300–1000 provides accuracy within 10% variation of minimal RMSERC | Relevant as it identifies the β-factor range that balances bias and variability, enhancing predictive accuracy across phantom data metrics.
Recommended β-factor for shorter acquisition times in small geometries | Slightly higher β-factors (e.g., 300–600) | Relevant because it adjusts for count statistics variability seen in shorter acquisition settings, improving dynamic PET scan reliability.
Impact on TAC AUC due to β-factor changes | Decrease in 24.7% (blood TAC AUC) and 23.1% (tumour TAC AUC) when β-factor increases from 300 to 1000 | Relevant for understanding how β-factor optimization affects tracer uptake metrics crucial to pharmacokinetic analysis.
Impact of β-factor range on variability (CVRC) in phantom study | CVRC decreases with acquisition time and β-factors | Relevant for assessing how image noise and statistical variability respond to reconstruction adjustments, crucial for both phantom and clinical settings.
Count statistics comparison between phantom and clinical TAC peaks | Phantom data allows shorter acquisition modeling of clinical dynamics | Relevant to validate comparable settings between phantom and clinical scenarios for accurate tracer quantitation modeling.
Impact of β-factor on RCs in small structures (<10mm) | RC decreases with increasing β-factor; underestimation begins at β ≥ 200 | Relevant as it demonstrates β-factor sensitivity for smaller spheres, critical for precision in neuro-imaging or small lesion analysis.
Recommended β-factor for dynamic imaging of sub-centimeter structures | 300–500 | Relevant to ensure optimized reconstruction for smaller regions to balance quantitative precision and noise control.
Conclusion regarding β-factor customization for dynamic PET protocols | β-factor optimization depends on structure size and acquisition time; dynamic range suggested is 300–1000 | Relevant as it provides actionable guidelines for structuring dynamic PET imaging to derive clinically robust metrics.
Patient Sample Size | Two male patients | Specifies the population size used for the PK study.
Tracer | 18F-PSMA-1007 | Indicates the radiotracer examined for quantitation accuracy and pharmacokinetic analysis.
Scan Duration | Patients were scanned dynamically for 30 minutes | Provides the duration of the dynamic PET scanning protocol.
Reconstruction Frames | 32 frames of variable durations (18 × 10 s, 6 × 30 s, 4 × 1 min and 4 × 5 min) | Details the temporal resolution of tissue sampling points relevant for dynamic imaging analysis.
Input Function | Image-derived input function extracted from bilateral internal carotid arteries (ICA) | Specifies the method of blood sampling for pharmacokinetic modeling, circumventing arterial cannulation.
Tumor VOI Identification | Automatically delineated VOI (threshold: 50% max signal) on summed 20–30 min image | Describes the tissue sampling approach for analyzing tumor uptake of the tracer.
Patient Population | Patients with recurrent glioblastoma | Defines the target demographic and disease focus for pharmacokinetic study relevance.
Input Function Threshold Criteria | 50% of max signal | Further defines methodology for segmenting and extracting blood pool VOI for the input function, ensuring consistency across β-factor testing.
Clinical Trial Registration | NCT03951142 | Confirms ethical approval and clinical study regulation, ensuring study design integrity.
Irreversible two-tissue compartment model | Investigated to calculate Ki for tracer distribution | Relevant because the model is used to assess pharmacokinetics, including tracer uptake and kinetics in tumor tissue, which impacts the analysis of β-factor effects in clinical dynamic PET imaging.
Inner diameter of phantom | 20 cm | Relevant as the phantom used in the study simulates structures found in clinical PET systems to evaluate quantitation accuracy.
Hollow sphere sizes in phantom | 4–25 mm diameter | Relevant for testing the accuracy of activity concentration measurement in small and large structures.
Activity concentration in spheres | 17.2 kBq/ml | Used as a known measurement for assessment of quantitation performance in the study.
Activity concentration in background | 1.6 kBq/ml | Background activity influences measurements and is essential for comparison.
Radioactivity ratio in phantom (sphere to background) | 10.5 | Provides baseline contrast necessary for recovery coefficient calculation.
Acquisition times for phantom study | 5 min, 2 min, 1 min, 30 s, 10 s frames | Relevant to evaluate effects of variable acquisition times on measurement accuracy and variability.
β-factor range tested | 100–3500 | Essential reconstruction parameter analyzed to optimize quantitation in PET imaging.
Matrix size in PET reconstruction | 256 × 256 × 71 | Specifies image resolution for PET scans reconstructed in the study.
Field of view (FOV) | 30 cm | Relevant for spatial coverage in PET images.
Low-dose CT parameters | 120 kVp, 35 mA | Used for attenuation correction in the study, aligning PET data with anatomical information.
Recovery coefficient (RC) equation | RC = (Measured activity concentration / Known activity concentration) | Equation used for assessing bias in quantitative PET imaging.
Coefficient of variation (CVRC) equation | CVRC = (Standard deviation of RC / Mean RC) × 100% | Equation measures variability across different reconstruction repetitions.
Root-mean-square error (RMSERC) equation | RMSERC = √(Σ(1−cmeasured/cknown)²/n) | Equation assesses overall accuracy of quantitation considering both bias and variability.
Clinical patient tracer dosage | 2.5 MBq/kg of 18F-PSMA-1007 | This parameter is essential as it determines the concentration of the tracer in the PET studies aligning with clinical standards.
Clinical acquisition duration | 30 min in 32 dynamic frames | Relevant to assess dynamic PET data over time.
Tumor delineation threshold in clinical study | 50% of max signal | Used to segment tumor regions for pharmacokinetic analysis in clinical data.
Input function extraction method | Bilateral ICA segmentation | Provides the input function used in pharmacokinetic models, without invasive arterial sampling.
Net influx rate (Ki) equation | Ki = (K1 × k3) / (k2 + k3) | Describes kinetic modeling of tracer dynamics in clinical PET data, quantifying tumor uptake.
Ki increase for β-factor change from 300 to 1000 | 25.5% | Demonstrates the quantification sensitivity to reconstruction settings in clinical measurements.
AUC decrease for blood TAC with β-factor change | 19.6%-24.7% | Relevant as changes in this parameter influence input function quantitation.
Tumor volume change with β-factor | Patient 1: 3621–4695 mm³, Patient 2: 1341–1883 mm³ | Reflects the spatial quantitation variance due to β-factor changes in clinical images.
Dynamic PET data | Frames of variable durations with changing tracer concentrations | Dynamic PET datasets consist of time frames with varying durations due to tracer behavior, influencing quantitative parameters critical to pharmacokinetics.
Tracer variability | Tissue and blood tracer concentration variability | Tracer concentration affects input functions and output parameters essential for accurate pharmacokinetic analysis.
Image-derived input function (IDIF) | Non-invasive alternative to arterial cannulation | IDIF impacts pharmacokinetic modeling accuracy by serving as a proxy for arterial tracer behavior.
Acquisition time | Short frame duration particularly at scan start | Shorter acquisition frames influence count statistics and kinetic modeling near maxima in TACs, relevant for pharmacokinetics.
Structure size | Smaller spheres (<10mm) with higher variability | Smaller structures are prone to noise and bias, impacting pharmacokinetics assessment of small geometric regions.
β-factor | Noise penalization parameter in Q.Clear algorithm | β-factor controls image noise and quantitation accuracy, directly influencing pharmacokinetic modeling outcomes such as Ki.
Area Under Curve (AUC) | Decrease in AUC with increasing β-factor | AUC of tracer concentrations in blood and tissue changes with β-factor, directly affecting pharmacokinetic input/output measures.
Partial volume effect (PVE) | Measurement errors in small regions like ICA | PVE affects spatial resolution and measurement accuracy in IDIF extraction, impacting pharmacokinetic analysis.
Spatial resolution | Clinical PET scanner resolution (4–6 mm) | Limited spatial resolution affects quantitation of small structures, relevant in pharmacokinetics modeling for small structures.
Tumor tissue Ki | 25.5% increase with β-factor change from 300 to 1000 | Ki changes reflect alteration in tracer influx modeling sensitivity to β-factor adjustments relevant to pharmacokinetics.