## Table 1
Analyte | Retention time (min) | Precursor (m/z) | Product (m/z) | Collision energy (V) | RF lens (V)
Talazoparib | 2.69 | 381.22 | 298.13 | 30.15 | 96
[13C,2H4]-talazoparib | 2.69 | 386.2 | 303.08 | 29.85 | 116

## Table 2
Sample | N | Nominal concentration (ng/mL) | Intra-day precision (CV%) | Inter-day precision (CV%) | Accuracy (bias%)
LLOQ | 20 | 0.5 | 5.27 | 1.76 | −1.52
LQC | 20 | 1.5 | 5.27 | 1.33 | −3.47
MQC | 20 | 40 | 3.84 | 2 | 8.35
HQC | 20 | 80 | 2.4 | 0.87 | −3.25
AULQ (dilution 10x) | 20 | 800 | 3.69 | 0.73 | −1.44

## Table 3
Unnamed: 0_level_0_Concentration (ng/mL) | Unnamed: 1_level_0_N | Matrix Effect_Mean Matrix Effect (%) | Matrix Effect_CV (%) | Recovery_Mean Recovery (%) | Recovery_CV (%)
1.5 | 3 | 109 | 5.6 | 87.7 | 14.4
40 | 3 | 95.6 | 5.24 | 105 | 4.91
80 | 3 | 93.7 | 13.1 | 92.7 | 0.88

## Table 4
Nominal (ng/mL)_Nominal (ng/mL)_Nominal (ng/mL) | N_N_N | Sample conditions_Bench-topa_Mean deviation (%) | Sample conditions_Bench-topa_CV (%) | Sample conditions_Auto-samplerb_Mean deviation (%) | Sample conditions_Auto-samplerb_CV (%) | Sample conditions_Re-injectionc_Mean deviation (%) | Sample conditions_Re-injectionc_CV (%) | Sample conditions_Freeze-thawd_Mean deviation (%) | Sample conditions_Freeze-thawd_CV (%)
1.5 | 3 | 2.15 | 13.5 | −4.34 | 5.08 | 0.64 | 3.59 | −3.18 | 1.99
80 | 3 | −8.09 | 4.86 | −5.14 | 7.22 | 0.62 | 1.66 | −1.96 | 4.05

## Table 5
Parameter | Wild-type mice | ABCB1/ABCG2(−/−) mice
Cmax (ng/mL) | 360 (±45) | 350 (±63)
AUC (h × ng/mL) | 620 (±80) | 790 (±130)

## Table 6
Genotype | Co-treatment | Cmax (ng/mL) | AUC (ng × h/mL)
Wild-type |  | 472 (±56) | 702 (±117)
Wild-type | Novobiocin | 414 (±25) | 615 (±41)
ABCB1/ABCG2(−/−) |  | 352 (±63) | 723 (±125)
ABCB1/ABCG2(−/−) | Novobiocin | 449 (±74) | 890 (±188)

## Freetext Data
Data | Value | Relevance
Talazoparib Quantification Method | UHPLC-MS/MS | Relevant as it outlines the analytical method developed and validated for talazoparib concentration measurement in mouse plasma.
Internal Standard Used | [13C,2H4]-talazoparib | Relevant in defining the internal control in the analytical method to ensure accuracy and reproducibility.
Sample Preparation Method | Single-step deproteination using methanol | Relevant as it demonstrates an efficient method for extracting talazoparib from plasma samples for the analysis.
Column for Separation | ACQUITY UPLC RP18 HSS T3 column | Relevant since it indicates the chromatographic equipment used for analyte separation.
Calibration Curve Concentration | 0.5–100 ng/mL | Relevant as it defines the linearity range of the assay used to ensure accurate quantification.
Instrument for Analysis | Thermo Fisher Quantiva triple quadrupole mass spectrometer | Relevant as it describes the equipment used for detecting and quantifying talazoparib with high sensitivity.
Flow Rate | 0.4 mL/min during 5-minute run time | Relevant in optimizing chromatographic conditions for efficient separation.
Stability Testing Conditions | Room temperature for 6 hours, auto-sampler at 4°C for 24 hours, and after 3 freeze-thaw cycles | Relevant to confirm analyte stability under various experimental conditions, ensuring data integrity.
Matrix Effect and Extraction Recovery | Matrix effect: 93.7–109%, extraction recovery: 87.7–105% | Relevant for validating the method's accuracy in bio-plasma samples.
Pharmacokinetic Study Subjects | Wild-type and ABCB1/ABCG2(−/−) mice | Relevant as it describes the biological models used to assess pharmacokinetic interaction.
Dose of Talazoparib Administered | 0.5 mg/kg orally | Relevant since it informs the dosing condition used in pharmacokinetic evaluation.
ABC Transporter Impact | Modest ~1.3-fold increase in AUC in transporter-deficient mice | Relevant as it highlights the involvement of intestinal transporters in the drug's absorption profile.
CYP Modulation by Novobiocin | Minimal effect on talazoparib levels | Relevant as it assesses potential drug-drug interactions with CYP and ABC transporters.
Plasma Volume for Analysis | 5 μL | Relevant as it highlights the method's compatibility with small sample sizes typical in mouse studies.
Accuracy of Assay | Percent bias within ±15% for most QC levels | Relevant to confirm the reproducibility and validity of the quantified data.
Precision of Assay | CV <15% for QC levels except at LLOQ (up to 20%) | Relevant for demonstrating the reliability of repeated measurements.
Funding Sources | NIH, Pelotonia foundation, ETCTN grants | Relevant as it outlines financial backing, ensuring scientific rigor and resource availability.
Dose of talazoparib | 0.5 mg/kg, p.o. | Describes the administered dose used in the pharmacokinetic study.
Mouse strains | Wild-type FVB strain and ABCB1/ABCG2(-/-) mice | Indicates the genetic background of the animals used, relevant to understanding transporter effects on absorption and disposition.
Sex | Female | Specifies the sex of the tested animals, relevant for consistency in pharmacokinetic results.
Age | 12–20 weeks old | Describes the age range of mice, relevant for uniformity in physiological maturity across the test population.
Sample size per group | Wild-type: n=5; ABCB1/ABCG2(-/-): n=4 | Indicates the number of mice in each experimental group, relevant for statistical analysis and study design robustness.
Blood sampling time points | 5 min, 15 min, 30 min, 1 h, 2 h, and 4 h | Specifies the timepoints for sample collection, which are key to constructing the plasma concentration-time curve.
Blood collection methods | Submandibular vein (5–30 min), retro-orbital venous plexus (1–2 h), cardiac puncture (final sample) | Outlines the procedures used to obtain blood samples, relevant for understanding how plasma measurements were conducted.
Blood volume per sample | Approx. 30 μL | Details individual sample volumes, relevant for method sensitivity given limited mouse plasma availability.
Plasma preparation | Centrifugation at 13,000×g, immediate dry ice preservation | Specifies the plasma preparation process, ensuring sample integrity for pharmacokinetic analysis.
Fasting period | 2 hours prior to drug administration | Describes pre-study conditions, relevant for reducing variability in absorption and disposition caused by food.
Ethical approval | The Ohio State University ULAR Animal Care and Use Committee | Ensures compliance with ethical standards in experimental design.
Non-compartmental analysis | Phoenix WinNonlin version 8.3.4.295 (Certara, Princeton, NJ, USA) | The paper describes that non-compartmental analysis was used to derive pharmacokinetic parameters for talazoparib, relevant for understanding the drug's pharmacokinetic behavior in the mouse model.
Calibration curve concentration range | 0.5-100 ng/mL | Relevant for method's sensitivity and linearity, as estimated from spiked plasma samples during analytical validation.
Mean correlation coefficient (r2) | 0.992 ± 0.0023 (range 0.990–0.995) | Relevant for linearity of calibration curve, and estimated from four consecutive days of validation.
Sheath gas pressure | 11.7 Arb | Relevant for mass spectrometer optimization, estimated from UHPLC-MS/MS setup parameters.
Aux gas pressure | 8.9 Arb | Relevant for mass spectrometer optimization, estimated from UHPLC-MS/MS setup parameters.
Ion transfer tube temperature | 350°C | Relevant for desolvation and ion formation, estimated from mass spectrometer operating conditions.
Vaporizer temperature | 370°C | Relevant for ionization in ESI source, estimated from UHPLC-MS/MS setup parameters.
Ion spray voltage | 3854.55 V | Relevant for proper ionization in positive ion mode, estimated from ESI tuning during method development.
Mobile phase gradient composition | Solvent B increased from 20% to 95% (0.5–2.5 min), held at 95% (2.5–4 min), returned to 20% (4.01–5 min) | Relevant for chromatographic optimization of analyte separation, estimated from trials testing column elution profiles.
Injection volume | 3 μL | Relevant for sample throughput and efficiency, estimated from UHPLC-MS/MS method setup.
Extraction recovery for talazoparib | 87.7%–105% | Relevant for analytical validation of sample preparation, estimated during matrix effect and recovery studies at LQC, MQC, HQC levels.
Matrix effect for talazoparib | 93.7%-109% | Relevant for accuracy unaffected by ion suppression/enhancement, estimated through biological sample analysis spiked with known concentrations.
Retention time for talazoparib | 2.69 min | Relevant for chromatographic peak identification, determined during method development using UHPLC-MS/MS trials.
Retention time for [13C,2H4]-talazoparib (IS) | 2.69 min | Relevant as internal standard comparison for analyte quantification, determined during method development.
Freeze-thaw stability range | 85%–115% of nominal concentrations | Relevant to analyte sample stability assessment, estimated from controlled freeze-thaw cycles replicated three times.
Bench-top stability at room temperature | 6 h | Relevant to short-term sample handling stability, assessed during stability studies.
Auto-sampler stability at 4°C | 24 h | Relevant for post-extraction storage stability during analysis, validated under controlled conditions.
Plasma volume required per sample | 5 μL | Relevant for compatibility with limited mouse plasma volumes, estimated during method optimization.
Cmax of talazoparib (Wild-type mice) | Derived from pharmacokinetic curve post-oral 0.5 mg/kg dose | Relevant for drug bioavailability characterization, estimated from pharmacokinetic data.
AUC of talazoparib (Wild-type mice) | Derived from log-linear trapezoidal rule post-dose (0 h–4 h) | Relevant for systemic exposure quantification, estimated during mouse PK studies.
Cmax of talazoparib with deficiency in ABCB1/ABCG2 | Similar to wild-type mice | Relevant to assessing efflux transporter contribution, derived from corresponding plasma concentrations post-dose.
AUC of talazoparib with deficiency in ABCB1/ABCG2 | ~1.3-fold increase compared to wild-type mice | Relevant for understanding transporter-mediated disposition effects, derived from PK curve analysis.
Effect of Novobiocin on Wild-type AUC | Not substantially altered | Relevant for evaluating selective ABCG2 inhibitor impact, estimated from plasma concentration-time studies.
Effect of Novobiocin on ABCB1/ABCG2 (−/−) AUC | Not substantially altered | Relevant for corroborative analysis of efflux transporter inhibitor interaction, derived from pharmacokinetic parameter observations.
Deficiency of efflux transporters ABCB1 and ABCG2 | Modest ∼1.3-fold increase in AUC | Demonstrates how the absence of specific efflux transporters affects drug absorption and systemic exposure.
Efflux transporters in intestinal enterocytes | Restrict absorption of drugs like talazoparib | Highlights the role of efflux transporters in limiting drug absorption, influencing pharmacokinetics.
ABCB1 and ABCG2 inhibitors like novobiocin | No substantial alteration in talazoparib plasma levels | Suggests that inhibitors of ABCG2 alone have limited impact on talazoparib pharmacokinetics.
Itraconazole (azole antifungal agent) | Increases systemic exposure to talazoparib | Illustrates the impact of ABCB1 and ABCG2 inhibition by itraconazole on talazoparib pharmacokinetics.
ABC transporters modulation by co-administered drugs | Affects efflux and increases systemic exposure | Discusses potential drug-drug interactions via transporter inhibition, which can alter pharmacokinetics.
Auto-sampler stability and freeze-thaw cycles | No significant degradation observed | Examines the influence of storage and handling conditions on talazoparib integrity, indirectly relevant to pharmacokinetics.