## Table 1
Biological Matrix | Calibration Curve | r | Linear Range (ng/mL) | LLOQ (ng/mL)
Plasma | y = 45.259x − 0.9096 | 0.9997 | 1–1000 | 1
Heart | y = 80.738x + 0.4783 | 0.9981 | 1–1000 | 1
Liver | y = 80.562x − 8.0523 | 0.9908 | 1–1000 | 1
Spleen | y = 34.642x − 4.2273 | 0.9973 | 10–1000 | 10
Lung | y = 84.462x + 8.2483 | 0.9907 | 1–1000 | 1
Kidney | y = 70.598x + 9.66 | 0.9929 | 1–1000 | 1
Brain | y = 30.828x + 1.3522 | 0.9999 | 10–1000 | 10
Stomach | y = 32.986x − 12.094 | 0.9997 | 10–1000 | 10
Intestine | y = 79.144x + 0.6974 | 0.9975 | 1–1000 | 1
Muscle | y = 35.05x − 17.483 | 0.9993 | 10–1000 | 10
Fat | y = 40.822x − 0.2159 | 0.9998 | 10–1000 | 10
Testis | y = 41.882x + 7.4713 | 0.9997 | 10–1000 | 10
Ovary | y = 44.511x − 4.902 | 0.9969 | 10–1000 | 10
Uterine | y = 38.183x − 9.2433 | 0.9996 | 10–1000 | 10

## Table 2
Unnamed: 0 | NormalizedConcentration (ng/mL) | 1 | 3 | 300 | 750
Day 1(n = 6) | Measured (Mean ± SD) | 0.99 ± 0.10 | 3.29 ± 0.09 | 301 ± 7 | 683 ± 30
Day 1(n = 6) | RSD (%) | 10.6 | 2.87 | 2.38 | 4.30
Day 1(n = 6) | RE (%) | −1.12 | 9.67 | 0.22 | −8.93
Day 2(n = 6) | Measured (Mean ± SD) | 1.10 ± 0.13 | 3.31 ± 0.08 | 286 ± 39 | 703 ± 19
Day 2(n = 6) | RSD (%) | 11.3 | 2.35 | 13.5 | 2.71
Day 2(n = 6) | RE (%) | 10.3 | 10.2 | −4.83 | −6.24
Day 3(n = 6) | Measured (Mean ± SD) | 0.91 ± 0.08 | 3.34 ± 0.10 | 319 ± 20 | 733 ± 18
Day 3(n = 6) | RSD (%) | 8.70 | 2.91 | 6.22 | 2.34
Day 3(n = 6) | RE (%) | −9.02 | 11.2 | 6.44 | −2.31
Inter-day(n = 18) | Measured (Mean ± SD) | 1.01 ± 0.13 | 3.31 ± 0.09 | 304 ± 25 | 706 ± 30
Inter-day(n = 18) | RSD (%) | 13.0 | 2.62 | 8.30 | 4.22
Inter-day(n = 18) | RE (%) | 0.83 | 10.3 | 1.29 | −5.83

## Table 3
NormalizedConcentration (ng/mL) | Matrix Effect (%) (Mean ± SD) | RSD (%) | Recovery (%) (Mean ± SD) | RSD (%).1
3 | 135 ± 7 |  | 92 ± 6
300 | 129 ± 3 | 3.68 | 93 ± 4 | 6.03
750 | 130 ± 5 |  | 95 ± 8
2000 (IS) | 92.0 ± 2.3 | 12.2 | 85 ± 1 | 2.53

## Table 4
StorageConditions | SpikedConcentration (ng/mL) | MeasuredConcentrations (ng/mL) | RSD (%) | RE (%)
Room temperature for 2 h | 3 | 2.96 ± 0.10 | 3.29 | −1.50
Room temperature for 2 h | 300 | 278 ± 3 | 1.2 | −7.44
Room temperature for 2 h | 750 | 670 ± 15 | 2.23 | −10.7
Autosampler stability (4 °C for 24 h) | 3 | 3.15 ± 0.11 | 3.34 | 5.00
Autosampler stability (4 °C for 24 h) | 300 | 299 ± 10 | 3.45 | −0.33
Autosampler stability (4 °C for 24 h) | 750 | 710 ± 27 | 3.75 | −5.38
Three freeze–thawcycles | 3 | 2.87 ± 0.29 | 9.99 | −4.22
Three freeze–thawcycles | 300 | 287 ± 20 | 6.97 | −4.28
Three freeze–thawcycles | 750 | 684 ± 18 | 2.59 | −8.87

## Table 5
Unnamed: 0 | T1/2 (h) | CL(mL/h/kg) | Tmax (h) | Cmax (ng/mL) | AUC0–t (h*ng/mL) | AUC0–∞ (h*ng/mL)
Male | 0.45 ± 0.02 | 1149 ± 119 | 0.19 ± 0.10 | 284 ± 48.2 | 305 ± 30.2 | 315 ± 31.0
Female | 0.43 ± 0.04 | 1509 ± 177 | 0.14 ± 0.10 | 231 ± 2.08 | 233 ± 27.0 | 241 ± 29.0
Total | 0.44 ± 0.03 | 1329 ± 239 | 0.17 ± 0.09 | 257 ± 42.4 | 269 ± 47.3 | 278 ± 48.9

## Table 6
Parameter | Predicted Value | Source and Reference
Molecular weight (g/mol) | 473.15 | Chemdraw
pKa (acid) | 4.22 | Chemdraw
Log P | 4.82 | ADMET lab 2.0
Permeability (10−6 cm/s) | 9.30 | ADMET lab 2.0
Aqueous solubility at pH 7 (μg/mL) | 1.75 | ADMET lab 2.0
Fu (Fraction unbound) | 0.61% | ADMET lab 2.0
CLH (mL/min/kg) | 4.26 | ADMET lab 2.0
CLR (mL/min/kg) | 4.26 | ADMET lab 2.0
Blood/Plasma concentration ratio | 1.50 | PK-Sim
Partition coefficients |  | PK-Sim standard
Cellular permeabilities |  | PK-Sim standard

## Table 7
Unnamed: 0_level_0_Unnamed: 0_level_1 | Mice_Observed | Mice_Predicted | Mice_Fold Error | Rats_Observed | Rats_Predicted | Rats_Fold Error
Cmax (ng/mL) | 2038 | 3464 | 1.7 | 257 | 615 | 2.39
AUC0→t (h*ng/mL) | 1327 | 1599 | 1.2 | 269 | 260 | 0.97
Vd (L/kg) | 11.2 | 12.96 | 1.16 | 4.13 | 4.5 | 1.09
Cl (mL/min/kg) | 56.8 | 47.5 | 0.84 | 22.2 | 19.7 | 0.89

## Table 8
Time (min) | Water (5 mM Ammonium Formate, %) | Methanol (%)
0.1 | 80 | 20
0.3 | 5 | 95
1.8 | 5 | 95
1.9 | 80 | 20
3 | stop | stop

## Table 9
Compounds | Precursor Ion | Product Ion | CE (eV) | DP (eV)
84-B10 | 472 | 282 | −30 | −120
IS | 423 | 349 | −40 | −130

## Freetext Data
Data | Value | Relevance
Animal study protocol approval | 2023-YTU-051501, date of approval: 15 May 2023 | Relevant to protocol standards because it indicates ethical approval for the animal studies conducted in the research.
Study species and age | Sprague Dawley rats (10 weeks old, 300 g) and C57BL/6J mice (8 weeks old, 20 g) | Relevant to the experimental setup since pharmacokinetics and tissue distribution studies were conducted on these animals.
Study compound and synthesis source | 84-B10 (purity >99%), synthesized by Shanghai Medicilon Inc. | Relevant to compound identity, purity, and sourcing for experimental trials.
UHPLC-MS/MS system employed | ExionLC system with SCIEX 4500 triple quadrupole | Relevant to quantification and analytical methods ensuring high specificity and accuracy.
Internal standard used | Ginkgolide J (purity >99%) | Relevant to establishing methodological reliability in quantification of 84-B10.
Plasma concentration–time curve in rats | tmax: 0.17 h, Cmax: 257 ng/mL | Relevant to pharmacokinetic profile analysis under study conditions.
Elimination half-life (t1/2) in rats | 0.44 h | Relevant to understanding the rapid elimination kinetics of 84-B10.
Pharmacokinetic parameters using a PBPK model | Fold error within 0.5 to 2 | Relevant for evaluating the predictive accuracy of the PBPK model validation compared to observed data.
Predicted dose for humans | 0.41 mg/kg | Relevant to the dosage optimization for translating findings to human studies.
Predicted Cmax,ss (steady-state) in CKD patients | Plasma: 1360 ng/mL; Kidney: 8773 ng/mL | Relevant to evaluating therapeutic efficacy and tissue targeting in CKD conditions.
Stability of 84-B10 | RE < 11% under conditions such as room temp for 2 h, freeze-thaw, and autosampler storage | Relevant to assessing reliability and consistency of drug quantification.
Software employed for PBPK model | PK-Sim (version 11.1) | Relevant to computational model development for predicting pharmacokinetics in humans and animal studies.
Molecular weight of 84-B10 | Value acquired via ChemDraw software | Relevant to physicochemical characterization necessary for PBPK model input parameters.
Sensitivity parameters in PBPK model | Fraction unbound, lipophilicity, permeability impacting AUC and Cmax | Relevant to identifying critical inputs shaping the success of the PBPK simulation.
Therapeutic target for 84-B10 | Activation of Lon protease 1 (LONP1) in mitochondria | Relevant to mechanism of action against CKD and AKI pathogenesis via mitochondrial protection.
Pharmacokinetic experimental setup | Plasma and tissues collected after 0.36 mg/kg administration | Relevant to understanding methods employed for drug distribution and elimination studies.
Animal tissue distribution peak time | Maximum concentration at 0.033 h | Relevant to tissue distribution pattern aligning with therapeutic mechanisms in target organs.
Matrix effects on 84-B10 quantification | RSD values: 3.68% and 12.2% for analyte and IS | Relevant to ensuring accuracy during plasma sample analysis.
Estimated human physiological settings | Healthy European male; Average age: 30 years; BMI: 23.57 kg/m2 | Relevant to extrapolation of human pharmacokinetics from animal models.
Plasma Collection Time Points | 0.033, 0.083, 0.25, 0.5, 1, 2, 4, 6, and 8 h after administration | Relevant for understanding the temporal sampling framework of the PK study to determine plasma concentration over time.
Tissue Sampling | Tissue homogenates obtained by grinding with pure water (w:v, 1:5) | Indicates the method used to prepare tissue samples for PK analysis, ensuring accurate representation of distribution.
Rat Sample Size | 300 g rats (10 weeks old) | Relevant for setting the experimental framework, showcasing consistent animal model size and age criteria.
Mouse Sample Size | 20 g mice (8 weeks old) | Provides details on the alternate organism used for validation, enabling the extension of PK predictions.
Rat Population | Sprague Dawley rats | Relevant to the model as it influences biological response and validation for PK parameters.
Mouse Population | C57BL/6J mice | Relevant for the study as it provides cross-species extrapolation for PBPK model validation.
Plasma Collection Method | Blood collected into tubes with heparin sodium | Essential protocol details that define sampling preservation accuracy.
Blood Centrifugation Parameters | Centrifuged at 8,000 rpm for 5 min to obtain plasma | Relevant for assuring plasma sample quality and consistency.
Animal Feeding Controls | Sprague Dawley rats and C57BL/6J mice housed at 22 ± 2 °C, humidity at 55 ± 5%, with a 12-h light/dark cycle | Relevant for confirming controlled environmental conditions affecting PK accuracy.
Injection Dosage | 84-B10 (0.36 mg/kg for rats and 5 mg/kg for mice) | Central to understanding dosage-related observation and PK modeling.
Analysis Samples | Plasma and tissue homogenates analyzed through UHPLC-MS/MS | Indicates the precise analytical methods applied to PK measurement, ensuring valid quantification.
Biological Replication | n = 3 per time point/tissue for rats | Relevant for statistical validation ensuring robust PK data.
84-B10 PK model | Physiologically Based Pharmacokinetic (PBPK) model | The PBPK model is pertinent as it was developed to predict the pharmacokinetic behavior of 84-B10 in healthy individuals and CKD patients, simulating its distribution, absorption, and elimination using physiological compartments.
Model construction platform | PK-Sim version 11.1 | PK-Sim was used to construct the PBPK model, making it the primary tool for integrating physiological and biochemical parameters necessary for simulations.
Model structure | Lung, heart, spleen, gastrointestinal tract, liver, kidney, brain, adipose, muscle, skin, arterial and venous blood, and rest of the body as compartments | These compartments form the foundation of the PBPK model, allowing the study to simulate drug distribution and metabolism across different tissues.
Validation method | Experimental data from mice and rats | Validation ensures the PBPK model accurately reflects real pharmacokinetics before applying it to human predictions, making it a critical step in developing the model.
Human application | Extrapolated using healthy and CKD physiology | The PBPK model was extrapolated to predict the pharmacokinetics of 84-B10 in humans, showcasing its adaptability for clinical relevance.
Molecular weight | Estimated using Chemdraw (version 19.0) | Essential physicochemical parameter for the PBPK model construction.
pKa | Obtained from Chemdraw (version 19.0) | Crucial for understanding the compound's ionization properties that influence ADME behavior.
Log P | Acquired from ADMET lab 2.0 | Used to estimate lipophilicity, critical for determining tissue partitioning and permeability in the PBPK model.
Permeability | Acquired from ADMET lab 2.0 | Needed for simulating drug absorption across biological membranes in the pharmacokinetics model.
Aqueous solubility clearance | Obtained via ADMET lab 2.0 | Plays a role in predicting drug solubility and elimination processes.
Fraction unbound | Sourced from ADMET lab 2.0 | Impacts drug distribution and effectiveness of simulation in PK model.
Blood/plasma concentration ratio | Optimized via PK-Sim | Helps refine the simulation accuracy by defining drug partitioning behavior between blood and plasma.
Partition coefficients | Optimized via PK-Sim | Essential for predicting tissue-specific distribution of 84-B10 in the PBPK model.
Cellular permeabilities | Optimized via PK-Sim | Supports the simulation of drug transport across cellular membranes in different tissues.
Various tissue volumes | PK-Sim default values | Defines anatomical framework in the PBPK model for proper distribution simulation.
Blood flow rates | PK-Sim default values | Necessary for capturing dynamic changes in drug distribution in systemic circulation.
Rat PK data | Experimental extraction and validation via UHPLC-MS/MS | Validates the PBPK model with real plasma and tissue concentration curves.
Mouse PK data | Obtained from prior research publication | Augments model accuracy using non-human preclinical reference data.
Sensitivity analysis parameters | Fraction unbound, lipophilicity, permeability | Validated the impact of these inputs on PK outcomes like AUC and Cmax.
Healthy and CKD patient physiology | Literature-based adjustments for CKD parameters | Differentiates elimination rates and renal drug exposure in simulated populations.
Fraction unbound in plasma | Significant impact on AUC and Cmax | Fraction unbound directly influences drug bioavailability and distribution, affecting pharmacokinetics.
Lipophilicity | Significant impact on AUC and Cmax | Lipophilicity determines membrane permeability and tissue distribution, affecting drug concentration and elimination patterns.
Permeability | Significant impact on AUC and Cmax | Permeability influences drug absorption and tissue penetration, critical for pharmacokinetic outcomes.
Blood/plasma concentration ratio | Input parameter for PBPK model | The ratio affects drug distribution predictions in the PBPK model, which influences pharmacokinetic evaluations.
Partition coefficients | Optimized in PBPK model | Integral for estimating drug distribution in different tissues and its overall pharmacokinetics.
Cellular permeabilities | Included in PBPK model | Cellular permeability impacts how 84-B10 crosses membranes, determining its pharmacokinetics.
Physiological parameters in CKD | Reduced renal blood flow and glomerular filtration rate | These parameters influence drug elimination, resulting in slower clearance in CKD patients compared to healthy individuals.
Model sensitivity analysis | Fraction unbound in plasma, lipophilicity, and permeability | Sensitivity analysis shows these factors heavily influence PK model predictions, indicating their importance in pharmacokinetics.
Plasma protein binding | Fraction unbound determined in optimization | Plasma protein binding is a crucial determinant for drug bioavailability, influencing PK behaviors directly.