## Table 1
run | flow rate (A) | injection volume (B) | pH of buffer solution (C) | mobile phase ratio (D) | column temperature (E) | volume of protein precipitant (F) | autosampler temperature (G)
1 | –1 | –1 | –1 | –1 | –1 | –1 | –1
2 | +1 | +1 | –1 | +1 | –1 | –1 | +1
3 | +1 | –1 | +1 | +1 | –1 | +1 | –1
4 | +1 | +1 | –1 | –1 | +1 | +1 | –1
5 | –1 | +1 | +1 | +1 | +1 | –1 | –1
6 | –1 | +1 | +1 | –1 | –1 | +1 | +1
7 | +1 | –1 | +1 | –1 | +1 | –1 | +1
8 | –1 | –1 | +1 | +1 | +1 | –1 | –1

## Table 2
factors and their levels_design run | factors and their levels_A | factors and their levels_B | responses_responses | goal_goal
1 | 0.0 | –1.0 | peak retention time (min) | <5
2 | –1.0 | 1.0
3 | 0.0 | 0.0 | peak area (mAU) | >10,000
4 | 0.0 | 0.0
5 | 1.0 | 0.0
6 | –1.0 | –1.0
7 | 1.0 | –1.0
8 | –1.0 | 0.0
9 | 0.0 | 1.0
10 | 0.0 | 0.0
11 | 1.0 | 1.0
12 | 0.0 | 1.0
13 | 0.0 | 0.0

## Table 3
parameters | EL3-S60 | EL3-S80 | EL3-T80 | EL3-S80 gel
soya phosphatidylcholine (%) | 70 | 80 | 85 | 80
surfactant (%) | 30 | 20 | 15 | 20
particle size (nm) | 173 ± 8.0 | 154 ± 7.6 | 221 ± 11.4 | -
zeta potential (mV) | –11.3 ± 0.7 | –9.5 ± 0.3 | –2.4 ± 0.2 | –27.9 ± 0.2
viscosity (cP) | 2966 ± 12.61 | 3554 ± 11.22 | 3787 ± 12.05 | 4743 ± 13.05
elasticity | 32.5 | 44.5 | 40.8 | -
drug entrapment efficiency (%) | 81.2 ± 1.8 | 85.7 ± 2.9 | 79.4 ± 1.2 | 92.73 ± 5.76
pH | 7.3 | 7.5 | 7.4 | 7.4

## Table 4
name_name | HSP values predicted in HSPiP software_δd | HSP values predicted in HSPiP software_δp | HSP values predicted in HSPiP software_δh | HSP values predicted in HSPiP software_δt | HSP values predicted in HSPiP software_RED | HSP values predicted in HSPiP software_MVol
5-fluorouracil | 18.8 | 12.8 | 8.3 | 24.2 |  | 80.7
methanol | 16.4 | 12.3 | 21.7 | 29.9 |  | 41.1
ethanol | 15.6 | 9.3 | 17.2 | 25 |  | 58.2
acetonitrile | 15.6 | 16.6 | 8.3 | 24.3 |  | 53.4
ethyl acetate | 18.2 | 5.1 | 7.1 | 18.2 |  | 97.6
water | 15.6 | 16 | 42 | 47.6 |  | 18
methanol + water (99:1) | 14.7 | 12.3 | 22.5 |  | 1.8
methanol + water (90:10) | 14.8 | 12.76 | 24.3 |  | 1.9
methanol + water (50:50) | 15.1 | 14.2 | 31.5 |  | 2.4
methanol + water (40:60) | 15.2 | 14.52 | 34.88 |  | 2.9
methanol + water (10:90) | 15.4 | 15.6 | 40.97 |  | 3.5
acetonitrile + water (96:04) | 15.3 | 17.8 | 8.7 |  | 0.97
acetonitrile + water (50:50) | 15.4 | 17 | 24.2 |  | 1.92
acetonitrile + water (40:60) | 15.4 | 16.8 | 27.4 |  | 2.3
acetonitrile + water (10:90) | 15.5 | 16.2 | 38.7 |  | 3.4
acetonitrile + water (75:25) | 15.4 | 17.5 | 15.2 |  | 0.97
acetonitrile + water (93:07) | 15.3 | 17.9 | 8.6 |  | 0.9
acetonitrile + water (60:40) | 15.4 | 17.2 | 20.6 |  | 1.6
acetonitrile + methanol (81:19) | 15.2 | 16.9 | 9.2 |  | 0.9
acetonitrile + methanol (70:30) | 15.1 | 16.3 | 11 |  | 0.9
acetonitrile + methanol (60:40) | 15.1 | 15.7 | 12.6 |  | 1
acetonitrile + methanol + water (10:65:25) | 15 | 13.8 | 25.4 |  | 2
acetonitrile + methanol + water (25:65:10) | 14.1 | 14.9 | 20.3 |  | 1.5
acetonitrile + methanol + water (65:25:10) | 15.2 | 16.4 | 13.8 |  | 1.1
acetonitrile + methanol + water (75:15:10) | 15.2 | 16.9 | 12.2 |  | 1

## Table 5
analytical conditions (HPLC) | value
composition of mobile phase | ACN: phosphate buffer (96:4) v/v
pH | 6.5
column temperature | 40 °C
column dimension | 250 × 4.6 mm
packing particle size | 5 μm
injection volume | 10 μL
flow rate | 1.0 mL/min
run time | 5 min
detection wavelength | 257 nm

## Table 6
concentration (μg/mL) | levels (%) | theoretical concentration (μg/mL) | recovery concentration (μg/mL) | recovery (%) | CV (%)
0.4 | 92 | 0.37 | 0.36 | 97.3 | 1.3
| 97 | 0.38 | 0.37 | 98.6 | 1.7
| 99 | 0.39 | 0.38 | 99.5 | 1.6
0.6 | 92 | 0.55 | 0.54 | 97.3 | 1.5
| 97 | 0.58 | 0.57 | 98.2 | 1.9
| 99 | 0.59 | 0.58 | 99.1 | 2.1
0.8 | 92 | 0.74 | 0.74 | 99.5 | 1.4
| 97 | 0.77 | 0.76 | 98.3 | 1.6
| 99 | 0.79 | 0.77 | 97.5 | 0.9

## Table 7
pharmacokinetic parameters | drug-sol | EL3-S60 | EL3-S80 | EL3-T80 | EL3-S80 gel
C max (μg/mL) | 65.56 ± 2.4 | 140.09 ± 4.5 | 328.70 ± 7.3 | 110.05 ± 4.7 | 133.56 ± 2.4
T max (h) | 4.3 | 12.1 | 12.4 | 8.2 | 8.1
AUC0–∞ (μg h/mL) | 78.77 ± 2.1 | 125.44 ± 5.1 | 166.32 ± 3.7 | 146.18 ± 3.2 | 153.21 ± 3.1
AUMC (μg h2/mL) | 724.15 ± 7.5 | 1174.42 ± 12.3 | 1578.53 ± 11.5 | 1243.44 ± 8.3 | 1365.91 ± 12.1
MRT (h) | 9.19 | 9.36 | 9.49 | 8.51 | 8.91
T 1/2 (h) | 5.78 | 13.86 | 23.1 | 17.32 | 34.64
Ke (h–1) | 0.12 ± 0.02 | 0.05 ± 0.01 | 0.03 ± 0.02 | 0.04 ± 0.03 | 0.02 ± 0.03

## Freetext Data
Data | Value | Relevance
--- | --- | ---
HPLC Method Development Approach | Use of Hansen solubility parameters (HSP), computational prediction program, and quality by design (QbD) tool | Relevant to the paper's focus on optimization and validation of an analytical HPLC method.
Mobile Phase Ratio | 96:4 (Acetonitrile: Phosphate buffer) | Highlights solvent optimization based on HSP and computational predictions for efficient drug analysis.
Column Temperature | 40 °C | Key factor in developing a robust and reproducible HPLC method.
Retention Time (Y1) | 3.1 min | Demonstrates the achieved efficiency and baseline separation of 5-FU in the developed method.
Peak Area (Y2) | High peak area resulting from optimized conditions | Ensures sensitivity and detection accuracy in the analytical method.
Dependent Variable Modeling | Quadratic model with combined desirability of 0.978 | Central to optimizing HPLC conditions for reproducibility and precision.
LLOD | 0.11 μg/mL | Indicates the sensitivity of the developed HPLC method for low-concentration measurements in pharmacokinetic analyses.
LLOQ | 0.36 μg/mL | Reflects the level of precision for quantification limits while ensuring reproducible results.
Validation Guidelines Followed | ICH Q2 (R1) | Ensures the method adheres to international standards for bioanalytical method validation.
Significant Factors Identified | Mobile phase ratio and column temperature identified via Taguchi's design | Direct impact on enhancing the sensitivity and accuracy in 5-FU analysis.
Main Solvent Selected | Acetonitrile | Selected for its close HSP compatibility with 5-FU, ensuring high solubility and compatibility.
Recovery Percentage (5-FU from Plasma) | 97.3%–99.1% | Shows the high efficacy and dependability of the developed method for biological samples.
Specific Interferences Managed | Avoidance of drug precipitation in alkaline medium | Overcomes the challenge of self-degradation of 5-FU during analysis.
Freeze–Thaw Cycle Stability | Stability preserved after multiple freeze-thaw cycles | Confirms the method's ability to handle real-world sample storage conditions in pharmacokinetics.
In Vivo Applications | Pharmacokinetic study after transdermal application of EL3 formulations | Demonstrates the practical implementation of the analytical method.
Bioavailability Parameters (EL3-S80 formulation) | Cmax increased by 510%, AUC0-t increased by 211% | Establishes the role of formulation in enhancing drug absorption measured by the method.
Desirability Score | 0.978 | Reflects the robustness and reliability of the optimized bioanalytical method for 5-FU.
Computational Prediction Tools Used | HSPiP and MD simulation studies | Relevant for accurately predicting solvent properties and interactions for efficient HPLC method development.
Key Issues Addressed | Cost, simplicity, reproducibility, low run time, and sensitivity improvement | Directly aligns with the paper's objective to address challenges in 5-FU's bioanalytical estimation.
Patient sample size | 3 rats per group (5 groups, n=3) | Explains how the experiment was scaled in terms of the number of animal subjects, ensuring the validity and feasibility of pharmacokinetic study outcomes.
Patient population | Male Wistar rats, 250–300 g | Details the demographic profile of the test subjects, which is essential for understanding the applicability of the results to similar models.
Blood sampling time points | 0, 0.5, 1, 2, 4, 6, 8, 12, and 24 hours | Provides the time intervals at which pharmacokinetic samples were collected, which is directly relevant for determining drug concentration profiles over time.
Sampling method | Blood was withdrawn from the retro-orbital plexus using a fine glass capillary tube | Specifies the technique of sample collection, which impacts the robustness and reproducibility of sample handling in the study.
Volume of blood drawn | 0.5 mL | A crucial detail to determine if the sample size was sufficient for accurate analysis of pharmacokinetics while minimizing stress on the animals.
Model used for optimization | Central Composite Design (CCD) | CCD was employed to identify the impact of significant factors like the mobile phase ratio and column temperature on retention time (RT) and peak area during the development and optimization of the HPLC method.
HSP-based Model | Hansen Solubility Parameters (HSP) | The HSP model predicted solvents and solvent ratios for optimal solubility and mobile phase selection, demonstrating the cohesive energy interaction for improved HPLC method accuracy.
Analytical Quality by Design (QbD) Tool | Taguchi model and CCD | The QbD tool integrated the Taguchi model and CCD to optimize process variables impacting HPLC performance and bioanalytical reliability.
Pharmacokinetic Analysis | Plasma drug concentration–time profile | Plasma concentration–time profile analysis was used instead of traditional tape stripping methods for dermato-pharmacokinetics, aligning with pharmacokinetic modeling principles.
Molecular Modeling | In-silico Molecular Dynamics Simulation | Molecular modeling provided predictive insights into solubility and intermolecular interactions of 5-FU with solvents, supplementing experimental data and optimization procedures.
HSP Values (δd, δp, δh) for 5-FU | 18.8, 12.8, 8.3 | These Hansen Solubility Parameters (HSP) for 5-FU were estimated using the HSPiP software and are crucial for screening the solvents suitable for drug solubility.
HSP Values for Acetonitrile (δd, δp, δh) | 15.3, 18.0, 8.3 | Predicted via HSPiP, these values matched closely with 5-FU's HSP values, confirming its suitability as a solvent.
RED Value for Acetonitrile-Water Mixture (96:4) | 0.97 | Estimated using HSPiP, this indicates acetonitrile-water is a good solvent mix with energy differences compatible with 5-FU.
Retention Time (RT) | 3.1 minutes | Optimized using CCD (central composite design), a key chromatographic parameter related to analysis speed and efficiency.
Peak Area (AUC) | Numerical increase with desirability 0.978 | Evaluated using CCD; peak area is a critical parameter for measuring drug concentration.
LLOD (Lower Limit of Detection) | 0.11 μg/mL | Derived experimentally during HPLC validation, representing method sensitivity.
LLOQ (Lower Limit of Quantification) | 0.36 μg/mL | Experimentally confirmed, indicating the lowest detectable concentration for quantitative analysis.
Mobile Phase Ratio | Acetonitrile:Phosphate Buffer (96:4) | Predicted with HSPiP and experimentally validated; essential for solubilization and chromatographic performance.
Column Temperature | 40°C | Optimized via CCD; this parameter minimizes viscosity and improves separation efficiency.
pH of Phosphate Buffer | 6.5 | Selected to maintain drug stability and compatibility during analysis.
Parameter Statistical Desirability | 0.978 | Obtained from CCD optimization, reflecting the robustness and reliability of the HPLC method.
Experimental Solubility of 5-FU in Acetonitrile | 11.4 ± 0.6 mg/mL | Measured practically to validate the HSP-based predictions.
Hydrogen Bonding Parameter Comparison (δh) | Acetonitrile (8.3) vs Methanol (21.7) | Estimated via HSPiP, relevant for confirming acetonitrile as a more interactive solvent for 5-FU.
Validation Correlation Coefficient | 0.999 | Measured during method validation, indicates excellent linearity for the HPLC analysis.
Slope of Calibration Curve | 108.8 | Derived experimentally to express the relationship between concentration and response during validation.
Freeze-Thaw Stability | Stable through cycles at -20°C and 25°C | Assessed experimentally to ensure reliability across storage conditions.
Short-Term Stability | Stable for 24 hours at 30°C | Experimentally confirmed, important for real-world application feasibility.
Solubility Variation Across Solvents | Range from 0.6 mg/mL (ethanol) to 27.1 mg/mL (DMSO) | Experimentally assessed to support computational predictions specific to solvent interactions.
Signal-to-Noise Ratio for LLOD/LLOQ Determination | Standard Equations | Used experimentally to validate HPLC method sensitivity.
Adjusted R² from CCD Model | Close to observed R² | Statistical validation parameter demonstrating optimization accuracy from Taguchi and central composite design methodologies.
Mobile phase ratio | 96:4 (ACN: Phosphate buffer) | Relevant as the study identified that the organic phase ratio in the mobile phase impacted the pharmacokinetic analysis of 5-FU.
Column temperature | 40°C | Relevant because the optimized column temperature was shown to reduce viscosity and improve method reliability, which influences pharmacokinetic parameters.
Cmax (maximum concentration) | Increased by 510% for EL3-S80 compared to drug solution | Relevant because this demonstrates how changes in formulation affected the drug's absorption kinetics and bioavailability.
AUC0–t (area under the curve) | Increased by 211% for EL3-S80 and 195% for EL3-S80 gel compared to drug solution | Relevant since AUC is a primary pharmacokinetic indicator for drug absorption and systemic exposure.
Tmax (time to reach Cmax) | Lag time reduced to 18 minutes for EL3-S80 and 21 minutes for EL3-S80 gel | Relevant as it shows the impact of formulations on the rate of absorption through the transdermal route.
Vesicular formulation impact | Nano-sized vesicles improved drug permeability and systemic bioavailability | Relevant because the nano-sized vesicles significantly enhanced the pharmacokinetics of 5-FU.
Hydration effect of the gel | Provided by EL3-S80 gel, influencing drug diffusion | Relevant because gel-mediated hydration impacts drug permeation rates, contributing to prolonged drug release.
Span 80-based elastic liposomes | Improved Cmax and AUC significantly | Relevant as the choice of surfactant in vesicular formulations was critical to enhancing pharmacokinetic outcomes.
Polarity and hydrogen bond parameters | HSP values (δh = 8.3 for acetonitrile vs δh = 21.7 for methanol) | Relevant as the solubility of 5-FU in optimized solvents influenced the development of a more reliable bioanalytical method, which is tied to pharmacokinetic analysis.
Buffer content in mobile phase | Limited to 4% to avoid precipitation | Relevant as excessive aqueous content impacts drug stability, which is crucial when analyzing pharmacokinetics in biological samples.
Formulation lag time variability | EL3-S80 (shorter, 18 min) and drug solution (longer, 36 min) | Relevant in demonstrating the pharmacokinetics of different delivery mediums impacting absorption rate.