## Freetext Data
Data | Value | Relevance
--- | --- | ---
Peripheral Artery Disease (PAD) Prevalence | PAD affects ~12% of adults and ~20% of adults over age 70 | Relevant as PAD is the target condition addressed by the drug-eluting stents explored in the paper.
PAD Consequences | PAD leads to intermittent claudication, limb loss, myocardial infarction, stroke, and higher mortality rates | Relevant because the paper aims to improve stent designs to mitigate these severe health outcomes associated with PAD.
PAD Treatment Challenges | High rates of restenosis and stent fracture due to vascular motion stress | Relevant for understanding the need for improved testing systems like the bioreactor to address motion-related device failures in PAD treatment.
Clinical Success of Coronary DES vs PAD DES | DES successful in 90%-95% patients with coronary artery disease but less so for PAD | Relevant because the proposed bioreactor system focuses specifically on improving peripheral DES outcomes which are currently suboptimal.
Peripheral Artery Motion Dynamics | Vessels experience shortening, twisting, bending during daily activities, leading to stent fractures | Relevant as the bioreactor mimics these physiological motions to evaluate stent performance under realistic conditions.
Motivation for Ex Vivo Model | Desire to rapidly assess the pharmacokinetics of devices while minimizing animal use | Relevant because the design of this model directly addresses the need for alternatives to in vivo animal studies in device testing.
Mechanical Features of Bioreactor | Flexion (0°-180°), bending (5-300mm radius), axial shortening (0-100mm) mimics human arterial motion | Relevant as it replicates key biomechanical stresses to which peripheral arteries are subjected in real-world conditions.
Paclitaxel Loss in Zilver Stents | 99% drug loss at 30 min; 99.9% drug loss at 24 hours | Relevant because understanding drug retention is critical for improving DES pharmacokinetics, which is the focus of the study.
SEM Findings on Drug Loss | Drug coating is present at baseline but diminishes significantly after deployment and motion conditions | Relevant as SEM results confirm stent drug elution patterns and the effect of vascular motion stresses on stent coating.
Cost Impact of PAD | ~ $21 billion annually | Relevant as the study's novel bioreactor system aims to reduce preclinical testing costs and potentially alleviate the economic burden of PAD treatment.
Purchased harvested porcine carotid arteries from local abattoirs | Stored in 15-mL centrifuge tubes at −20°C until needed | Relevant as this describes the arterial specimens used for the PK study, addressing the patient population aspect as porcine arteries served as the model.
Tissue sampling time points | 30 min and 24 h post-stenting | Relevant because it specifies the sampling intervals used to analyze paclitaxel drug concentration, addressing "sampling time points."
Ex vivo treated arteries (n = 3 per time point, evenly matched) | Sample size in experiments | Relevant because it provides the sample size used in the study, addressing "patient sample size."
Peripheral motion simulated | Torsion: 2.1°/cm, axial shortening: 4.0%, bending radius: 72.1 mm | Relevant as it describes conditions related to vascular motion applied during the PK study, enhancing understanding of experimental design.
Tissue paclitaxel concentrations measured | 119 ± 26.1 ng/mg at 30 min, 61.37 ± 41.2 ng/mg at 24 h under pulsatile flow, 71.56 ± 23.4 ng/mg at 24 h with pulsatile flow and peripheral motion | Relevant because it provides specific data collected for PK analysis, directly tied to measuring outcomes at stated sampling times.
Peripheral simulating bioreactor system | Ex vivo pulsatile system | The study utilized a novel ex vivo system designed to mimic the physiological conditions of peripheral arteries, focusing on their motion dynamics and providing a mechanistic platform for assessing drug pharmacokinetics in stents.
Three-degree-of-freedom actuating system | Physiological motion model | The bioreactor system incorporates mechanical simulation of vascular motion, including torsion, bending, and axial shortening, allowing for a realistic representation of peripheral artery movement.
Flow system with DMEM-based medium and pressure monitoring | Functional flow model | The flow system mimics physiological pulsatile flow conditions, integrating flow rate and pressure control which are vital for evaluating stent pharmacokinetics and tissue drug retention.
Integration of Servo Motors | Motion simulation | Servo motors enable vascular-like movements, offering a physiologically-based framework for modeling peripheral artery biomechanics in pharmacokinetic studies.
Mean flow rate in bioreactor system | 134 mL/min | This parameter is relevant as it simulates physiological flow conditions observed in peripheral arteries.
Mean pressure in bioreactor system | 55 mmHg | This value replicates the pressure conditions typical of peripheral arteries, crucial for pharmacokinetic evaluation.
Axial shortening during vascular motion | 4.0% | Estimated based on studies of superficial femoral artery motion, relevant for mimicking arterial deformation seen in PAD.
Torsion during vascular motion | 2.1°/cm | Derived from clinical data on twist per centimeter in peripheral arteries, important for assessing stent interaction.
Bending radius during vascular motion | 72.1 mm | Derived from biomechanical studies, necessary for simulating bending stresses that impact stent performance.
Paclitaxel retention in arterial tissue at 30 min | 119 ± 26.1 ng/mg | Measured via HPLC LC-MS/MS system, relevant for understanding acute drug release and retention in native tissue.
Paclitaxel retention in arterial tissue at 24 h (pulsatile only) | 61.37 ± 41.2 ng/mg | Quantified to track tissue drug concentration trends over time, relevant for assessing pharmacokinetics.
Paclitaxel retention in arterial tissue at 24 h (pulsatile + motion) | 71.56 ± 23.4 ng/mg | Monitored under combined stresses, highlighting the influence of vascular motion on drug delivery systems.
Drug residual on stent at 30 min | 3522 ± 1534 ng | Measured using validated methods, crucial for assessing drug loss from the stent surface shortly after deployment.
Drug residual on stent at 24 h (pulsatile only) | 359 ± 257 ng | Reflects significant drug loss during pulsatile flow conditions, key for optimizing stent coating designs.
Drug residual on stent at 24 h (pulsatile + motion) | 357 ± 154 ng | Indicates drug retention under combined pulsatile flow and peripheral motion, important for predicting in vivo performance.
Axial shortening range in the peripheral arteries (reported studies) | 0.4%–29.5% | Provides an estimation base for the bioreactor’s axial shortening design, ensuring relevance to human PAD conditions.
Axial twisting range in peripheral arteries | 0.1°–6.3° per cm | Informed the torsion parameters of the bioreactor by reflecting real-world arterial movements in the periphery.
Bending radius range in peripheral arteries | 13–206 mm | Used as a reference to simulate realistic bending stresses on the ex vivo arteries.
Cycle count for peripheral motion experiments | 2880 motion cycles | Estimated to mimic average daily steps taken by claudicating patients, reinforcing the clinical relevance of the test.
Arterial tissue paclitaxel concentrations | Reduction observed from 30 min (119 ± 26.1 ng/mg) to 24 h (61.37 ± 41.2 ng/mg under pulsatile flow only, 71.56 ± 23.4 ng/mg under pulsatile flow and peripheral motion) | Demonstrates how time and combined vascular motion conditions affect drug concentration levels in the arterial tissue post-stenting.
Residual drug amount on stents | Significant reduction from 30 min (3522 ± 1534 ng) to 24 h (pulsatile flow only: 359 ± 257 ng; pulsatile flow and motion: 357 ± 154 ng) | Shows the time-dependent loss of paclitaxel from the stent, which directly influences pharmacokinetics.
Peripheral vascular motion | Torsion (2.1°/cm), axial shortening (4.0%), and bending radius (72.1 mm) | These mechanical stresses cause disturbances to the stent and influence drug elution dynamics and tissue retention.
Paclitaxel coating disturbance | Scanning electron microscopy confirmed greater coating disturbance under peripheral motion than pulsatile-only conditions by 24 h | Highlights that added vascular motion stresses lead to greater drug loss, affecting pharmacokinetics.
Tissue drug distribution | Uniform drug distribution measured in proximal, middle, and distal artery regions | Indicates that the stent design allows for even drug delivery, a critical factor in pharmacokinetics.
Flow and pressure conditions | Mean flow rate: 134 mL/min, mean pressure: 55 mmHg | These physiological parameters were used to simulate in vivo-like conditions, ensuring relevance for pharmacokinetics evaluation.
Initial absence of motion | No peripheral motion applied during first 30 min post-deployment | Mimics clinical relevance, as patients typically restrict motion immediately after stenting, influencing initial drug retention.
Explanted carotid artery properties | Wall thickness (1.0–1.2 mm), inner diameter (3.8–4.4 mm), segment length (7–8 cm) | Represents artery characteristics impacting contact surface and, subsequently, drug pharmacokinetics.
Paclitaxel's therapeutic window | Minimal therapeutic levels reported between 0.01 and 1 ng/mg | Sets a benchmark for evaluating effective drug retention in tissues post-deployment.
Motion cycles simulated | Total of 2880 cycles (to mimic average daily steps for PAD patients) | Relates to real-world conditions that could alter drug kinetics by inducing mechanical stresses on stents and arteries.
Working fluid | DMEM culture medium instead of whole blood | Highlights a limitation of the system that might influence pharmacokinetics compared to actual blood flow in vivo.