## Table 1
Component | Relative molecular mass | t R/min | Ion source model | MS1/(m/z) | MS2/(m/z) | DP/V | CE/eV
Oroxin A | 432.4 | 3.35 | ESI- | 431.3 | 269.1 | −70 | −24
Oroxin B | 594.5 | 2.54 | ESI- | 593.4 | 268.9 | −70 | −33
Baicalin | 446.4 | 3.74 | ESI- | 445.4 | 268.7 | −80 | −50
Chrysin | 254.2 | 7.41 | ESI- | 253 | 143 | −40 | −39
Baicalin | 270.2 | 6.03 | ESI- | 269.2 | 223.2 | −50 | −34
Baicalin | 270.2 | 6.03 | ESI- | 269.2 | 139 | −50 | −46
Scutellarein | 286.2 | 3.72 | ESI- | 285.2 | 117.1 | −50 | −50
Apigenin | 270.2 | 5.25 | ESI- | 268.8 | 116.9 | −60 | −53
Quercetin | 302.2 | 4.45 | ESI- | 300.6 | 151 | −80 | −41
Oroxylin A | 284.2 | 7.74 | ESI- | 283.1 | 267.9 | −40 | −26
Isorhamnetin | 316.3 | 5.66 | ESI- | 315.1 | 300 | −48 | −31
IS | 253.3 | 4.23 | ESI- | 252.2 | 155.8 | −24 | −22

## Table 2
Compoundsconcentration (ng/mL)_Compoundsconcentration (ng/mL) | Standards in stock solution_Standards in stock solution | Final plasma concentration range_Final plasma concentration range | QC sample_Low | QC sample_Medium | QC sample_High
Oroxin A | 5894.93 | 1.26–3894.93 | 2.52 | 1921.22 | 3115.94
Oroxin B | 6410.28 | 1.12–4103.28 | 2.24 | 1932.56 | 3282.62
Baicalin | 1084.12 | 1.35–218.28 | 2.7 | 108.72 | 174.62
Chrysin | 980.34 | 1.25–145.25 | 2.5 | 73.98 | 116.2
Baicalein | 720.65 | 1.44–172.31 | 2.88 | 84.45 | 137.85
Scutellarein | 740.22 | 1.22–126.42 | 2.44 | 62.75 | 101.14
Apigenin | 650.12 | 1.02–198.34 | 2.04 | 98.66 | 158.67
Quercetin | 560.46 | 1.19–67.32 | 2.38 | 33.06 | 53.86
Oroxylin A | 436.06 | 1.32–105.25 | 2.64 | 51.96 | 84.2
Isorhamnetin | 420.12 | 1.03–153.32 | 2.06 | 76.14 | 122.66

## Table 3
Metabolites ID | Composition shfit | Formula | m/z | Error (ppm) | tR (min) | Score (%) | MS/MS fragments | Clog P | Blood | Urine | Bile | Feces
M1 | Oxidation | C21H18O13 | 477.0581 | −1.4 | 4.94 | 84.9 | 461.1717, 445.0563 | −0.860961 | + a | + | - b | –
M2 | Oxidation | C21H18O13 | 477.0584 | −1.8 | 5.98 | 86.5 | 461.0550, 445.0492 | −0.49096 | + a | + | - b | –
M3a | Oxidation | C21H20O12 | 463.0882 | −1.1 | 10.28 | 83 | 431.1893, 301.1614, 269.2367, 241.0175 | −0.382115 | – | – | – | +
M3b | Oxidation | C21H20O12 | 463.0882 | −1.1 | 10.28 | 83 | 431.1893, 301.1614, 269.2367, 241.0175 | −0.0121154 | – | – | – | +
M4 | Oxidation | C21H18O12 | 461.0726 | −1.7 | 10.54 | 84.4 | 445.0736 | −0.194819 | + | + | – | +
M5 | Oxidation | C21H18O12 | 461.0729 | −2.2 | 11.83 | 84.6 | 445.0735 | 0.105181 | + | + | – | +
M6 | Oxidation | C21H18O12 | 461.0729 | −2.6 | 12.54 | 87.9 | 445.0738 | 0.105181 | + | + | – | +
M7 | Oxidation | C21H20O11 | 447.0933 | −3.1 | 12.85 | 87.8 | 431.0898, 269.4778, 241.0008 | 0.284027 | + | + | – | –
M8 | Oxidation | C21H20O11 | 447.0918 | 1.5 | 16.92 | 88.9 | 431.1021, 269.0794, 241.1596 | 0.584027 | + | + | – | –
M9 | Oxidation | C21H20O11 | 447.0917 | −2.4 | 17.52 | 83.6 | 431.0607, 269.0850, 241.1627 | 0.584027 | + | + | – | –
M10 | Oxidation | C15H10O7 | 301.0354 | −1.9 | 13.27 | 89.4 | 285.0421, 269.0742, 241.0975 | 1.74125 | – | + | – | +
M11 | Oxidation | C15H10O6 | 285.0405 | −2.8 | 17.55 | 88.7 | 269.2640, 241.2835, 167.2869, 105.0253 | 2.33739 | + | – | – | +
M11 | Oxidation | C15H10O6 | 285.0405 | −2.8 | 17.55 | 88.7 | 269.2640, 241.2835, 167.2869, 105.0253 | 2.43136 | + | – | – | +
M12a | Oxidation | C27H30O17 | 625.141 | −1.4 | 23.39 | 90.6 | 609.2907, 593.5824, 431.2891, 301.2903, 269.2896, 241.2849 | −1.95866 | – | – | – | +
M12b | Oxidation | C27H30O17 | 625.141 | −1.4 | 23.39 | 90.6 | 609.2907, 593.5824, 431.2891, 301.2903, 269.2896, 241.2849 | −1.58866 | – | – | – | +
M13 | Loss of O | C21H20O9 | 415.1035 | −1.2 | 11.92 | 91 | 253.0721, 225.1226 | 0.916368 | + | + | + | +
M14 | Loss of O | C21H20O9 | 415.1032 | −2.2 | 14.27 | 84.7 | 253.3373, 225.1898 | 2.06637 | + | + | + | +
M15 | Hydrogenation | C21H20O11 | 447.0933 | 1.3 | 15.16 | 89.4 | 271.0372, 243.2034 | 0.736878 | + | + | + | +
M16 | Loss of O | C21H22O10 | 433.1142 | 0.9 | 15.64 | 90.2 | 271.0372, 243.2034 | 0.437521 | + | + | + | +
M17 | Loss of O | C21H22O10 | 433.1205 | 1.4 | 16.7 | 88.4 | 271.0362, 243.2066 | 1.58752 | + | + | + | +
M18 | Loss of O + Hydrogenation | C15H12O4 | 255.0663 | 1.7 | 16.64 | 79.3 | 239.1201, 227.2927 | 2.72185 | + | + | + | +
M19 | Loss of O + Hydrogenation | C15H12O4 | 255.0017 | 1.5 | 20.13 | 83.1 | 239.5212, 227.2927 | 3.11185 | + | + | + | +
M20 | Loss of O + Hydrogenation | C15H12O4 | 255.2634 | −0.5 | 21.45 | 88.3 | 239.4237, 227.0762 | 3.11185 | + | + | + | +
M21 | Hydrogenation | C15H12O5 | 271.0612 | −1.6 | 19.24 | 79.1 | 243.2835 | 2.55023 | + | + | – | +
M22a | Loss of O | C15H10O4 | 253.0506 | −1.4 | 21.51 | 83.2 | 225.3052 | 2.73275 | + | + | – | +
M22b | Loss of O | C15H10O4 | 253.0506 | −1.4 | 21.51 | 83.2 | 225.3052 | 3.56275 | + | + | – | +
M22c | Loss of O | C15H10O4 | 253.0506 | −1.4 | 21.51 | 83.2 | 225.3052 | 3.56275 | + | + | – | +
M23 | Oxidation + Sulfate conjugation | C27H30O19S | 689.1029 | −2.3 | 6.34 | 79.6 | 609.1908, 593.0075, 431.1442, 269.0128 | −2.55403 | – | – | + | –
M24 | Oxidation + Methylation | C22H22O13 | 493.0988 | 1.3 | 7.97 | 84.8 | 447.0031, 271.0515 | −0.55977 | – | + | – | +
M25 | Oxidation + Glucuronide conjugation | C27H26O18 | 637.1077 | 2.3 | 8.01 | 87.2 | 445.1107, 269.0551 | −1.87163 | + | + | + | +
M26 | Oxidation + Sulfate conjugation | C21H18O15S | 541.0294 | 1.4 | 9.7 | 89.4 | 445.0072, 269.0557 | −1.23568 | + | + | + | –
M27 | Sulfate conjugation | C27H30O18S | 673.1115 | 2.4 | 10.36 | 88.5 | 593.1008, 431.0385, 269.0666, 241.1824 | −2.83038 | + | + | + | –
M28 | Oxidation + Sulfate conjugation | C15H10O9S | 364.9973 | −2.4 | 10.98 | 86.6 | 269.1338 | 0.996524 | – | + | – | +
M29 | Bis-sulfate conjugation | C15H10O11S2 | 428.9603 | −2.3 | 11.18 | 84.8 | 269.1197 | −1.06738 | + | + | + | –
M30 | Glucuronide conjugation | C27H28O16 | 607.1337 | −1.7 | 11.3 | 92.8 | 431.0944, 269.0291 | −0.80723 | + | + | + | +
M31 | Oxidation + Methylation | C28H32O16 | 623.1618 | −2.5 | 12.41 | 93.2 | 593.2055, 269.0455 | −0.968035 | + | – | – | +
M32 | Oxidation + Methylation | C28H32O16 | 623.1614 | −1.6 | 13.18 | 90.2 | 593.2128, 269.0977 | −0.408035 | + | – | – | +
M33 | Sulfate conjugation | C21H18O14S | 525.0344 | 1.5 | 14.1 | 83.2 | 445.0412, 269.0872 | −1.73268 | + | + | + | +
M34 | Sulfate conjugation | C21H20O13S | 511.0552 | −0.8 | 14.11 | 84.5 | 431.0612, 269.0873 | −1.25383 | + | + | + | +
M35 | Oxidation + Methylation | C22H20O12 | 475.0882 | −1.2 | 15.11 | 84.1 | 445.1156, 269.0189 | 0.689666 | + | + | – | +
M36a | Glycine conjugation | C17H13O6N | 326.0671 | −1.4 | 15.75 | 81.2 | 308.0254, 282.1285, 269.1172, 264.1201 | 0.914016 | + | + | + | +
M36b | Glycine conjugation | C17H13O6N | 326.0671 | −1.4 | 15.75 | 81.2 | 308.0254, 282.1285, 269.1172, 264.1201 | 1.49402 | + | + | + | +
M36c | Glycine conjugation | C17H13O6N | 326.0671 | −1.4 | 15.75 | 81.2 | 308.0254, 282.1285, 269.1172, 264.1201 | 1.74404 | + | + | + | +
M37 | Methylation | C22H20O11 | 459.0933 | −0.7 | 16.44 | 88.3 | 445.2028, 269.0035 | 0.163319 | + | + | + | +
M38 | Methylation | C22H20O11 | 459.0957 | −0.9 | 17.47 | 78.1 | 445.0191, 269.2096 | 0.963319 | + | + | + | +
M39 | Sulfate conjugation | C21H20O14S | 527.0417 | −1.8 | 16.62 | 75.5 | 431.2812, 269.0623 | −0.977485 | + | – | – | –
M40 | Oxidation + Methylation | C22H22O11 | 461.1102 | −1.1 | 17.46 | 78.9 | 431.2812, 269.1107 | 1.16852 | – | + | – | +
M41 | Sulfate conjugation | C15H10O8S | 349.0024 | −2.1 | 18.47 | 89.3 | 269.0456 | 0.604616 | + | – | + | +
M42 | Sulfate conjugation | C15H10O8S | 349.0018 | −2.4 | 19.37 | 82.4 | 269.2884 | 1.43462 | + | – | + | +
M43 | Methylation | C22H22O10 | 445.1142 | −1.4 | 18.87 | 90.4 | 431.0535, 269.0037 | 0.64217 | + | + | + | +
M44 | Oxidation + Methylation | C16H12O6 | 299.0561 | −1.5 | 19.2 | 79.7 | 269.0619 | 2.36187 | + | + | – | +
M45 | Oxidation + Methylation | C16H12O6 | 299.057 | −0.9 | 19.48 | 86.3 | 269.2066 | 2.92187 | + | + | – | +
M46a | Acetylation | C17H12O6 | 311.0561 | −1.8 | 19.3 | 79.6 | 269.0085 | 1.93062 | + | + | + | +
M46b | Acetylation | C17H12O6 | 311.0561 | −1.8 | 19.3 | 79.6 | 269.0085 | 2.51062 | + | + | + | +
M46c | Acetylation | C17H12O6 | 311.0561 | −1.8 | 19.3 | 79.6 | 269.0085 | 2.76062 | + | + | + | +
M47a | Methylation | C16H12O5 | 283.0612 | −1.6 | 21.92 | 85.7 | 269.0656, 241.0501 | 2.50062 | + | + | + | +
M47b | Methylation | C16H12O5 | 283.0612 | −1.6 | 21.92 | 85.7 | 269.0656, 241.0501 | 3.08062 | + | + | + | +
M47c | Methylation | C16H12O5 | 283.0612 | −1.6 | 21.92 | 85.7 | 269.0656, 241.0501 | 3.33062 | + | + | + | +

## Table 4
Analyte | Regression equation | R2 | Linear range (ng/mL) | LLOQ (ng/mL)
Oroxin A | y = 0.1027x + 0.2721 | 0.9979 | 1.26–3894.93 | 1.26
Oroxin B | y = 0.2117x + 0.0065 | 0.9985 | 1.12–4103.28 | 1.12
Baicalin | y = 0.1037x + 0.0176 | 0.9974 | 1.35–218.28 | 1.35
Chrysin | y = 0.0178x + 0.0089 | 0.9983 | 1.25–145.25 | 1.25
Baicalin | y = 0.1003x + 0.0253 | 0.9979 | 1.44–172.31 | 1.44
Scutellarein | y = 0.0063x + 0.1027 | 0.9991 | 1.22–126.42 | 1.22
Apigenin | y = 0.0094x + 0.0013 | 0.9982 | 1.02–198.34 | 1.02
Quercetin | y = 0.2188x + 0.1578 | 0.9971 | 1.19–67.32 | 1.19
Oroxylin A | y = 0.0446x + 0.0378 | 0.9983 | 1.32–105.25 | 1.32
Isorhamnetin | y = 0.0487× - 0.0073 | 0.9969 | 1.03–153.32 | 1.03

## Table 5
Unnamed: 0_level_0_Compounds spiked concentration (ng/mL) | Intra-day (n = 6)_Measured concentration (ng/mL) | Intra-day (n = 6)_Accuracy (%) | Intra-day (n = 6)_Precision (%) | Inter-day (n = 6)_Measured concentration (ng/mL) | Inter-day (n = 6)_Accuracy (%) | Inter-day (n = 6)_Precision (%)
Oroxin A | Oroxin A | Oroxin A | Oroxin A | Oroxin A | Oroxin A | Oroxin A
1.26 | 1.28 ± 3.38 | 3.22 | 5.44 | 1.33 ± 6.48 | 4.95 | 7.88
2.52 | 2.57 ± 2.38 | 1.98 | 4.14 | 2.62 ± 3.36 | 3.97 | 4.53
1921.22 | 1953.11 ± 4.25 | 1.66 | 3.04 | 1974.82 ± 4.34 | 2.79 | 3.58
3115.94 | 3199.45 ± 4.76 | 2.68 | 4.96 | 3197.58 ± 2.01 | 2.62 | 4.46
Oroxin B | Oroxin B | Oroxin B | Oroxin B | Oroxin B | Oroxin B | Oroxin B
1.12 | 1.25 ± 4.45 | 4.03 | 4.98 | 1.32 ± 5.28 | 5.06 | 6.53
2.24 | 2.27 ± 5.24 | 1.34 | 4.57 | 2.28 ± 6.19 | 1.79 | 3.64
1932.56 | 1997.88 ± 4.63 | 3.38 | 6.23 | 2007.54 ± 7.42 | 3.88 | 7.25
3282.62 | 3339.08 ± 8.65 | 1.72 | 4.01 | 3362.06 ± 4.89 | 2.42 | 5.44
Baicalin | Baicalin | Baicalin | Baicalin | Baicalin | Baicalin | Baicalin
1.35 | 1.53 ± 4.26 | 3.79 | 5.66 | 1.59 ± 6.89 | 4.93 | 7.48
2.70 | 2.79 ± 3.04 | 3.33 | 5.17 | 2.78 ± 6.09 | 2.96 | 7.83
108.72 | 112.62 ± 2.36 | 3.59 | 6.31 | 113.48 ± 5.12 | 4.38 | 5.03
174.62 | 179.79 ± 3.53 | 2.96 | 4.04 | 178.72 ± 8.48 | 2.35 | 4.99
Chrysin | Chrysin | Chrysin | Chrysin | Chrysin | Chrysin | Chrysin
1.25 | 1.42 ± 3.28 | 5.99 | 4.09 | 1.47 ± 7.01 | 5.01 | 7.89
2.50 | 2.64 ± 3.31 | 5.60 | 6.85 | 2.66 ± 7.04 | 6.40 | 8.34
73.98 | 76.07 ± 4.52 | 2.83 | 4.16 | 78.23 ± 6.46 | 5.74 | 7.66
116.20 | 118.02 ± 5.81 | 1.57 | 3.58 | 123.78 ± 8.43 | 6.52 | 7.89
Baicalein | Baicalein | Baicalein | Baicalein | Baicalein | Baicalein | Baicalein
1.44 | 1.59 ± 5.01 | 5.22 | 6.03 | 1.58 ± 6.24 | 4.68 | 7.96
2.88 | 2.96 ± 4.63 | 2.78 | 6.75 | 3.02 ± 6.44 | 4.86 | 6.69
84.45 | 87.30 ± 3.63 | 3.37 | 4.39 | 89.08 ± 8.66 | 5.48 | 6.75
137.85 | 142.3 ± 5.53 | 3.23 | 4.51 | 141.36 ± 5.18 | 2.55 | 5.47
Scutellarein | Scutellarein | Scutellarein | Scutellarein | Scutellarein | Scutellarein | Scutellarein
1.22 | 1.43 ± 4.89 | 3.89 | 5.97 | 1.46 ± 7.22 | 6.86 | 8.27
2.44 | 2.48 ± 4.15 | 1.64 | 5.48 | 2.59 ± 7.14 | 6.15 | 6.64
62.75 | 64.75 ± 3.54 | 3.19 | 6.46 | 64.74 ± 4.68 | 3.17 | 4.28
101.14 | 103.52 ± 4.75 | 2.35 | 5.17 | 105.67 ± 6.23 | 4.48 | 3.64
Apigenin | Apigenin | Apigenin | Apigenin | Apigenin | Apigenin | Apigenin
1.02 | 1.21 ± 4.74 | 3.65 | 5.25 | 1.29 ± 8.02 | 5.76 | 7.53
2.04 | 2.10 ± 6.28 | 2.94 | 4.89 | 2.14 ± 4.96 | 4.90 | 4.86
98.66 | 100.29 ± 7.32 | 1.65 | 6.77 | 103.68 ± 4.59 | 5.09 | 5.88
158.67 | 163.06 ± 3.35 | 2.77 | 4.55 | 165.02 ± 6.52 | 4.00 | 5.29
Quercetin | Quercetin | Quercetin | Quercetin | Quercetin | Quercetin | Quercetin
1.19 | 1.31 ± 3.99 | 4.25 | 5.37 | 1.37 ± 6.63 | 4.48 | 5.83
2.38 | 2.46 ± 4.84 | 3.36 | 5.41 | 2.49 ± 6.99 | 4.62 | 6.93
33.06 | 33.98 ± 5.88 | 2.78 | 6.09 | 35.49 ± 3.96 | 7.35 | 5.73
53.86 | 55.29 ± 4.42 | 2.66 | 4.22 | 57.27 ± 4.46 | 6.33 | 8.04
Oroxylin A | Oroxylin A | Oroxylin A | Oroxylin A | Oroxylin A | Oroxylin A | Oroxylin A
1.32 | 1.45 ± 5.32 | 2.88 | 4.92 | 1.52 ± 5.34 | 5.38 | 4.29
2.64 | 2.69 ± 5.58 | 1.89 | 6.88 | 2.78 ± 3.37 | 5.30 | 7.42
51.96 | 53.85 ± 6.75 | 3.64 | 4.12 | 55.02 ± 4.38 | 5.89 | 6.38
84.20 | 86.65 ± 4.38 | 2.91 | 3.65 | 88.08 ± 3.17 | 4.61 | 4.64
Isorhamnetin | Isorhamnetin | Isorhamnetin | Isorhamnetin | Isorhamnetin | Isorhamnetin | Isorhamnetin
1.03 | 1.15 ± 5.42 | 3.88 | 4.04 | 1.19 ± 4.22 | 5.94 | 6.69
2.06 | 2.15 ± 8.18 | 4.37 | 3.58 | 2.15 ± 8.02 | 4.37 | 4.57
76.14 | 77.85 ± 7.54 | 2.25 | 5.22 | 82.43 ± 9.98 | 8.26 | 6.98
122.66 | 124.29 ± 6.25 | 1.33 | 3.95 | 128.31 ± 5.24 | 4.61 | 7.75

## Table 6
Compounds spiked concentration (ng/mL)_Compounds spiked concentration (ng/mL) | Short-tern stability (room temperature for 8 h)_Measured concentrationa (ng/mL) | Short-tern stability (room temperature for 8 h)_Accuracy (%) | Long-tern stability (-20 °C for 21 d)_Measured concentrationa (ng/mL) | Long-tern stability (-20 °C for 21 d)_Accuracy (%) | Free-thaw stability (3 free thaw cycles)_Measured concentrationa (ng/mL) | Free-thaw stability (3 free thaw cycles)_Accuracy (%) | Post-preparation stability (room temperature for 4 h)_Measured concentrationa (ng/mL) | Post-preparation stability (room temperature for 4 h)_Accuracy (%)
Oroxin A | Oroxin A | Oroxin A | Oroxin A | Oroxin A | Oroxin A | Oroxin A | Oroxin A | Oroxin A
2.52 | 2.61 ± 7.67 | 3.57 | 2.64 ± 18.85 | 4.65 | 2.66 ± 6.37 | 5.63 | 2.71 ± 6.31 | 7.47
1921.22 | 2029.38 ± 9.73 | 5.63 | 1996.92 ± 17.92 | 3.94 | 2042.64 ± 13.54 | 6.32 | 2081.64 ± 6.77 | 8.35
3115.94 | 3253.98 ± 16.78 | 4.43 | 3297.91 ± 25.15 | 5.84 | 3350.57 ± 15.68 | 7.53 | 3314.43 ± 15.29 | 6.37
Oroxin B | Oroxin B | Oroxin B | Oroxin B | Oroxin B | Oroxin B | Oroxin B | Oroxin B | Oroxin B
2.24 | 2.33 ± 8.81 | 4.02 | 2.38 ± 8.26 | 6.37 | 2.39 ± 13.85 | 6.48 | 2.41 ± 4.08 | 7.47
1932.56 | 2024.55 ± 9.41 | 4.76 | 2021.65 ± 9.48 | 4.61 | 2042.33 ± 8.24 | 5.68 | 2066.68 ± 12.33 | 6.94
3282.62 | 3478.92 ± 20.51 | 5.98 | 3400.14 ± 21.74 | 3.58 | 3530.46 ± 13.36 | 7.55 | 3520.61 ± 14.88 | 7.25
Baicalin | Baicalin | Baicalin | Baicalin | Baicalin | Baicalin | Baicalin | Baicalin | Baicalin
2.70 | 2.83 ± 0.98 | 4.81 | 2.87 ± 7.86 | 6.35 | 2.87 ± 5.63 | 6.43 | 2.94 ± 5.16 | 8.85
108.72 | 115.09 ± 4.92 | 5.86 | 114.41 ± 9.36 | 5.23 | 115.47 ± 6.48 | 6.21 | 116.78 ± 3.07 | 7.41
174.62 | 185.52 ± 5.49 | 6.24 | 184.10 ± 14.47 | 5.43 | 187.51 ± 14.57 | 7.38 | 189.22 ± 2.75 | 8.36
Chrysin | Chrysin | Chrysin | Chrysin | Chrysin | Chrysin | Chrysin | Chrysin | Chrysin
2.50 | 2.63 ± 4.25 | 5.20 | 2.65 ± 10.32 | 6.03 | 2.66 ± 1.89 | 6.37 | 2.74 ± 0.32 | 9.79
73.98 | 77.32 ± 3.22 | 4.51 | 76.52 ± 12.94 | 3.43 | 79.35 ± 6.99 | 7.26 | 78.74 ± 4.17 | 6.44
116.20 | 124.19 ± 9.47 | 6.88 | 123.20 ± 16.28 | 6.02 | 122.97 ± 5.36 | 5.83 | 124.26 ± 5.48 | 6.94
Baicalein | Baicalein | Baicalein | Baicalein | Baicalein | Baicalein | Baicalein | Baicalein | Baicalein
2.88 | 3.02 ± 5.94 | 4.86 | 3.09 ± 7.51 | 7.14 | 3.10 ± 10.25 | 7.67 | 3.07 ± 1.76 | 6.53
84.45 | 89.82 ± 4.47 | 6.36 | 89.08 ± 10.02 | 5.48 | 91.74 ± 5.83 | 8.63 | 91.09 ± 7.43 | 7.86
137.85 | 145.39 ± 6.35 | 5.47 | 146.82 ± 18.49 | 6.51 | 150.96 ± 13.84 | 9.51 | 147.20 ± 9.43 | 6.78
Scutellarein | Scutellarein | Scutellarein | Scutellarein | Scutellarein | Scutellarein | Scutellarein | Scutellarein | Scutellarein
2.44 | 2.53 ± 2.36 | 3.69 | 2.56 ± 6.27 | 5.11 | 2.57 ± 3.28 | 5.14 | 2.57 ± 8.16 | 5.46
62.75 | 66.05 ± 6.34 | 5.26 | 66.75 ± 6.21 | 6.38 | 66.63 ± 4.36 | 6.18 | 66.60 ± 9.46 | 6.13
101.14 | 105.37 ± 4.88 | 4.18 | 105.83 ± 11.55 | 4.64 | 108.43 ± 15.37 | 7.21 | 108.26 ± 12.65 | 7.04
Apigenin | Apigenin | Apigenin | Apigenin | Apigenin | Apigenin | Apigenin | Apigenin | Apigenin
2.04 | 2.13 | 4.41 | 2.19 | 7.22 | 2.18 | 6.64 | 2.18 | 6.94
98.66 | 102.27 | 3.66 | 104.56 | 5.98 | 104.34 | 5.76 | 103.28 | 4.68
158.67 | 167.75 | 5.72 | 168.81 | 6.39 | 171.40 | 8.02 | 171.41 | 8.03
Quercetin | Quercetin | Quercetin | Quercetin | Quercetin | Quercetin | Quercetin | Quercetin | Quercetin
2.38 | 2.47 | 3.78 | 2.52 | 5.84 | 2.52 | 5.77 | 2.55 | 6.94
33.06 | 34.48 | 4.30 | 34.47 | 4.28 | 35.49 | 7.35 | 35.55 | 7.53
53.86 | 57.54 | 6.83 | 57.44 | 6.64 | 57.61 | 6.96 | 58.40 | 8.42
Oroxylin A | Oroxylin A | Oroxylin A | Oroxylin A | Oroxylin A | Oroxylin A | Oroxylin A | Oroxylin A | Oroxylin A
2.64 | 2.79 | 5.68 | 2.85 | 7.92 | 2.89 | 9.36 | 2.84 | 7.44
51.96 | 55.29 | 6.41 | 56.23 | 8.22 | 56.41 | 8.57 | 56.61 | 8.95
84.20 | 87.75 | 4.21 | 89.87 | 6.73 | 92.01 | 9.27 | 90.41 | 7.38
Isorhamnetin | Isorhamnetin | Isorhamnetin | Isorhamnetin | Isorhamnetin | Isorhamnetin | Isorhamnetin | Isorhamnetin | Isorhamnetin
2.06 | 2.17 ± 0.13 | 5.34 | 2.20 ± 0.12 | 6.97 | 2.23 ± 0.14 | 8.45 | 2.19 ± 0.35 | 6.45
76.14 | 81.15 ± 2.92 | 6.58 | 80.41 ± 9.44 | 5.61 | 82.17 ± 4.54 | 7.92 | 79.90 ± 4.56 | 4.94
122.66 | 131.32 ± 11.92 | 7.06 | 132.40 ± 18.52 | 7.94 | 129.05 ± 11.91 | 5.21 | 133.16 ± 9.32 | 8.56

## Table 7
Compounds spiked concentration (ng/mL)_Compounds spiked concentration (ng/mL) | Extraction recovery_Mean (%) | Extraction recovery_RSD (%) | Matrix effect_Mean (%) | Matrix effect_RSD (%)
Oroxin A | Oroxin A | Oroxin A | Oroxin A | Oroxin A
2.52 | 88.71 | 3.45 | 87.06 | 3.76
1921.22 | 83.13 | 4.59 | 81.32 | 7.89
3115.94 | 85.77 | 2.88 | 92.17 | 5.44
Oroxin B | Oroxin B | Oroxin B | Oroxin B | Oroxin B
2.24 | 81.09 | 3.09 | 101.5 | 6.53
1932.56 | 83.86 | 5.46 | 93.52 | 4.82
3282.62 | 84.73 | 3.84 | 93.16 | 6.59
Baicalin | Baicalin | Baicalin | Baicalin | Baicalin
2.70 | 85.53 | 3.42 | 87.33 | 3.95
108.72 | 91.43 | 6.75 | 84.22 | 7.61
174.62 | 86.98 | 7.88 | 88.02 | 7.38
Chrysin | Chrysin | Chrysin | Chrysin | Chrysin
2.50 | 86.47 | 2.64 | 93.32 | 4.93
73.98 | 86.84 | 4.45 | 87.29 | 5.32
116.20 | 92.65 | 7.86 | 96.74 | 6.26
Baicalein | Baicalein | Baicalein | Baicalein | Baicalein
2.88 | 87.97 | 3.96 | 101.2 | 5.87
84.45 | 86.71 | 5.49 | 92.38 | 6.12
137.85 | 94.86 | 7.03 | 93.28 | 1.93
Scutellarein | Scutellarein | Scutellarein | Scutellarein | Scutellarein
2.44 | 88.54 | 5.22 | 83.16 | 4.92
62.75 | 89.32 | 3.19 | 85.27 | 7.02
101.14 | 91.25 | 4.58 | 90.17 | 6.89
Apigenin | Apigenin | Apigenin | Apigenin | Apigenin
2.04 | 86.38 | 6.49 | 82.72 | 5.54
98.66 | 89.03 | 5.98 | 79.99 | 7.88
158.67 | 85.91 | 6.29 | 101.3 | 6.22
Quercetin | Quercetin | Quercetin | Quercetin | Quercetin
2.38 | 92.76 | 3.22 | 88.31 | 6.34
33.06 | 87.18 | 5.36 | 82.19 | 5.03
53.86 | 90.04 | 4.79 | 84.02 | 7.15
Oroxylin A | Oroxylin A | Oroxylin A | Oroxylin A | Oroxylin A
2.64 | 85.08 | 5.24 | 87.04 | 6.27
51.96 | 86.97 | 7.69 | 85.97 | 5.26
84.20 | 84.06 | 5.94 | 92.18 | 4.77
Isorhamnetin | Isorhamnetin | Isorhamnetin | Isorhamnetin | Isorhamnetin
2.06 | 89.87 | 6.93 | 83.71 | 5.33
76.14 | 93.48 | 5.49 | 82.48 | 7.43
122.66 | 86.06 | 7.63 | 97.09 | 5.87
Sulfamethoxazole(IS) | 97.28 | 3.59 | 96.57 | 4.38
476 | 97.28 | 3.59 | 96.57 | 4.38

## Table 8
Compounds | Cmax(ng/mL) (mean ± SD) | Tmax (min) | T1/2 (min) | AUC0-t (ng/L ∙ min) (mean ± SD) | AUC0−∞ (ng/L ∙ min) (mean ± SD) | CL (L/min/kg)
Oroxin A | 2945.1 ± 11.23 | 10 ± 0.38 | 17.01 ± 0.14 | 85437.46 ± 16.11 | 85459.05 ± 23.77 | 130.65
Oroxin B | 3123.9 ± 16.37 | 10 ± 0.67 | 41.08 ± 0.26 | 112256.52 ± 28.06 | 112856.89 ± 57.04 | 95.41
Baicalin | 130.40 ± 27.52 | 15 ± 0.48 | 20.87 ± 0.42 | 6319.89 ± 28.81 | 6336.45 ± 33.24 | 2355.89
Chrysin | 117.20 ± 28.54 | 30 ± 0.49 | 51.69 ± 0.53 | 8922.55 ± 37.73 | 8999.56 ± 59.51 | 2074.73
Baicalein | 64.12 ± 19.33 | 10 ± 0.28 | 19.52 ± 0.35 | 2883.12 ± 44.29 | 2887.32 ± 57.28 | 4907.43
Scutellarein | 97.22 ± 24.27 | 60 ± 0.37 | 177.89 ± 0.49 | 11956.49 ± 49.46 | 12257.3 ± 60.12 | 1408.99
Apigenin | 145.22 ± 29.92 | 360 ± 0.25 | 434.88 ± 0.62 | 40925.96 ± 47.47 | 41413.20 ± 55.15 | 332.21
Quercetin | 45.19 ± 18.84 | 15 ± 0.47 | 48.09 ± 0.39 | 2178.75 ± 55.84 | 2189.8939.97 | 8224.87
Oroxylin A | 67.32 ± 15.78 | 15 ± 0.53 | 43.27 ± 0.21 | 3540.06 ± 59.51 | 3552.50 ± 56.01 | 4741.76
Isorhamnetin | 128.44 ± 26.42 | 60 ± 0.22 | 68.62 ± 0.73 | 14854.32 ± 67.05 | 14859.74 ± 69.12 | 1121.47

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Pharmacological effects | Anti-inflammatory, antioxidant, hypoglycemic, anti-virus, anti-tumor growth | Relevant as it explains the therapeutic properties of Oroxylum indicum (L.) Kurz.
Main compounds analyzed | Oroxin A, Oroxin B, Baicalin, Chrysin, Baicalein, Scutellarein, Apigenin, Quercetin, Oroxylin A, Isorhamnetin | Relevant because these are the active flavonoids studied for pharmacokinetics and metabolic pathways in vivo.
Number of metabolites identified | 47 | Relevant to assessing metabolic complexity and pharmacodynamics of Oroxylum indicum (L.) Kurz extract.
In vivo biological samples | Blood, bile, urine, feces | Relevant to understanding where the metabolites distribute and are excreted in the body.
Plasma concentration of Oroxin A (Cmax) | 2945.1 ± 11.23 ng/mL | Relevant to determining the pharmacokinetics and absorption characteristics of Oroxin A.
Plasma concentration of Quercetin (Cmax) | 45.19 ± 18.84 ng/mL | Relevant as it had the lowest concentration, indicating varied PK parameters among flavonoids.
Pharmacokinetic model | Non-compartmental model | Relevant as it describes the method used for pharmacokinetic parameter calculation.
MSOP Method Description | Mass Spectrum-based Orthogonal Projection | Relevant as it offers a novel way to eliminate exogenous metabolite interference.
Extraction method for Oroxylum indicum | Heating reflux extraction with 70% ethanol | Relevant for preparation and consistency of medicinal material extract.
Metabolites from urine | 25 | Relevant to understanding excretion pathways from the body.
Main metabolic reactions | Methylation, glucuronidation, acetylation, sulfation, glycine conjugation | Relevant to understanding metabolic pathways and biotransformation of flavonoids.
Double-peak phenomenon | Observed in Apigenin due to enterohepatic recirculation | Relevant for identifying unique pharmacokinetic behavior among the studied flavonoids.
Rat type used | Male Sprague-Dawley rats, 200–230 g | Relevant for providing specifics about the animal model used in the study.
Oral dose administered | 15 mL/kg | Relevant to contextualize the pharmacokinetic study parameters.
UHPLC-MS Column | Poroshell 120 EC-C18 | Relevant for describing the analytical conditions used in identifying and quantifying metabolites.
Number of metabolites detected in blood | 40 | Relevant to identifying primary systemic metabolites.
Funding sources | Natural Science Foundation of Hebei Province, Clinical Medicine Excellent Talent Training Program | Relevant as it provides information on how the research was supported.
Patient Population | Thirty-six male Sprague-Dawley (SD) rats weighing 200–230 g | The study used a controlled laboratory rat model to investigate the pharmacokinetics (PK) of Oroxylum indicum (L.) Kurz compounds, relevant for preclinical analysis.
Patient Sample Size | Thirty-six male Sprague-Dawley rats | The sample size selected provides sufficient data points for a comprehensive PK analysis.
Blood Sampling Time Points | 0.17, 0.50, 0.75, 1, 2, 4, 6, 9, 12, and 24 hours after administration | Sequential blood sampling time points ensure the capture of both rapid absorption and prolonged circulation data, crucial for PK modeling.
Urine Sampling Time Points | 0–4, 4–8, 8–12, 12–24, 24–36, 36–48, 48–60, and 60–72 hours after administration | Extended urine sampling allows assessment of excretion patterns over time, relevant to drug elimination pathways.
Feces Sampling Time Points | 0–4, 4–8, 8–12, 12–24, 24–36, 36–48, 48–60, and 60–72 hours after administration | Feces sampling provides additional data on enterohepatic recirculation and drug clearance, critical for understanding PK profiles.
Bile Sampling Time Points | 0–1, 1–3, 3–5, 5–8, 8–12, and 12–24 hours after administration | Bile collection at specified intervals helps in identifying metabolites excreted through the biliary route, which is integral to the PK study.
Administration Protocol | Rats were administered Oroxylum indicum extract via intragastric injection at 15 mL/kg | Standardized drug administration ensures consistent dosing across the study population, important for reliable PK analysis.
Control Group | Blank plasma, urine, feces, and bile samples collected from rats treated with water instead of the extract | The control group allows differentiation of endogenous substances from drug-related metabolites, crucial for accurate data interpretation.
Ethical Approval | Approved by the Research Ethics Committee of the Second Hospital of Hebei Medical University (Ethical Approval No. 2023-AE312) | Ethical compliance ensures the study is conducted following humane practices, relevant for reproducibility and validation.
Blood Processing | Blood centrifuged at 1400 g for 5 min, plasma stored at −80°C | Reliable plasma processing and storage maintain sample integrity for accurate analysis.
Urine/Feces Processing | Urine pooled and feces dried, sonicated, and dissolved in methanol | Effective processing ensures metabolites remain detectable, contributing to study accuracy in excretion analysis.
Pharmacokinetic Model | Non-compartment model | The paper specifies the use of a non-compartmental model to determine the pharmacokinetic parameters of the flavonoids in rat plasma, making this directly relevant to characterize the pharmacokinetic study approach employed.
Maximum Plasma Concentration (Cmax) for Oroxin A | 2945.1 ± 11.23 ng/mL | Relevance: It measures the peak level of Oroxin A in the plasma, offering insight into the compound's pharmacokinetics derived from rat plasma samples.
Maximum Plasma Concentration (Cmax) for Oroxin B | 3123.9 ± 16.37 ng/mL | Relevance: Provides the peak plasma level of Oroxin B, indicating its bioavailability and drug absorption pattern in rats.
Maximum Plasma Concentration (Cmax) for Baicalin | 130.40 ± 27.52 ng/mL | Relevance: Indicates the pharmacokinetic profile and concentration of Baicalin in plasma after administration, relevant to its therapeutic monitoring.
Maximum Plasma Concentration (Cmax) for Chrysin | 117.20 ± 28.54 ng/mL | Relevance: Highlights the peak plasma concentration achieved for Chrysin to assess its metabolic processing in rats.
Maximum Plasma Concentration (Cmax) for Baicalein | 64.12 ± 19.33 ng/mL | Relevance: Reflects the absorption characteristics and bioavailability of Baicalein in experimental models.
Maximum Plasma Concentration (Cmax) for Scutellarein | 97.22 ± 24.27 ng/mL | Relevance: Provides the estimated peak plasma level of Scutellarein, critical for understanding its pharmacodynamic impact.
Maximum Plasma Concentration (Cmax) for Apigenin | 145.22 ± 29.92 ng/mL | Relevance: Shows the plasma concentration involved in enterohepatic recirculation, affecting its pharmacokinetics and bioavailability.
Maximum Plasma Concentration (Cmax) for Quercetin | 45.19 ± 18.84 ng/mL | Relevance: Indicates the limited oral bioavailability and absorption of Quercetin, relevant for its metabolic investigation.
Maximum Plasma Concentration (Cmax) for Oroxylin A | 67.32 ± 15.78 ng/mL | Relevance: Reflects the absorption and peak concentration parameters in rat plasma, necessary for dose optimization.
Maximum Plasma Concentration (Cmax) for Isorhamnetin | 128.44 ± 26.42 ng/mL | Relevance: Demonstrates the pharmacokinetics and bioavailability of Isorhamnetin in vivo model systems.
Detection Method | UHPLC-Q-TOF-MS/MS | Relevance: Primary method used to estimate plasma concentrations, essential for pharmacokinetic parameter calculations.
Biological Matrix | Rat plasma, bile, urine, and feces samples | Relevance: Indicates the biological materials used to identify metabolites and estimate pharmacokinetic parameters.
Retention Time for Oroxin A | 14.45 min | Relevance: Used for chromatographic separation and accurate quantification in method validation and pharmacokinetic profiling.
Retention Time for Oroxin B | 11.61 min | Relevance: Key for detecting Oroxin B in plasma and ensuring reliable pharmacokinetic assessments.
Retention Time for Baicalin | 14.18 min | Relevance: Aids in differentiating Baicalin from other metabolites for precise pharmacokinetics measurement.
Retention Time for Baicalein | 19.49 min | Relevance: Critical chromatographic parameter for accurate metabolite identification and concentration analysis.
Ion Spray Voltage | -4.5 kV | Relevance: An essential parameter in the LC-MS/MS process, affecting ionization efficiency and the detection of target compounds.
Turbo Spray Temperature | 650 °C | Relevance: Maintains optimal ionization conditions during metabolite analysis, relevant for reliable parameter estimations.
Mobile Phase Flow Rate | 0.3 mL/min | Relevance: Chromatographic parameter ensuring accurate separation and detection of compounds in pharmacokinetic studies.
Injection Volume | 3 μL | Relevance: Ensures reproducibility and sensitivity in detecting analytes for pharmacokinetics assessments.
Correlation Coefficient for Calibration Curves | Above 0.9969 | Relevance: Indicates the accuracy and linearity for quantitative determination of pharmacokinetic parameters.
Extraction Recovery Range | 81.09%–94.86% | Relevance: Shows efficiency in isolating and measuring flavonoids accurately from rat plasma.
Matrix Effect Range | 79.99%–101.5% | Relevance: Indicates the lack of interference from biological matrices during analyte quantification.
Phase I and II Metabolites Detected in Blood | 40 metabolites | Relevance: Provides foundational data to estimate in vivo metabolism and pharmacokinetic profiling.
MSOP Method | Demonstrated ability to effectively eliminate interference from exogenous metabolites and obtain signals of metabolites. | Relevant as it influences the accuracy of pharmacokinetic analysis by reducing interference in metabolite detection.
Cmax Levels for Analytes | Scutellarein, apigenin, and isorhamnetin exhibited slower attainment of Cmax compared to oroxin A, oroxin B, baicalin, baicalein, quercetin, and oroxylin A. | Relevant because it highlights variability in absorption rates, influencing pharmacokinetics.
Double-Peak Phenomenon | Observed in the concentration-time curve of apigenin due to enterohepatic recirculation. | Relevant as enterohepatic recirculation is a factor influencing drug concentration and pharmacokinetics.
Extraction Recovery Rates | Ranged from 81.09% to 94.86% with RSD values below 7.88%. | Relevant as it ensures reliable sample processing, impacting pharmacokinetic measurements.
Matrix Effects | Fell within 79.99%–101.5%. | Relevant as matrix effects can influence the accuracy of LC-MS/MS pharmacokinetic quantitation.
Validation Conditions | Complied with bioanalytical method validation regulatory standards. | Relevant as proper validation ensures the reliability of pharmacokinetic data.
Formulation Differences | Differences in the concentrations of plant material extracts and biological matrices affected MSOP elimination efficiency. | Relevant as variations in formulations can influence the extraction and processing phases, impacting pharmacokinetic results.
Physical Stability | Stability tests (e.g., freeze-thaw, long-term, and post-preparative) confirmed analyte stability under study conditions. | Relevant as analyte instability could introduce variability in pharmacokinetics.
Administration Route | Oral administration of Oroxylum indicum extract was used in rats. | Relevant as the route of administration directly impacts absorption, distribution, metabolism, and excretion (ADME).
Instrumental Parameters | Optimized UHPLC-Q-TOF-MS and HPLC-MS/MS conditions ensured precision in detecting analytes. | Relevant as analytical reliability directly affects pharmacokinetic parameter estimation.
Detection of Metabolites | Identified 47 metabolites, indicating extensive metabolism of the administered compounds. | Relevant as the identification of metabolites provides insights into biotransformation, a key pharmacokinetic process.