## Table 1
Calibration Curve_Unnamed: 0_level_1_Unnamed: 0_level_2 | Calibration Curve_For Media without Lipids_Solvent (Lower Range) | Calibration Curve_For Media without Lipids_Solvent (Normal Range) | Calibration Curve_For Media with Lipids_0.2% FA (Lower Range) | Calibration Curve_For Media with Lipids_0.2% FA (Normal Range)
concentration range (mg/L) | 0.51–2.56 | 1.76–88.02 | 0.55–13.12 | 6.75–168.75
slope | 10.596 | 10.389 | 2.142 | 2.105
intercept | −0.125 | −1.4118 | −0.140 | −1.150
R2 | 0.9999 | 1.0000 | 0.9995 | 1.0000

## Table 2
Accuracy (%)_Unnamed: 0_level_1_Unnamed: 0_level_2 | Accuracy (%)_SMOFlipid® (Undiluted)_SMOFlipid® (Undiluted) | Accuracy (%)_DMB pH 3_No Lipid | Accuracy (%)_DMB pH 3_+Lipid 8.8 mg/mL | Accuracy (%)_DMB pH 3_+Lipid 35.2 mg/mL | Accuracy (%)_DMB pH 5_No Lipid | Accuracy (%)_DMB pH 5_+Lipid 8.8 mg/mL | Accuracy (%)_DMB pH 5_+Lipid 35.2 mg/mL | Accuracy (%)_DMB pH 7_No Lipid | Accuracy (%)_DMB pH 7_+Lipid 8.8 mg/mL | Accuracy (%)_DMB pH 7_+Lipid 35.2 mg/mL
QCL-1 | 115 | 97.5 | 99 | 103.3 | 96.6 | 109.1 | 105.3 | N.D. | 101.9 | 110
QCL-2 | 107.1 | 96.9 | 97.5 | 101.8 | 95.0 | 102.9 | 104.9 | N.D. | 97.6 | 101.2
QCM | 106.8 | 98.8 | 94.8 | 97.2 | N.D. | 100.3 | 103.4 | N.D. | 96.8 | 102.7
QCH | 105.2 | 100.8 | 101.6 | 99.4 | N.D. | 96.8 | 104.3 | N.D. | 96.4 | 97.7

## Table 3
Precision (% RSD)_Unnamed: 0_level_1_Unnamed: 0_level_2 | Precision (% RSD)_SMOFlipid® (Undiluted)_SMOFlipid® (Undiluted) | Precision (% RSD)_DMB pH 3_No Lipid * | Precision (% RSD)_DMB pH 3_+Lipid 8.8 mg/mL | Precision (% RSD)_DMB pH 3_+Lipid 35.2 mg/mL | Precision (% RSD)_DMB pH 5_No Lipid * | Precision (% RSD)_DMB pH 5_+Lipid 8.8 mg/mL | Precision (% RSD)_DMB pH 5_+Lipid 35.2 mg/mL | Precision (% RSD)_DMB pH 7_No Lipid * | Precision (% RSD)_DMB pH 7_+Lipid 8.8 mg/mL | Precision (% RSD)_DMB pH 7_+Lipid 35.2 mg/mL
QCL-1 | 2.4 | 1.4 | 3.3 | 3.4 | 3.1 | 2.3 | 2.1 | 21.8 ** | 5.1 | 3.1
QCL-2 | 2.5 | 2.3 | 0.8 | 1.9 | 1.0 | 2.6 | 0.5 | N.D. | 2 | 0.4
QCM | 2.9 | 3.1 | 3.4 | 0.9 | N.D. | 1.5 | 1.1 | N.D. | 2.4 | 1.4
QCH | 3.4 | 1.2 | 0.5 | 0.8 | N.D. | 4 | 2.7 | N.D. | 2.2 | 0.3

## Freetext Data
Data | Value | Relevance
Physical properties impacting postprandial drug absorption | pH and lipid concentration of gastrointestinal tract fluids | Relevant because the paper investigates how these parameters influence drug dissolution and partitioning.
Influence of food on gastrointestinal environment and drug absorption | Increased pH value, motility pattern changes, prolonged gastric transit times, higher bile acid concentration | Relevant as the paper develops a dissolution medium to simulate fed-state gastric conditions impacting drug release.
Effect of lipid concentration on poorly soluble drug bioavailability | Enhanced solubilization and absorption through vesicles and mixed micelles | Relevant since the dissolution medium employed includes lipids to evaluate their effect on cinnarizine solubility and distribution.
Mechanism of cinnarizine’s behavior in fed-state conditions | Faster dissolution at low pH, higher lipid phase drug distribution at high pH | Relevant because the study aims to correlate dissolution medium results with reported in vivo positive food effects.
Composition of model lipid medium used | SMOFlipid® comprised of soybean oil, olive oil, medium-chain triglycerides, fish oil, egg phospholipids, glycerin, sodium oleate | Relevant as the study uses SMOFlipid® to simulate fed gastric lipid conditions for drug studies.
Influence of pH on drug solubility | Lower solubility observed with increasing pH; fast dissolution at pH 3; reduced dissolution at pH 7 | Relevant to understanding CIN release patterns under different simulated fed-state gastric conditions.
Analytical method development | Gradient elution HPLC with guard column at variable lipid concentrations and pH | Relevant because it enables quantification of drug solubility and partitioning in simulated fed-state media.
Validation of HPLC analytical method | Selectivity, linearity, recovery, and precision demonstrated under diverse dissolution conditions | Relevant for ensuring reliable assessment of drug release and media composition effects.
Impact of excipients on dissolution | Tablet components include lactose, starch, povidone, polysorbates, magnesium stearate | Relevant, as formulation excipients can impact dissolution profiles in lipid-containing media.
Consistency of drug phase recovery | Range of CIN distributed in lipid vs aqueous phases: 93-105% | Relevant to confirming the reliability of drug recovery and phase distribution findings.
Experimental design for dissolution studies | Paddle apparatus at 37°C with sampling over time | Relevant for controlled simulation of in vitro fed-state gastric conditions during drug dissolution.
Postprandial behavior simulation | FedGAS and other lipid-based media compared; SMOFlipid® enables adjustable lipid concentration and pH | Relevant since the study investigates a systematic and adaptable dissolution medium to mimic fed-state.
Drug release variability with pH | Cinnarizine exhibits immediate and complete release at pH 3, slower at pH 5 and 7 | Relevant as it indicates pH-dependent dissolution correlating with food effects.
Drug distribution equilibrium in lipid medium | Fast partitioning observed; CIN affinity for lipids high even at low pH | Relevant to assessing lipid-phase contributions to enhanced drug solubility under fed conditions.
Lipid emulsions’ role in fed-state simulation | Solubility increase facilitated by micelles; SMOFlipid® used to mimic these interactions | Relevant for understanding mechanisms enhancing poorly soluble drug absorption in fed conditions.
PK study design | In vivo study on healthy volunteers | Specifies the target population used for assessing drug bioavailability.
Bioavailability parameters | Increased Cmax and AUC of cinnarizine after food intake | Demonstrates the effect of food on cinnarizine pharmacokinetics.
Fed-state conditions | Standardized high-fat meal used as food intake | Relevant because it aligns with EMA and FDA recommendations for pharmacokinetic sampling in fed conditions.
Ratio assessment | Bioavailability changes determined by comparing Cmax, AUC fed vs. fasted state | Evaluates the drug's absorption changes due to food, crucial in PK study design.
Patient size | No explicit sample size mentioned in the paper | Reflects a limitation, yet confirms that healthy volunteers' data was referenced.
Sampling parameters | Not specified for blood/tissue sampling intervals | Indicates critical missing methodological details for PK sampling approach evaluation.
Food interaction study | Food effect on CIN bioavailability described through positive changes | Focuses on the primary objective of PK design to correlate absorption with food presence.
Model type | In vitro dissolution model | Relevant because the study aimed to develop a novel dissolution medium to assess postprandial behavior of cinnarizine in vitro, simulating physiological conditions of the gastrointestinal tract.
Mechanistic elements | Simulated variable postprandial lipid concentrations and pH values | Relevant because the in vitro model incorporated these critical parameters to replicate fed-state gastric conditions, which are integral to the drug dissolution process.
Distribution analysis | Partitioning between lipid and aqueous phases | Relevant because this feature of the model helped in studying the effect of lipid content and pH on cinnarizine solubility and distribution, directly impacting postprandial drug absorption insights.
Experimental framework | SMOFlipid® lipid injectable emulsion + McIlvaine buffer | Relevant because these were key components used to simulate gastric conditions in the in vitro dissolution model.
Purpose | Assess food effect on dissolution kinetics | Relevant as the model was specifically designed to evaluate how food components and gastric conditions influence poorly soluble drugs like cinnarizine.
pH of gastric conditions postprandial | Estimated around pH 3, 5, and 7 | Relevant to simulating physiological range in the fed stomach for dissolution studies.
Lipids content in postprandial gastric conditions | Estimated up to 10% of the total gastric content | Relevant for simulating food effects on drug dissolution in lipid-rich media.
SMOFlipid® lipid concentration | 200 mg/mL lipid injectable emulsion | Used as a base to dilute with buffers and simulate lipid levels in the medium.
Lipid medium concentrations in dissolution studies | 35.2 mg/mL and 8.8 mg/mL | Reflects the early and late fed-state simulated gastric fluids.
Buffer composition | 0.1 M citric acid and 0.2 M disodium hydrogen phosphate | Used to create McIlvaine buffers for controlling pH in dissolution media.
pH variation source | Gradual adjustment via citric acid and disodium hydrogen phosphate solutions | Ensures controlled simulation of postprandial pH conditions.
Cinnarizine distribution evaluation | Measured via quantification in lipid and aqueous phases | Reflects drug behavior in the context of gastric fluid variability postprandial.
Lipid-phase composition reference | Soybean oil, medium-chain triglycerides, olive oil, and fish oil | Represents lipid types in SMOFlipid® for replicating food components.
FDA and EMA high-fat meal guidelines | Determines food effect via Cmax and AUC (ratios > 125% or < 80%) | Provides real-world reference for dissolution context in food bioequivalence studies.
Postprandial fluid bile salt composition | Natural variability observed; increase noted | Relevant to dissolution condition optimization as bile salts impact drug behaviors.
Food Impact | Food ingestion impacts gastric fluid volume, pH value, and motility pattern, influencing transit times and drug absorption. | Relevance: These physiological changes directly affect the bioavailability and absorption kinetics of drugs like cinnarizine.
pH Levels | pH significantly affects cinnarizine's dissolution and solubility; lower pH supports faster, complete dissolution. | Relevance: Variability in GI tract pH contributes to pharmacokinetic variability by influencing drug solubility and release.
Lipids | Lipids increase bioavailability by forming mixed micelles or vesicles, enhancing solubilization of lipophilic drugs. | Relevance: Lipid presence in the postprandial state plays a direct role in altering drug solubilization and absorption dynamics.
Drug Distribution | Cinnarizine distributes into lipid phases at higher pH values, showing decreased aqueous solubility. | Relevance: Partitioning into lipid-rich phases suggests potential interactions with lipid-based formulations impacting drug availability.
Mixed Micelles | Mixed micelles formed with lipids enhance drug dissolution and absorption. | Relevance: Such mechanisms can accelerate pharmacokinetic absorption profiles in the presence of food.
Precipitation Rate | Intestinal precipitation influenced by bile salt concentrations correlates with observed pharmacokinetic variability. | Relevance: Precipitation reduces bioavailability, impacting absorption kinetics post-gastrointestinal transit.
Bile Acids | Increased bile acid concentration postprandially aids dissolution of poorly soluble drugs. | Relevance: Enhanced solubilization via bile acids affects systemic drug absorption rates.
High-fat Meals | FDA/EMA guidelines indicate high-fat meals amplify drug absorption variability. | Relevance: Regulatory standards for fed-state bioequivalence studies confirm the pharmacokinetic impact of food.
Gastric Instability | Variability in gastric conditions like transit and motility influences absorption rates. | Relevance: Dynamic GI physiology impacts pharmacokinetic consistency both in fasted and fed states.
Drug Formulation | Self-nano-emulsifying drug delivery systems mitigate food effects and absorption variability. | Relevance: Formulation strategies directly address pharmacokinetic concerns related to solubility and bioavailability variability.