## Freetext Data
Data | Value | Relevance
--- | --- | ---
Authors | J.Z. (Junyi Zhao), C.Z., Z.Q., Z.Z., X.L., S.H., J.Z. (Jianfeng Zhang), J.W., L.L., R.W. | Relevant as it identifies the contributors to the research and provides attribution for decision-making or future collaborations.
Material | Eu@SUZ−103 | Relevant because it is the central material developed and studied in the paper for LVFX detection.
Detection Method | Fluorescence-based sensor | Relevant for understanding the method employed for LVFX detection and its importance in replacing conventional approaches.
Target Analyte | Levofloxacin (LVFX) | Relevant as recognizing LVFX as the analyte highlights the application and purpose of the Eu@SUZ−103 material.
Performance Matrix | Serum and urine | Relevant because the study specifically evaluates Eu@SUZ−103 in real biological samples, which demonstrates clinical applicability.
Detection Range | 5–2000 μM | Relevant as it shows the detection capability and dynamic range of the proposed method.
Limit of Detection (LOD) | 0.61 μM | Relevant for assessing sensitivity, which indicates the effectiveness of Eu@SUZ−103 in LVFX detection.
Pore Size of SUZ−103 | 14.79 Å | Relevant for describing structural properties, impacting the material's interaction and diffusion with LVFX.
Pore Size of Eu@SUZ−103 | 14.83 Å | Relevant because modifications do not affect pore accessibility, ensuring detection efficiency.
BET Surface Area | SUZ−103: 1535.3 m²/g, Eu@SUZ−103: 1469.4 m²/g | Relevant since high surface areas correlate with analyte binding capacity, influencing sensitivity.
Sensing Mechanism | Förster resonance energy transfer (FRET) facilitated | Relevant for explaining luminescence enhancement and interaction between LVFX and Eu@SUZ−103.
Incubation Time | 15 minutes | Relevant for practical application in terms of assay efficiency and protocol optimization.
Selectivity | Specific for LVFX | Relevant for demonstrating the sensor's reliability and effectiveness in distinguishing LVFX from other substances.
Recovery Rate | 95.93% to 101.89% | Relevant for validating accuracy and reliability in real samples like serum and urine.
Experimental Technique | PXRD, FT-IR, SEM, BET, TGA, XPS | Relevant for verifying structural integrity, performance, and material properties across characterization platforms.
Sensor Validation | Real serum and urine samples | Relevant as it confirms the practical utility and reproducibility of the Eu@SUZ−103-based detection system.
Impact Comparison | Better sensitivity and range than conventional methods | Relevant for positioning the fluorescence-based approach as a superior alternative for LVFX monitoring.
Patient Population | Human serum and urine samples from commercial sources and an author (Zhijie Qiu) | Relevant because the study utilized human biological matrices to test clinical applicability of the method.
Blood/Tissue Sampling | Serum and urine samples prepared by mixing with acetonitrile, centrifuging, and diluting 50-fold with ultrapure water | Relevant as it describes the process of sample preparation for LVFX detection in biological matrices.
Sampling Time | No specific sampling time points mentioned; focus was on the optimized incubation for detection (15 minutes) | Relevant because it informs the approach to time-based luminescence intensity stabilization in the detection study.
Patient Samples | Serum and urine samples were analyzed for LVFX after preparation and spiking | Relevant for understanding how patient biological matrices were integrated into the study design for realistic testing of LVFX detection.
SUZ−103 Synthesis | Traditional solvothermal approach employing Schiff base condensation reaction | Details how the COF structure was produced, essential for understanding the model used as a platform.
Eu Grafting Method | Acetonitrile solution of Eu (acac)3 at 80 °C for 24 hours | Provides insight into the preparation of the sensor material, indicating modification of framework chemistry rather than specific biological models.
Eight-connected bcu net topology | Framework structure based on DPTB-Me and Bpy monomers | Relevant to the material science aspect, showing spatial characteristics crucial for diffusion and interaction in sensing, not directly tied to compartment models.
Sensor Optimization Kinetics | 15 min incubation period for stabilization | Addresses the interaction mechanism within Eu@SUZ−103, suggesting controlled in vitro behavior.
PXRD Analysis | Retention of IMM2 structure post-grafting | Indicates high framework stability which may assist in compartmental-type diffusion models but does not imply a specific pharmacokinetic modeling approach.
Förster Resonance Energy Transfer (FRET) | Energy mechanism for LVFX detection | Describes molecular interaction rather than compartment-based biological modeling.
Detection Parameters | Linear range (5–2000 μM), limit of detection 0.61 μM | Reflects sensitivity and effectiveness of the sensor matrix but not a modeling approach like IVIVE or PBPK.
Biological Matrices | Serum and urine samples used for testing | Relevant for inferring in vitro applications but insufficient for identifying the use of a physiologically compartmental model.
Concentration of Eu@SUZ−103 | 600 μg/mL | This parameter was optimized for maximum luminescence intensity in LVFX detection experiments, making it crucial for ensuring accurate and efficient detection.
Incubation Time | 15 min | This was determined based on time-course studies, ensuring equilibrium between LVFX and Eu@SUZ−103 for reliable luminescence measurement.
Excitation Wavelength | 395 nm | This wavelength was employed in photoluminescence measurements to excite Eu@SUZ−103 and detect luminescence intensity for LVFX.
Detection Range | 5–2000 μM | This was derived from calibration curves established during LVFX detection experiments, showing the broad applicability of the sensor.
Limit of Detection (LOD) | 0.61 μM | Calculated using the equation LOD = 3Sd/k, where Sd is the standard deviation of the blank and k is the slope of the regression. This value indicates the sensitivity of the sensor in detecting LVFX.
pH | 7 | Experimental optimization showed stable luminescence intensity within the physiological pH range, emphasizing the sensor's adaptability in human serum and urine matrices.
Triplet Energy Level (β-diketone ligand) | 25,300 cm−1 | This property of the acetylacetonate ligand enabled efficient energy transfer to Eu3+ for enhanced luminescence, crucial for sensor function.
PXRD Peaks | 4.14°, 5.29°, 6.85°, and 8.95° | These values confirmed the crystalline structure of SUZ−103 and indicated retention of the structure after Eu ion modification.
BET Surface Area | 1535.3 m2 g−1 for SUZ−103, 1469.4 m2 g−1 for Eu@SUZ−103 | Determined using Brunauer–Emmett–Teller (BET) calculations from nitrogen adsorption-desorption measurements, these values supported the material's porosity beneficial for analyte diffusion.
Pore Width | 14.79 Å for SUZ−103, 14.83 Å for Eu@SUZ−103 | These values were calculated via NLDFT and validated the structural model, essential for efficient LVFX sensing.
Thermal Stability | Up to 450 °C | Confirmed via thermogravimetric analysis, indicating robustness in detection experiments and ensuring reliability.
Emission Peak | 617 nm | This peak, specific to the 5D0 → 7Fk transitions of Eu3+, was enhanced by LVFX and represents the primary detection signal.
Recycling Performance | Slight decrease in fluorescence after five cycles | Obtained from reuse tests, demonstrating robust sensor reusability.
Recovery Rate | 95.93% to 101.89% | Calculated based on spike and recovery tests in serum and urine, validating the sensor's reliability in biological matrices.
Relative Standard Deviation (RSD) | 1.27% to 2.49% | Calculated during recovery tests in biological matrices, confirming measurement precision in complex environments.
pH | pH range of 6 to 8 | The pH stability demonstrates that the Eu@SUZ−103 sensor can reliably operate under physiological conditions, hinting at potential influences on pharmacokinetics in body fluids.
Incubation time | Stabilized after 15 min | Rapid interaction between LVFX and Eu@SUZ−103 ensures efficient analyte binding, relevant for pharmacokinetic modeling in biological matrices.
Serum and urine preparation | Dilution and acetonitrile mix method | Preparation of biological matrices like serum and urine is crucial for studying LVFX pharmacokinetics and ensuring accurate detection in real-life applications.
Interference compounds | Substances such as amino acids, metal ions, and common body fluid compounds | These interfere in drug pharmacokinetics and demonstrate Eu@SUZ−103’s selectivity, supporting studies of LVFX behavior in complex biological environments.
β-Diketone structure | Enhances luminescence of Eu3+ | The structural feature impacts drug-sensor interaction, providing insights into molecular features influencing pharmacokinetics.