## Table 1
Methods | Principle | Measurement Time | Pros | Cons
Spectrophotometric method | UV-Vis absorbance | <10 min | Simple, cheap | Low sensitivity and specificity
HPLC/HPLC-MS | Chromatographic separation and detection | ~20–60 min | High specificity, structure determination (with MS) | Sample pretreatment, sophisticated instrumentation
ICP-MS/OES | Elemental analysis of Pt | ~10–30 min | Excellent sensitivity and accuracy | Sample pretreatment, sophisticated instrumentation, detection of the ion form of Pt
OPDA method | Derivatization of cisplatin with OPDA | ~20 min | Simple, cheap, user-friendly | Interference by sulfurs/thiols
Electrochemical determination | Redox activity of Pt (II) | ~10 min | Ease of operation, cheap, rapid detection | Sample pretreatment, interference by other electroactive species, less used for cisplatin nanomedicine

## Freetext Data
Data | Value | Relevance
Chemical formula of cisplatin | "cis-[Pt(NH3)2Cl2]" | Relevant as it defines the compound’s molecular identity, critical for its detection and quantification.
Main strategy of cisplatin action | "Forms DNA crosslinks through platinum coordination" | This explains its anticancer mechanism, important for understanding its activity when delivered in nanoparticles.
Key side effects of cisplatin | "Severe systemic toxicity" | Relevant because improving its delivery via nanoparticles aims to mitigate these adverse effects.
Types of cisplatin-loaded NPs | "Liposomal, polymeric micelles, albumin-based, inorganic (iron oxide/silica) NPs" | Highlights the main nanoformulations being evaluated for optimized cisplatin delivery.
UV-Vis absorbance peak of cisplatin | "Around 301 nm" | Relevant as it supports its spectrophotometric quantification in NP formulations after separation or direct assessment.
Advantage of cisplatin-loaded NPs | "Controlled drug release, reduced systemic toxicity, and enhanced tumor targeting" | Shows the rationale and benefits behind using NPs for cisplatin delivery.
Enhanced tumor targeting mechanism | "EPR (enhanced permeability and retention) effect" | Explains how nanoparticles passively target tumors, aiding in reduced off-target effects of cisplatin.
Reason for specific NP formulations | "Protection from GSH interaction, solve drug resistance" | Addresses solutions to cisplatin’s degradation and efficacy issues through nanoparticle approaches.
Key detection techniques for cisplatin in NPs | "UV-Vis, HPLC, ICP-MS, OPDA, electrochemical sensors" | Summarizes analytical methods discussed for their quantification in complex nanoparticle systems.
Cisplatin detection mechanism using OPDA | "Coordination generates light-blue product with absorption at 705 nm" | Details a widely discussed method for cisplatin quantification, essential for standardizing NP characterization.
Disadvantage of direct UV measurement for cisplatin | "Low extinction coefficient and interferences from solvents or NPs" | Explains why indirect methods like OPDA are preferred for accurate quantification.
Role of HPLC in cisplatin determination | "Efficient separation based on polarity; derivatives enhance sensitivity" | Relevance lies in its use for high-sensitivity determination and verification of cisplatin species in NP environments.
Element analyzed in ICP-MS technique | "Platinum content as a marker of cisplatin" | Relevant for accurate loading and release efficiency assessments, especially for trace-level detection in complex systems.
Electrode type used in electrochemical sensor | "Bismuth NP/graphene and Pt nanoelectrodes" | Relevant as it highlights materials enabling improved sensitivity in monitoring cisplatin release and biological interaction.
Research gap addressed | "Demand for simple, cost-effective cisplatin determination in NPs" | Relevant for contextualizing the need to improve and adapt quantification methods within this niche.
--- | --- | ---
Patient Population | Not Applicable | The paper does not discuss specific patient PK studies related to cisplatin-loaded nanoparticles.
Sampling Time Points | Not Applicable | The paper does not provide detailed sampling time points for blood or tissue in PK studies.
Sample Size | Not Applicable | The paper does not directly address patient sample sizes or specific PK study designs.
PK Study Focus | Evaluation of cisplatin in cells, pharmacokinetics of NP formulations mentioned | Paper focuses on methods for determining cisplatin encapsulated content and release, which are essential for pharmacokinetics but lacks specific PK human/animal design details.
--- | --- | ---
Model Information | Not explicitly mentioned | The paper provides a detailed review of methods for quantifying cisplatin in nanoparticle formulations and does not focus on pharmacokinetic models such as 1-compartment, 2-compartment, or PBPK models. This is directly relevant as its scope is limited to analytic quantification rather than predictive modeling of dosage or distribution.
Focus of Analysis | Quantification and characterization methods | The relevance lies in the fact that the paper emphasizes tools and techniques for cisplatin quantification, rather than employing or discussing specific biological or pharmacological compartmental models.
Characterization Focus | Techniques like UV-Vis, HPLC, ICP-MS | This highlights that the paper concentrates on describing technical strategies rather than adopting a model-based quantitative simulation framework, underlining that model-related methods are outside its primary scope.
Cisplatin approval time | Almost 50 years ago | Relevant as it provides context about cisplatin's longstanding clinical use and necessitates the development of improved quantification and delivery methods.
Chemical formula of cisplatin | cis-[Pt(NH3)2Cl2] | Relevant because the structure determines its interaction with biological targets and quantification techniques.
Extracellular Cl− concentration | 100 mM | Relevant for understanding cisplatin's pharmacological behavior and quantification in varying environmental conditions.
Cytoplasmic Cl− concentration | 4–10 mM | Relevant as it indicates cisplatin activation conditions requiring specific quantification adjustments.
UV absorbance peak of cisplatin in pure water | 301 nm | Relevant for spectrophotometric quantification and standard curve preparation.
LOD of electrochemical sensor (bismuth NP/graphene-modified glassy carbon electrode) | 4.4 μM | Relevant as it specifies the detection sensitivity of a method analyzed in the paper.
Linear range of electrochemical sensor | 6.0 to 180 μM | Highlights the operational range for quantifying cisplatin, contributing to its applicability assessment.
OPDA reaction conditions | Heating at 100°C in DMF | Relevant for explaining sample preparation and derivatization steps for spectrophotometric quantification.
ICP-MS sensitivity | Parts per trillion (ppt) levels | Relevant for determining trace amounts of cisplatin, specifically in nanomedicine formulations.
Detection wavelengths for HPLC-UV | 210 nm, 301 nm | Relevant as it explains the operational parameters for cisplatin-specific quantification using HPLC.
Chromogenic detection wavelength for OPDA-cisplatin complex | 705 nm | Relevant for quantification as it avoids interference in the UV region, enhancing precision.
Pre-treatment for NPs quantification using ICP-MS | Acidic digestion | Relevant as it defines preparation requirements for achieving accurate quantification of cisplatin levels.
Chemotherapeutic relevance of cisplatin | Up to half of cancer patients utilize platinum-based drugs | Relevant for emphasizing its widespread use and the importance of accurate quantification for therapeutic efficacy.
Nanomedicine quantification precision parameter | Easily affected by solvents and NP absorbance for UV methods | Relevant for selecting the most appropriate technique for specific settings.
Factors influencing pharmacokinetics | Cytoplasmic chloride concentration (4–10 mM) | Relevant because the lower cytoplasmic chloride concentration facilitates the aquation and activation of cisplatin, affecting its pharmacokinetics.
Factors influencing pharmacokinetics | Encapsulation of cisplatin in NPs | Relevant because encapsulation can protect cisplatin from premature interactions and influence its release profile, stability, and overall pharmacokinetics.
Factors influencing pharmacokinetics | Modification of NPs with targeting ligands (e.g., antibodies) | Relevant because targeting ligands can mediate active targeting and improve cisplatin retention in cancer cells, altering pharmacokinetics.
Factors influencing pharmacokinetics | Use of polymers or inorganic materials in NP formulations | Relevant because the type of NP material affects controlled release, bioavailability, and systemic circulation time, impacting pharmacokinetics.
Factors influencing pharmacokinetics | Drug efflux through ATP-binding cassette (ABC) transporters | Relevant because drug efflux mechanisms reduce intracellular cisplatin concentration, thereby impacting its pharmacological and pharmacokinetic profile.
Factors influencing pharmacokinetics | Strong chelation with glutathione (GSH) | Relevant because chelation deactivates cisplatin, contributing to altered pharmacokinetics and potential drug resistance.
Factors influencing pharmacokinetics | Passive targeting through enhanced permeabilization and retention (EPR) effect | Relevant because the EPR effect allows cisplatin-loaded NPs to accumulate in tumor tissues, altering their pharmacokinetics and biodistribution.
Factors influencing pharmacokinetics | Derivatization of cisplatin for detection and bioavailability studies | Relevant since the derivatization, such as using DDTC, plays a role in evaluating cisplatin metabolism and bioavailability, indirectly influencing pharmacokinetics.
Factors influencing pharmacokinetics | Stability and release behavior of cisplatin-loaded NPs | Relevant because the controlled release mechanisms inherent in NPs directly affect systemic exposure and pharmacokinetics.