## Table 1
Ketamine_Time (min) | Ketamine_Flow (mL/min) | Ketamine_% A | Ketamine_% B
0.00 | 0.300 | 90 | 10
1.00 | 0.300 | 90 | 10
1.80 | 0.300 | 5 | 95
3.00 | 0.300 | 5 | 95
3.50 | 0.300 | 90 | 10
4.00 | 0.300 | 90 | 10
Medetomidine | Medetomidine | Medetomidine | Medetomidine
Time (min) | Flow (mL/min) | % A | % B
0.00 | 0.350 | 40 | 60
1.00 | 0.350 | 5 | 95
2.70 | 0.350 | 5 | 95
3.00 | 0.350 | 40 | 60
3.50 | 0.350 | 40 | 60
Lidocaine | Lidocaine | Lidocaine | Lidocaine
Time (min) | Flow (mL/min) | % A | % B
0.00 | 0.400 | 65 | 35
0.20 | 0.400 | 65 | 35
0.80 | 0.400 | 5 | 95
2.50 | 0.400 | 5 | 95
3.00 | 0.400 | 65 | 35
4.00 | 0.400 | 65 | 35

## Table 2
Analyte | MRM Transition (m/z) | Cone Voltage (V) | Collision Energy (eV)
Ketamine | 238.1 > 124.9 | 20 | 26
Ketamine-d4 | 242.0 > 129.0 | 20 | 26
Medetomidine | 201.1> 94.9 | 28 | 18
Medetomidine-d4 | 204.1 > 97.9 | 28 | 18
Lidocaine | 235.1 > 85.9 | 30 | 17
Lidocaine-d10 | 245.1 > 95.9 | 30 | 18

## Table 3
Unnamed: 0_level_0_Level | Plasma_Ketamine(ng/mL) | Plasma_Medetomidine(ng/mL) | Plasma_Lidocaine(ng/mL) | DBS_Ketamine(ng/mL) | DBS_Medetomidine(ng/mL) | DBS_Lidocaine(ng/mL)
1 (+QC) | 250 | 1 | 100 | 250 | 1 | 250
2 | 500 | 5 | 250 | 500 | 5 | 500
3 (+QC) | 1000 | 20 | 500 | 1000 | 20 | 1000
4 | 2500 | 50 | 1000 | 2500 | 50 | 2500
5 (+QC) | 5000 | 100 | 2500 | 5000 | 100 | 5000
6 | - | 200 | 5000 | - | 200 | 10000

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Study population for medetomidine | Seven male cats, ages 3-4 years, sedated with 130 µg/kg medetomidine | Relevant because it identifies the target population for evaluating the DBS method for medetomidine quantification in cats.
Study population for ketamine | Seven male cats, ages 3-4 years, sedated with 20 µg/kg medetomidine and 10 mg/kg ketamine | Relevant as it describes the population used to study ketamine pharmacokinetics using DBS.
Study population for lidocaine | Six healthy horses (3 geldings and 3 mares), aged 1–11 years, undergoing elective surgeries while receiving a lidocaine infusion at 0.05 mg/kg/min | Relevant for exploring the potential of DBS sampling in large animals and comparing with plasma lidocaine concentrations.
Sampling method for ketamine | Venous blood collected via catheter and DBS sampled from auricular pinna simultaneously | Relevant because the sampling method ensures comparability between DBS and plasma for ketamine pharmacokinetics.
Sampling method for lidocaine | Jugular vein venipuncture for both plasma and DBS collection | Relevant since aligning collection sites minimizes variability between DBS and plasma for lidocaine quantification.
Blood volume for DBS | 20 µL applied to Whatman Protein Saver 903 cards | Relevant as the minimal blood volume highlights the reduced invasiveness inherent to DBS sampling compared with traditional methods.
Storage condition for DBS | Dried for 2 hours and stored at room temperature in plastic bags, protected from light, for up to 24 hours | Relevant as storage stability is key to the practical application of DBS in veterinary pharmacokinetics.
LC-MS/MS for medetomidine | LLOQ of 1 ng/mL in plasma and DBS; calibration range of 1–200 ng/mL | Relevant because it demonstrates the sensitivity and dynamic range of the analytical methods for medetomidine quantification.
LC-MS/MS for ketamine | LLOQ of 250 ng/mL in both plasma and DBS; calibration range of 250–5000 ng/mL | Relevant as it reflects the method's detection limits and calibration for ketamine used in pharmacokinetic comparisons.
LC-MS/MS for lidocaine | LLOQ of 100 ng/mL in plasma and 250 ng/mL in DBS; calibration range of 100–5000 ng/mL for plasma and 250–10,000 ng/mL for DBS | Relevant for assessing the analytical robustness of the DBS versus plasma approach for lidocaine.
Correlation statistic for medetomidine | Pearson correlation coefficient (r) = 0.94 (95% CI for slope: 0.8059–0.9362) | Relevant for establishing the agreement between DBS and plasma measurements for medetomidine.
Correlation statistic for ketamine | Pearson correlation coefficient (r) = 0.65 (95% CI for slope: 0.3292–0.7759) | Relevant as it assesses the potential of DBS sampling but shows the need for optimization for ketamine measurement.
Correlation statistic for lidocaine | Pearson correlation coefficient (r) = 0.33 (95% CI for slope: 0.1405–0.5982) | Relevant as it reveals substantial variability and lower reliability of DBS for lidocaine quantification.
EMA guideline compliance for medetomidine | 75.6% of samples fell within ±20% differences between predicted and observed plasma concentrations | Relevant as it confirms that DBS samples for medetomidine meet regulatory acceptability.
EMA guideline compliance for ketamine | 46.9% of samples fell within ±20% differences between predicted and observed plasma concentrations | Relevant to indicate the need for methodological improvements in using DBS for ketamine.
EMA guideline compliance for lidocaine | 21.4% of samples fell within ±20% differences between predicted and observed plasma concentrations | Relevant as it demonstrates the current limitations of DBS for lidocaine pharmacokinetics.
Potential limitation: Hematocrit | High hematocrit in horses (32–52%) may limit blood spread on the DBS card | Relevant to understand potential variability in analyte distribution in equine DBS samples affecting extraction efficiency.
Proportional bias for lidocaine | Downward trend in Bland-Altman plot indicates concentration bias | Relevant as it shows systemic differences in DBS-derived versus plasma-derived lidocaine concentrations.
Future validation needed | Lack of external validation for plasma-DBS conversion models | Relevant for addressing methodological limitations and ensuring broader applicability of findings.
Patient sample size for ketamine study in cats | 7 male cats | The sample size determines the statistical power of the study and provides a basis to evaluate variability and drug behavior in cats.
Blood sampling time points for ketamine study | 10, 15, 20, 30, 45, and 60 min post-drug administration | These time points allow for determining the concentration-time profile required for pharmacokinetic analysis.
Patient population for ketamine study | Male cats, aged 3 to 4 years, undergoing castration | Selecting this demographic and procedure ensures homogeneity in the test group, aiding in isolating the effect of ketamine administration.
Patient sample size for medetomidine study in cats | 7 male cats | A consistent group size supports comparison and aids in robust evaluation of drug concentration correlations.
Blood sampling time points for medetomidine study | 10, 15, 20, 30, 45, 60, 75, 90, and 120 min post-drug administration | These time points enable detailed pharmacokinetic characterization of medetomidine in the studied population.
Patient population for medetomidine study | Male cats serving as semen donors | Using a specific population with controlled baseline characteristics helps validate the applicability of DBS sampling in veterinary PK research.
Patient sample size for lidocaine study in horses | 6 horses (3 geldings and 3 mares) | This group size reflects pilot feasibility and variance testing for DBS methodology in equine pharmacokinetics.
Blood sampling time points for lidocaine study in horses | 5, 10, 30, 45, and 60 min during infusion; 5, 10, 30, and 60 min after infusion interruption | Sampling during and after infusion provides a comprehensive profile for lidocaine disposition in the body.
Patient population for lidocaine study | Horses aged 1 to 11 years, classified as ASA Class ≤ 2 undergoing elective surgeries | Including a defined population with elective procedures ensures the collection of controlled and relevant pharmacokinetic data.
Model Used | Not explicitly stated in the paper | The study focuses on comparing DBS and plasma measurements of drug levels and does not specify using a pharmacokinetic model like 1-compartment, 2-compartment, or others.
Analysis Method | Comparative evaluations such as Deming regression and Bland–Altman plots | These statistical methods were used to compare DBS and plasma drug concentration values rather than modeling the pharmacokinetics.
Pharmacokinetic Assessment | Concentration–time profiles for plasma and DBS | The study evaluated drug concentration–time profiles but did not apply a formal compartmental or physiologically based pharmacokinetic model.
Validation Method | EMA ICH M10 guidelines considered | Mentioned as part of assay validation, which supports the accuracy of measurements but is not directly tied to a pharmacokinetic model.
Regression Technique | Deming regression for plasma-to-DBS correlation | This regression approach assesses method agreement and error estimation, relevant for measuring analyte levels but not for defining a pharmacokinetic model.
Medetomidine LLOQ in Plasma and DBS | 1 ng/mL | Relevant for determining the sensitivity of the quantification for medetomidine in both matrices.
Ketamine LLOQ in Plasma and DBS | 250 ng/mL | Relevant for identifying the sensitivity thresholds for ketamine measurements.
Lidocaine LLOQ in Plasma | 100 ng/mL | Relevant for understanding the sensitivity required for lidocaine quantification in plasma.
Lidocaine LLOQ in DBS | 250 ng/mL | Relevant for assessing how the sensitivity for lidocaine compares between plasma and DBS matrices.
Calibration Curve Range for Ketamine in Plasma and Whole Blood | 250–5000 ng/mL | Indicates the concentration span used for accurate quantification within the study.
Calibration Curve Range for Lidocaine in Plasma | 100–5000 ng/mL | Provides the range used to validate the method for detecting lidocaine in plasma.
Calibration Curve Range for Lidocaine in DBS | 250–10,000 ng/mL | Demonstrates the broader range required for DBS analysis of lidocaine.
Calibration Curve Range for Medetomidine in Plasma and DBS | 1–200 ng/mL | Defines the range used to validate medetomidine detection in both sampling matrices.
Correlation Coefficient for Deming Regression of Medetomidine | 0.88 (Pearson’s r) | Used to quantify the linear relationship between medetomidine concentrations in DBS and plasma.
Correlation Coefficient for Deming Regression of Ketamine | 0.81 (Pearson’s r) | Indicates the correlation accuracy for ketamine concentrations in DBS and plasma.
Correlation Coefficient for Deming Regression of Lidocaine | 0.49 (Pearson’s r) | Establishes the weaker correlation for lidocaine between DBS and plasma matrices.
Percentage of Bland–Altman Agreement for Medetomidine | 75.6% | Indicates medetomidine data met the EMA guideline of ±20% difference for two matrices.
Percentage of Bland–Altman Agreement for Ketamine | 46.9% | Highlights the need for additional optimization to meet similar agreement standards for ketamine.
Percentage of Bland–Altman Agreement for Lidocaine | 21.4% | Suggests further investigation is needed for lidocaine analysis via DBS.
Hematocrit Reference Range in Cats | 32–48% | Relevant for understanding potential hematocrit effects on DBS sample performance in feline studies.
Hematocrit Reference Range in Horses | 32–52% | Explains species-specific blood properties that may influence DBS sample reliability.
DBS Sample Volume per Spot | 20 µL | Critical for standardizing sample collection and ensuring consistency across analytical procedures.
Medetomidine Peak Retention Time | 1.35 min | Indicates optimized chromatographic conditions from LC-MS/MS for medetomidine.
Ketamine Peak Retention Time | 1.89 min | Relevant for confirming the optimized chromatographic separation and retention of ketamine.
Lidocaine Peak Retention Time | 1.48 min | Demonstrates analytical parameter optimization for lidocaine detection via LC-MS/MS.
Blood collection site | Differences in sample collection sites, such as the auricular pinna for DBS and jugular vein for plasma | Blood collection site variances may influence drug distribution and pharmacokinetic analysis outcomes.
Hematocrit levels | Cats: 32–48%; Horses: 32–52% | Hematocrit differences may affect blood spread on filter paper for DBS and analyte distribution, influencing pharmacokinetic interpretations.
Species-specific hematological differences | Horses exhibit higher hematocrit and potentially altered viscosity | These biological factors affect DBS sampling and pharmacokinetics in interspecies studies.
Lidocaine-protein binding | Lidocaine exhibits concentration-dependent binding to α1-acid glycoprotein (AAG) | Binding variations impact free drug partitioning and pharmacokinetics between plasma and DBS.
Physiological variations | Variability attributed to location of blood sampling (jugular vs auricular pinna) and species differences | Influences analyte behavior and accuracy in pharmacokinetic correlations.
Analyte distribution properties | Lidocaine: higher RBC partitioning at elevated concentrations; Medetomidine and Ketamine properties less characterized | Understanding distribution behavior is crucial for interpreting pharmacokinetics from DBS and plasma.