## Freetext Data
Data | Value | Relevance
Sample collection method | Microsampling using Capitainer Plasma device | The study evaluates this novel microsampling technology's effectiveness in producing dried plasma samples for accurate proteomic analysis.
Quantitative performance | R > 0.99 correlation with conventional plasma | This highlights how the method yields near-identical results compared to traditional plasma analysis, reflecting its reliability for proteomics applications.
Precision of Measurements | Coefficient of variance (CV) below 10% for 80% of peptides | Demonstrates that the data obtained from the microsampling device exhibits high precision, essential for consistent clinical and research utility.
Long-term stability | Stability observed for up to 232 days at room temperature | Relevant as it showcases the dried format’s ability to maintain protein integrity over time, reducing the need for cold-chain storage.
Sampling volume | 30–60 μL of capillary blood collected | This reflects the convenience and minimal burden placed on patients, enabling broader and more frequent sampling possibilities.
Challenges of DBS sampling | Variable spot sizes, hematocrit impact | The paper addresses limitations of traditional dried blood spot methods and highlights dried plasma spots as an improved solution.
Protein degradation targets | APOB and APOC1 degrade over time | Highlights specific vulnerabilities during extended periods at RT, guiding ways to optimize and account for storage conditions.
Normalization strategy | Normalization to albumin levels | Ensures quantitative robustness and mitigates discrepancies caused by varying input material volumes in device samples.
Shipping advantages | Dried samples transportable via standard mail, no cold chain needed | Reduces logistical barriers and costs, making clinical trials and longitudinal studies easier to execute.
Device testing conditions | Stored at RT; analyzed via LC-MS/MS | The paper establishes systematic conditions under which the device and collected samples were rigorously evaluated for reproducibility and robustness.
Venous anticoagulated blood collection | Blood collected from two individuals | Relevant because it specifies the source of samples used in the study and their preparation.
Healthy donors recruited | Nine healthy donors | Relevant as it specifies the sample population size for the PK study design in healthy individuals.
Blood sampling method | Finger prick for capillary blood and venous blood collection for plasma | Relevant as it describes how blood samples were obtained and processed.
Microsampling device assessment | Devices used for DPS preparation from finger-prick samples | Relevant as it describes the methodology of sample collection for the PK study.
Storage duration for samples | Samples stored at room temperature for up to 232 days and then moved to −20 °C | Relevant for understanding long-term sample stability as part of PK study design.
Sampling replicates | Five replicate microsampling cards prepared from venous blood to test stability | Relevant to determine study design and test reproducibility.
Sample preparation and digestion protocol | Samples reduced, alkylated, digested with trypsin, and analyzed via LC-MS/MS | Relevant because it outlines how samples were processed and analyzed over time.
Correlated sampling points | Neat plasma and dried plasma collected simultaneously from nine healthy donors | Relevant for understanding how paired samples were used for comparison in the study design.
Ethical approval | Regionala etikprövningsnämnden, Dnr: 033-10 | Relevant because ethical approval ensures compliance with standards for human subject research.
Quantified peptide targets | 26 protein targets evaluated across plasma with concentration range from 1300 μM to 30 nM | Relevant, as quantification of diverse targets is essential for evaluating PK study parameters.
Model Type | No specific compartmental model or physiologically based model explicitly mentioned in the study | The study focuses primarily on the use of a novel microsampling device for quantitative proteomics and does not involve pharmacokinetic modeling or IVIVE approaches.
Analytical Approach | Quantitative evaluation via targeted proteomics and LC-MS/MS analysis | The evaluation centers on assay reliability and precision rather than modeling drug or analyte distribution across compartments.
Normalization Method | Normalization to ALB for addressing variance in input material | Relevant as it shows the handling of sample variability but does not pertain to a compartmental model or IVIVE setup.
Quantitative Framework | Absolute and normalized proteomic quantifications | The framework emphasizes comparative proteomic measurements, but it does not involve simulation or mathematical modeling of biological systems.
Albumin Normalized Values | Based on the absolute quantification of albumin in plasma | Relevant as normalization is used to account for variation in sampling material.
Stable Isotope-labeled Protein Fragments | Concentration range spanning 1300 μM to 30 nM | Relevant for evaluating the quantitative performance of the microsampling device.
Median CV for Microsampled Samples | 1.6% | Relevant for assessing precision in quantitative performance for proteins.
Median CV for Neat Plasma | 4.2% | Relevant as a comparison to microsampling precision performance.
Correlation Value | R2 > 0.99 between microsampling and plasma samples | Relevant as a metric of the consistency of data derived from microsampled dried plasma versus conventional plasma.
Protein Stability Testing Duration | 232 days | Relevant for determining long-term storage stability parameters for dried plasma samples.
Elution Buffer Composition | 50 mM Ammonium Bicarbonate, 10 mM TCEP, 1% SDC | Relevant for optimized quantitative recovery and elution efficiency in dried plasma samples.
Quantitative Protein Targets | 26 proteins (dynamic range: 1300 pmol/μL to 10 fmol/μL) | Relevant for evaluation across a spectrum of protein concentrations in plasma.
Peptide Monitoring in Individual Donors | 19 protein targets across 57 peptides | Relevant to benchmark consistency and precision in human samples.
LC Gradient Parameters | Commercial LC settings with mobile phase solvent A (0.1% FA) and solvent B (acetonitrile + 0.1% FA) | Relevant as critical instrumentation settings for the quantitative measurements.
Microsampling Device Volume Precision | Below 3% CV | Relevant for assessing device performance in volumetric control and consistency of plasma yield.
Storage Conditions | Room temperature followed by -20°C storage | Relevant for evaluating sample preservation under varied environmental standards.
Recalibration Standard | ALB (Albumin comprising ~50% of plasma proteins) | Relevant for normalization due to its predominance in plasma protein composition impacting analytical results.
Analytical Technique | Selected Reaction Monitoring via LC–MS/MS | Relevant for robust quantitative detection of proteins in microsampled plasma.
Critical Quantitative Recovery Mechanism | Fibrinogen beta chain (FGB) revealed as device-specific outlier | Relevant for identifying artifacts and limitations in device-based blood sample collection.
Quick preparation of DPS compared to conventional centrifugation | Microsampling devices perform microfluidic filtration quickly, unlike the 10-minute centrifugation used for plasma preparation | Demonstrates how the preparation method may influence the drug's pharmacokinetic analysis by reducing variability from plasma vs. dried plasma.
Impact of matrix interferences in DBS | DBS sampling introduces intracellular contaminants leading to matrix interferences | Matrix effects can influence drug absorption, distribution, or metabolism assessment in pharmacokinetics.
Ionization suppression in mass-spectrometry assays | Matrix effects from DBS suppress ionization | This suppression can alter measurement sensitivity and pharmacokinetic data precision for drug profiles.
Variability in hematocrit levels | DBS sampling affected by hematocrit variation | Variability impacts drug plasma concentration measurement, a crucial pharmacokinetic parameter.
Albumin normalization | Used as a proxy for total protein in quantitative analyses | Ensures accuracy in pharmacokinetic sampling by accommodating sample variance.
Protein stability during storage | APOB and APOC1 degradation over storage time at room temperature | Degradation alters pharmacokinetic consistency by affecting long-term drug-binding protein levels.
Peptide modification influencing quantification | Amino acid modifications reduce stable quantification | Changes potentially distort longitudinal pharmacokinetic measurement.
Normalization for hypoalbuminemia cases | Not recommended in single-sampling studies | Hypoalbuminemia alters drug binding and plasma concentration, impacting pharmacokinetic interpretation.
Choice of elution buffers | AmBic and SDC-based buffers improved protein recovery | Proper buffer selection enhances accuracy of drug-related protein quantification for pharmacokinetic profiling.
Fibrinogen peptide filtration behavior | Fibrins are blocked while FGB peptides are inconsistently recovered | Device-specific peptide losses can introduce error in pharmacokinetic drug binding studies focused on fibrinogen.