## Table 1
Drug | Saliva collection | Saliva purifying/sample preparation | Saliva volume | Drug determination method | Concentration range or LLOQ | Studied population | TDM suitability or other application | Correlation between saliva and plasma/serum | Reference
Gentamycin | unstimulated (swab placed into the cheek pouch for 90 s) | centrifugation of swabs | a minimal sample volume of 10 µL | LC–MS/MS | LLOQ 0.056 mg/L | 54 neonates | yes; a targeted peak plasma concentration was within the range of 9–11 mg/L and trough concentration < 0.8 mg/L after the third dose; TDM with four saliva samples is equal to TDM with one plasma sample | not feasible | [51]
Gentamycin | not defined | saliva mixed with 20 µL of IS and the mobile phase; centrifuged at 10°; 200 µL of upper layer transferred to the HPLC vials | 200 µL | LC-MS/MS; Eclipse, C18, 100 × 4.6 mm, 3.5 μm, thermostated at 25 °C; mobile phase: 0.01% trifluoracetic acid and ACN (70:30, v/v); injection volume: 15 µL; MRM (m/z) for gentamycin: 478.3/322.1, and for solifenacin (IS): 363.0/193.0; ESI positive mode | 20.0–5000.00 ng/mL, LLOQ 20 ng/mL | 50 neonates (27 boys, 23 girls) | suggested level for saliva Cmin: 5 µg/mL; 5 times higher than for plasma (1 µg/mL) | the mean saliva/plasma ratio is 5–6; 5 for Cmin; 7 for Cmax | [71]
Amikacin | unstimulated (placing swabs in the cheek pouch for 90 sek) | swabs placed in collection tubes with the saturated side downwards, the unsaturated side was cut off and discarded; the tubes were refrigerated at 2–8 °C (max 12 h); for the extraction: centrifuging, freezing (-80 °C) | 10 µL (minimal sample volume required) | LC–MS/MS | quantification limit: 0.010 mg/L; concentration range in the uncontaminated saliva samples: 0.044–12.1 mg/L | 23 term and preterm neonates; males/females 11/12; median gestational age 28 weeks (range 25.7–29.51 weeks); median postnatal age 8.1 days (range 4.8–14.1 days) | the first report describes salivary amikacin pharmacokinetics and applicability of TDM using saliva samples in neonates with late-onset sepsis admitted to the neonatal intensive care unit; amikacin can be measured and modeled using saliva from a neonatal population; salivary concentrations of amikacin seem to reach higher concentrations in extremely premature neonates | time-dependent relationship between salivary and plasma amikacin concentrations found; TDM of amikacin using saliva samples resulted in target attainment comparable to plasma samples | [52]
Monohydroxy-carbamazepine | unsimulated (saliva was spat into a plastic container; in case of disability saliva was collected with a plastic disposable pipette) | saliva frozen after centrifugation; after thawing 200 µL mixed with IS and MeOH and centrifuged at room temperature; clear supernatant transferred to the vials | 200 µL (2 mL collected from patients) | HPLC-UV; RP-ZORBAX Eclipse Plus C18 250 × 4.6 mm, 5 μm, thermostated at 40 °C; detection at λ = 254 nm; mobile phase: 45% MeOH in pure water; flow rate: 1 mL/min; IS: p-chlorobenzene acetamide; injection volume: 20 µL | 2–100 mg/L | 52 pediatric patients (23 males, 29 females) aged 0.67-15 years | saliva/serum ratio confirmed that saliva concentration reflects the free drug concentration in serum | high correlation between saliva and plasma; the ratio: 0.71 ± 0.17 (range 0.32–1.04; coefficient of variation 23.9%); age and sex did not have an impact on saliva/plasma ratio | [24]
Valproic acid, carbamazepine, phenytoin | stimulated (citric acid; for carbamazepine quantitation collected with sodium bicarbonate; collection without buffer for phenytoin) | no data | 2 × 1 mL of saliva collected prior to the morning dose | HPLC method for valproic acid reported previously [80] | no data | 30 patients | the importance of the CYP3A4*1B variant in conferring multi-drug-resistant phenotype confirmed |  | [59]
Rufinamide | unstimulated (saliva was expectorated into polypropylene tubes) | saliva alkalized with NH4OH (pH 9.25) and extracted with dichloromethane | 250 µL used for the analysis [74] (2 mL of saliva collected from a patient) | HPLC-UV method developed previously [74]; Spherisorb silica column 250 × 4.6 mm, 5 μm, thermostated at 30 °C; mobile phase: methanol/dichloromethane/n-hexane 10:25:65 (v/v/v) with addition of 6 ml NH4OH; flow rate: 1.5 ml/min; detection at 230 nm | 0.25–20.0 µg/mL, LLOQ 0.25 µg/mL [74] | 26 patients (15 males, 11 females); median age: 16 years; range: 4–38 years (0–18 years: 22 patients; >18 years: 4 patients) | the method may be utilized for TDM purposes; it should not be used when suspension of the drug is used (risk of contamination by the drug residues) | saliva concentrations lower than in plasma (about 70% on average); saliva/plasma ratio 0.7 ± 0.2; the correction factor should be applied; a potential inaccuracy as the ratio ranges from 0.4 to 1.1 | [66]
Levetiracetam | not defined | saliva mixed with IS prepared in 40% ACN (protein precipitation); 150 µL of the supernatant diluted with 150 µL of the mobile phase | 100 µL | HPLC-UV; Luna Phenomenex C8 250 × 4.6 mm; 5 μm, thermostated at 41 °C; mobile phase: 3.5% ACN in 50 mM phosphate buffer (pH 6.0); flow rate: 1.5 ml/min; detection: λ = 205 nm (isocratic elution); IS: 5,5- diethylbarbituric acid; injection volume: 100 µL | 0.48–48 µg/mL | 15 children < 18 years | saliva is useful in the TDM of levetiracetam to improve the therapeutic response and patients’ compliance. The samples may be taken by parents and sent to laboratory | lower levels of levetiracetam in saliva than in plasma (average ratio: 61%). Therapeutic range: 10–50 µg/mL defined previously [82]; the corresponding saliva concentrations should be 40% (as a minimum) of this range (Cmin 4 µg/mL) | [72]
Carbamazepine, phenytoine, phenobarbital | stimulated with citric acid; collected by commercially available saliva collecting device | saliva frozen at − 80 °C after centrifugation; after thawing saliva mixed with 200 µL of ACN comprising IS; aliquots of 10 µL used for further HPLC analysis | 200 µL | HPLC-UV; Zorbax RP, C18 250 × 4.6 mm, 5 μm, thermostated at 35 °C; mobile phase: 60:20:20 (v/v/v) 50 mM potassium di-hydrogen orthophosphate buffer, ACN, and MeOH at pH 3.0; flow rate: 1.2 ml/min; detection: λ = 210 nm; IS: diazepam; injection volume: 10 µL | 0.5–100 µg/mL for carbamazepine, phenytoin, and phenobarbital | 116 patients (88 males, 28 females), age range 6–62 years | saliva therapeutic ranges: for carbamazepine 1.4–3.5 µg/mL, for phenytoin 1–2 µg/mL, for phenobarbital 5–15 µg/mL | mean saliva/serum ratios for carbamazepine, phenytoin and phenobarbital drug concentrations with mono- bi-, and poly-therapy were 0.37, 0.33 and 0.74; 0.48, 0.49 and 0.54; 0.41, 0.28 and 0.25, respectively; significant association with the saliva and serum levels for phenobarbital | [41]
Perampanel | unstimulated (untreated polypropylene tubes) | centrifuging after adding ACN | 50 µL for total concentration; 100 µL for free (1 mL of saliva to centrifuge using ultra-30k centrifugal filter) | HPLC-MS/MS; Agela Venusil ASB C8 column 50 × 2.1 mm, 3 μm, 150 Å; thermostated at 25 °C; mobile phases: 2 mmol/L ammonium formate with 0.1% formic acid and 100% ACN with 0.1% formic acid; flow rate: 0.2 mL/min; ESI positive mode; MRM (m/z): 349.96/219.10 (perampanel) and 372.10/176.20 (trazodone; IS) | LLOQ 1.0 ng/ mL | 30 adult patients, aged 16 to 60 (16 years: 1 patient, 18 years: 1 patient, 19 years: 2 patients) | proved for the first time that perampanel is measurable in saliva; potential for the clinical application of the saliva perampanel TDM | linear relationship between the total saliva perampanel concentrations and the total and free plasma perampanel concentrations | [6]
Fentanyl | Unstimulated and stimulated (a dry, soft, sterile foam-tipped swab rolled along the infant’s oral mucosal surface of the mouth, inner cheeks, and tongue until saturated) | solid-phase extraction: conditioning SPE columns with methanol and 100 mM phosphate buffer (pH 6.0); washing the applied samples with water and 100 mM acetic acid; elution with 1.0 ml 78:20:2 dichloromethane: isopropanol: ammonium hydroxide (v: v:v), evaporation with nitrogen, dissolving in 100 µl of 10 mM ammonium formate and 0.1% formic acid in water | 100 µL | UPLC–MS-MS on a Xevo® TQD with an ACQUITY UPLC®; IS: fentanyl-d5 and norfentanyl-d5 | LOQ and LOD set to 10 ng/mL for fentanyl and norfentanyl | Two infants | potential to create a rapid, non-invasive method for the detection of drugs in neonates and infants using saliva; the possibility to diagnose opioid exposure and risk for neonatal abstinence syndrome prior to the onset of symptoms; the potential for the evaluation of neonate and infant pharmacokinetics, including steady-state determination, therapeutic drug monitoring, and accidental drug exposure; the measured fentanyl concentration (28 ng/mL) was within the range of a previously reported steady-state concentration | no | [32]
Tramadol | unstimulated (saliva collected in sterile polypropylene bottles) | liquid-liquid extracting with ethyl acetate, centrifuging, evaporation to dryness, dissolution of the residue in the mobile phase [75] | 1 mL collected from the patient | HPLC-FLD | 100–6000 ng/mL; LOQ 3 ng/mL | 23 patients (16 boys, 7 girls) of 96 patients, age range: 16–18 years | correlation between plasma concentrations and main specimens (saliva and urine) in toxic dosage despite pharmacokinetic differences is relatively similar to therapeutic dosage | yes, strong correlations between plasma-saliva and plasma-urine concentrations for all studied compounds (r = 0.5) | [23]
Metamizole metabolites | unstimulated (oral swabs consisting of a durable polymer; the end of the collection device placed under the child’s tongue for 1.0–1.5 min) | immediately after collection, tubes centrifuged and the supernatant stored at -80 °C; 20 µL of saliva mixed with 150 µL MeOH containing 0.5% formic acid and deuterated ISs; after centrifugation, an aliquot of 2.5 µL supernatant injected into the LC-MS/MS system | 20 µL (200 µL collected from the patient) | LC-MS/MS: Atlantis T3 C18 analytical column (3 mm×50 mm, 3 μm); mobile phases: water and MeOH, both supplemented with 0.1% formic acid (gradient elution); deuterated ISs (4-methylaminoantipyrine, 4-aminoantipyrine, 4-acetyl-aminoantipyrine) | LLOQ: 100 ng/mL for 4-methylaminoantipyrine and 10 ng/mL for 4-aminoantipyrine and 4-acetyl-aminoantipyrine | 25 children scheduled for surgery with standard postoperative metamizole pain management, median age 46 months, range: 5–70 months; weight range: 8.7–24.8 kg | simulated sparse plasma sampling scenarios (only 1 plasma sample during the elimination phase of metamizole metabolite, approximately 4–6 h post dose) combined with rich saliva sampling (up to 6 saliva samples) resulted in pharmacokinetic parameter estimates comparable to the full plasma sampling scenario; inter- and intraindividual variability associated with saliva distribution may limit suitability of saliva as a single matrix for pharmacokinetic studies in children | saliva concentrations appeared to correlate with pharmacologically active unbound plasma concentrations; the estimated fraction distributing from plasma into saliva was very close to previously reported fraction unbound in plasma; simplified sampling scenario with up to 6 saliva samples combined with 1 plasma sample associated with similar pharmacokinetics parameter estimates as the full plasma sampling scenario | [53]
Lithium | stimulated (parafilm chewed for 1 min prior to spitting) | centrifugation; freezing (-20 °C); for potentiometric methods, samples pre-treated with NaCl 0.5 M as a matrix modifier | not defined | electrolyte analyzer based on class direct potentiometrc method and by means of atomic absorption spectrophotometer | LOD 0.03 mEq/L, LOQ 0.1 mEg/L | 38 patients with bipolar disorder (adults, child and adolescents) | saliva concentrations useful for estimation of the lithium levels and checking the patients’ adherence to pharmacological treatment | higher concentrations of lithium in saliva than in serum (linear correlation, r = 0.767); the correlation was not age-dependent | [37]
Caffeine | unstimulated (cellulose spear swab placed in the mouth for 1–3 min until saturation) | freezing at (-20 °C); spears centrifuged before analysis; the supernatant collected | 10 µL | solid phase microextraction coupled to capillary liquid chromatography with DAD detection; the method developed previously [54] | no data | 47 infants (gestational age 28, range 26–30), 42.6% received intravenous caffeine and 57.4% received oral caffeine | detected salivary caffeine levels: 2.20–56.90 µg/mL (median: 16.36 µg/mL) | strong positive correlation between serum and saliva caffeine levels; saliva/serum − 0.83 (for intravenous and oral administration); for intravenous caffeine - salivary/serum − 0.727; for oral administration 0.904 | [54]
Caffeine, theobromine, theophilline, paraxanthine | unstimulated (cellulose spears placed in the mouth of the patient for 1–10 min until saturation with saliva) | two situations tested with equivalent results: (1) swabs saturated with saliva spear centrifuged, the supernatant frozen (-20 °C) until analysis; (2) the saturated spear placed in the collection tube, frozen (-20 °C); centrifuged after defrosting before analysis; the supernatant collected; better repeatability with fewer impurities detected for (2); the samples acidified with 1% aqueous formic acid; diluted to 100 µL with ultra-pure water; 25 µL of diluted sample processed by solid phase microextraction | 10 µL | HPLC-DAD; Zorbax SB C18-column 150 × 0.5 mm, 5 μm; detection at 275 nm; mobile phase: water and MeOH in gradient elution; flow rate: 15 µL/min | LOD 0.5 µg/mL in saliva for all analytes; method quantitation limit: 1.5 µg/mL; concentration range: 5–50 mg/L | healthy adult volunteers | caffeine saliva concentrations: 5.5–56.2 µg/mL; metabolites not found | significant correlation between serum and saliva levels: the intercept statistically equal to 0 (-2 ± 3), the slope statistically equal to 1 (0.99 ± 0.14); correlation coefficient close to 0.8 | [55]
Caffeine | saliva collection system (the swab kept in the mouth for 60–90 s until saturated; the process repeated about 2 min later with the other end of the swab) | centrifuging and frozen after collection; liquid-liquid extraction with ethyl acetate (proteins precipitation); the supernatant removed and evaporated; the residue dissolved in a mobile phase | 0.1 mL (the volume collected from a patient: 0.2–0.5 mL) | HPLC-DAD; Waters Symmetry C18 250 mm column; thermostated at 37 °C; detection at 280 nm; mobile phase: ACN: acetic acid: water (100:1:899); flow rate: 1.2 mL/min; the method was developed previously [76] | 6.25–200 mg/L | 29 infants (mean gestational age 27.9 ± 2.1 weeks) | good agreement between plasma and salivary concentrations; not significant bias; salivary samples are an appropriate alternative to blood for measuring caffeine concentrations when clinically indicated | the correlation coefficient of 0.87 between salivary and plasma concentrations; the distribution of caffeine between plasma and saliva was well described by a recirculation pharmacokinetic model | [62]
Caffeine | samples collected from the cheek internal mucus with a mucus vacuum cleaner; storage in sterile recipients | no data | 0.2 mL | EMIT®2000 caffeine Assay | detection range: 1–30 µg/mL; therapeutic window: 8–20 µg/mL: toxic concentrations: >50 µg/mL | 13 preterm infants (6 males, 7 females), mean gestational age: 32.2 ± 0.7 weeks | observed concentrations: 0.4–36.8 µg/mL | significant correlation between the salivary and serum caffeine concentrations (R2 = 0.76), described with an equation: Cp = 0.98xCs + 3.03 (Cs and Cp - serum and salivary concentrations); no statistical difference between the mean serum and salivary concentrations according to the administered caffeine dose | [25]
Methylphenidate and ritalinic acid (metabolite) | unstimulated (a cotton pad kept in mouth and chewed for about 2 min) | centrifugation; freezing in liquid nitrogen (-80 °C); salivary pH measurement | not defined | LC-MS/MS with appropriate kits | LOQ 1.5 ng/mL for methylphenidate; 3.5 ng/mL for ritalinic acid | 36 patients with ADHD, aged 7–48 years | age-dependent correlation between methylphenidate serum and saliva concentrations; higher for children; saliva cannot replace measurements in serum; saliva may serve as an alternative matrix for TDM, especially for follow-up examinations | higher methylphenidate concentrations in saliva than in serum (saliva/serum ratio about 5) with the correlation coefficient r = 0.51; the correlations coefficients r = 0.73 and r = 0.63, and the saliva/serum 2.5 and 7.5 for pediatric patients and adult patients, respectively; for ritalinic acid higher concentrations in serum than in saliva (saliva/serum ratio 0.03) | [38]
Methylphenidate, dexamphetamine, atomoxetine | unstimulated (cotton wool swab placed in the mouth for at least 3 min) | centrifuging and freezing (-20 °C) within 30 min after collection; saliva vortexed with a mixture of 1-chlorobutane and ACN and centrifuged; organic layer transferred and evaporated to dryness; samples derivatized with DIB-Cl reagent | 1 mL for methylphenidate and dexamphetamine, 100 mL for atomoxetine | HPLC -FLD; Phenomenex Gemini-NX C18 150 × 4.6 mm,3 μm; thermostated at 35 °C; detection at 330 nm (excitation) and 440 nm (emission); gradient elution; injection volume: 10 µL | 5–160 ng/mL | 16 patients: 5 females (age 10–53 years), 11 males (age 8–59 years). | saliva useful in methylphenidate and dexamphetamine determination; might be useful in testing drug abuse or patients’ compliance; tomoxetine not detected | higher saliva concentrations; highly variable saliva to serum concentration ratios for methylphenidate (4.0 ± 3.4) and dexamphetamine (2.7 ± 1.7); an inverse correlation with salivary pH (dexamphetamine more acidic than blood); no saliva-serum correlation for either drug | [39]
Methylphenidate, ritalinic acid | unstimulated | methylphenidate instable in saliva; the sample centrifuged immediately and frozen in -70 °C; protein precipitation prior to analysis | 100 µL | ESI-LC–MS/MS developed previously [62]; UPLC; Synergi Polar-RP 50 × 2 mm, 2.5 μm column; data recorded by scheduled MRM, including the two most intense transitions for methylphenidate, ritalinic acid, and the ISs (methylphenidate-d9 and ritalinic acid-d10); electrospray interface in positive ion mode | 1–500 ng/mL for methylphenidate; 0.25–125 ng/mL for ritalinic acid | 21 children from Child and Adolescent Psychiatry, 22 patients from General Psychiatry and 16 patients from Department of Dependency | saliva methylphenidate concentrations about 4-fold higher than in blood; saliva ritalinic acid concentrations about 25-fold lower than in blood; saliva not recommended for TDM due to methylphenidate instability in saliva | significant correlations between methylphenidate and ritalinic acid concentrations in saliva and in blood for each time point for intraindividual patient comparison; high interindividual patients variability of the saliva to blood ratio for methylphenidate and ritalinic acid; methylphenidate saliva/blood ratio did not vary at the different time points; ritalinic acid saliva/blood ratio varied between the time points; no significant differences between the three patient groups for saliva/blood ratio of methylphenidate and ritalinic acid | [40]
Amphetamine | unstimulated (synthetic fiber roll, placed in the mouth for about 5 min) | liquid–liquid extraction with ethyl acetate, after evaporation of the organic solvent to dryness, the residue was derivatized with 4-(4,5- diphenyl-1 H-imidazole-2-yl)benzoyl chloride hydrochloride | 1 mL [38] | HPLC-FLD | not defined | 28 patient (23 boys, 5 girls), mean age, 11.3 years | amphetamine paired saliva-to-serum concentrations were highly variable and strongly affected by salivary pH, indicating that saliva is an inappropriate sampling matrix for TDM of amphetamine; Bland–Altman analysis did not support saliva as a suitable matrix for TDM | yes, strong positive linear correlation between saliva and serum concentrations (r = 0.628, P < 0.001); the saliva-to-serum concentration ratio strongly pH-dependent (r = 20.712, P < 0.001) | [49]
MMF, MPA | no data | extraction (2% HCl in water, tert-butyl methyl ether), organic layer decanted and evaporated, the residue dissolved in the mobile phase | 300 µL | LC-MS/MS; Thermohypersil, BDS, C18, 50 × 4.6 mm, 3.00 μm; mobile phase: ACN and ammonium formate 10 mM + 0.05% formic acid (70%:30%); injection volume: 10 µL; run time 2 min; positive ESI mode; m/z: 434.2/114.1 for MMF; m/z: 321.2/207.1 for MPA | 0.025–3.50 ng/mL for MMF; 150–20 000 ng/mL for MPA | stable kidney transplant patients, aged 4–18 years (mean 11.63 years) | saliva may be an alternative body fluid to plasma in TDM of mycophenolate mofetil and mycophenolic acid | statistically significant correlation for plasma and saliva concentrations of mycophenolate mofetil and mycophenolic acid | [65]
MPA, MPAG | unstimulated (cotton swabs) | centrifuging, freezing (-80 °C); evaporation to dryness; the residue dissolved in the mobile phase | 100 µL | LC-MS/MS; Zorbax Eclipse Plus C18 (2.1 mm×100 mm, 3.5 μm thermostated at 40 °C; mobile phase: MeOH with 0.1% formic acid and water with 0.1% formic acid, in a gradient flow; flow rate: 0.5 mL/min; injection volume: 10 µL; IS: MPA-d3 in ACN for MPA; positive ESI for MPA and MPA-d3, negative ESI for MPAG; injection volume: 10 µL; m/z 321.2 > 303.05 and 321.2 > 206.9 for MPA, 495.2 > 319.25 and 495.2 > 191.05 for MPAG, and 324.1 > 306.05 and 324.1 > 209.9 for MPA-d3 | 2–500 ng/mL for MPA and MPAG | ten pediatric patients with nephrotic syndrome, mean age 9.1 ± 3.8 years | not studied (plasma concentrations not given) | not studied (plasma concentrations not given) | [35]
MPA | unstimulated (cotton swabs) | centrifuging, freezing (-80 °C); evaporation to dryness; residue dissolved in the mobile phase | 100 µL | HLC-FLD; Zorbax Eclipse XDB C18, 150 mm×4.6 mm, 5 μm; detection at 324 nm (excitation) and 425 nm (emission); mobile phase: MeOH and 15 mM tetrabutylammonium bromide with 10 mM disodium hydrogen phosphate buffer (pH 8.5), 48:52 (v/v); IS: levofloxacin in ACN; injection volume: 20 µL | 5–2000 ng/mL | two children with nephrotic syndrome, both aged 12 | not studied | not studied | [34]
Aliskiren and enalapril | unstimulated | swabs kept in ice until centrifugation; freezing (-20 °C); samples purifying by solid phase extraction | no data | HPLC-MS/MS; Xselect C18 CSH column; MRM for aliskiren 552.2 m/z → 436.2 m/z, MRM for enalapril 377.3 m/z →234.2 m/z, MRM for enalaprilat 349.3 m/z → 206.1 m/z, and for benazepril (IS) 425.3 m/z → 351.2 m/z; ESI positive mode | aliskiren: 0.59–1200 ng/mL; enalapril and enalaprilate LLOQ: 0.1 ng/mL | adults (13 for aliskiren and 7 for enalapril), but the study designed with children in mind | for aliskiren, mean Cmax: 7.1 ± 8.4 ng/mL (for 0–9 h), and 7.3 ± 7.1 ng/mL (for 0–192 h); tmax: 2.7 h (for 5 h investigation), and 6 h (for 192 h investigation period); for enalapril, Cmax: 5.5 ± 6.1 ng/mL; tmax: 1 h | for aliskiren, saliva-to-serum ratio of ke: 0.84–1.31 (0 to 4.9 h of the study), altered to 0.2–4.4 h (0 to 192 h of the study); for the first 5 h after the administration the mean Cmax in saliva about 1.4% of serum concentration, for AUC 1.5% of the value for serum; for 192 h period, AUC about 18.2% of serum; not recommended to calculate serum AUC basing on saliva AUC | [33]
Levamisole | unstimulated | collected sample stored at 4⁰C in dark for a max of 12 h prior to processing; centrifuging; freezing (-80⁰C); 100 µL of sample was mixed with 750 µI of IS; 10 min of freezing; centrifuging; supernatant injected onto the chromatographic system | 100 µL | LC-MS/MS; Hypersil Gold, 50 × 2.1 mm, 1.9 μm, thermostated at 40 °C; mobile phase (gradient elution): purified water with 5% (v/v) buffer (2% formic acid/1% ammonium formate) (eluent A), ACN with 5% (v/v) buffer (2% formic acid/1% ammonium formate) (eluent B); MRM of levamisole and levamisole-D5 were 205/178 m/z and 210/183 m/z, respectively; autosampler thermostated at 10 °C; positive ionisation mode; volume of injection: 1 µL | 0.1–50.0 µg/L | children | yes | median total saliva concentrations slightly higher than plasma; the saliva/plasma was acceptable (median 1.3–4.94 µg/L) except for trough concentrations where the range was vast (0.58–37.16 µg/L) | [36]
Pyrazinamide | stimulated (20 mg citric acid applied on cotton swab to the buccal mucosa; collection with a saliva pipet) | centrifuging | not defined | HPLC | concentration range: 0.585– 58.5 mg/L | n = 43, age 0–14 years | treatment adherence not affected significantly; the intervention-an increased caregiver reporting of medication non-adherence and caregiver reporting of difficulties they experienced with administering medication | not defined | [58]

## Table 2
Drug | Saliva collection | Saliva purifying/sample preparation | Saliva volume | Drug determination method | Concentration range or LLOQ | Studied population | TDM suitability or other application | Correlation between saliva and plasma/serum | Reference
Prednisolone | unstimulated (cotton swabs) | online solid-phase extraction liquid chromatography: conditioning extraction cartridge with ACN and water; washing the applied samples with 2% ammonium hydroxide, 2% formic acid, and 5% ACN; automatically placing the cartridge into the chromatographic system [77] | 240 µL [77] | LC-MS/MS; Zorbax SB-Phenyl, 2.1 × 100 mm, 3.5 mm, thermostated at 30 °C; mobile phase: 2 mmol/L ammonium acetate:20% ACN (gradient elution); flowrate: 0.2 mL/min [77] | 2–450 nmol/L (0.7–162 ng/mL) | 104 children with nephrotic syndrome in remission, median age 4.6 years (range, 3.3–6.5 years) | the evidence for the possibility of prednisolone TDM trough salivary measurements; free prednisolone exposure was not associated with frequent relapses or adverse effects; population pharmacokinetic model developed for free prednisolone using salivary measurements in children with nephrotic syndrome | saliva-serum prednisolone levels relationship assumed to be the same in children as the observed in adults (not validated in children) | [9]
Prednisolone | unstimulated (synthetic swabs specifically designed to improve volume collection and increase participant compliance) | online solid-phase extraction liquid chromatography: conditioning extraction cartridge with ACN and water; washing the applied samples with 2% ammonium hydroxide, 2% formic acid, and 5% ACN; automatically placing the cartridge into the chromatographic system [8] | 240 µL [8] | LC-MS/MS; Zorbax SB-Phenyl, 2.1 × 100 mm, 3.5 mm, thermostated at 30 °C; mobile phase: 2 mmol/L ammonium acetate:20% ACN (gradient elution); flowrate: 0.2 mL/min [8] | 2–450 nmol/L; LLOQ 2ng/mL | 77 patients; stratified by age: 6–23 months, 2–5 years, and 6–11 years; control group 6–11 years | not defined | not defined | [42]
17-hydroxyprogesterone | unstimulated (chewing a swap for at least 3 min; in children < 1 year of age, the parents/caregivers wiped the oral cavity with the swab to collect saliva) | not defined | not defined | ELISA kit for free 17-hydroxyprogesterone in saliva | 11.3 pg/mL | 18 patients (10 male); aged 1–68 months | owing to salivary sampling in young children blood sampling could be minimized; the collection of saliva samples can be performed at home without further stress for the children; it allows for individual titration of therapy for each patient | not defined | [43]
A4 and 17OHP | no data | solid-phase extraction, conditioning SPE columns with MeOH: isopropanol (95:5) and H2O), washing the applied samples with H2O: NH4OH (95:5) and MeOH: H2O: formic acid (20:78:2); eluting with 300 µL MeOH, evaporation with nitrogen; reconstitution in 30% MeOH | not defined | LC-MS; BEH C18 column; mobile phase: water/MeOH (gradient elution) | A4: 0.038–82.5 nmol/L; 17OHP: 0.046-100 nmol/L | 39 patients (22 boys and 17 girls) median age 12 years | no clear benefit for treatment schedule (the highest dosage in the morning or evening) was established; due to the variation in individual responses, individually optimizing dose distribution and monitoring disease control at multiple time points is recommended | not defined | [67]
17OHP, A4, T, 11OHA4, 11KT | unstimulated whole saliva (passive drool) [67] | liquid and solid phase extraction: mixing and incubation of a 96-well sample plate; elution with dichloromethane, evaporation, and reconstitution; conditioning the SPE cartridge with MeOH and equilibration with water; washing the applied samples with 30% MeOH and eluting them onto the analytical column | 300 µL | LC-MS/MS; C8 column; mobile phase: water/MeOH containing 0.1% formic acid and 2 mmol/L ammonium acetate (gradient elution) | 17OHP: 12.5 pmol/L; A4: 6.25 pmol/L; T: 5 pmol/L; 11OHA4: 50 pmol/L: 11KT: 5 pmol/L (all LLOQ values) | 78 children with congenital adrenal hyperplasia and 62 healthy controls aged 8–18 years | in children with congenital adrenal hyperplasia strong correlation between plasma and salivary concentrations of androgen hormones and correlations between plasma and salivary concentrations for 11-oxygenated-C19 androgens; the combination of salivary steroid hormones can serve as a noninvasive monitoring tool in congenital adrenal hyperplasia; it may provide a major amount of additional information and ultimately improve management and outcomes | yes, strong correlations between plasma and salivary steroid concentrations in patients with congenital adrenal hyperplasia | [45]
A4 and 17OHP | unstimulated (passive drool into polypropylene tubes) | solid-phase extraction: conditioning SPE columns with MeOH: isopropanol (95:5), washing the applied samples with H2O: NH4OH (95:5) and MeOH: H2O: formic acid (20:78:2); eluting with 300 µL MeOH, evaporation with nitrogen; reconstitution in 30% MeOH | 500 µl | LC-MS/MS; volume of injection: 10 µL | A4: 110 − 24,700 pmol/l and 17OHP: 14–26,800 pmol/l | 255 healthy pediatric and adult volunteers, aged 4–75 years | good stability of the steroids in saliva enables saliva collection by the patient at home; salivary A4 and 17-OHP display a diurnal rhythm and age‐ dependent pattern, therefore reference values for both children and adults at three time points during the day were established; the reference values support treatment monitoring of children and adults with congenital adrenal hyperplasia | not defined | [16]
A4 and 17OHP | unstimulated (passive drool) | centrifuging (desquamated epithelial cells, food particles, and bacteria separation from saliva) | not defined | commercially available ELISA kits | not defined | 26 children with congenital adrenal hyperplasia; 12 children with adrenal insufficiency; 293 healthy controls | not defined | scalp hair 17-OHP strongly correlated with 17-OHP concentrations in serum (q = 0.94, P < 0.001) and saliva (q = 0.69, P = 0.009) | [44]
Cortisol | unstimulated (passive drool) | centrifuging after thawing (mucins removal) | 25 µL | commercially available competitive immunoassays | range of sensitivity: 0.007–3 µg/dL | 973 adolescents (mean age: 19.20 years, SD = 1.13; range: 16–23 years) | salivary cortisol one of the factors investigated on the associations between emotion socialization and psychological responses to acute psychosocial stress in late adolescence and emerging adulthood; parental emotion socialization may be an important factor influencing hypothalamic pituitary adrenocortical axis reactivity and psychological responses to stress, with important differences across gender and ethnic youth subgroups | not defined | [46]
Cortisol | unstimulated (passive drool into plastic vials, directly or through a straw) | not defined | 20 uL | competitive electrochemiluminescence immunoassay ECLIA | not defined | 126 primary school children and 173 adolescents from all educational streams, a 2-year interval to 221 participants, aged 9–17 years | the adolescent development of the cortisol response was related to social cognition as the transition to recursive thinking predicted an increase in the cortisol response to speech anticipation but was unrelated to the magnitude of the overall cortisol response; recursive thinking enables earlier realization of social-evaluative threat | not defined | [17]
Cortisol | unstimulated (passive drool) | not defined | 300 µL [77] | ELISA method | not defined | 21 children, aged 8–12 years | salivary cortisol applied to estimate physiological stress response among the elements of the symptom cluster in survivors of brain tumors; child salivary analysis revealed abnormal cortisol patterns in some participants; given the small sample size, it was difficult to draw a definitive conclusion from the study; implications for nursing: stress, sleep–wake disturbance, and fatigue symptom cluster in survivorship necessitates routine nursing assessment | not defined | [47]
Cortisol | unstimulated (Sorbettes, hydrocellulose sponge attached to a plastic shaftwhich, placed in the mother’s and infant’s mouths for 60 s) | centrifuging (at 4 °C) | not defined | enzyme immunoassay | not defined | 297 infants, aged 16 and 17 months | salivary cortisol determined in mother and infant; maternal cortisol levels moderated associations between maternal depressive symptoms and infant cortisol levels; the findings in relation to environmental and biological factors may contribute to the intergenerational transmission of depressive symptoms | not defined | [50]
Cortisol | unstimulated (cotton braids, which the mother kept in the child’s mouth for 10–30 s, then drained into Salivette tubes with help of needleless syringes) | not defined | not defined | commercial chemiluminescence immunoassay technique | sensitivity of 0.16 ng/mL | 404 children, aged 12 to 48 months | cortisol showed an inverted U-shaped association with four growth indexes; early life daytime cortisol levels, as a reflection of hypothalamic- pituitary-adrenal axis development, might influence growth in early infancy | not defined | [31]
Cortisol and cortisone | unstimulated (passive drool, spitting or drooling down a straw into a salicap tube) | on-line solid-phase extraction: mixing and centrifuging of a 96-deep well sample plate; clean-up and removal of saliva matrix, injection of extract onto the analytical column [79] | 100 µL [79] | LC- MS/MS; positive- ionization mode | LLOQ: 0.03 µg/dL (0.8 nmol/L) for both salivary cortisol and salivary cortisone | 24 healthy children | nasal administration of a newly manufactured formulation generates equivalent plasma cortisol levels to the market-available IV Synacthen formulation and provides a noninvasive test for adrenal insufficiency | not defined | [18]
Prednisolone | unstimulated (swabs) | centrifuging (10 min at 18 °C); saliva stored at -80 °C until batch analysis | 10 µL | LC-MS/MS: Hypersil Gold 50 × 2.1 mm, 1.9 μm thermostated at 40 °C; injection volume: 5 µL; flow rate: 0.80 mL/min; autosampler temperature: 10 °C; IS: dexamethasone-D5; positive ionisation mode; mass transition of prednisone, prednisolone, dexamethasone and dexamethasone-D5: 359/147, 361/147, 393/373 m/z and 398/378 m/z, respectively | LLOQ for unbound prednisolone: 6.00 µg/L | 45 children with steroid-sensitive nephrotic syndrome at 4 and 8 weeks of oral prednisolone treatment, median age 6 years (range 2–15 years); females/males: 15/30 | saliva proved to be a reliable and patient-friendly option to determine prednisolone plasma exposure in children with steroid-sensitive nephrotic syndrome; because of the presence of interindividual variability on saliva-plasma ratio, it is recommended to collect 1 plasma sample together with 4 saliva samples to establish the individual AUC | population pharmacokinetics of unbound prednisolone in plasma and saliva in children with first onset steroid-sensitive nephrotic syndrome; unbound saliva prednisolone concentrations were correlated with unbound concentrations in plasma in children; instantaneous equilibrium between saliva and plasma with a saliva-plasma ratio of 1.30; moderate variation (41%) between subjects | [48]

## Table 3
Drug_DENTISTRY | Saliva collection_Unnamed: 1_level_1 | Saliva purifying/sample preparation_Unnamed: 2_level_1 | Saliva volume_Unnamed: 3_level_1 | Drug determination method_Unnamed: 4_level_1 | Concentration range or LLOQ_Unnamed: 5_level_1 | Studied population_Unnamed: 6_level_1 | TDM suitability or other application_Unnamed: 7_level_1 | Correlation between saliva and plasma/serum_Unnamed: 8_level_1 | Reference_Unnamed: 9_level_1
Fluoride | unstimulated (wide-necked plastic flask with a capacity of 30 mL) | not defined | about 1 mL | potentiometry | 0.05–0.5 ppmF | 16 adult volunteers (aged 19–33 years) ingested two types of children’s meals | the quality of the children’s menu diversity influenced the absorption of fluoride; the topical application of fluoride should be performed in infants fed and following the established guidelines | the study was based on the literature data, which showed similar saliva and plasma pharmacokinetic curves of fluoride | [69]
Fluoride (retention and clearance from fluoride varnishes) | unstimulated | whole saliva (without centrifugation) and centrifuged saliva; fluoride released by acid hydrolysis and trapped in NaOH during overnight diffusion | 1 mL | modified hexamethyldisiloxane microdiffusion method; fluoride combination electrode | baseline fluoride: 0.02–0.03 ppm in centrifuged saliva | 18 children, aged 7–11 years | not defined; urgent need to develop efficacy guidelines for fluoride varnishes to set minimum standards and to support research on how to improve fluoride varnish formulations further | not defined | [60]
Fluoride | stimulated (chewing on a rubber band) | centrifuging to separate desquamated epithelial cells, food particles, and bacteria from the saliva | 200 µL | potentiometry; fluoride ion-specific electrode coupled to an ion analyzer (total and ionic fluoride) | standard solutions for calibration: 0.125, 0.25, 0.5, 1.0, and 2.0 pg F/mL | 24 volunteers, aged 8–10 years | small amount of conventional toothpaste may not be as effective as a low-fluoride formulation applied using the transversal technique | a dose-response relationship between fluoride concentration/amount of dentifrice applied and the mean AUC of salivary fluoride concentrations | [57]
Fluoride | unstimulated | not defined | not defined | fluoride ion-specific electrode | not defined | 32 children grouped in: the caries-free group (mean age 72.9 months); the caries-prone group (mean age 69.6 months) | higher residual salivary fluoride concentrations with increased fluoride concentration in toothpastes and when no rinsing was performed after brushing; current recommendation for children with an increased caries risk: toothpastes with > 1000 ppm F concentration in addition to spitting excess toothpaste with no rinsing following brushing | not defined | [73]
Fluoride | stimulated (paraffin block chewed before collection) | not defined | not defined | saliva buffer capacity: commercially available test | not defined | 46 multibracket appliance patients > 11 years with not less than one white spot lesion on not less than one of the four upper front teeth after debonding | no clinical effect of post-orthodontic high-dose fluoride treatment on white spot lesions and oral health changes | not defined | [3]
Calcium, phosphate, fluoride | stimulated (piece of a parafilm) | centrifuging | 25 µL for calcium and phosphate, for fluoride not defined | calcium and phosphate: colorimetric method (microplate spectrophotometer), absorbance at 650 nm (calcium) and 660 nm (phosphate); fluoride: a specific electrode for fluoride ion and a potentiometer | calcium: 0–100 µg/mL; phosphate: 0–8.27 µg/mL; fluoride: 0.01–0.1 mg F/mL | 28 caries-free preschoolers and 28 with early childhood caries preschoolers, aged 3–4 years at the beginning of the study | the combined effect of biofilm accumulation and sucrose rinse modified the bioavailability of calcium and fluoride in the saliva of children with early childhood caries | not defined | [2]
Nickel | unstimulated | centrifuging, protein/debris removal, dilution with nitric acid | not defined | atomic absorption spectrophotometry | accuracy limit: 0.01 µg/L | 42 orthodontic patients, aged 19.79 ± 4.09 years (range: 13–27), divided into three groups of nickel-titanium, copper nickel-titanium, and epoxy nickel-titanium archwires | nickel-titanium archwires might increase nickel salivary levels, epoxy-coated nickel-titanium followed by copper nickel-titanium archwires might release less nickel compared to conventional nickel-titanium ones | not defined | [64]
Quercetin included in chewing gums | unstimulated | lyophilization, resuspension of the residues in methanol/water (80:30, v/v) | 0.5 mL of methanol extracts | colorimetric method; methanol extracts reaction with aluminum chloride; absorbance at 415 nm | standard solutions: 25, 50, and 100 µg/mL | young volunteers: 18 males/18 females; mean age 16.3 years | quercetin included in experimental chewing gums could be efficiently released into the oral cavity and could promote an effective anti-caries concentration in volunteer’s saliva, without changing salivary pH values; quercetin demonstrated an effective antibacterial activity, showed a reduction of the concentration of Streptococcus mutans strains in saliva samples, especially after 7 days | not defined | [1]
Several salivary tests to assess oral environmental changes caused by casein and sport-mouthguard: saliva amount, pH, hydration level, consistency, saliva check mutans, GC plaque indicator kit | stimulated (paraffin gum) and unstimulated | not defined | not defined (for some tests 4.64 mL-10.0 mL) | visual inspection of saliva hydration level and consistency; pH test strip and a buffer strip; “Saliva-Check Buffer GC” and “Saliva-Check Mutans GC”; “GC plaque indicator kit” | not defined | 48 active young athletes, aged 10–14 years | casein increased pH values, the amount of stimulated saliva and the buffering capacity of the athlete, improving the state of oral health in comparison to simple mouthguards; no efficacy of casein on Streptococcus mutans was observed; casein proved to be a preventive means in the use of sport mouthguards | not defined | [56]
Lactoferrin | unstimulated | the swabs rehydrated in sterile water, incubated at room temperature, and spun down in a cellulose acetate filter tube to extract the contents | not defined | commercial ELISA kits bovine and human lactoferrin; optical density determined at 450 nm | not defined | 31 very low birth weight infants; product administration started at median 7 day after birth (range, 2–15 days) and continued for up to 30 days | levels of human lactoferrin in the saliva and stool samples, but not the plasma and urine samples, are affected by human lactoferrin intake, because the levels in saliva and stool corresponded with whether infants received expressed breast milk or donor breast milk | the supplemented bovine lactoferrin in saliva and stool declined within 24 h after administration; urine and plasma levels were constant | [26]
Prolactin-induced protein | unstimulated (passive drool) | Western blot analysis for protein concentration and purity determination saliva samples (densitometry analysis) | 2 mL | commercial ELISA kits | not defined | one of the subgroups studied: 15–24 years (n = 8 healthy group, n = 19 Keratoconus group) | not defined | significant downregulation of Prolactin-Induced Protein expression in saliva of Keratoconus patients when compared to healthy controls, independent of age, sex and severity | [4]
Melatonin | unstimulated (spitting into saliva collection tubes) | not defined | not defined | salivary melatonin enzyme immunoassay kit | the first non-zero standard: 0.78 pg/mL; threshold: 4 pg/mL | autistic children and adolescents between 5 to 15 years of age (n = 37, mean 9.9 ± 3.02 years) and 24 children and adolescents with a normal intellectual function (n = 24, mean 8.42 ± 2.43 years) | different melatonin secretion pattern in children with autism spectrum disorder; a relationship of melatonin with sleep and circadian parameters | not defined | [19]
Melatonin | no data | not defined | not defined | salivary melatonin enzyme immunoassay kit | the first non-zero standard: 0.78 pg/mL; threshold: 4 pg/mL | 45 autistic children between 5 and 18 years of age (mean age 10.02 years) and controls (mean age 8.83 years) | behavioral difficulties closely related to sleep and circadian rhythm disturbances in autism spectrum disorder; the advanced pattern of melatonin secretion seems to play a protective role for sleep and behavioral difficulties | not defined | [20]
Saliva immunoglobulin free light chains | unstimulated (spitting) | centrifuging | not defined | Western blot analysis; intensity (I) of the immunoreactive free light chains bands quantified by electrophoresis analysis software; the quantified intensity values in the tested samples were normalized: Inormalized = Itested sample/Ireference sample and defined as free light chains indices for the monomer and dimer levels (κM, λM, κD, λD); the sums of (κM + λM) and (κD + λD) were calculated and used as total free light chainf monomer and dimer indices | not defined | 62 relapsing-remitting pediatric onset multiple sclerosis patients, with other demyelinating diseasesaged or non-demyelinating neurological diseases, aged 6–17 years; control group of 14 healthy children (aged 7–17 years) | In naive pediatric onset multiple sclerosis patients, the saliva levels of free light chains in relapse significantly higher than in remission; the potential of the non-invasive saliva free light chains test as a new tool for monitoring the disease activity | not defined | [21]
Hepatitis C virus | OraQuick® test | not defined | not defined | OraQuick® test | not defined | 107 male young offenders attending a sexual health service at an English Young Offender Institutions; mean age 19.1 years (16/17 years: n = 18 (16.8%); 18/19 years: n = 39 (36.4%) | salivary rapid HCV testing acceptable among English Young Offender Inmates; not as sensitive or specific as standard HCV tests and more expensive | not defined | [61]
Inflammatory biomarkers in juvenile idiopathic arthritis | unstimulated (drooling method; unstimulated salivation rate in mL/min was calculated by dividing the collected volume of saliva by the time used (6 min)) | Homogenization by pipetting before the saliva was aliquoted; frozen at the latest 30 min after sampling; stored at -80 °C until analyzed; one saliva sample was thawed at once; 50µL of each sample added to 96 well PCR plates and shipped on dry ice to the laboratory | 50 µL | proximity enhanced extension assay; the commercial test included 92 high-quality assays for biomarkers related to inflammation, including groups of chemokines, chemokine receptors, cytokines, cytokine receptors, enzymes, and growth factors; data expressed as normalized protein expression (NPX) values, an arbitrary unit in a Log2 scale | average intra-assay coefficient of variability for saliva: 4% | 42 participants with juvenile idiopathic arthritis (median age 13.9 years, range 11.3–15.1 years; 29 females) and 30 controls (median age 13.9 years, range 11.3–15.1 years; 22 females) | serum and salivary biomarker patterns differed markedly, suggesting that saliva may not be a suitable substitute for serum when assessing systemic inflammation in juvenile idiopathic arthritis | 73 biomarkers detected in saliva; two biomarkers were unique for saliva; biomarker levels were different in serum and saliva; higher levels in serum and lower levels in saliva for most biomarkers in juvenile idiopathic arthritis versus controls and in active versus inactive disease; in saliva, several biomarkers from the chemokine family distinctly lower in the juvenile idiopathic arthritis group, and levels even lower in active disease | [15]
Methylphenidate | unstimulated (saliva collection kits) | DNA extraction from saliva; each sample was extracted following the manufacturer’s protocol | not defined | commercially available kits for DNA quantification; fluorometric quantification | not defined | 99 children with attention deficit-hyperactivity disorder (mean 7.7 years; range 3–15 years) | variation in CES1 activity may impact dose requirements in children treated with methylphenidate | not defined | [27]
NAT2 genotypes for explaining isoniazid variability | unstimulated (saliva DNA kits) | DNA extraction from saliva (modified manufacturer’s procedure): saliva samples incubation (50 °C, dry bath, 1 h); 500 µL of heated sample mixed with 20 µL PrepIT-L2P reagent and centrifuged; supernatants mixed with 100% ethanol before pelleting DNA by further centrifugation; DNA pellets washed with 70% ethanol; dried; resuspended with 50 µL of TE solution (10 mM Tris, 1 mM EDTA, pH 8) | not defined | qRT-PCR | not defined | 50 children < 15 years of age starting treatment for drug-susceptible tuberculosis (median 2.3 years, range 0.3–14.8 years) | saliva based qPCR assay was not fieldable to guide personalized isoniazid dosing in young children because of not full NAT2 maturation and activity | for Cmax and AUC0 − 12 no statistically significant relation either differences across individual loci or between predicted acetylator phenotype | [28]
CYP2C19 genotyping for lansoprazole dosing | not defined | not defined | not defined | not defined | not defined | children aged 6–17 years old with clinician-diagnosed asthma and mild co-morbid gastroesophageal reflux disease symptoms | designed clinical trial; the results not published yet | pharmacokinetic modeling of the oral lansoprazole-designed | [83]
Hsa-miR-34a-5p and hsa-miR-375 expression | saliva collected in sterile tubes | extraction of total RNA with commercial kit: samples lysis with 5 volumes Lysis Reagent (5 min, room temperature), chloroform (200 µL) added; the mixture vortexed, kept at room temperature for 5 min, centrifuged (15 min, 4 °C); the upper (aqueous) phase collected; 1.5 volumes of 100% ethanol added; the solution passed through spin column in sequential 700 µL aliquots; total RNA binded to the membrane; phenol and other contaminants washed away; RNA washed once with 80% ethanol, dried for 2 min by centrifugation, dissolved in 15 µL of RNase-free water | 200 µL (2 mL from patients) | termed looped primer RT-PCR for micro RNA quantification, following manufacturer’s protocol: 10 ng of total RNA subjected to reverse transcription polymerase chain reaction (for miRNA targets and endogenous control; thermocycling conditions: 30 min at 16°C, followed by 30 min at 42°C, 5 min at 85°C and 5 min at 4°C); qRT-PCR performed using commercial kit according to the manufacturer’s protocol; miRNA quantitative PCR results normalized to U6 as control levels’; the reactions performed in triplicate for each patient; incubated in optical 96-well reaction plates; thermocycling conditions: 95 °C for 10 min, and 40 cycles of 15 s at 95 °C, followed by 1 min at 60 °C; the average values of the cycle threshold (Ct) of the reactions in triplicate determined; the comparative Ct method adopted, U6 used as endogenous control; the relative expression of miRNAs tested normalized by the average values of CtU6 and the Ct target miR–CtU6; the difference plotted as 1/∆ct × 10 directly | not defined | 24 patients with migraine included (12 females, 12 males), aged 4–17 years with mean 11 ± 3.467 years | hsa-miR-34a-5p and hsa-miR-375 could be considered a biomarker of disease and of drug efficacy in young subjects with migraine without aura; saliva could be used to monitor these biomarkers | saliva and serum frozen fractions obtained from all enrolled subjects with migraine (treated and untreated) constitutively expressed both hsa-miR-34a-5p and hsa-miR-375, without difference respect to age or gender. comparable levels of hsa-miRs tested in blood and saliva; saliva mirrors the serum expression profile and can be used by itself, instead of blood; the hsa-miR-34a-5p and hsa-miR-375 expression in saliva of migraine subjects enrolled in untreated subjects respect to both biological fluid, without difference respect to age or gender; a significant decrease of about 50% for hsa-miR-34a-5p in both serum and saliva of treated patients compared to untreated patients, without difference respect to age or gender; in both serum and saliva, a significant decrease (about 50%) of hsa-miR-375 levels in treated patients compared to untreated ones, without difference with respect to age or gender | [22]
Single-nucleotide polymorphisms of CYP3A5 | unstimulated (saliva or buccal swabs-younger children with a sterile DNA/RNA collection kit pre-filled with a DNA-stabilizing agent) | genomic DNA isolated using commercial kits | 2 mL | CYP3A5 allele status determined from 10 ng of genomic DNA using the single-nucleotide polymorphism genotyping enzyme and probes for rs776746, CYP3A5*1D/rs15524, *5/rs55965422, *6/rs10264272, *7/rs41303343, *8/rs55817950, *9/rs28383479, K208K/rs10264272, CYP3A4*22 (rs35599367) allele status was a C_59013445_10 | not defined | 166 children with persistent asthma, median age 8.35 years (range 2–18 years) | detection of CYP3A5*3/3, CYPA35*1/*3, and CYP3A5*1/*1 could impact inhaled steroid treatment strategies for asthma in the future | CYP3A5*3/*3 genotype associated with improved asthma outcomes; the effect was not specific to the prescribed inhaled corticosteroid, but appeared to be a general effect of CYP3A5 (and 3A4) deficiency, potentially involving the maintenance of a more “normal” cortisol level post-inhaled corticosteroid use, as opposed to a direct effect on inhaled corticosteroid pharmacokinetics | [81]
Acenocoumarol | unstimulated (saliva DNA kits) | no data | no data | SNPs genotyped: VKORC1 rs9934438, CYP2C9 rs1799853 and rs1057910, CYP4F2 rs2108622, CYP3A4 rs35599367 and rs2740574, and CYP2C18 rs1998591 | no data | 80 patients | polymorphisms in flanking VKORC1, CYP2C9 and CYP2C18 all increase the variability. It was possible to explain ca. 62% variability, which may improve the therapy |  | [29]
Water intake cut-off value | unstimulated (small sterile cotton balls placed in the mouths of the mothers and infants for a few min; saliva expressed from the cotton ball with a disposable syringe) | centrifuging | not defined | Fourier transform infrared spectrometry | limit of quantitation: 20 mg/kg; limit of detection: 6 mg/kg | 121 healthy infants, aged 2.5–5.5 months exclusively breastfeeded | the cut-off value of the posterior distribution of non-milk water intake: 86.6 g/day | not defined | [30]

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Saliva as an accessible biological matrix | Saliva is more accessible, less stressful, and less expensive than blood and applicable for therapeutic drug monitoring (TDM). | Highlights the potential of saliva as a noninvasive alternative to traditional blood-based drug monitoring tools, particularly relevant for vulnerable populations such as children.
Saliva concentration reflects unbound drug levels | Only the free drug enters the saliva, reflecting the pharmacologically active fraction. | Relevant for establishing saliva as reliable for evaluating the therapeutic effects of drugs, as unbound drugs are critical for pharmacological activity.
Patient compliance in saliva sampling | Saliva sampling depends on patient compliance, and collection may be difficult in individuals with reduced cognitive function. | Demonstrates practical limitations in saliva collection, important when considering its application in pediatric and special needs populations.
Plasma-saliva correlations | Correlations between saliva and plasma concentrations were found for several drugs such as antiepileptics, antibiotics, and immunosuppressants. | Supports the potential applicability of saliva for therapeutic drug monitoring in pediatrics by establishing equivalency in measurement against traditional methods.
High variability for some drugs | Low plasma-saliva correlations were noted for drugs like aliskiren and enalapril. | Highlights the necessity for drug-specific validation before using saliva as a standalone matrix for TDM.
Role in disease biomarker monitoring | Saliva was used to monitor steroid hormone profiles and cortisol levels in conditions such as congenital adrenal hyperplasia and sociological stress. | Illustrates saliva’s capability to serve as a diagnostic tool for specific diseases.
Advantages of salivary cortisol measurement in adolescents | Measurements play a role in psychological stress studies and maternal cortisol influence on infants. | Indicates relevance for psychological and developmental research, especially in pediatric populations.
Potential challenges in saliva analysis | Saliva samples may be contaminated with blood (e.g., gingival bleeding), and target reference levels are not always defined. | Underscores analytical and methodological limitations that must be addressed to enhance saliva’s reliability.
Saliva preparation methods | Centrifugation is most commonly used for mucus and debris removal before analysis. | Important for understanding laboratory workflows that optimize sample integrity and measurement accuracy.
Salivary diagnostic applications in dentistry | Saliva helps assess fluoride delivery from dental products like varnishes and toothpastes. | Demonstrates the utility of saliva in evaluating oral health treatments, relevant to pediatric dentistry.
Saliva in genetic diagnostics | Salivary DNA was used for pharmacogenomics studies like methylphenidate and isoniazid dosing optimization. | Highlights its potential in non-invasive pharmacogenetic applications, essential for precision medicine in children.
Chewing gum impact on saliva | Chewing gums increase saliva flow rate, amplifying the salivary buffer system. | Relevant for understanding behavioral or external influences on salivary diagnostics accuracy.
Melatonin measurement in saliva | Melatonin in saliva was used to study circadian rhythms in children with autism. | Showcases saliva's application for non-invasive investigations into sleep disorders and its relevance to behavioral issues.
Topical fluoride application efficacy | Saliva concentrations influenced by fluoride application methods demonstrate higher fluoride when no post-brushing rinsing occurs. | Provides actionable insights for pediatric oral hygiene strategies based on saliva-based research.
Potential for fentanyl TDM | Indicates saliva's potential as a matrix in fentanyl monitoring, though evidence is less conclusive. | Reflects ongoing exploration of saliva's role in opioid and acute pain reliever monitoring in pediatric care.
Prolactin-Induced Protein in Keratoconus | Reduced saliva levels of this biomarker can support diagnosis in conjunction with imaging. | Shows the expanding diagnostic capabilities of saliva for systemic and localized diseases.
Antibiotic TDM feasibility | Gentamycin concentrations higher in saliva than in plasma; lower concentrations observed for carbamazepine and other drugs. | Demonstrates saliva’s potential applications and its limitations in therapeutic drug monitoring.
Saliva cortisol in community settings | Non-invasive tests allow steroid measurements in outpatient environments. | Indicates logistics and cost-benefit of using saliva in broader healthcare and community applications.
Hepatitis C virus salivary testing | OraQuick test applied for hepatitis C virus detection in saliva. | Reveals saliva-based rapid diagnostic applications even in high-turnover environments like prisons.
Patient Population | Infants, children, and adolescents from whom saliva samples were collected | The study focuses on therapeutic drug monitoring and biomarker determination specifically in pediatric populations to define pharmacokinetic parameters.
Sample Collection | 64 studies were included, with various methods of saliva sampling such as passive drool, spitting, or swabs | The diverse sample collection methods support data accuracy for defining drug concentration in saliva for PK studies.
Sample Size | Number of articles reviewed: 64 | Indicates the breadth of the study in identifying data on therapeutic drug monitoring research relevant to pharmacokinetics in children.
Tissue Sampling | Unstimulated and stimulated saliva collection methods; stimulated methods involved chewing paraffin block or rubber bands | Less invasive approach compared to blood sampling; relevant for studying saliva-based drug concentration profiles in pediatric populations.
Saliva Volume | 2.5–10 µL for analyses after saliva extraction and centrifugation | Illustrates the minimal saliva volume required for PK studies, emphasizing its feasibility for pediatric TDM applications.
Time Points | Saliva sampling involved multifrequency sampling techniques such as expectoration at several times a day | Relevant for resolving time-concentration relationships in PK studies across various pediatric age groups.
Storage | Saliva samples were stored at -20°C or -80°C for later analysis | Stability of analytes over time ensures reliable PK data.
Genomic Analysis | Saliva used for extracting DNA and testing polymorphisms | Relevant to understanding genetic influences on drug metabolism in pediatric pharmacokinetics studies.
Plasma-Saliva Correlation | Established for several drugs like caffeine, levetiracetam, and mycophenolic acid | Emphasizes saliva’s potential to accurately reflect pharmacologically active drug levels compared to plasma.
Model | Population Pharmacokinetic (Pop-PK) Model | The pop-PK model was specifically developed for the neonatal population based on saliva concentrations for drugs like amikacin, enabling simulations and predictions of salivary amikacin distributions within the neonatal population.
Model | Not explicitly detailed in other cases | While specific models such as 1-compartment or 2-compartment models were not explicitly mentioned, analysis and modeling applied to plasma-saliva correlations imply pharmacokinetic modeling approaches contextualized for therapeutic drug monitoring (TDM).
Sample volume for analysis | 2.5–10 µL | Indicates the minimal saliva sample size required for analysis, which is crucial for developing non-invasive methods for drug monitoring.
Technique | Chromatographic methods, immunoassays | Demonstrates how saliva is analyzed and how techniques are adapted for therapeutic drug monitoring.
Plasma-saliva correlations | Various drugs (e.g., gentamycin, levamisole, carbamazepine) found with significant correlations; low or variable correlations for others (e.g., aliskiren, enalapril) | Highlights the correlation requirements between saliva and plasma concentrations, which is essential for validation in therapeutic drug monitoring.
Saliva collection methods | Unstimulated (e.g., passive drool, spitted into containers); Stimulated (e.g., chewing paraffin gum, parafilm) | Describes how the saliva samples are obtained, reflecting parameters integral to usability in pediatric and clinical settings.
Additives in analytical methods | 0.05-2% formic acid, ammonium acetate | Specifies additives used in the analysis, showing how parameters are optimized for drug quantification.
Centrifugation | Conditions vary from 2–20 min at speeds of 2500–12,000 rpm at temperatures (4–7°C) | Indicates pre-analytical sample preparation, critical for effective drug analysis.
Drugs with plasma-saliva correlations | Mycophenolic acid, gentamicin, lithium, carbamazepine, caffeine | Lists drugs for which saliva concentrations reliably estimate plasma concentrations, relevant for extending diagnostic applicability.
Temperature for HPLC columns | Heated columns (e.g., 30–50 mm columns) | Highlights analytical parameters optimized for sensitivity, particularly in pediatrics where samples are minimal.
Lowest analyte concentration | 0.78 pg/mL (melatonin) | Demonstrates the sensitivity achievable in saliva analysis, relevant for low-concentration drug monitoring.
Peak column grain size | 1.9 µm to 5 µm | Shows variability and adaptation in column specifications, tailored for pediatric drug analysis.
Water intake threshold estimate method | Deuterium dilution in mother-infant pairs | Parameter used for exclusive breastfeeding estimation derived from saliva samples; indicates utility beyond drug monitoring.
Saliva methylphenidate concentration | Found no strong correlation with plasma concentrations | Indicates TDM limitation for certain medications, helping refine target parameters for further applications.
Storage conditions | −20°C and −80°C used, liquid nitrogen in some cases | Details parameters for sample stability, ensuring reliable analysis results.
Saliva-based DNA extraction | Automated kits (QIAamp DNA Mini Kit, PrepIT-L2P) | Describes parameters linked to saliva's genetic testing utility, aiding drug metabolism studies.
Measurement of Drug Concentrations in Saliva | Saliva concentrations reflect the pharmacologically active unbound drug | Relevant because understanding that saliva only contains the free drug helps explain its utility in therapeutic drug monitoring and pharmacokinetics.
Polymorphisms Affecting Drug Bioavailability | Polymorphisms impacted the bioavailability and metabolism of drugs at different stages | Relevant as it highlights genetic factors influencing pharmacokinetics, potentially affecting drug concentrations in saliva.
Steroid Monitoring in Saliva | Hydrocortisone therapy monitored by salivary profiles of steroids every 3 months in children with adrenal disorders | Relevant because it demonstrates how pharmacokinetics of steroids in saliva provide clinical monitoring insights.
Effect of Protein Binding | Nonionizable drugs and their protein-binding characteristics influence the relationship between plasma and saliva concentrations | Relevant as it discusses how the drug's physicochemical properties affect its pharmacokinetic correlation in saliva.
pH Dependency in Saliva/Serum Ratios | The saliva/serum ratio for amphetamines was strongly pH dependent | Relevant because pH variations explain pharmacokinetic variability in saliva measurements.
Drug-Specific Plasma-Saliva Correlations | Good plasma-saliva correlations were found for drugs like gentamycin, lithium, and antiepileptics, with variability sometimes related to salivary flow | Relevant as it shows how individual drugs exhibit variable pharmacokinetics measurable in saliva.
Impact of Increased Salivary Flow | Increased salivary flow diluted certain antiepileptic drug concentrations in saliva compared to plasma | Relevant due to its explanation of external physiological factors altering pharmacokinetics in saliva collection.
Protein Affinity and Salivary Drug Levels | Rufinamide pre-dose saliva concentrations were approximately 70% of plasma due to 70% affinity to plasma proteins | Relevant as it connects protein binding with pharmacokinetics observed in saliva.
Variability in Saliva Drug Distribution | Salivary concentrations for metamizole metabolites showed inter- and intraindividual variability | Relevant because variability in distribution influences the accuracy and reliability of saliva-based pharmacokinetic studies.
Sodium Bicarbonate and Citric Acid Effects | Use of bicarbonates and acids to stimulate saliva enhanced drug collection and measurement accuracy | Relevant as stimulation techniques influence pharmacokinetics by affecting saliva composition and volume.
Polymorphisms and Therapeutic Efficacy | Polymorphisms influenced valproic acid concentrations, identifying drug-resistant patients | Relevant for demonstrating the role of genetic variation in saliva pharmacokinetics and therapeutic outcomes.
Collection Challenges | Difficulty in obtaining sufficient unstimulated saliva and risk of contamination with gingival blood affected sample reliability | Relevant because influencing factors during sampling can skew pharmacokinetic interpretations.
Unbound Drugs Crossing Barriers | Only free drug concentrations, as they cross the blood-brain barrier, entered saliva | Relevant because unbound concentrations are critical in interpreting pharmacokinetics and biological activity.