## Table 1
Electrophoretic Conditions | Chiral Selector | Analyte | Reference
25 mM Tris-phosphoric acid, pH 2.45, 10% methanol, 30 kV, 30 °C, UV 210 nm | 5 mM DM-β-CD, 1 mM SBE-β-CD | amphetamine, metamphetamine, methcathinone, propoxyphene—bulk substances | [23]
10 mM phosphate-6 mM borax, pH 9.0, 50% methanol, 10 kV, UV 205 nm | 1 mM β-CD, 5 mM CM-β-CD | aminogluthetimide—bulk substance | [24]
34 mM phosphoric acid, pH 2.30, 20 kV, 25 °C, UV 240 nm (calprofen, flurbiprofen), 210 nm (ketoprofen), 230 nm (naproxen), 254 nm (suprofen) | 10 mM TM-β-CD, 20 mM NH2-β-CD | carprofen, flurbiprofen, ketoprofen, naproxen, suprofen—bulk substances | [25]
100 mM phosphoric acid-triethanolamine, pH 3.0, −25 kV, 25 °C, 230 nm (carprofen, fenoprofen, flurbiprofen), 210 nm (ibuprofen), 280 nm (indoprofen, ketoprofen, sulindac, suprofen, tiaprofenic acid). | 15 mM TM-β-CD, 5 mM SBE-β-CD | carprofen, fenoprofen, flurbiprofen, ibuprofen, indoprofen, ketoprofen, sulindac, surprofen, tiaprofenic acid—bulk substances | [26]
100 mM phosphoric acid-triethanolamine, pH 3.0, −25 kV, 25 °C, UV 210 nm100 mM phosphoric acid-triethanolamine, pH 5.0, −25 kV, 25 °C, UV 210 nm | 10 mM TM-β-CD (DM-β-CD), 5 mM SBE-β-CD10 mM TM-β-CD (DM-β-CD), 10 mM CM-β-CD | chlormezanone, chlorthalidone, hexobarbital, mephenytoin, mephobarbital, pentobarbital, secobarbital, thiopental—bulk substances | [27]
100 mM phosphoric acid, pH 3.0, 25 kV, 25 °C, UV 210 nm | 10 mM TM-β-CD, 5 mM CM-β-CD | brompheniramine, chlorpheniramine, dimethindene, ephedrine, verapamil—bulk substances | [28]
100 mM phosphoric acid-triethanolamine, pH 3.0, −25 kV, 25 °C, UV 210 nm | 20 mM TM-β-CD, 5 mM SBE-β-CD | naproxen chiral purity—tablets | [29]
5 mM ammonium acetate, pH 4.5, −30 kV, 25 °C, UV 210 nm | 12 mg/mL β-CD, 12 mg/mL SBE-β-CD | thalidomide, 3 hydroxylated metabolites—rat liver fractions | [31]
100 mM phosphoric acid-triethanolamine, pH 2.5, −25 kV, 25 °C, UV 214 nm | 20 mM TM-β-CD, 3 mM HS-β-CD | fenoprofen, flurbiprofen, ibuprofen, ketoprofen—bulk substances | [33]
100 mM phosphoric acid-triethanolamine, pH 2.5, 25 kV, 25 °C, UV 214 nm | 4 mM HS-β-CD, 18 mM PMMA--β-CD | fenoprofen, flurbiprofen, ibuprofen, ketoprofen—bulk substances | [34]
50 mM sodium tetraborate, 30% methanol, pH 9.2, 30 kV, 20 °C, UV 315 nm | 0.5 mM DM-β-CD, 7.1 mM SBE- β-CD | COX-2 inhibitor, chiral impurities—bulk substances | [35]
20 mM Tris-phosphate, pH 2.7, 25 kV, 20 °C, UV 214 nm | 9 mM DM-β-CD, 0,5% CM-β-CD | deprenyl, deprenyl metabolites—rat urine | [36]
50 mM sodium tetraborate, 50 mM SDS, 1 M urea, pH 9.5, UV 214 nm | 15 mM β-CD, 15 mM MPC- β-CD | miconazole—bulk substance | [37]
30 mM phosphate, pH 6.4, 30 kV, 20 °C, UV 214 nm | 10 mM HP-γ-CD, 10 mM CM- β-CD | benzoaxathiepin antianginal agent, chiral impurities—bulk substances | [38]
100 mM phosphoric acid-triethanolamine, pH 3.0, 20 kV, 25 °C, UV 214 nm | 7,5 mM DM- β-CD, 3 mM CM-β-CD | efaroxan, chiral impurity—bulk substance | [39]
100 mM sodium phosphate buffer, pH 2.5, −20 kV, 20 °C, UV 200 nm | 2% (w/v) M-β-CD, 2% (w/v) S-β-CD | rotigotone, chiral impurities—bulk substances | [40]
20 mM phosphate, pH 2.5, −20 kV, 28 °C, UV 205 nm | 0.5 mg/mL β-CD, 22 mg/mL S-β-CD | S-citalopram—chiral purity—bulk substance, tablets | [41]
50 mM sodium tetraborate, pH 9.7, 15 kV, 30 °C, UV 200 nm | 3 mM DM-β-CD, 12 mM SBE-β-CD | balaglitazone, pioglitazone, rosiglitazone—bulk substance | [42]
50 mM phosphate, pH 3.0, −10 kV, 20 °C, UV 200 nm | 80 mg/mL SBE-β-CD, 25 mg/mL S- β-CD | dexamphetamine -chiral purity—bulk substances | [43]
25 mM phosphoric acid-triethanolamine, pH 2.5, 25 kV, 20 °C, UV 190 nm | 10 mM γ-CD, 1.5% (w/v) HS-β-CD | agonist and antagonist melatoninergic ligands—bulk substances | [44]
75 mM sodium tetraborate, pH 9.0, 30 kV, 20 °C, UV 210 nm | 10 mM MPA- β-CD, 12.5 mM SBE-γ-CD | imperanene | [46]
35 mM phosphate, 50 mM SDS, pH 7.0, 15% (v/v) acetonitrile, 27 kV, 20 °C, UV 210 nm | 35 mM HP-γ-CD, 10 mM DM-β-CD | fenticonazole, isoconazole, tioconazole—spiked urine sample, pharmaceutical preparation | [47]
25 mm phosphate, pH 2.5, 25 kV, 25 °C, UV 227 nm | 10 mM MMA-β-CD, 5% (w/v) S-γ-CD | agomelatine analogues—bulk substances | [48]
20 mM phosphate, pH 3.0, 20 kV, 20 °C, UV 237, 271 nm | 40 mM HP-β-CD, 5 mM PIP-β-CD | meptanizol, 4 intermediates—bulk substances | [49]
50 mM phosphate, pH 2.5, 25 kV, 15 °C, UV 210 nm | 0.1% (w/v) HP-β-CD, 0.5% (w/v) HP-γ-CD | tapentadol—bulk substances | [50]
5 mM Britton Robinson buffer, pH 3.45, 14 kV, 16 °C, UV 214 nm | 34 mM M-β-CD, 10 mM S-β-CD | sulpiride—bulk substance | [52]
25 mM phosphate, pH 7.0, 25 kV, 25 °C, UV 214 nm | 10 mM β-CD, 15 mM SBE-β-CD | brompheniramine, chlorpheniramine, cetirizine, promethazine—bulk substances, tablets | [53]
100 mM phosphate, pH 3.5, 24 kV, 17 °C, UV 220 nm | 10 mM β CD, 10 mM HP-β-CD (leucine)10 mM β CD, 10 mM HP-γ-CD (phenylalanine) | benzothiazole derivatives of leucine and phenylalanine—bulk substances | [54]
50 mM phosphate, pH 3.0, 20 kV, 20 °C, UV 200 nm | 5 mM S-β-CD, 0.1%b HS-γ-CD | ketamine metabolites—plasma samples | [56]
25 mM phosphate, pH 7.0, 20 kV, 18 °C, UV 210 nm | 20 mM γ-CD, 10 mM SBE-β-CD (lansoprazole)30 mM γ-CD, 15 mM SBE-β-CD (rabeprazole) | lansoprazole, rabeprazole—bulk substances | [57]
50 mM phosphate, pH 6.3, 20 kV, 20 °C, UV 210 nm | 40.2 mg/mL DM-β-CD, 45 mM S-γ-CD | dapoxetine—chiral purity—bulk substance, tablets | [58]
30 mM phosphate, pH 6.5, 9 kV, 15 °C, UV 200 nm | 14 mg/mL M-β-CD, 16 mg/mL S-β-CD | dextrometorphan—chiral purity—bulk substance, capsules | [59]
50 mM phosphate, pH 7.0, 25 kV, 15 °C, UV 200 nm | 4 mM HP-β-CD, 16 mM TM-β-CD | phenoxy acid herbicides—bulk substances | [61]