## Table 1
Term | Description
Context of use – COU | A statement that defines the specific role and scope of the computational model used to address a question of interest (ASME, 2018).a
Verification | The process of determining that a computational model accurately represents the underlying mathematical model and its solution (ASME, 2018).b
Validation | The process of determining the degree to which a model or a simulation is an accurate representation of the real world.
Sensitivity analysis | The process of determining how a change in a model input (e.g., parameters or initial conditions) affects model outputs.
Identifiability analysis | The process of determining the reliability of parameter estimates from model structure and experimental data.
Calibration | The process of tuning or optimizing parameters in a computational model to minimize the difference between model outputs and real world data.
Uncertainty quantification – UQ | The process of determining the uncertainty in model inputs (e.g., parameters or initial conditions) and computing the resultant uncertainty in model outputs (ASME, 2018).c
Applicability analysis | The process of assessing the relevance of the validation activities for a computational model to support the use of that model for a COU (ASME, 2018).d

## Table 2
Unnamed: 0 | Unnamed: 1 | Scenario 1 | Scenario 2
Question of interest | Question of interest | Design a controller to keep the physiological variable within X% of a set-point | Is a controller stable under variable patient conditions
Context of use | Context of use | The controller will be synthesized by optimizing parameters to the computational patient model | The computational patient model will be used to perform a risk-based evaluation of the controller performance before being used in clinical studies.
Model risk | Influence on decision | High – no other evidence will be used to support the decision | High – no other evidence will be used to support the decision
| Consequence of decision | Low – following design of the controller, a series of studies including additional computational testing and animal studies will be performed to evaluate the controller performance before being used on patients | High – use of the controller on patients could lead to injury
| Overall risk | Medium | High
Example credibility factors | Example credibility factors | Qualitative: Parsimonious, low order, transparent, physiological relevant Quantitative: Linearizable, identifiable, predictive accuracy, reproduces uncertainty bounds | Qualitative: Transparent, physiologically relevant Quantitative: Identifiable, predictive accuracy, reproduces uncertainty bounds, generalizable
Credibility activities | Credibility activities | Develop and perform plan to gather credibility evidence: experimental design, comparator (e.g., animal model), data analysis plan | Develop and perform plan to gather credibility evidence: experimental design, comparator (e.g., animal model), data analysis plan